## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_7 | O2 | 690909578 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:57

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 11:22

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
4 | 2022-05-17 10:28 | 0 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.062 | μmol/L | 17.6457 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.277 | 123686.3192 | 293074.7256 | 59.9307 | 49.4
14 | 2022-05-17 10:28 | 0.32695 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.1756 | μmol/L | 17.658 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.268 | 123652.6914 | 293055.2481 | 59.9307 | 49.4
24 | 2022-05-17 10:29 | 0.66003 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.1506 | μmol/L | 17.658 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.269 | 123630.7347 | 293048.9632 | 59.9307 | 49.4
34 | 2022-05-17 10:29 | 0.99342 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.1447 | μmol/L | 17.6642 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.267 | 123612.7435 | 293020.0967 | 59.9307 | 49.4
44 | 2022-05-17 10:29 | 1.3269 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.1138 | μmol/L | 17.6703 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.266 | 123610.1374 | 293010.7384 | 59.9307 | 49.4
54 | 2022-05-17 10:30 | 1.6603 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.2701 | μmol/L | 17.6642 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.262 | 123585.4517 | 293000.1085 | 59.9307 | 49.4
64 | 2022-05-17 10:30 | 1.994 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.2199 | μmol/L | 17.6642 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.264 | 123576.4461 | 292999.1794 | 59.9307 | 49.4
74 | 2022-05-17 10:30 | 2.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.2643 | μmol/L | 17.6703 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.26 | 123549.2831 | 293004.694 | 59.9307 | 49.4
84 | 2022-05-17 10:31 | 2.6603 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.2894 | μmol/L | 17.6703 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.259 | 123549.6359 | 292996.0576 | 59.9307 | 49.4
94 | 2022-05-17 10:31 | 2.9933 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.3337 | μmol/L | 17.6765 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.255 | 123540.3213 | 292990.5025 | 59.9307 | 49.4
104 | 2022-05-17 10:31 | 3.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.1715 | μmol/L | 17.6888 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.257 | 123519.1121 | 292970.9483 | 59.9307 | 49.4
114 | 2022-05-17 10:32 | 3.6603 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.2777 | μmol/L | 17.6827 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.255 | 123500.805 | 292974.7615 | 59.9307 | 49.4
124 | 2022-05-17 10:32 | 3.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.2158 | μmol/L | 17.695 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.253 | 123488.6404 | 292974.5404 | 59.9307 | 49.4
134 | 2022-05-17 10:32 | 4.3272 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.1289 | μmol/L | 17.7074 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.252 | 123466.1535 | 292947.6467 | 59.9307 | 49.4
144 | 2022-05-17 10:33 | 4.6606 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.1849 | μmol/L | 17.7012 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.252 | 123453.9167 | 292936.7562 | 59.9307 | 49.4
154 | 2022-05-17 10:33 | 4.9933 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.1791 | μmol/L | 17.7074 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.25 | 123456.8844 | 292929.9405 | 59.9307 | 49.4
164 | 2022-05-17 10:33 | 5.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.2602 | μmol/L | 17.7012 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.249 | 123433.3359 | 292922.9818 | 59.9307 | 49.4
174 | 2022-05-17 10:34 | 5.6601 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.3915 | μmol/L | 17.695 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.246 | 123420.6621 | 292916.0108 | 59.9307 | 49.4
184 | 2022-05-17 10:34 | 5.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.2544 | μmol/L | 17.7074 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.247 | 123420.2221 | 292912.2302 | 59.9307 | 49.4
194 | 2022-05-17 10:34 | 6.3269 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.2988 | μmol/L | 17.7135 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.243 | 123408.3703 | 292905.037 | 59.9307 | 49.4
204 | 2022-05-17 10:35 | 6.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.3548 | μmol/L | 17.7074 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.243 | 123388.1039 | 292904.3969 | 59.9307 | 49.4
214 | 2022-05-17 10:35 | 6.9937 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.3297 | μmol/L | 17.7074 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.244 | 123387.8831 | 292899.7728 | 59.9307 | 49.4
224 | 2022-05-17 10:35 | 7.3268 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.293 | μmol/L | 17.7197 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.241 | 123360.827 | 292891.2857 | 59.9307 | 49.4
234 | 2022-05-17 10:36 | 7.6601 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.2563 | μmol/L | 17.732 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.238 | 123362.604 | 292882.7171 | 59.9307 | 49.4
244 | 2022-05-17 10:36 | 7.9935 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.3374 | μmol/L | 17.7259 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.237 | 123347.1538 | 292872.6968 | 59.9307 | 49.4
254 | 2022-05-17 10:36 | 8.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.2563 | μmol/L | 17.732 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.238 | 123343.2434 | 292881.8435 | 59.9307 | 49.4
264 | 2022-05-17 10:37 | 8.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 290.1694 | μmol/L | 17.7444 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.237 | 123342.4088 | 292878.2818 | 59.9307 | 49.4
274 | 2022-05-17 10:37 | 8.9938 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 289.7875 | μmol/L | 17.7505 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.25 | 123382.3342 | 292861.6778 | 59.9307 | 49.4
284 | 2022-05-17 10:37 | 9.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 289.6064 | μmol/L | 17.7567 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.255 | 123447.1328 | 292878.0132 | 59.9307 | 49.4
294 | 2022-05-17 10:38 | 9.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 288.9448 | μmol/L | 17.769 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.277 | 123592.7016 | 292863.2426 | 59.9307 | 49.4
304 | 2022-05-17 10:38 | 9.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.8428 | μmol/L | 17.7752 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.319 | 123822.6511 | 292864.4658 | 59.9307 | 49.4
314 | 2022-05-17 10:38 | 10.3273 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.3711 | μmol/L | 17.7752 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.338 | 123978.7376 | 292855.4294 | 59.9307 | 49.4
324 | 2022-05-17 10:39 | 10.6599 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 287.0183 | μmol/L | 17.7814 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.35 | 124033.5301 | 292837.7974 | 59.9307 | 49.4
334 | 2022-05-17 10:39 | 10.9932 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.6544 | μmol/L | 17.7999 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.358 | 124081.9229 | 292846.6469 | 59.9307 | 49.4
344 | 2022-05-17 10:39 | 11.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.2154 | μmol/L | 17.7937 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.378 | 124219.0102 | 292837.7404 | 59.9307 | 49.4
354 | 2022-05-17 10:40 | 11.6599 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 286.0673 | μmol/L | 17.7937 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.384 | 124280.4819 | 292839.5552 | 59.9307 | 49.4
364 | 2022-05-17 10:40 | 11.9938 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 285.7845 | μmol/L | 17.8061 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.391 | 124297.4018 | 292833.1964 | 59.9307 | 49.4
374 | 2022-05-17 10:40 | 12.3272 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 285.686 | μmol/L | 17.8061 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.395 | 124341.3059 | 292832.9279 | 59.9307 | 49.4
384 | 2022-05-17 10:41 | 12.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 285.5136 | μmol/L | 17.8061 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.402 | 124374.0324 | 292829.8826 | 59.9307 | 49.4
394 | 2022-05-17 10:41 | 12.9937 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 285.6411 | μmol/L | 17.7752 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.408 | 124424.063 | 292842.1637 | 59.9307 | 49.4
404 | 2022-05-17 10:41 | 13.3273 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 285.3588 | μmol/L | 17.7876 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.415 | 124480.8042 | 292854.4798 | 59.9307 | 49.4
414 | 2022-05-17 10:42 | 13.6605 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 284.9107 | μmol/L | 17.7937 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.431 | 124527.6863 | 292840.6237 | 59.9307 | 49.4
424 | 2022-05-17 10:42 | 13.9938 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 284.6047 | μmol/L | 17.8061 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.439 | 124592.8569 | 292841.9037 | 59.9307 | 49.4
434 | 2022-05-17 10:42 | 14.3272 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 284.4576 | μmol/L | 17.8061 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.445 | 124645.7327 | 292822.7319 | 59.9307 | 49.4
444 | 2022-05-17 10:43 | 14.6606 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 284.2314 | μmol/L | 17.8122 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.452 | 124671.8438 | 292808.3409 | 59.9307 | 49.4
454 | 2022-05-17 10:43 | 14.9933 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 284.1335 | μmol/L | 17.8122 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.456 | 124708.4748 | 292821.4196 | 59.9307 | 49.4
464 | 2022-05-17 10:43 | 15.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 283.9623 | μmol/L | 17.8122 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.463 | 124726.6547 | 292832.4419 | 59.9307 | 49.4
474 | 2022-05-17 10:44 | 15.6606 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 284.0717 | μmol/L | 17.7999 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.463 | 124728.146 | 292816.8834 | 59.9307 | 49.4
484 | 2022-05-17 10:44 | 15.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 284.1754 | μmol/L | 17.7937 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.461 | 124727.8379 | 292814.3113 | 59.9307 | 49.4
494 | 2022-05-17 10:44 | 16.3266 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 284.0112 | μmol/L | 17.8122 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.461 | 124720.1792 | 292816.6621 | 59.9307 | 49.4
504 | 2022-05-17 10:45 | 16.6599 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 284.0659 | μmol/L | 17.8061 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.461 | 124720.103 | 292816.2712 | 59.9307 | 49.4
514 | 2022-05-17 10:45 | 16.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 284.0112 | μmol/L | 17.8122 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.461 | 124730.8182 | 292819.488 | 59.9307 | 49.4
524 | 2022-05-17 10:45 | 17.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 283.6645 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.464 | 124769.2296 | 292822.4135 | 59.9307 | 49.4
534 | 2022-05-17 10:46 | 17.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 283.5784 | μmol/L | 17.8307 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.472 | 124782.5152 | 292799.534 | 59.9307 | 49.4
544 | 2022-05-17 10:46 | 17.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 283.195 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.481 | 124843.5881 | 292802.3347 | 59.9307 | 49.4
554 | 2022-05-17 10:46 | 18.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 283.3285 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.48 | 124847.3306 | 292798.7661 | 59.9307 | 49.4
564 | 2022-05-17 10:47 | 18.6601 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 283.2612 | μmol/L | 17.8307 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.485 | 124883.1604 | 292800.1449 | 59.9307 | 49.4
574 | 2022-05-17 10:47 | 18.9938 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 283.2496 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.481 | 124876.7278 | 292785.8825 | 59.9307 | 49.4
584 | 2022-05-17 10:47 | 19.327 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 283.2368 | μmol/L | 17.8307 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.486 | 124880.1574 | 292796.602 | 59.9307 | 49.4
594 | 2022-05-17 10:48 | 19.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 283.2124 | μmol/L | 17.8307 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.487 | 124913.5775 | 292807.3022 | 59.9307 | 49.4
604 | 2022-05-17 10:48 | 19.9935 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.9143 | μmol/L | 17.8369 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.497 | 124970.7213 | 292814.8578 | 59.9307 | 49.4
614 | 2022-05-17 10:48 | 20.3272 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.7381 | μmol/L | 17.8431 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.502 | 124985.9378 | 292814.5862 | 59.9307 | 49.4
624 | 2022-05-17 10:49 | 20.6599 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.6107 | μmol/L | 17.8492 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.505 | 125011.575 | 292822.0023 | 59.9307 | 49.4
634 | 2022-05-17 10:49 | 20.9934 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.3017 | μmol/L | 17.8678 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.511 | 125027.1734 | 292811.1816 | 59.9307 | 49.4
644 | 2022-05-17 10:49 | 21.3269 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.2405 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.518 | 125071.2185 | 292816.8644 | 59.9307 | 49.4
654 | 2022-05-17 10:50 | 21.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.1191 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.523 | 125119.8431 | 292815.5055 | 59.9307 | 49.4
664 | 2022-05-17 10:50 | 21.9937 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 282.0463 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.526 | 125131.1455 | 292807.3586 | 59.9307 | 49.4
674 | 2022-05-17 10:50 | 22.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.9193 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.529 | 125143.8761 | 292802.2732 | 59.9307 | 49.4
684 | 2022-05-17 10:51 | 22.6605 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.8592 | μmol/L | 17.8739 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.527 | 125163.1156 | 292805.8327 | 59.9307 | 49.4
694 | 2022-05-17 10:51 | 22.9938 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.9251 | μmol/L | 17.8554 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.531 | 125168.4985 | 292794.863 | 59.9307 | 49.4
704 | 2022-05-17 10:51 | 23.327 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.895 | μmol/L | 17.8616 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.53 | 125189.0046 | 292787.5091 | 59.9307 | 49.4
714 | 2022-05-17 10:52 | 23.6603 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.5685 | μmol/L | 17.8739 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.539 | 125208.3275 | 292791.435 | 59.9307 | 49.4
724 | 2022-05-17 10:52 | 23.9937 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.4233 | μmol/L | 17.8739 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.545 | 125243.0945 | 292802.7781 | 59.9307 | 49.4
734 | 2022-05-17 10:52 | 24.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.3749 | μmol/L | 17.8739 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.547 | 125255.5922 | 292800.0049 | 59.9307 | 49.4
744 | 2022-05-17 10:53 | 24.6605 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.3507 | μmol/L | 17.8739 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.548 | 125257.3607 | 292793.9865 | 59.9307 | 49.4
754 | 2022-05-17 10:53 | 24.9932 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.3507 | μmol/L | 17.8739 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.548 | 125298.4091 | 292796.2334 | 59.9307 | 49.4
764 | 2022-05-17 10:53 | 25.3266 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.0249 | μmol/L | 17.8863 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.557 | 125339.9044 | 292776.8164 | 59.9307 | 49.4
774 | 2022-05-17 10:54 | 25.66 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 281.0123 | μmol/L | 17.8739 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.562 | 125396.5721 | 292785.8536 | 59.9307 | 49.4
784 | 2022-05-17 10:54 | 25.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.8433 | μmol/L | 17.8739 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.569 | 125430.4267 | 292780.4567 | 59.9307 | 49.4
794 | 2022-05-17 10:54 | 26.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.7227 | μmol/L | 17.8739 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.574 | 125471.6782 | 292782.3951 | 59.9307 | 49.4
804 | 2022-05-17 10:55 | 26.6605 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.3554 | μmol/L | 17.8801 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.587 | 125527.8975 | 292787.4279 | 59.9307 | 49.4
814 | 2022-05-17 10:55 | 26.9932 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 280.235 | μmol/L | 17.8801 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.592 | 125546.4945 | 292793.8203 | 59.9307 | 49.4
824 | 2022-05-17 10:55 | 27.3273 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.9471 | μmol/L | 17.9048 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.595 | 125560.0198 | 292791.6477 | 59.9307 | 49.4
834 | 2022-05-17 10:56 | 27.6599 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.851 | μmol/L | 17.9048 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.599 | 125584.3265 | 292780.8063 | 59.9307 | 49.4
844 | 2022-05-17 10:56 | 27.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.7847 | μmol/L | 17.8986 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.604 | 125614.348 | 292760.0322 | 59.9307 | 49.4
854 | 2022-05-17 10:56 | 28.327 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.7606 | μmol/L | 17.8986 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.605 | 125630.1274 | 292763.6661 | 59.9307 | 49.4
864 | 2022-05-17 10:57 | 28.6603 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.8203 | μmol/L | 17.8863 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.607 | 125648.8706 | 292780.7958 | 59.9307 | 49.4
874 | 2022-05-17 10:57 | 28.9935 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.5743 | μmol/L | 17.8924 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.615 | 125688.616 | 292775.9792 | 59.9307 | 49.4
884 | 2022-05-17 10:57 | 29.3273 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.6282 | μmol/L | 17.8863 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.615 | 125709.8931 | 292779.0971 | 59.9307 | 49.4
894 | 2022-05-17 10:58 | 29.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.5081 | μmol/L | 17.8863 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.62 | 125724.6883 | 292754.3861 | 59.9307 | 49.4
904 | 2022-05-17 10:58 | 29.9937 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.3824 | μmol/L | 17.8924 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.623 | 125741.3636 | 292767.6191 | 59.9307 | 49.4
914 | 2022-05-17 10:58 | 30.327 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.2807 | μmol/L | 17.8986 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.625 | 125749.049 | 292774.4521 | 59.9307 | 49.4
924 | 2022-05-17 10:59 | 30.6603 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.2327 | μmol/L | 17.8986 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.627 | 125766.0511 | 292771.2843 | 59.9307 | 49.4
934 | 2022-05-17 10:59 | 30.9937 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.1129 | μmol/L | 17.8986 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.632 | 125782.9404 | 292759.45 | 59.9307 | 49.4
944 | 2022-05-17 10:59 | 31.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.041 | μmol/L | 17.8986 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.635 | 125830.8573 | 292763.2461 | 59.9307 | 49.4
954 | 2022-05-17 11:00 | 31.6605 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.9271 | μmol/L | 17.8924 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.642 | 125865.6037 | 292752.7192 | 59.9307 | 49.4
964 | 2022-05-17 11:00 | 31.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.706 | μmol/L | 17.8986 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.649 | 125911.3735 | 292745.4554 | 59.9307 | 49.4
974 | 2022-05-17 11:00 | 32.3266 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.5864 | μmol/L | 17.8986 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.654 | 125945.7333 | 292759.2258 | 59.9307 | 49.4
984 | 2022-05-17 11:01 | 32.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.5684 | μmol/L | 17.8924 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.657 | 125942.6273 | 292749.1849 | 59.9307 | 49.4
994 | 2022-05-17 11:01 | 32.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.377 | μmol/L | 17.8986 | °C | 1028 | hPa | Humid | 0 | 1 | 0 | 22.663 | 125989.1257 | 292745.1693 | 59.9307 | 49.4
1004 | 2022-05-17 11:01 | 33.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.2759 | μmol/L | 17.8986 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.667 | 126026.8763 | 292752.238 | 59.9307 | 49.4
1014 | 2022-05-17 11:02 | 33.6601 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.9542 | μmol/L | 17.9109 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.676 | 126066.6971 | 292751.6883 | 59.9307 | 49.4
1024 | 2022-05-17 11:02 | 33.9938 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.8409 | μmol/L | 17.9048 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.683 | 126096.6476 | 292750.7123 | 59.9307 | 49.4
1034 | 2022-05-17 11:02 | 34.327 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.817 | μmol/L | 17.9048 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.684 | 126136.3438 | 292740.0143 | 59.9307 | 49.4
1044 | 2022-05-17 11:03 | 34.6605 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.7218 | μmol/L | 17.9048 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.688 | 126162.747 | 292735.246 | 59.9307 | 49.4
1054 | 2022-05-17 11:03 | 34.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.6742 | μmol/L | 17.9048 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.69 | 126184.8604 | 292732.4965 | 59.9307 | 49.4
1064 | 2022-05-17 11:03 | 35.327 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.3353 | μmol/L | 17.9109 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.702 | 126223.0047 | 292728.2148 | 59.9307 | 49.4
1074 | 2022-05-17 11:04 | 35.6605 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.4124 | μmol/L | 17.9048 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.701 | 126247.4183 | 292723.2023 | 59.9307 | 49.4
1084 | 2022-05-17 11:04 | 35.994 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.1272 | μmol/L | 17.9048 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.713 | 126296.0635 | 292712.2054 | 59.9307 | 49.4
1094 | 2022-05-17 11:04 | 36.3266 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.0739 | μmol/L | 17.9109 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.713 | 126314.1343 | 292709.333 | 59.9307 | 49.4
1104 | 2022-05-17 11:05 | 36.66 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.6764 | μmol/L | 17.9048 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.732 | 126440.2811 | 292720.0855 | 59.9307 | 49.4
1114 | 2022-05-17 11:05 | 36.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.4943 | μmol/L | 17.9048 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.782 | 126756.988 | 292713.78 | 59.9307 | 49.4
1124 | 2022-05-17 11:05 | 37.3273 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.4708 | μmol/L | 17.9048 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.783 | 126757.1149 | 292712.6727 | 59.9307 | 49.4
1134 | 2022-05-17 11:06 | 37.66 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.5298 | μmol/L | 17.9171 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.776 | 126695.3374 | 292715.5861 | 59.9307 | 49.4
1144 | 2022-05-17 11:06 | 37.9934 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.7063 | μmol/L | 17.9109 | °C | 1028 | hPa | Humid | 0 | 1 | 0 | 22.771 | 126657.0761 | 292703.1359 | 59.9307 | 49.4
1154 | 2022-05-17 11:06 | 38.327 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.7186 | μmol/L | 17.9171 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.768 | 126641.6824 | 292696.6236 | 59.9307 | 49.4
1164 | 2022-05-17 11:07 | 38.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.7008 | μmol/L | 17.9109 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.771 | 126661.4458 | 292691.9696 | 59.9307 | 49.4
1174 | 2022-05-17 11:07 | 38.9938 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.5298 | μmol/L | 17.9171 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.776 | 126684.318 | 292697.2362 | 59.9307 | 49.4
1184 | 2022-05-17 11:07 | 39.3274 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.459 | μmol/L | 17.9171 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.779 | 126688.1421 | 292682.5926 | 59.9307 | 49.4
1194 | 2022-05-17 11:08 | 39.6599 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.5889 | μmol/L | 17.9294 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.769 | 126662.0124 | 292672.9372 | 59.9307 | 49.4
1204 | 2022-05-17 11:08 | 39.9932 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.5947 | μmol/L | 17.9233 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.771 | 126656.9351 | 292661.6097 | 59.9307 | 49.4
1214 | 2022-05-17 11:08 | 40.3269 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.7469 | μmol/L | 17.9233 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.807 | 126867.9003 | 292669.6383 | 59.9307 | 49.4
1224 | 2022-05-17 11:09 | 40.6603 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.0019 | μmol/L | 17.9171 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.841 | 127098.9112 | 292633.5778 | 59.9307 | 49.4
1234 | 2022-05-17 11:09 | 40.9938 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.0897 | μmol/L | 17.9233 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.835 | 127054.2277 | 292639.937 | 59.9307 | 49.4
1244 | 2022-05-17 11:09 | 41.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.3536 | μmol/L | 17.9171 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.826 | 126991.2214 | 292629.838 | 59.9307 | 49.4
1254 | 2022-05-17 11:10 | 41.6605 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.3946 | μmol/L | 17.9233 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.822 | 126941.7187 | 292626.2304 | 59.9307 | 49.4
1264 | 2022-05-17 11:10 | 41.9933 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.4944 | μmol/L | 17.9171 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.82 | 126936.8482 | 292619.6986 | 59.9307 | 49.4
1274 | 2022-05-17 11:10 | 42.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.465 | μmol/L | 17.9233 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.819 | 126911.9391 | 292614.3309 | 59.9307 | 49.4
1284 | 2022-05-17 11:11 | 42.6601 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.6412 | μmol/L | 17.9109 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.816 | 126874.4242 | 292597.6586 | 59.9307 | 49.4
1294 | 2022-05-17 11:11 | 42.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 274.5355 | μmol/L | 17.9233 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.816 | 126878.8044 | 292589.1792 | 59.9307 | 49.4
1304 | 2022-05-17 11:11 | 43.3272 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.3176 | μmol/L | 17.9233 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.868 | 127172.844 | 292589.5659 | 59.9307 | 49.4
1314 | 2022-05-17 11:12 | 43.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.4111 | μmol/L | 17.9233 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.864 | 127200.2148 | 292574.1157 | 59.9307 | 49.4
1324 | 2022-05-17 11:12 | 43.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.5455 | μmol/L | 17.9294 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.856 | 127140.3716 | 292578.2104 | 59.9307 | 49.4
1334 | 2022-05-17 11:12 | 44.3273 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.6215 | μmol/L | 17.9233 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.855 | 127106.125 | 292577.5302 | 59.9307 | 49.4
1344 | 2022-05-17 11:13 | 44.6601 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.4987 | μmol/L | 17.9294 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.858 | 127100.9178 | 292569.3412 | 59.9307 | 49.4
1354 | 2022-05-17 11:13 | 44.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 273.5455 | μmol/L | 17.9294 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.856 | 127085.9973 | 292568.3813 | 59.9307 | 49.4
1364 | 2022-05-17 11:13 | 45.327 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.7867 | μmol/L | 17.9418 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.884 | 127242.7805 | 292538.6326 | 59.9307 | 49.4
1374 | 2022-05-17 11:14 | 45.6606 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.8159 | μmol/L | 17.9356 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.928 | 127527.0846 | 292529.8851 | 59.9307 | 49.4
1384 | 2022-05-17 11:14 | 45.9932 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.4046 | μmol/L | 17.9294 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.948 | 127635.3798 | 292515.9256 | 59.9307 | 49.4
1394 | 2022-05-17 11:14 | 46.3269 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.4046 | μmol/L | 17.9294 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.948 | 127640.3781 | 292515.0384 | 59.9307 | 49.4
1404 | 2022-05-17 11:15 | 46.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.4509 | μmol/L | 17.9294 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.946 | 127613.8489 | 292512.7509 | 59.9307 | 49.4
1414 | 2022-05-17 11:15 | 46.9938 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.0634 | μmol/L | 17.9233 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.965 | 127734.4029 | 292495.1215 | 59.9307 | 49.4
1424 | 2022-05-17 11:15 | 47.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.8471 | μmol/L | 17.9171 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.02 | 128072.5343 | 292478.3584 | 59.9307 | 49.4
1434 | 2022-05-17 11:16 | 47.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.1404 | μmol/L | 17.9233 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.005 | 127937.5836 | 292472.2415 | 59.9307 | 49.4
1444 | 2022-05-17 11:16 | 47.9938 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.5724 | μmol/L | 17.9294 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.984 | 127834.3952 | 292463.2951 | 59.9307 | 49.4
1454 | 2022-05-17 11:16 | 48.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.8725 | μmol/L | 17.9294 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.971 | 127742.5084 | 292465.5551 | 59.9307 | 49.4
1464 | 2022-05-17 11:17 | 48.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.15 | μmol/L | 17.9294 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.959 | 127672.919 | 292467.9416 | 59.9307 | 49.4
1474 | 2022-05-17 11:17 | 48.9937 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.1575 | μmol/L | 17.9294 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 23.002 | 127914.9732 | 292445.9519 | 59.9307 | 49.4
1484 | 2022-05-17 11:17 | 49.3272 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.1168 | μmol/L | 17.9294 | °C | 1028 | hPa | Humid | 0 | 1 | 0 | 23.004 | 127940.8118 | 292473.8577 | 59.9307 | 49.4
1494 | 2022-05-17 11:18 | 49.6599 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.3938 | μmol/L | 17.9233 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.994 | 127857.1268 | 292460.0712 | 59.9307 | 49.4
1504 | 2022-05-17 11:18 | 49.9934 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.6937 | μmol/L | 17.9233 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.981 | 127762.9453 | 292449.3495 | 59.9307 | 49.4
1514 | 2022-05-17 11:18 | 50.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.8725 | μmol/L | 17.9294 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.971 | 127707.6734 | 292453.7926 | 59.9307 | 49.4
1524 | 2022-05-17 11:19 | 50.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.9709 | μmol/L | 17.9233 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.969 | 127682.7749 | 292447.9028 | 59.9307 | 49.4
1534 | 2022-05-17 11:19 | 50.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.3016 | μmol/L | 17.9233 | °C | 1027 | hPa | Humid | 0 | 1 | 0 | 22.998 | 127844.4852 | 292448.1375 | 59.9307 | 49.4
1544 | 2022-05-17 11:19 | 51.3268 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.4163 | μmol/L | 17.9294 | °C | 1028 | hPa | Humid | 0 | 1 | 0 | 22.991 | 127805.0896 | 292441.5779 | 59.9307 | 49.4