## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_5 | O2 | 386281131 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:52

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 15:38

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
5287 | 2022-05-17 14:39 | 0 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.483 | μmol/L | 19.1424 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.385 | 109309.6998 | 266225.2101 | 36.4 | 83.1
5297 | 2022-05-17 14:39 | 0.32963 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.1856 | μmol/L | 19.1363 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.398 | 109345.0451 | 266216.6976 | 36.4 | 83.1
5307 | 2022-05-17 14:39 | 0.66297 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.9986 | μmol/L | 19.1301 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.407 | 109372.5658 | 266219.109 | 36.4 | 83.1
5317 | 2022-05-17 14:40 | 0.9963 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.8786 | μmol/L | 19.1118 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.418 | 109406.675 | 266219.7453 | 36.4 | 83.1
5327 | 2022-05-17 14:40 | 1.3289 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.5486 | μmol/L | 19.1118 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.43 | 109417.1452 | 266208.516 | 36.4 | 83.1
5337 | 2022-05-17 14:40 | 1.6623 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.5879 | μmol/L | 19.0995 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.433 | 109414.3875 | 266208.0967 | 36.4 | 83.1
5347 | 2022-05-17 14:41 | 1.9963 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.4564 | μmol/L | 19.0934 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.44 | 109426.9161 | 266201.6525 | 36.4 | 83.1
5357 | 2022-05-17 14:41 | 2.3295 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.6115 | μmol/L | 19.075 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.441 | 109436.2373 | 266186.5141 | 36.4 | 83.1
5367 | 2022-05-17 14:41 | 2.6629 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.4252 | μmol/L | 19.0689 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.45 | 109447.3532 | 266191.7142 | 36.4 | 83.1
5377 | 2022-05-17 14:42 | 2.9963 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.3488 | μmol/L | 19.0628 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.455 | 109447.7214 | 266184.5819 | 36.4 | 83.1
5387 | 2022-05-17 14:42 | 3.3297 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.3333 | μmol/L | 19.0505 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.46 | 109453.9045 | 266186.1441 | 36.4 | 83.1
5397 | 2022-05-17 14:42 | 3.663 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.3118 | μmol/L | 19.0444 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.463 | 109461.9438 | 266169.8838 | 36.4 | 83.1
5407 | 2022-05-17 14:43 | 3.9956 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.2689 | μmol/L | 19.0321 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.469 | 109458.5925 | 266176.1371 | 36.4 | 83.1
5417 | 2022-05-17 14:43 | 4.3297 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.2475 | μmol/L | 19.026 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.472 | 109443.8814 | 266168.5127 | 36.4 | 83.1
5427 | 2022-05-17 14:43 | 4.663 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.2869 | μmol/L | 19.0138 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.475 | 109441.4002 | 266144.11 | 36.4 | 83.1
5437 | 2022-05-17 14:44 | 4.9963 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.1224 | μmol/L | 19.0138 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.481 | 109459.013 | 266147.6914 | 36.4 | 83.1
5447 | 2022-05-17 14:44 | 5.3289 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 315.9581 | μmol/L | 19.0138 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.487 | 109485.2385 | 266156.2257 | 36.4 | 83.1
5457 | 2022-05-17 14:44 | 5.6623 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 315.9549 | μmol/L | 18.9893 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.496 | 109511.9915 | 266141.9947 | 36.4 | 83.1
5467 | 2022-05-17 14:45 | 5.9964 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 315.6204 | μmol/L | 18.9954 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.506 | 109553.9104 | 266127.9745 | 36.4 | 83.1
5477 | 2022-05-17 14:45 | 6.3296 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 315.5171 | μmol/L | 18.9893 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.512 | 109552.7565 | 266112.7198 | 36.4 | 83.1
5487 | 2022-05-17 14:45 | 6.6629 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 315.8028 | μmol/L | 18.977 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.506 | 109544.0688 | 266109.9758 | 36.4 | 83.1
5497 | 2022-05-17 14:46 | 6.9963 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.1161 | μmol/L | 18.9648 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.499 | 109468.0066 | 266108.0242 | 36.4 | 83.1
5507 | 2022-05-17 14:46 | 7.3296 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.5822 | μmol/L | 18.9648 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.482 | 109369.5505 | 266111.1306 | 36.4 | 83.1
5517 | 2022-05-17 14:46 | 7.6623 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.1897 | μmol/L | 18.9341 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.471 | 109294.0165 | 266108.7127 | 36.4 | 83.1
5527 | 2022-05-17 14:47 | 7.9956 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.5811 | μmol/L | 18.928 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.459 | 109207.8773 | 266114.3226 | 36.4 | 83.1
5537 | 2022-05-17 14:47 | 8.3289 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 317.8138 | μmol/L | 18.9158 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.455 | 109182.2074 | 266095.6045 | 36.4 | 83.1
5547 | 2022-05-17 14:47 | 8.6626 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 316.686 | μmol/L | 18.9158 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.496 | 109402.938 | 266090.678 | 36.4 | 83.1
5557 | 2022-05-17 14:48 | 8.9959 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 315.7061 | μmol/L | 18.9096 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.534 | 109594.0199 | 266092.85 | 36.4 | 83.1
5567 | 2022-05-17 14:48 | 9.3292 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.5794 | μmol/L | 18.8913 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.582 | 109859.8771 | 266080.4286 | 36.4 | 83.1
5577 | 2022-05-17 14:48 | 9.6626 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.5268 | μmol/L | 18.8851 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.623 | 110073.052 | 266059.9135 | 36.4 | 83.1
5587 | 2022-05-17 14:49 | 9.9961 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.9045 | μmol/L | 18.8851 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.646 | 110185.6628 | 266057.8073 | 36.4 | 83.1
5597 | 2022-05-17 14:49 | 10.3295 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.0746 | μmol/L | 18.879 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.679 | 110382.1983 | 266055.9497 | 36.4 | 83.1
5607 | 2022-05-17 14:49 | 10.6628 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 310.2158 | μmol/L | 18.8606 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.755 | 110764.2721 | 266024.6657 | 36.4 | 83.1
5617 | 2022-05-17 14:50 | 10.9961 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 308.9824 | μmol/L | 18.8423 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.808 | 111024.1154 | 266031.0824 | 36.4 | 83.1
5627 | 2022-05-17 14:50 | 11.3295 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 307.6967 | μmol/L | 18.8545 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.852 | 111261.4698 | 266019.8358 | 36.4 | 83.1
5637 | 2022-05-17 14:50 | 11.6627 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.2858 | μmol/L | 18.8423 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.91 | 111585.6966 | 266019.2081 | 36.4 | 83.1
5647 | 2022-05-17 14:51 | 11.996 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.2299 | μmol/L | 18.8239 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.957 | 111838.2409 | 266022.1767 | 36.4 | 83.1
5657 | 2022-05-17 14:51 | 12.3291 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.0206 | μmol/L | 18.8239 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.965 | 111877.8563 | 266013.7076 | 36.4 | 83.1
5667 | 2022-05-17 14:51 | 12.6626 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.6359 | μmol/L | 18.8116 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.946 | 111778.3775 | 266008.9134 | 36.4 | 83.1
5677 | 2022-05-17 14:52 | 12.9959 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.8118 | μmol/L | 18.7933 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.908 | 111537.3686 | 265998.3149 | 36.4 | 83.1
5687 | 2022-05-17 14:52 | 13.3293 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 307.0951 | μmol/L | 18.7994 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.895 | 111454.424 | 265981.2225 | 36.4 | 83.1
5697 | 2022-05-17 14:52 | 13.6627 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 307.3259 | μmol/L | 18.781 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.893 | 111403.0463 | 265971.4164 | 36.4 | 83.1
5707 | 2022-05-17 14:53 | 13.9959 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.746 | μmol/L | 18.7565 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.924 | 111596.6456 | 265970.9805 | 36.4 | 83.1
5717 | 2022-05-17 14:53 | 14.3294 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.2234 | μmol/L | 18.8055 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.964 | 111793.4518 | 265970.2571 | 36.4 | 83.1
5727 | 2022-05-17 14:53 | 14.6627 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.1711 | μmol/L | 18.8055 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.966 | 111774.4672 | 265953.1427 | 36.4 | 83.1
5737 | 2022-05-17 14:54 | 14.996 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.5511 | μmol/L | 18.7688 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.965 | 111793.8474 | 265932.7502 | 36.4 | 83.1
5747 | 2022-05-17 14:54 | 15.3294 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.1155 | μmol/L | 18.732 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.957 | 111691.9453 | 265934.4264 | 36.4 | 83.1
5757 | 2022-05-17 14:54 | 15.6627 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.6361 | μmol/L | 18.7871 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.955 | 111690.3456 | 265912.6837 | 36.4 | 83.1
5767 | 2022-05-17 14:55 | 15.9961 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.8919 | μmol/L | 18.7688 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.952 | 111647.7073 | 265924.0647 | 36.4 | 83.1
5777 | 2022-05-17 14:55 | 16.3294 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.0035 | μmol/L | 18.7626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.95 | 111678.8778 | 265910.8214 | 36.4 | 83.1
5787 | 2022-05-17 14:55 | 16.6628 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.9905 | μmol/L | 18.7504 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.955 | 111686.659 | 265903.7065 | 36.4 | 83.1
5797 | 2022-05-17 14:56 | 16.9961 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.9514 | μmol/L | 18.7381 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.961 | 111673.6429 | 265902.0058 | 36.4 | 83.1
5807 | 2022-05-17 14:56 | 17.3296 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.7216 | μmol/L | 18.7565 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.963 | 111654.0864 | 265884.2061 | 36.4 | 83.1
5817 | 2022-05-17 14:56 | 17.6629 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.7807 | μmol/L | 18.7504 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.963 | 111651.7309 | 265871.0918 | 36.4 | 83.1
5827 | 2022-05-17 14:57 | 17.9962 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.3483 | μmol/L | 18.7626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.975 | 111718.2259 | 265863.4484 | 36.4 | 83.1
5837 | 2022-05-17 14:57 | 18.3294 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.3421 | μmol/L | 18.7443 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.982 | 111745.9162 | 265856.1328 | 36.4 | 83.1
5847 | 2022-05-17 14:57 | 18.6628 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.2247 | μmol/L | 18.732 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.991 | 111784.331 | 265849.4987 | 36.4 | 83.1
5857 | 2022-05-17 14:58 | 18.9962 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.0946 | μmol/L | 18.7075 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.005 | 111843.974 | 265846.2282 | 36.4 | 83.1
5867 | 2022-05-17 14:58 | 19.3295 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.6634 | μmol/L | 18.7198 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.017 | 111903.8848 | 265822.9405 | 36.4 | 83.1
5877 | 2022-05-17 14:58 | 19.6629 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.364 | μmol/L | 18.7075 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.033 | 111988.191 | 265826.2093 | 36.4 | 83.1
5887 | 2022-05-17 14:59 | 19.9963 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.1749 | μmol/L | 18.7136 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.038 | 111996.9417 | 265825.4081 | 36.4 | 83.1
5897 | 2022-05-17 14:59 | 20.3289 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.2598 | μmol/L | 18.7075 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.037 | 111975.629 | 265811.4257 | 36.4 | 83.1
5907 | 2022-05-17 14:59 | 20.663 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.2926 | μmol/L | 18.7014 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.038 | 111992.6798 | 265816.3462 | 36.4 | 83.1
5917 | 2022-05-17 15:00 | 20.9963 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.0911 | μmol/L | 18.6953 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.048 | 112024.0991 | 265781.2427 | 36.4 | 83.1
5927 | 2022-05-17 15:00 | 21.3296 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.8502 | μmol/L | 18.7014 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.055 | 112056.7946 | 265784.4541 | 36.4 | 83.1
5937 | 2022-05-17 15:00 | 21.663 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.0073 | μmol/L | 18.6769 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.058 | 112058.6672 | 265779.7583 | 36.4 | 83.1
5947 | 2022-05-17 15:01 | 21.9963 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.8062 | μmol/L | 18.6708 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.068 | 112108.793 | 265769.9434 | 36.4 | 83.1
5957 | 2022-05-17 15:01 | 22.329 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.8118 | μmol/L | 18.6891 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.061 | 112048.6918 | 265775.7646 | 36.4 | 83.1
5967 | 2022-05-17 15:01 | 22.6624 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.753 | μmol/L | 18.6953 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.061 | 112023.4479 | 265764.7287 | 36.4 | 83.1
5977 | 2022-05-17 15:02 | 22.9958 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.151 | μmol/L | 18.6646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.057 | 112006.0646 | 265748.1921 | 36.4 | 83.1
5987 | 2022-05-17 15:02 | 23.3292 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.9689 | μmol/L | 18.6646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.064 | 112011.7495 | 265741.3137 | 36.4 | 83.1
5997 | 2022-05-17 15:02 | 23.6623 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.1454 | μmol/L | 18.6463 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.064 | 112024.4834 | 265753.3969 | 36.4 | 83.1
6007 | 2022-05-17 15:03 | 23.9961 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.0674 | μmol/L | 18.6463 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.067 | 112005.661 | 265747.2482 | 36.4 | 83.1
6017 | 2022-05-17 15:03 | 24.3292 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.0469 | μmol/L | 18.6646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.061 | 111996.3571 | 265746.2353 | 36.4 | 83.1
6027 | 2022-05-17 15:03 | 24.6622 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.9101 | μmol/L | 18.6708 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.064 | 111979.0816 | 265718.741 | 36.4 | 83.1
6037 | 2022-05-17 15:04 | 24.9961 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.1578 | μmol/L | 18.6585 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.059 | 111970.3877 | 265718.4777 | 36.4 | 83.1
6047 | 2022-05-17 15:04 | 25.3293 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.8909 | μmol/L | 18.6646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.067 | 111980.8335 | 265720.1097 | 36.4 | 83.1
6057 | 2022-05-17 15:04 | 25.6624 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.9962 | μmol/L | 18.6401 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.072 | 112001.0136 | 265705.809 | 36.4 | 83.1
6067 | 2022-05-17 15:05 | 25.9956 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.1071 | μmol/L | 18.634 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.07 | 111980.6146 | 265702.3387 | 36.4 | 83.1
6077 | 2022-05-17 15:05 | 26.3295 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.9894 | μmol/L | 18.6463 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.07 | 112004.5208 | 265703.951 | 36.4 | 83.1
6087 | 2022-05-17 15:05 | 26.6627 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.4699 | μmol/L | 18.6463 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.09 | 112095.428 | 265700.478 | 36.4 | 83.1
6097 | 2022-05-17 15:06 | 26.9958 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.2419 | μmol/L | 18.6646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.092 | 112099.0043 | 265693.2616 | 36.4 | 83.1
6107 | 2022-05-17 15:06 | 27.3296 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.418 | μmol/L | 18.6463 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.092 | 112118.5213 | 265693.778 | 36.4 | 83.1
6117 | 2022-05-17 15:06 | 27.6628 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.4768 | μmol/L | 18.6401 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.092 | 112103.2053 | 265686.5206 | 36.4 | 83.1
6127 | 2022-05-17 15:07 | 27.9959 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.8555 | μmol/L | 18.6034 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.091 | 112099.3644 | 265689.3295 | 36.4 | 83.1
6137 | 2022-05-17 15:07 | 28.3292 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.1725 | μmol/L | 18.634 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.106 | 112183.357 | 265695.3854 | 36.4 | 83.1
6147 | 2022-05-17 15:07 | 28.6623 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.9204 | μmol/L | 18.6279 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.118 | 112217.4773 | 265685.622 | 36.4 | 83.1
6157 | 2022-05-17 15:08 | 28.9963 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.3879 | μmol/L | 18.6646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.125 | 112290.1743 | 265682.0069 | 36.4 | 83.1
6167 | 2022-05-17 15:08 | 29.3296 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.8513 | μmol/L | 18.683 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.139 | 112351.094 | 265676.4898 | 36.4 | 83.1
6177 | 2022-05-17 15:08 | 29.6626 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.4992 | μmol/L | 18.6524 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.164 | 112462.8316 | 265675.6508 | 36.4 | 83.1
6187 | 2022-05-17 15:09 | 29.9957 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.9663 | μmol/L | 18.6463 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.187 | 112584.792 | 265670.3301 | 36.4 | 83.1
6197 | 2022-05-17 15:09 | 30.3292 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.5627 | μmol/L | 18.6401 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.205 | 112670.9779 | 265676.1877 | 36.4 | 83.1
6207 | 2022-05-17 15:09 | 30.6623 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.7117 | μmol/L | 18.6218 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.206 | 112666.1991 | 265667.3675 | 36.4 | 83.1
6217 | 2022-05-17 15:10 | 30.9961 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.7886 | μmol/L | 18.6218 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.203 | 112639.6416 | 265666.8448 | 36.4 | 83.1
6227 | 2022-05-17 15:10 | 31.3292 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.0592 | μmol/L | 18.6095 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.197 | 112605.1217 | 265648.7251 | 36.4 | 83.1
6237 | 2022-05-17 15:10 | 31.6622 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.9683 | μmol/L | 18.6218 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.196 | 112580.0499 | 265655.9713 | 36.4 | 83.1
6247 | 2022-05-17 15:11 | 31.9962 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.9801 | μmol/L | 18.634 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.191 | 112583.859 | 265642.3815 | 36.4 | 83.1
6257 | 2022-05-17 15:11 | 32.3294 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.2765 | μmol/L | 18.6218 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.184 | 112536.0127 | 265641.2931 | 36.4 | 83.1
6267 | 2022-05-17 15:11 | 32.6624 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.2577 | μmol/L | 18.6156 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.187 | 112522.7807 | 265651.7236 | 36.4 | 83.1
6277 | 2022-05-17 15:12 | 32.9964 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.1085 | μmol/L | 18.634 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.186 | 112534.9545 | 265635.8215 | 36.4 | 83.1
6287 | 2022-05-17 15:12 | 33.3295 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.833 | μmol/L | 18.6279 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.199 | 112569.4009 | 265640.8907 | 36.4 | 83.1
6297 | 2022-05-17 15:12 | 33.6628 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.7748 | μmol/L | 18.634 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.199 | 112561.6165 | 265634.0992 | 36.4 | 83.1
6307 | 2022-05-17 15:13 | 33.9964 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.9031 | μmol/L | 18.634 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.194 | 112553.5721 | 265631.2005 | 36.4 | 83.1
6317 | 2022-05-17 15:13 | 34.3297 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.6909 | μmol/L | 18.6401 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.2 | 112577.1988 | 265622.4627 | 36.4 | 83.1
6327 | 2022-05-17 15:13 | 34.6628 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.8725 | μmol/L | 18.6156 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.202 | 112577.0062 | 265632.1732 | 36.4 | 83.1
6337 | 2022-05-17 15:14 | 34.9959 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.1571 | μmol/L | 18.5911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.2 | 112555.7158 | 265622.6455 | 36.4 | 83.1
6347 | 2022-05-17 15:14 | 35.3291 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.0731 | μmol/L | 18.5973 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.201 | 112569.4491 | 265610.8505 | 36.4 | 83.1
6357 | 2022-05-17 15:14 | 35.663 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.2598 | μmol/L | 18.5911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.196 | 112522.8958 | 265594.4573 | 36.4 | 83.1
6367 | 2022-05-17 15:15 | 35.9956 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.0287 | μmol/L | 18.5911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.205 | 112570.619 | 265606.4105 | 36.4 | 83.1
6377 | 2022-05-17 15:15 | 36.329 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.2877 | μmol/L | 18.5667 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.204 | 112551.0053 | 265592.8288 | 36.4 | 83.1
6387 | 2022-05-17 15:15 | 36.6629 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.2224 | μmol/L | 18.5789 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.202 | 112513.7182 | 265597.6465 | 36.4 | 83.1
6397 | 2022-05-17 15:16 | 36.9963 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.1057 | μmol/L | 18.5911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.202 | 112531.5853 | 265580.394 | 36.4 | 83.1
6407 | 2022-05-17 15:16 | 37.3297 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.0356 | μmol/L | 18.585 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.207 | 112539.1767 | 265570.4705 | 36.4 | 83.1
6417 | 2022-05-17 15:16 | 37.6629 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.926 | μmol/L | 18.5911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.209 | 112602.7633 | 265556.4363 | 36.4 | 83.1
6427 | 2022-05-17 15:17 | 37.996 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.6952 | μmol/L | 18.5911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.218 | 112639.739 | 265569.592 | 36.4 | 83.1
6437 | 2022-05-17 15:17 | 38.3292 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.7138 | μmol/L | 18.5973 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.215 | 112626.502 | 265552.9891 | 36.4 | 83.1
6447 | 2022-05-17 15:17 | 38.663 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.7091 | μmol/L | 18.5789 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.222 | 112629.976 | 265556.2909 | 36.4 | 83.1
6457 | 2022-05-17 15:18 | 38.9961 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.4273 | μmol/L | 18.5789 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.233 | 112691.7798 | 265548.5811 | 36.4 | 83.1
6467 | 2022-05-17 15:18 | 39.3291 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.1202 | μmol/L | 18.5789 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.245 | 112757.5321 | 265531.5694 | 36.4 | 83.1
6477 | 2022-05-17 15:18 | 39.663 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.0576 | μmol/L | 18.5667 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.252 | 112791.4318 | 265526.8874 | 36.4 | 83.1
6487 | 2022-05-17 15:19 | 39.996 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.9158 | μmol/L | 18.5789 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.253 | 112785.4165 | 265521.1534 | 36.4 | 83.1
6497 | 2022-05-17 15:19 | 40.3291 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.9413 | μmol/L | 18.5789 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.252 | 112749.5175 | 265518.9084 | 36.4 | 83.1
6507 | 2022-05-17 15:19 | 40.6623 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.8647 | μmol/L | 18.5789 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.255 | 112794.4554 | 265521.8474 | 36.4 | 83.1
6517 | 2022-05-17 15:20 | 40.9961 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.6674 | μmol/L | 18.5728 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.265 | 112853.7424 | 265507.348 | 36.4 | 83.1
6527 | 2022-05-17 15:20 | 41.3293 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.3174 | μmol/L | 18.5667 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.281 | 112894.8139 | 265508.881 | 36.4 | 83.1
6537 | 2022-05-17 15:20 | 41.6623 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.2849 | μmol/L | 18.5728 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.28 | 112918.6856 | 265497.7378 | 36.4 | 83.1
6547 | 2022-05-17 15:21 | 41.9963 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.3711 | μmol/L | 18.5422 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.288 | 112950.363 | 265487.4117 | 36.4 | 83.1
6557 | 2022-05-17 15:21 | 42.3294 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.2691 | μmol/L | 18.5422 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.292 | 112953.7807 | 265483.8978 | 36.4 | 83.1
6567 | 2022-05-17 15:21 | 42.6628 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.917 | μmol/L | 18.5605 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.299 | 112972.3728 | 265483.722 | 36.4 | 83.1
6577 | 2022-05-17 15:22 | 42.9959 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.8916 | μmol/L | 18.5605 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.3 | 112981.9394 | 265483.064 | 36.4 | 83.1
6587 | 2022-05-17 15:22 | 43.3289 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.9128 | μmol/L | 18.5422 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.306 | 112996.5334 | 265456.0932 | 36.4 | 83.1
6597 | 2022-05-17 15:22 | 43.6629 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.8294 | μmol/L | 18.5483 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.307 | 113023.8637 | 265460.1899 | 36.4 | 83.1
6607 | 2022-05-17 15:23 | 43.9959 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.5428 | μmol/L | 18.5544 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.316 | 113054.9456 | 265468.9356 | 36.4 | 83.1
6617 | 2022-05-17 15:23 | 44.3289 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.5245 | μmol/L | 18.5483 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.319 | 113038.2485 | 265461.5359 | 36.4 | 83.1
6627 | 2022-05-17 15:23 | 44.6629 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.43 | μmol/L | 18.5422 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.325 | 113087.5016 | 265459.0095 | 36.4 | 83.1
6637 | 2022-05-17 15:24 | 44.9961 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.3173 | μmol/L | 18.5299 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.334 | 113137.0403 | 265454.6299 | 36.4 | 83.1
6647 | 2022-05-17 15:24 | 45.3291 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.9046 | μmol/L | 18.536 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.348 | 113203.3867 | 265463.8961 | 36.4 | 83.1
6657 | 2022-05-17 15:24 | 45.6629 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.0922 | μmol/L | 18.5054 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.352 | 113218.296 | 265463.3596 | 36.4 | 83.1
6667 | 2022-05-17 15:25 | 45.9962 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.8864 | μmol/L | 18.5299 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.351 | 113218.8446 | 265452.1983 | 36.4 | 83.1
6677 | 2022-05-17 15:25 | 46.3294 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.5503 | μmol/L | 18.536 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.362 | 113269.0741 | 265446.9701 | 36.4 | 83.1
6687 | 2022-05-17 15:25 | 46.6625 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.4563 | μmol/L | 18.5299 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.368 | 113321.301 | 265446.2558 | 36.4 | 83.1
6697 | 2022-05-17 15:26 | 46.9955 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.2865 | μmol/L | 18.5238 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.377 | 113331.3361 | 265444.6246 | 36.4 | 83.1
6707 | 2022-05-17 15:26 | 47.3295 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.2179 | μmol/L | 18.5177 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.382 | 113361.5821 | 265431.1414 | 36.4 | 83.1
6717 | 2022-05-17 15:26 | 47.6627 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.1674 | μmol/L | 18.5177 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.384 | 113396.2629 | 265428.8975 | 36.4 | 83.1
6727 | 2022-05-17 15:27 | 47.9958 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.8898 | μmol/L | 18.5177 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.395 | 113431.399 | 265425.9078 | 36.4 | 83.1
6737 | 2022-05-17 15:27 | 48.3297 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.7134 | μmol/L | 18.5177 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.402 | 113461.3965 | 265425.6963 | 36.4 | 83.1
6747 | 2022-05-17 15:27 | 48.6628 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.4616 | μmol/L | 18.5177 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.412 | 113512.7756 | 265430.1161 | 36.4 | 83.1
6757 | 2022-05-17 15:28 | 48.996 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.5262 | μmol/L | 18.5054 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.414 | 113539.8843 | 265441.7626 | 36.4 | 83.1
6767 | 2022-05-17 15:28 | 49.3291 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.1166 | μmol/L | 18.5115 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.428 | 113589.6666 | 265434.1613 | 36.4 | 83.1
6777 | 2022-05-17 15:28 | 49.6626 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.1238 | μmol/L | 18.5054 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.43 | 113629.246 | 265431.0161 | 36.4 | 83.1
6787 | 2022-05-17 15:29 | 49.9956 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.8654 | μmol/L | 18.5115 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.438 | 113650.0017 | 265421.3454 | 36.4 | 83.1
6797 | 2022-05-17 15:29 | 50.3291 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.7148 | μmol/L | 18.5115 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.444 | 113680.6963 | 265430.0685 | 36.4 | 83.1
6807 | 2022-05-17 15:29 | 50.6622 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.679 | μmol/L | 18.4993 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.45 | 113700.293 | 265413.9277 | 36.4 | 83.1
6817 | 2022-05-17 15:30 | 50.9962 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.5035 | μmol/L | 18.4993 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.457 | 113737.0977 | 265411.6838 | 36.4 | 83.1
6827 | 2022-05-17 15:30 | 51.3293 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.4856 | μmol/L | 18.4932 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.46 | 113759.5238 | 265399.0394 | 36.4 | 83.1
6837 | 2022-05-17 15:30 | 51.6624 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.3531 | μmol/L | 18.4993 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.463 | 113777.843 | 265405.8096 | 36.4 | 83.1
6847 | 2022-05-17 15:31 | 51.9956 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.3281 | μmol/L | 18.4993 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.464 | 113798.2445 | 265399.7708 | 36.4 | 83.1
6857 | 2022-05-17 15:31 | 52.3297 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.3103 | μmol/L | 18.4932 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.467 | 113804.0149 | 265405.2362 | 36.4 | 83.1
6867 | 2022-05-17 15:31 | 52.6626 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.2173 | μmol/L | 18.487 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.473 | 113838.7795 | 265401.0366 | 36.4 | 83.1
6877 | 2022-05-17 15:32 | 52.9958 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.9849 | μmol/L | 18.4932 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.48 | 113871.3043 | 265388.1629 | 36.4 | 83.1
6887 | 2022-05-17 15:32 | 53.3296 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.7599 | μmol/L | 18.4932 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.489 | 113896.9664 | 265383.3126 | 36.4 | 83.1
6897 | 2022-05-17 15:32 | 53.6628 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.6278 | μmol/L | 18.4993 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.492 | 113926.0143 | 265385.1786 | 36.4 | 83.1
6907 | 2022-05-17 15:33 | 53.9958 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.6101 | μmol/L | 18.4932 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.495 | 113955.4798 | 265386.3375 | 36.4 | 83.1
6917 | 2022-05-17 15:33 | 54.3291 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.5424 | μmol/L | 18.487 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.5 | 113974.2077 | 265378.5207 | 36.4 | 83.1
6927 | 2022-05-17 15:33 | 54.6622 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.4925 | μmol/L | 18.487 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.502 | 113978.8875 | 265383.0066 | 36.4 | 83.1
6937 | 2022-05-17 15:34 | 54.9962 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.5352 | μmol/L | 18.4932 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.498 | 113967.0953 | 265379.6752 | 36.4 | 83.1
6947 | 2022-05-17 15:34 | 55.3295 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.4853 | μmol/L | 18.4932 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.5 | 113966.9852 | 265371.3281 | 36.4 | 83.1
6957 | 2022-05-17 15:34 | 55.6625 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.4675 | μmol/L | 18.487 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.503 | 113972.5562 | 265367.4461 | 36.4 | 83.1
6967 | 2022-05-17 15:35 | 55.9957 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.4925 | μmol/L | 18.487 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.502 | 113984.9454 | 265357.9907 | 36.4 | 83.1
6977 | 2022-05-17 15:35 | 56.3295 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.4176 | μmol/L | 18.487 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.505 | 113988.1541 | 265356.1699 | 36.4 | 83.1
6987 | 2022-05-17 15:35 | 56.6626 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.5319 | μmol/L | 18.4748 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.505 | 113991.8653 | 265361.9653 | 36.4 | 83.1
6997 | 2022-05-17 15:36 | 56.9956 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.5247 | μmol/L | 18.4809 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.503 | 113981.3381 | 265347.8875 | 36.4 | 83.1
7007 | 2022-05-17 15:36 | 57.3295 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.6745 | μmol/L | 18.4809 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.497 | 113944.2708 | 265349.0932 | 36.4 | 83.1