## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_4 | O2 | 32092713 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:51

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-17 12:53

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
1557 | 2022-05-17 11:44 | 0 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.9916 | μmol/L | 18.0255 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.184 | 28726.1886 | 295887.2929 | 28.7 | 67.6
1567 | 2022-05-17 11:44 | 0.33896 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.9916 | μmol/L | 18.0255 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.184 | 28731.4445 | 295889.0716 | 28.7 | 67.6
1577 | 2022-05-17 11:45 | 0.67275 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.5237 | μmol/L | 18.0498 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.194 | 28739.3694 | 295893.9848 | 28.7 | 67.6
1587 | 2022-05-17 11:45 | 1.0064 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 287.2294 | μmol/L | 18.0437 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.208 | 28758.1336 | 295901.5848 | 28.7 | 67.6
1597 | 2022-05-17 11:45 | 1.3391 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 286.9852 | μmol/L | 18.0376 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.22 | 28772.9029 | 295912.4535 | 28.7 | 67.6
1607 | 2022-05-17 11:46 | 1.6722 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 286.5331 | μmol/L | 18.0437 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.236 | 28797.8221 | 295893.4449 | 28.7 | 67.6
1617 | 2022-05-17 11:46 | 2.006 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 286.1504 | μmol/L | 18.0255 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.258 | 28829.8481 | 295882.5769 | 28.7 | 67.6
1627 | 2022-05-17 11:46 | 2.3389 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 285.7247 | μmol/L | 18.0315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.273 | 28860.4275 | 295879.1628 | 28.7 | 67.6
1637 | 2022-05-17 11:47 | 2.6726 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 285.7436 | μmol/L | 18.0072 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.281 | 28866.2071 | 295866.4898 | 28.7 | 67.6
1647 | 2022-05-17 11:47 | 3.006 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 285.8874 | μmol/L | 18.0133 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.273 | 28857.3162 | 295856.7738 | 28.7 | 67.6
1657 | 2022-05-17 11:47 | 3.3395 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.8007 | μmol/L | 18.0133 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.317 | 28915.6697 | 295847.228 | 28.7 | 67.6
1667 | 2022-05-17 11:48 | 3.6723 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.368 | μmol/L | 18.0315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.328 | 28931.3078 | 295855.5723 | 28.7 | 67.6
1677 | 2022-05-17 11:48 | 4.0061 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.3522 | μmol/L | 17.989 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.344 | 28948.7162 | 295846.4452 | 28.7 | 67.6
1687 | 2022-05-17 11:48 | 4.3396 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.1754 | μmol/L | 17.995 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.349 | 28958.465 | 295842.3884 | 28.7 | 67.6
1697 | 2022-05-17 11:49 | 4.6722 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.9154 | μmol/L | 18.0133 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.353 | 28955.0058 | 295831.99 | 28.7 | 67.6
1707 | 2022-05-17 11:49 | 5.0058 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.9059 | μmol/L | 18.0255 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.349 | 28953.6339 | 295819.4864 | 28.7 | 67.6
1717 | 2022-05-17 11:49 | 5.3395 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.1467 | μmol/L | 18.0315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.337 | 28941.5549 | 295830.7772 | 28.7 | 67.6
1727 | 2022-05-17 11:50 | 5.6722 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.97 | μmol/L | 18.0376 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.342 | 28939.0357 | 295808.7891 | 28.7 | 67.6
1737 | 2022-05-17 11:50 | 6.0057 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.7737 | μmol/L | 18.0376 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.35 | 28953.1533 | 295809.593 | 28.7 | 67.6
1747 | 2022-05-17 11:50 | 6.3392 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.3372 | μmol/L | 18.0315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.37 | 28969.7725 | 295802.5711 | 28.7 | 67.6
1757 | 2022-05-17 11:51 | 6.6722 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.357 | μmol/L | 18.0376 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.367 | 28974.0029 | 295796.0705 | 28.7 | 67.6
1767 | 2022-05-17 11:51 | 7.0059 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.8125 | μmol/L | 18.0194 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.355 | 28957.3136 | 295771.3058 | 28.7 | 67.6
1777 | 2022-05-17 11:51 | 7.3395 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.0921 | μmol/L | 18.0072 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.348 | 28948.9292 | 295773.2573 | 28.7 | 67.6
1787 | 2022-05-17 11:52 | 7.6725 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.3468 | μmol/L | 18.0194 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.374 | 28970.0422 | 295769.8729 | 28.7 | 67.6
1797 | 2022-05-17 11:52 | 8.006 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.068 | μmol/L | 18.0315 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.381 | 28984.1403 | 295782.2337 | 28.7 | 67.6
1807 | 2022-05-17 11:52 | 8.3394 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.342 | μmol/L | 18.0255 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.372 | 28998.3167 | 295773.6796 | 28.7 | 67.6
1817 | 2022-05-17 11:53 | 8.6729 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.7647 | μmol/L | 18.0133 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.4 | 29004.3624 | 295769.9134 | 28.7 | 67.6
1827 | 2022-05-17 11:53 | 9.0055 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.8476 | μmol/L | 18.0011 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.401 | 29019.5819 | 295757.4554 | 28.7 | 67.6
1837 | 2022-05-17 11:53 | 9.3392 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.5107 | μmol/L | 17.995 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.417 | 29037.2237 | 295759.9312 | 28.7 | 67.6
1847 | 2022-05-17 11:54 | 9.6727 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.5448 | μmol/L | 17.9829 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.42 | 29122.4436 | 295742.5837 | 28.7 | 67.6
1857 | 2022-05-17 11:54 | 10.0056 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.4228 | μmol/L | 17.9829 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.425 | 29125.3853 | 295730.6234 | 28.7 | 67.6
1867 | 2022-05-17 11:54 | 10.3392 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.4765 | μmol/L | 17.9768 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.425 | 29119.4503 | 295713.5388 | 28.7 | 67.6
1877 | 2022-05-17 11:55 | 10.6727 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.4472 | μmol/L | 17.9829 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.424 | 29151.1632 | 295727.1129 | 28.7 | 67.6
1887 | 2022-05-17 11:55 | 11.0062 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.5204 | μmol/L | 17.9829 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.421 | 29145.8553 | 295718.373 | 28.7 | 67.6
1897 | 2022-05-17 11:55 | 11.3389 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.5399 | μmol/L | 17.989 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.418 | 29145.8373 | 295705.5836 | 28.7 | 67.6
1907 | 2022-05-17 11:56 | 11.6725 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.8525 | μmol/L | 17.995 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.403 | 29140.4188 | 295707.1221 | 28.7 | 67.6
1917 | 2022-05-17 11:56 | 12.006 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.828 | μmol/L | 17.995 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.404 | 29145.1374 | 295699.2344 | 28.7 | 67.6
1927 | 2022-05-17 11:56 | 12.3394 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.6279 | μmol/L | 18.0011 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.41 | 29140.1801 | 295691.0187 | 28.7 | 67.6
1937 | 2022-05-17 11:57 | 12.6722 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.7548 | μmol/L | 17.995 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.407 | 29141.742 | 295694.3343 | 28.7 | 67.6
1947 | 2022-05-17 11:57 | 13.0059 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.5009 | μmol/L | 17.9768 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.424 | 29153.2718 | 295682.4729 | 28.7 | 67.6
1957 | 2022-05-17 11:57 | 13.3396 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.3789 | μmol/L | 17.9768 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.429 | 29170.7994 | 295679.7331 | 28.7 | 67.6
1967 | 2022-05-17 11:58 | 13.6723 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.184 | μmol/L | 17.9768 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.437 | 29185.2769 | 295673.636 | 28.7 | 67.6
1977 | 2022-05-17 11:58 | 14.006 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.1402 | μmol/L | 17.9707 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.441 | 29188.8077 | 295660.3988 | 28.7 | 67.6
1987 | 2022-05-17 11:58 | 14.3396 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8482 | μmol/L | 17.9707 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.453 | 29195.7273 | 295658.5842 | 28.7 | 67.6
1997 | 2022-05-17 11:59 | 14.6724 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6245 | μmol/L | 17.9768 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.46 | 29196.1905 | 295664.2598 | 28.7 | 67.6
2007 | 2022-05-17 11:59 | 15.0062 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8433 | μmol/L | 17.9768 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.451 | 29203.5828 | 295643.8709 | 28.7 | 67.6
2017 | 2022-05-17 11:59 | 15.3388 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7217 | μmol/L | 17.9768 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.456 | 29203.2041 | 295675.4026 | 28.7 | 67.6
2027 | 2022-05-17 12:00 | 15.6725 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.207 | μmol/L | 17.9829 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.475 | 29224.938 | 295654.9423 | 28.7 | 67.6
2037 | 2022-05-17 12:00 | 16.006 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.0179 | μmol/L | 17.9768 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.485 | 29255.774 | 295651.4537 | 28.7 | 67.6
2047 | 2022-05-17 12:00 | 16.3395 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.2729 | μmol/L | 17.9707 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.518 | 29311.8779 | 295648.3289 | 28.7 | 67.6
2057 | 2022-05-17 12:01 | 16.6723 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.5013 | μmol/L | 17.9707 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.55 | 29345.5962 | 295651.157 | 28.7 | 67.6
2067 | 2022-05-17 12:01 | 17.006 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.5742 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.558 | 29375.9322 | 295656.7868 | 28.7 | 67.6
2077 | 2022-05-17 12:01 | 17.3396 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.2714 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.575 | 29389.2555 | 295635.1007 | 28.7 | 67.6
2087 | 2022-05-17 12:02 | 17.6724 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.0932 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.578 | 29395.048 | 295616.7057 | 28.7 | 67.6
2097 | 2022-05-17 12:02 | 18.006 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.2134 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.573 | 29403.3749 | 295626.2902 | 28.7 | 67.6
2107 | 2022-05-17 12:02 | 18.3395 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.0402 | μmol/L | 17.9464 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.578 | 29398.0005 | 295619.8865 | 28.7 | 67.6
2117 | 2022-05-17 12:03 | 18.6729 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.0353 | μmol/L | 17.9525 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.576 | 29403.3538 | 295620.2575 | 28.7 | 67.6
2127 | 2022-05-17 12:03 | 19.0062 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.0932 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.578 | 29396.3182 | 295600.9045 | 28.7 | 67.6
2137 | 2022-05-17 12:03 | 19.3389 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.1943 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.576 | 29394.9496 | 295604.6088 | 28.7 | 67.6
2147 | 2022-05-17 12:04 | 19.6725 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.9251 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.585 | 29406.1706 | 295586.1945 | 28.7 | 67.6
2157 | 2022-05-17 12:04 | 20.006 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.9831 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.587 | 29414.7072 | 295584.1616 | 28.7 | 67.6
2167 | 2022-05-17 12:04 | 20.3395 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.7242 | μmol/L | 17.9221 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.6 | 29421.3495 | 295592.1591 | 28.7 | 67.6
2177 | 2022-05-17 12:05 | 20.6724 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.7721 | μmol/L | 17.9221 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.598 | 29420.4309 | 295577.3578 | 28.7 | 67.6
2187 | 2022-05-17 12:05 | 21.0063 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.9691 | μmol/L | 17.916 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.592 | 29419.9282 | 295576.8736 | 28.7 | 67.6
2197 | 2022-05-17 12:05 | 21.3389 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.7142 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.596 | 29426.0125 | 295561.9279 | 28.7 | 67.6
2207 | 2022-05-17 12:06 | 21.6727 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.4366 | μmol/L | 17.9221 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.612 | 29432.0251 | 295573.1112 | 28.7 | 67.6
2217 | 2022-05-17 12:06 | 22.0055 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.5803 | μmol/L | 17.9221 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.606 | 29438.9348 | 295554.3232 | 28.7 | 67.6
2227 | 2022-05-17 12:06 | 22.3391 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.259 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.615 | 29445.8604 | 295546.0169 | 28.7 | 67.6
2237 | 2022-05-17 12:07 | 22.6726 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.938 | μmol/L | 17.9464 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.624 | 29450.8767 | 295552.9641 | 28.7 | 67.6
2247 | 2022-05-17 12:07 | 23.0059 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.8235 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.631 | 29454.7745 | 295574.2944 | 28.7 | 67.6
2257 | 2022-05-17 12:07 | 23.3396 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.0197 | μmol/L | 17.9342 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.625 | 29461.6771 | 295552.4758 | 28.7 | 67.6
2267 | 2022-05-17 12:08 | 23.6722 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.6803 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.637 | 29467.1902 | 295551.9596 | 28.7 | 67.6
2277 | 2022-05-17 12:08 | 24.0058 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.7519 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.634 | 29475.3277 | 295563.2691 | 28.7 | 67.6
2287 | 2022-05-17 12:08 | 24.3394 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.4178 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.648 | 29482.1025 | 295561.4599 | 28.7 | 67.6
2297 | 2022-05-17 12:09 | 24.6724 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.4893 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.645 | 29487.6479 | 295558.1103 | 28.7 | 67.6
2307 | 2022-05-17 12:09 | 25.0059 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.3412 | μmol/L | 17.9464 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.649 | 29497.3017 | 295566.6744 | 28.7 | 67.6
2317 | 2022-05-17 12:09 | 25.3395 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.9413 | μmol/L | 17.9403 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.668 | 29505.7501 | 295575.5331 | 28.7 | 67.6
2327 | 2022-05-17 12:10 | 25.6722 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.8411 | μmol/L | 17.9464 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.67 | 29511.2009 | 295572.0689 | 28.7 | 67.6
2337 | 2022-05-17 12:10 | 26.0056 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.0617 | μmol/L | 17.9099 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.674 | 29516.3798 | 295583.569 | 28.7 | 67.6
2347 | 2022-05-17 12:10 | 26.3393 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.1397 | μmol/L | 17.8734 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.684 | 29518.0135 | 295591.1286 | 28.7 | 67.6
2357 | 2022-05-17 12:11 | 26.6728 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 277.2061 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.679 | 29540.8386 | 295602.0559 | 28.7 | 67.6
2367 | 2022-05-17 12:11 | 27.0056 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.4148 | μmol/L | 17.916 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.699 | 29548.4164 | 295605.4281 | 28.7 | 67.6
2377 | 2022-05-17 12:11 | 27.3396 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 276.2861 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.7 | 29562.6936 | 295616.5914 | 28.7 | 67.6
2387 | 2022-05-17 12:12 | 27.6723 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.9067 | μmol/L | 17.9281 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.716 | 29568.2792 | 295623.3193 | 28.7 | 67.6
2397 | 2022-05-17 12:12 | 28.0058 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.7562 | μmol/L | 17.9099 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.729 | 29584.0151 | 295650.339 | 28.7 | 67.6
2407 | 2022-05-17 12:12 | 28.3395 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.7038 | μmol/L | 17.916 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.729 | 29604.6134 | 295640.8426 | 28.7 | 67.6
2417 | 2022-05-17 12:13 | 28.6722 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.3306 | μmol/L | 17.9099 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.747 | 29613.7448 | 295641.7177 | 28.7 | 67.6
2427 | 2022-05-17 12:13 | 29.0058 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 275.118 | μmol/L | 17.9099 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.756 | 29635.3312 | 295644.449 | 28.7 | 67.6
2437 | 2022-05-17 12:13 | 29.3395 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.7541 | μmol/L | 17.9221 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.767 | 29643.1126 | 295647.3787 | 28.7 | 67.6
2447 | 2022-05-17 12:14 | 29.6721 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.7305 | μmol/L | 17.9221 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.768 | 29656.4381 | 295663.3303 | 28.7 | 67.6
2457 | 2022-05-17 12:14 | 30.0059 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.7121 | μmol/L | 17.916 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.771 | 29667.4072 | 295665.1331 | 28.7 | 67.6
2467 | 2022-05-17 12:14 | 30.3394 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.4715 | μmol/L | 17.9221 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.779 | 29664.7124 | 295657.9943 | 28.7 | 67.6
2477 | 2022-05-17 12:15 | 30.6722 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.5001 | μmol/L | 17.916 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.78 | 29680.239 | 295653.2158 | 28.7 | 67.6
2487 | 2022-05-17 12:15 | 31.0059 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.4295 | μmol/L | 17.916 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.783 | 29693.0796 | 295671.8469 | 28.7 | 67.6
2497 | 2022-05-17 12:15 | 31.3394 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.1473 | μmol/L | 17.916 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.795 | 29700.8943 | 295669.9583 | 28.7 | 67.6
2507 | 2022-05-17 12:16 | 31.6721 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.1943 | μmol/L | 17.916 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.793 | 29697.6958 | 295673.287 | 28.7 | 67.6
2517 | 2022-05-17 12:16 | 32.0058 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.2833 | μmol/L | 17.9221 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.787 | 29707.5853 | 295674.269 | 28.7 | 67.6
2527 | 2022-05-17 12:16 | 32.3393 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 274.0247 | μmol/L | 17.9221 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.798 | 29715.9857 | 295675.3382 | 28.7 | 67.6
2537 | 2022-05-17 12:17 | 32.6721 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.6778 | μmol/L | 17.916 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.815 | 29716.6971 | 295671.5852 | 28.7 | 67.6
2547 | 2022-05-17 12:17 | 33.0055 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.7247 | μmol/L | 17.916 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.813 | 29737.9202 | 295671.3222 | 28.7 | 67.6
2557 | 2022-05-17 12:17 | 33.3389 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.3263 | μmol/L | 17.916 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.83 | 29756.6932 | 295668.3557 | 28.7 | 67.6
2567 | 2022-05-17 12:18 | 33.6725 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.1727 | μmol/L | 17.9038 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.841 | 29776.5987 | 295676.1026 | 28.7 | 67.6
2577 | 2022-05-17 12:18 | 34.0056 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.1909 | μmol/L | 17.9099 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.838 | 29781.5894 | 295682.0936 | 28.7 | 67.6
2587 | 2022-05-17 12:18 | 34.3392 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.8921 | μmol/L | 17.9038 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.853 | 29782.5597 | 295694.8462 | 28.7 | 67.6
2597 | 2022-05-17 12:19 | 34.6727 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 273.1076 | μmol/L | 17.8977 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.846 | 29792.6266 | 295690.8855 | 28.7 | 67.6
2607 | 2022-05-17 12:19 | 35.0061 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.6688 | μmol/L | 17.8917 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.867 | 29802.5076 | 295701.9572 | 28.7 | 67.6
2617 | 2022-05-17 12:19 | 35.3395 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.8608 | μmol/L | 17.8856 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.861 | 29814.1364 | 295709.0546 | 28.7 | 67.6
2627 | 2022-05-17 12:20 | 35.6722 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.7855 | μmol/L | 17.8917 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.862 | 29823.4862 | 295709.2865 | 28.7 | 67.6
2637 | 2022-05-17 12:20 | 36.0059 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.5573 | μmol/L | 17.8856 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.874 | 29832.0959 | 295702.5999 | 28.7 | 67.6
2647 | 2022-05-17 12:20 | 36.339 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.4406 | μmol/L | 17.8856 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.879 | 29844.4244 | 295695.4525 | 28.7 | 67.6
2657 | 2022-05-17 12:21 | 36.6729 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.2128 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.891 | 29856.5601 | 295699.0085 | 28.7 | 67.6
2667 | 2022-05-17 12:21 | 37.0057 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.2412 | μmol/L | 17.8734 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.892 | 29863.1834 | 295706.5753 | 28.7 | 67.6
2677 | 2022-05-17 12:21 | 37.3393 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.1092 | μmol/L | 17.8917 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.891 | 29865.5387 | 295687.5936 | 28.7 | 67.6
2687 | 2022-05-17 12:22 | 37.6729 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.13 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.899 | 29879.5736 | 295698.1948 | 28.7 | 67.6
2697 | 2022-05-17 12:22 | 38.0058 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 272.0344 | μmol/L | 17.843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.912 | 29891.9762 | 295687.3537 | 28.7 | 67.6
2707 | 2022-05-17 12:22 | 38.3394 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.7938 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.909 | 29895.6334 | 295693.6621 | 28.7 | 67.6
2717 | 2022-05-17 12:23 | 38.6729 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.8636 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.906 | 29906.7855 | 295681.0921 | 28.7 | 67.6
2727 | 2022-05-17 12:23 | 39.0056 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.4402 | μmol/L | 17.8856 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.922 | 29906.5488 | 295659.6882 | 28.7 | 67.6
2737 | 2022-05-17 12:23 | 39.3392 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.4866 | μmol/L | 17.8856 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.92 | 29910.2937 | 295665.9713 | 28.7 | 67.6
2747 | 2022-05-17 12:24 | 39.6727 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.5511 | μmol/L | 17.8917 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.915 | 29917.8879 | 295653.889 | 28.7 | 67.6
2757 | 2022-05-17 12:24 | 40.0061 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.3473 | μmol/L | 17.8856 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.926 | 29923.9417 | 295639.7013 | 28.7 | 67.6
2767 | 2022-05-17 12:24 | 40.3396 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.1953 | μmol/L | 17.8734 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.937 | 29931.204 | 295632.4007 | 28.7 | 67.6
2777 | 2022-05-17 12:25 | 40.6723 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.2597 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.932 | 29943.7331 | 295627.8857 | 28.7 | 67.6
2787 | 2022-05-17 12:25 | 41.006 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.6008 | μmol/L | 17.8917 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.956 | 29955.5167 | 295606.0263 | 28.7 | 67.6
2797 | 2022-05-17 12:25 | 41.3388 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 271.051 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.941 | 29953.3276 | 295610.4387 | 28.7 | 67.6
2807 | 2022-05-17 12:26 | 41.6725 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.5597 | μmol/L | 17.8856 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.96 | 29967.4357 | 295589.5638 | 28.7 | 67.6
2817 | 2022-05-17 12:26 | 42.0061 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.8889 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.948 | 29968.8529 | 295569.37 | 28.7 | 67.6
2827 | 2022-05-17 12:26 | 42.3389 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.2183 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.977 | 29987.0443 | 295579.3481 | 28.7 | 67.6
2837 | 2022-05-17 12:27 | 42.6727 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 270.1774 | μmol/L | 17.8734 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.981 | 30008.0164 | 295565.4162 | 28.7 | 67.6
2847 | 2022-05-17 12:27 | 43.0063 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.8492 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.993 | 30021.0785 | 295547.1277 | 28.7 | 67.6
2857 | 2022-05-17 12:27 | 43.3391 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.5498 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.006 | 30041.0929 | 295542.3083 | 28.7 | 67.6
2867 | 2022-05-17 12:28 | 43.6726 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.555 | μmol/L | 17.8734 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.008 | 30046.4236 | 295523.07 | 28.7 | 67.6
2877 | 2022-05-17 12:28 | 44.006 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.555 | μmol/L | 17.8734 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.008 | 30051.8026 | 295498.5903 | 28.7 | 67.6
2887 | 2022-05-17 12:28 | 44.3396 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.2382 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.024 | 30054.179 | 295483.3841 | 28.7 | 67.6
2897 | 2022-05-17 12:29 | 44.6728 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 269.0262 | μmol/L | 17.8734 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.031 | 30068.0724 | 295483.4123 | 28.7 | 67.6
2907 | 2022-05-17 12:29 | 45.0057 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.5392 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.05 | 30087.5603 | 295470.6956 | 28.7 | 67.6
2917 | 2022-05-17 12:29 | 45.3393 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.2415 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.063 | 30104.3219 | 295434.5447 | 28.7 | 67.6
2927 | 2022-05-17 12:30 | 45.6728 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.1272 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.068 | 30114.4849 | 295432.9715 | 28.7 | 67.6
2937 | 2022-05-17 12:30 | 46.0062 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 268.1958 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.065 | 30117.8953 | 295425.4981 | 28.7 | 67.6
2947 | 2022-05-17 12:30 | 46.3396 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.83 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.081 | 30122.4833 | 295396.5179 | 28.7 | 67.6
2957 | 2022-05-17 12:31 | 46.6724 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.6526 | μmol/L | 17.8734 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.091 | 30125.9375 | 295388.6384 | 28.7 | 67.6
2967 | 2022-05-17 12:31 | 47.006 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.7158 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.086 | 30142.7727 | 295359.4416 | 28.7 | 67.6
2977 | 2022-05-17 12:31 | 47.3388 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.4649 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.097 | 30156.219 | 295350.5927 | 28.7 | 67.6
2987 | 2022-05-17 12:32 | 47.6725 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 267.1003 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.113 | 30170.9075 | 295336.427 | 28.7 | 67.6
2997 | 2022-05-17 12:32 | 48.0061 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.8955 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.122 | 30186.6814 | 295314.011 | 28.7 | 67.6
3007 | 2022-05-17 12:32 | 48.3388 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.969 | μmol/L | 17.8734 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.121 | 30192.8799 | 295287.5058 | 28.7 | 67.6
3017 | 2022-05-17 12:33 | 48.6726 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.7818 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.127 | 30201.1372 | 295265.177 | 28.7 | 67.6
3027 | 2022-05-17 12:33 | 49.0062 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.5546 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.137 | 30194.3424 | 295246.2008 | 28.7 | 67.6
3037 | 2022-05-17 12:33 | 49.3388 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.6053 | μmol/L | 17.8734 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.137 | 30203.6806 | 295220.8197 | 28.7 | 67.6
3047 | 2022-05-17 12:34 | 49.6726 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.3677 | μmol/L | 17.8856 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.143 | 30207.6224 | 295228.6102 | 28.7 | 67.6
3057 | 2022-05-17 12:34 | 50.0061 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.1741 | μmol/L | 17.8734 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.156 | 30204.9361 | 295192.64 | 28.7 | 67.6
3067 | 2022-05-17 12:34 | 50.3396 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.3783 | μmol/L | 17.8734 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.147 | 30216.3228 | 295167.5089 | 28.7 | 67.6
3077 | 2022-05-17 12:35 | 50.673 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 266.2248 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.156 | 30223.1358 | 295161.063 | 28.7 | 67.6
3087 | 2022-05-17 12:35 | 51.0058 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.9423 | μmol/L | 17.8795 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.164 | 30226.3706 | 295139.6689 | 28.7 | 67.6
3097 | 2022-05-17 12:35 | 51.3391 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.8117 | μmol/L | 17.8734 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.172 | 30238.2558 | 295127.3351 | 28.7 | 67.6
3107 | 2022-05-17 12:36 | 51.6726 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 265.4499 | μmol/L | 17.8734 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.188 | 30258.2207 | 295112.6017 | 28.7 | 67.6
3117 | 2022-05-17 12:36 | 52.0062 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.846 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.217 | 30288.946 | 295104.7334 | 28.7 | 67.6
3127 | 2022-05-17 12:36 | 52.3389 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.8009 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.219 | 30295.6708 | 295075.8949 | 28.7 | 67.6
3137 | 2022-05-17 12:37 | 52.6726 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.8009 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.219 | 30297.802 | 295076.6387 | 28.7 | 67.6
3147 | 2022-05-17 12:37 | 53.0063 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.5479 | μmol/L | 17.8734 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.228 | 30302.0884 | 295052.6721 | 28.7 | 67.6
3157 | 2022-05-17 12:37 | 53.3389 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.7108 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.223 | 30313.7459 | 295053.8046 | 28.7 | 67.6
3167 | 2022-05-17 12:38 | 53.6725 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.2834 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.242 | 30316.8081 | 295023.1789 | 28.7 | 67.6
3177 | 2022-05-17 12:38 | 54.0058 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.1261 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.249 | 30316.8858 | 295018.3908 | 28.7 | 67.6
3187 | 2022-05-17 12:38 | 54.3396 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.0534 | μmol/L | 17.8734 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.25 | 30318.6518 | 295005.5725 | 28.7 | 67.6
3197 | 2022-05-17 12:39 | 54.6722 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.2556 | μmol/L | 17.8734 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.241 | 30325.0938 | 294984.1897 | 28.7 | 67.6
3207 | 2022-05-17 12:39 | 55.0057 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.9914 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.255 | 30321.9359 | 294970.0005 | 28.7 | 67.6
3217 | 2022-05-17 12:39 | 55.3393 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.0138 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.254 | 30327.8018 | 294948.13 | 28.7 | 67.6
3227 | 2022-05-17 12:40 | 55.6729 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.0812 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.251 | 30325.4445 | 294946.8127 | 28.7 | 67.6
3237 | 2022-05-17 12:40 | 56.0062 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.1935 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.246 | 30327.0497 | 294920.4143 | 28.7 | 67.6
3247 | 2022-05-17 12:40 | 56.3396 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.0138 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.254 | 30330.0281 | 294906.5516 | 28.7 | 67.6
3257 | 2022-05-17 12:41 | 56.6725 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 264.2437 | μmol/L | 17.8613 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.246 | 30336.1153 | 294892.1987 | 28.7 | 67.6
3267 | 2022-05-17 12:41 | 57.0061 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.6998 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.268 | 30348.5759 | 294878.056 | 28.7 | 67.6
3277 | 2022-05-17 12:41 | 57.3396 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.5205 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.276 | 30356.8874 | 294862.7392 | 28.7 | 67.6
3287 | 2022-05-17 12:42 | 57.6722 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.5483 | μmol/L | 17.8613 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.277 | 30366.5803 | 294852.0024 | 28.7 | 67.6
3297 | 2022-05-17 12:42 | 58.0057 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.2242 | μmol/L | 17.8734 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.287 | 30379.7983 | 294831.9508 | 28.7 | 67.6
3307 | 2022-05-17 12:42 | 58.3393 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 263.1008 | μmol/L | 17.8613 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.297 | 30385.8401 | 294813.9389 | 28.7 | 67.6
3317 | 2022-05-17 12:43 | 58.6729 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 262.7773 | μmol/L | 17.8734 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.307 | 30399.3034 | 294795.7129 | 28.7 | 67.6
3327 | 2022-05-17 12:43 | 59.0057 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 262.5319 | μmol/L | 17.8734 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.318 | 30392.9525 | 294787.9094 | 28.7 | 67.6
3337 | 2022-05-17 12:43 | 59.3396 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 262.7827 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.309 | 30397.454 | 294766.0769 | 28.7 | 67.6
3347 | 2022-05-17 12:44 | 59.6725 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 262.7604 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.31 | 30392.7706 | 294743.0385 | 28.7 | 67.6
3357 | 2022-05-17 12:44 | 60.0062 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 262.5988 | μmol/L | 17.8734 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.315 | 30399.7516 | 294734.15 | 28.7 | 67.6
3367 | 2022-05-17 12:44 | 60.3389 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 262.6765 | μmol/L | 17.8613 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.316 | 30393.4609 | 294710.9763 | 28.7 | 67.6
3377 | 2022-05-17 12:45 | 60.6726 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 262.6265 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.316 | 30399.4127 | 294691.6392 | 28.7 | 67.6
3387 | 2022-05-17 12:45 | 61.0058 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 262.5819 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.318 | 30413.6862 | 294688.4164 | 28.7 | 67.6
3397 | 2022-05-17 12:45 | 61.3392 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 262.2031 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.335 | 30423.1397 | 294671.4734 | 28.7 | 67.6
3407 | 2022-05-17 12:46 | 61.6726 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 262.147 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.342 | 30429.58 | 294655.1772 | 28.7 | 67.6
3417 | 2022-05-17 12:46 | 62.0061 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 261.9859 | μmol/L | 17.8613 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.347 | 30437.1517 | 294645.5711 | 28.7 | 67.6
3427 | 2022-05-17 12:46 | 62.3391 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 261.8748 | μmol/L | 17.8613 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.352 | 30442.7884 | 294631.1866 | 28.7 | 67.6
3437 | 2022-05-17 12:47 | 62.6725 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 261.5416 | μmol/L | 17.8613 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.367 | 30457.7517 | 294612.2874 | 28.7 | 67.6
3447 | 2022-05-17 12:47 | 63.006 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 261.2701 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.377 | 30471.159 | 294600.8097 | 28.7 | 67.6
3457 | 2022-05-17 12:47 | 63.3389 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 261.0263 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.388 | 30480.2935 | 294584.6142 | 28.7 | 67.6
3467 | 2022-05-17 12:48 | 63.6724 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.7829 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.399 | 30485.5541 | 294568.7189 | 28.7 | 67.6
3477 | 2022-05-17 12:48 | 64.0059 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 261.0263 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.388 | 30476.2378 | 294553.6904 | 28.7 | 67.6
3487 | 2022-05-17 12:48 | 64.3394 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.7829 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.399 | 30483.7424 | 294540.4225 | 28.7 | 67.6
3497 | 2022-05-17 12:49 | 64.6723 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.7829 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.399 | 30487.2799 | 294514.5592 | 28.7 | 67.6
3507 | 2022-05-17 12:49 | 65.0059 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.6281 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.406 | 30501.0407 | 294504.699 | 28.7 | 67.6
3517 | 2022-05-17 12:49 | 65.3395 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.5398 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.41 | 30503.6916 | 294466.6886 | 28.7 | 67.6
3527 | 2022-05-17 12:50 | 65.6723 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.4843 | μmol/L | 17.8552 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.417 | 30517.3419 | 294482.1767 | 28.7 | 67.6
3537 | 2022-05-17 12:50 | 66.0057 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.2802 | μmol/L | 17.8613 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.424 | 30520.9606 | 294462.4576 | 28.7 | 67.6
3547 | 2022-05-17 12:50 | 66.3392 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.3685 | μmol/L | 17.8613 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.42 | 30527.7996 | 294423.7885 | 28.7 | 67.6
3557 | 2022-05-17 12:51 | 66.6729 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.1866 | μmol/L | 17.8673 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.426 | 30530.4829 | 294426.7855 | 28.7 | 67.6
3567 | 2022-05-17 12:51 | 67.0058 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 260.0817 | μmol/L | 17.8613 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.433 | 30534.6982 | 294402.2899 | 28.7 | 67.6