## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_10 | O2 | 534973996 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-16 12:52

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-18 13:27

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
3429 | 2022-05-18 12:39 | 0 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.0067 | μmol/L | 18.0675 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.597 | 109333.8753 | 268347.83 | 32.55 | 27.7
3439 | 2022-05-18 12:40 | 0.32959 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.9886 | μmol/L | 18.0614 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.6 | 109342.2475 | 268336.3638 | 32.55 | 27.7
3448 | 2022-05-18 12:40 | 0.66251 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 280.0239 | μmol/L | 18.0492 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.603 | 109345.6008 | 268316.9855 | 32.55 | 27.7
3458 | 2022-05-18 12:40 | 0.99597 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.9943 | μmol/L | 18.0553 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.602 | 109349.6337 | 268316.818 | 32.55 | 27.7
3469 | 2022-05-18 12:41 | 1.3297 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.9525 | μmol/L | 18.0492 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.606 | 109363.583 | 268288.0475 | 32.55 | 27.7
3478 | 2022-05-18 12:41 | 1.6625 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.863 | μmol/L | 18.0431 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.612 | 109371.5093 | 268290.0124 | 32.55 | 27.7
3488 | 2022-05-18 12:41 | 1.9961 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.863 | μmol/L | 18.0431 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.612 | 109379.5785 | 268295.0564 | 32.55 | 27.7
3498 | 2022-05-18 12:42 | 2.329 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.8572 | μmol/L | 18.0492 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.61 | 109388.8179 | 268283.6533 | 32.55 | 27.7
3508 | 2022-05-18 12:42 | 2.6626 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.6964 | μmol/L | 18.0431 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.619 | 109393.946 | 268253.3616 | 32.55 | 27.7
3518 | 2022-05-18 12:42 | 2.996 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.8687 | μmol/L | 18.0369 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.614 | 109408.6543 | 268276.669 | 32.55 | 27.7
3529 | 2022-05-18 12:43 | 3.3296 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.8507 | μmol/L | 18.0308 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.617 | 109417.2055 | 268251.9305 | 32.55 | 27.7
3538 | 2022-05-18 12:43 | 3.6625 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.625 | μmol/L | 18.0431 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.622 | 109419.6779 | 268245.4587 | 32.55 | 27.7
3548 | 2022-05-18 12:43 | 3.9962 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.6841 | μmol/L | 18.0308 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.624 | 109424.7915 | 268236.2068 | 32.55 | 27.7
3558 | 2022-05-18 12:44 | 4.3291 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.7137 | μmol/L | 18.0247 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.625 | 109431.2325 | 268231.9311 | 32.55 | 27.7
3568 | 2022-05-18 12:44 | 4.6627 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.6899 | μmol/L | 18.0247 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.626 | 109441.508 | 268234.4613 | 32.55 | 27.7
3578 | 2022-05-18 12:44 | 4.9961 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.6423 | μmol/L | 18.0308 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.626 | 109438.7591 | 268220.5158 | 32.55 | 27.7
3588 | 2022-05-18 12:45 | 5.3296 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.672 | μmol/L | 18.0186 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.629 | 109448.5491 | 268228.204 | 32.55 | 27.7
3598 | 2022-05-18 12:45 | 5.6624 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.7433 | μmol/L | 18.0186 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.626 | 109454.4493 | 268204.4674 | 32.55 | 27.7
3608 | 2022-05-18 12:45 | 5.996 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.7253 | μmol/L | 18.0125 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.629 | 109461.7023 | 268205.483 | 32.55 | 27.7
3618 | 2022-05-18 12:46 | 6.3289 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.6063 | μmol/L | 18.0186 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.632 | 109464.9433 | 268206.1967 | 32.55 | 27.7
3628 | 2022-05-18 12:46 | 6.6625 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.6778 | μmol/L | 18.0125 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.631 | 109476.8183 | 268206.5962 | 32.55 | 27.7
3639 | 2022-05-18 12:46 | 6.9959 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.7131 | μmol/L | 18.0064 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.632 | 109479.3457 | 268203.9013 | 32.55 | 27.7
3648 | 2022-05-18 12:47 | 7.3289 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.5172 | μmol/L | 18.0064 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.64 | 109470.5794 | 268196.0493 | 32.55 | 27.7
3659 | 2022-05-18 12:47 | 7.6626 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.5942 | μmol/L | 18.0064 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.637 | 109488.2829 | 268206.8738 | 32.55 | 27.7
3668 | 2022-05-18 12:47 | 7.9962 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.636 | μmol/L | 18.0064 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.635 | 109498.0972 | 268205.9103 | 32.55 | 27.7
3679 | 2022-05-18 12:48 | 8.329 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.5172 | μmol/L | 18.0064 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.64 | 109495.283 | 268202.3247 | 32.55 | 27.7
3689 | 2022-05-18 12:48 | 8.6625 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.5287 | μmol/L | 18.0003 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.642 | 109514.4254 | 268201.4008 | 32.55 | 27.7
3698 | 2022-05-18 12:48 | 8.9961 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.582 | μmol/L | 17.9941 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.642 | 109512.096 | 268199.0259 | 32.55 | 27.7
3709 | 2022-05-18 12:49 | 9.3295 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.4755 | μmol/L | 18.0003 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.644 | 109515.0477 | 268187.6458 | 32.55 | 27.7
3719 | 2022-05-18 12:49 | 9.6624 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.4574 | μmol/L | 18.0003 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.645 | 109522.1286 | 268189.1261 | 32.55 | 27.7
3728 | 2022-05-18 12:49 | 9.9961 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.4338 | μmol/L | 17.9941 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.648 | 109523.5077 | 268185.1012 | 32.55 | 27.7
3739 | 2022-05-18 12:50 | 10.3292 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.5166 | μmol/L | 17.988 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.647 | 109519.1414 | 268197.1433 | 32.55 | 27.7
3748 | 2022-05-18 12:50 | 10.6628 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.5584 | μmol/L | 17.988 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.645 | 109524.5939 | 268183.4575 | 32.55 | 27.7
3759 | 2022-05-18 12:50 | 10.9963 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.5109 | μmol/L | 17.988 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.647 | 109532.6442 | 268182.2578 | 32.55 | 27.7
3769 | 2022-05-18 12:51 | 11.3292 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.5109 | μmol/L | 17.988 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.647 | 109537.2413 | 268180.7715 | 32.55 | 27.7
3779 | 2022-05-18 12:51 | 11.6629 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.4216 | μmol/L | 17.988 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.651 | 109536.9202 | 268174.7082 | 32.55 | 27.7
3789 | 2022-05-18 12:51 | 11.996 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.5462 | μmol/L | 17.9819 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.648 | 109542.7053 | 268171.8491 | 32.55 | 27.7
3799 | 2022-05-18 12:52 | 12.3295 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.4274 | μmol/L | 17.9819 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.653 | 109540.8696 | 268178.4197 | 32.55 | 27.7
3809 | 2022-05-18 12:52 | 12.663 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3799 | μmol/L | 17.9819 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.655 | 109543.4742 | 268176.2852 | 32.55 | 27.7
3818 | 2022-05-18 12:52 | 12.9957 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.4333 | μmol/L | 17.9758 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.655 | 109552.4402 | 268174.3737 | 32.55 | 27.7
3829 | 2022-05-18 12:53 | 13.3292 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.4276 | μmol/L | 17.9758 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.655 | 109548.0266 | 268165.6011 | 32.55 | 27.7
3839 | 2022-05-18 12:53 | 13.6628 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3858 | μmol/L | 17.9758 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.657 | 109558.9354 | 268166.1026 | 32.55 | 27.7
3849 | 2022-05-18 12:53 | 13.9962 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3858 | μmol/L | 17.9758 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.657 | 109555.5748 | 268153.5153 | 32.55 | 27.7
3859 | 2022-05-18 12:54 | 14.3289 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.4335 | μmol/L | 17.9697 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.657 | 109565.0307 | 268161.8201 | 32.55 | 27.7
3869 | 2022-05-18 12:54 | 14.6629 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.4154 | μmol/L | 17.9697 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.658 | 109568.5421 | 268158.6701 | 32.55 | 27.7
3879 | 2022-05-18 12:54 | 14.9957 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3679 | μmol/L | 17.9697 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.66 | 109566.6169 | 268154.5804 | 32.55 | 27.7
3889 | 2022-05-18 12:55 | 15.3294 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.4393 | μmol/L | 17.9636 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.659 | 109570.9715 | 268163.0553 | 32.55 | 27.7
3898 | 2022-05-18 12:55 | 15.6628 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3147 | μmol/L | 17.9697 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.662 | 109574.5476 | 268166.5354 | 32.55 | 27.7
3908 | 2022-05-18 12:55 | 15.9955 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3263 | μmol/L | 17.9636 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.664 | 109584.8151 | 268147.4681 | 32.55 | 27.7
3919 | 2022-05-18 12:56 | 16.3294 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3738 | μmol/L | 17.9636 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.662 | 109582.8151 | 268139.3509 | 32.55 | 27.7
3928 | 2022-05-18 12:56 | 16.6629 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.2969 | μmol/L | 17.9636 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.665 | 109589.5151 | 268163.045 | 32.55 | 27.7
3939 | 2022-05-18 12:56 | 16.9963 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3559 | μmol/L | 17.9575 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.665 | 109588.0834 | 268155.1809 | 32.55 | 27.7
3949 | 2022-05-18 12:57 | 17.329 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3799 | μmol/L | 17.9513 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.666 | 109596.868 | 268149.3923 | 32.55 | 27.7
3959 | 2022-05-18 12:57 | 17.6625 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.4568 | μmol/L | 17.9513 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.663 | 109594.3814 | 268151.9166 | 32.55 | 27.7
3969 | 2022-05-18 12:57 | 17.9961 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.4805 | μmol/L | 17.9513 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.662 | 109597.4111 | 268152.3951 | 32.55 | 27.7
3978 | 2022-05-18 12:58 | 18.3288 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.2553 | μmol/L | 17.9575 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.669 | 109603.243 | 268161.7656 | 32.55 | 27.7
3989 | 2022-05-18 12:58 | 18.6625 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.2906 | μmol/L | 17.9513 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.67 | 109602.7476 | 268149.2566 | 32.55 | 27.7
3999 | 2022-05-18 12:58 | 18.996 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.2906 | μmol/L | 17.9513 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.67 | 109604.9601 | 268143.4337 | 32.55 | 27.7
4009 | 2022-05-18 12:59 | 19.3296 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3202 | μmol/L | 17.9452 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.671 | 109605.5741 | 268150.2466 | 32.55 | 27.7
4018 | 2022-05-18 12:59 | 19.6623 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.4448 | μmol/L | 17.9391 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.668 | 109618.6098 | 268151.5168 | 32.55 | 27.7
4029 | 2022-05-18 12:59 | 19.9958 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3914 | μmol/L | 17.9452 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.668 | 109615.2703 | 268143.6307 | 32.55 | 27.7
4039 | 2022-05-18 13:00 | 20.3294 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3383 | μmol/L | 17.9452 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.67 | 109622.0428 | 268149.1237 | 32.55 | 27.7
4049 | 2022-05-18 13:00 | 20.6629 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.2787 | μmol/L | 17.9391 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.675 | 109624.3098 | 268146.494 | 32.55 | 27.7
4058 | 2022-05-18 13:00 | 20.9956 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3736 | μmol/L | 17.9391 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.671 | 109623.0668 | 268148.5623 | 32.55 | 27.7
4069 | 2022-05-18 13:01 | 21.3293 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3202 | μmol/L | 17.9452 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.671 | 109625.9503 | 268136.6168 | 32.55 | 27.7
4079 | 2022-05-18 13:01 | 21.6627 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3205 | μmol/L | 17.9391 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.673 | 109634.2551 | 268147.8863 | 32.55 | 27.7
4089 | 2022-05-18 13:01 | 21.9962 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.332 | μmol/L | 17.933 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.675 | 109628.8035 | 268136.8306 | 32.55 | 27.7
4099 | 2022-05-18 13:02 | 22.3294 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.427 | μmol/L | 17.933 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.671 | 109630.96 | 268138.3283 | 32.55 | 27.7
4108 | 2022-05-18 13:02 | 22.6622 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.2787 | μmol/L | 17.9391 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.675 | 109634.5746 | 268131.2813 | 32.55 | 27.7
4119 | 2022-05-18 13:02 | 22.9957 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3558 | μmol/L | 17.933 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.674 | 109640.624 | 268149.9239 | 32.55 | 27.7
4129 | 2022-05-18 13:03 | 23.3293 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.2549 | μmol/L | 17.9391 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.676 | 109640.1075 | 268146.823 | 32.55 | 27.7
4139 | 2022-05-18 13:03 | 23.6622 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3379 | μmol/L | 17.9269 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.677 | 109641.8468 | 268139.7114 | 32.55 | 27.7
4148 | 2022-05-18 13:03 | 23.9956 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3083 | μmol/L | 17.933 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.676 | 109647.5884 | 268143.5049 | 32.55 | 27.7
4159 | 2022-05-18 13:04 | 24.3292 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3617 | μmol/L | 17.9269 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.676 | 109645.3404 | 268142.5449 | 32.55 | 27.7
4169 | 2022-05-18 13:04 | 24.6628 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.4091 | μmol/L | 17.9269 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.674 | 109649.4465 | 268142.6874 | 32.55 | 27.7
4179 | 2022-05-18 13:04 | 24.996 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3913 | μmol/L | 17.9208 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.677 | 109637.3825 | 268133.5591 | 32.55 | 27.7
4189 | 2022-05-18 13:05 | 25.3291 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3617 | μmol/L | 17.9269 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.676 | 109652.3633 | 268135.1008 | 32.55 | 27.7
4198 | 2022-05-18 13:05 | 25.6626 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.4388 | μmol/L | 17.9208 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.675 | 109648.5569 | 268147.9338 | 32.55 | 27.7
4208 | 2022-05-18 13:05 | 25.9962 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.4091 | μmol/L | 17.9269 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.674 | 109646.4691 | 268134.146 | 32.55 | 27.7
4218 | 2022-05-18 13:06 | 26.329 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3201 | μmol/L | 17.9208 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.68 | 109652.3101 | 268138.5246 | 32.55 | 27.7
4229 | 2022-05-18 13:06 | 26.6626 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.4388 | μmol/L | 17.9208 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.675 | 109653.2291 | 268134.1401 | 32.55 | 27.7
4239 | 2022-05-18 13:06 | 26.9961 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3439 | μmol/L | 17.9208 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.679 | 109650.5773 | 268138.3742 | 32.55 | 27.7
4249 | 2022-05-18 13:07 | 27.3295 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3735 | μmol/L | 17.9147 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.68 | 109657.8466 | 268136.1308 | 32.55 | 27.7
4259 | 2022-05-18 13:07 | 27.6622 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.4507 | μmol/L | 17.9085 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.679 | 109656.3312 | 268143.598 | 32.55 | 27.7
4268 | 2022-05-18 13:07 | 27.9957 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.4032 | μmol/L | 17.9085 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.681 | 109659.7577 | 268130.4817 | 32.55 | 27.7
4279 | 2022-05-18 13:08 | 28.329 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.4269 | μmol/L | 17.9085 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.68 | 109662.5364 | 268146.3838 | 32.55 | 27.7
4288 | 2022-05-18 13:08 | 28.6627 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.4032 | μmol/L | 17.9085 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.681 | 109672.1761 | 268147.5757 | 32.55 | 27.7
4298 | 2022-05-18 13:08 | 28.9963 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.4566 | μmol/L | 17.9024 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.681 | 109665.4747 | 268154.4892 | 32.55 | 27.7
4308 | 2022-05-18 13:09 | 29.3292 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.4269 | μmol/L | 17.9085 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.68 | 109667.3426 | 268149.494 | 32.55 | 27.7
4318 | 2022-05-18 13:09 | 29.6628 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.5041 | μmol/L | 17.9024 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.679 | 109670.9339 | 268153.9092 | 32.55 | 27.7
4329 | 2022-05-18 13:09 | 29.9963 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.4566 | μmol/L | 17.9024 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.681 | 109676.2678 | 268153.2098 | 32.55 | 27.7
4339 | 2022-05-18 13:10 | 30.3292 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.4388 | μmol/L | 17.8963 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.684 | 109680.6488 | 268138.8269 | 32.55 | 27.7
4349 | 2022-05-18 13:10 | 30.6627 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3617 | μmol/L | 17.9024 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.685 | 109690.0168 | 268152.3523 | 32.55 | 27.7
4359 | 2022-05-18 13:10 | 30.9962 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.4151 | μmol/L | 17.8963 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.685 | 109687.276 | 268135.1008 | 32.55 | 27.7
4368 | 2022-05-18 13:11 | 31.329 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3854 | μmol/L | 17.9024 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.684 | 109696.6831 | 268139.4744 | 32.55 | 27.7
4378 | 2022-05-18 13:11 | 31.6624 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.2608 | μmol/L | 17.9085 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.687 | 109690.6388 | 268142.1865 | 32.55 | 27.7
4389 | 2022-05-18 13:11 | 31.9959 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3914 | μmol/L | 17.8963 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.686 | 109701.1156 | 268151.3911 | 32.55 | 27.7
4399 | 2022-05-18 13:12 | 32.3295 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3914 | μmol/L | 17.8963 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.686 | 109713.3599 | 268144.9916 | 32.55 | 27.7
4408 | 2022-05-18 13:12 | 32.6624 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.2965 | μmol/L | 17.8963 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.69 | 109708.7622 | 268144.1143 | 32.55 | 27.7
4418 | 2022-05-18 13:12 | 32.9959 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3024 | μmol/L | 17.8902 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.692 | 109718.3744 | 268141.5017 | 32.55 | 27.7
4429 | 2022-05-18 13:13 | 33.3294 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.249 | μmol/L | 17.8963 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.692 | 109722.9896 | 268130.5464 | 32.55 | 27.7
4439 | 2022-05-18 13:13 | 33.6629 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.3973 | μmol/L | 17.8902 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.688 | 109732.0393 | 268129.8201 | 32.55 | 27.7
4448 | 2022-05-18 13:13 | 33.9959 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.1719 | μmol/L | 17.9024 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.693 | 109737.2312 | 268143.2432 | 32.55 | 27.7
4459 | 2022-05-18 13:14 | 34.3295 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.249 | μmol/L | 17.8963 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.692 | 109741.3955 | 268134.0055 | 32.55 | 27.7
4468 | 2022-05-18 13:14 | 34.6627 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.2787 | μmol/L | 17.8902 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.693 | 109751.6563 | 268140.0425 | 32.55 | 27.7
4478 | 2022-05-18 13:14 | 34.9957 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.255 | μmol/L | 17.8902 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.694 | 109744.861 | 268136.9929 | 32.55 | 27.7
4488 | 2022-05-18 13:15 | 35.3294 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.2609 | μmol/L | 17.8841 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.696 | 109754.0537 | 268128.2118 | 32.55 | 27.7
4499 | 2022-05-18 13:15 | 35.663 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.1364 | μmol/L | 17.8902 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.699 | 109762.5601 | 268130.7283 | 32.55 | 27.7
4509 | 2022-05-18 13:15 | 35.9958 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.2609 | μmol/L | 17.8841 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.696 | 109767.9783 | 268133.3019 | 32.55 | 27.7
4518 | 2022-05-18 13:16 | 36.3292 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.1661 | μmol/L | 17.8841 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.7 | 109776.6498 | 268128.8859 | 32.55 | 27.7
4529 | 2022-05-18 13:16 | 36.6627 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.0476 | μmol/L | 17.8841 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.705 | 109780.5874 | 268121.68 | 32.55 | 27.7
4539 | 2022-05-18 13:16 | 36.9961 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.0713 | μmol/L | 17.8841 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.704 | 109785.6395 | 268121.3932 | 32.55 | 27.7
4549 | 2022-05-18 13:17 | 37.3288 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.0239 | μmol/L | 17.8841 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.706 | 109786.1554 | 268119.88 | 32.55 | 27.7
4559 | 2022-05-18 13:17 | 37.6624 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.1247 | μmol/L | 17.878 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.704 | 109791.9095 | 268122.5868 | 32.55 | 27.7
4569 | 2022-05-18 13:17 | 37.996 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.9529 | μmol/L | 17.8841 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.709 | 109799.8164 | 268117.7244 | 32.55 | 27.7
4578 | 2022-05-18 13:18 | 38.3289 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 279.0062 | μmol/L | 17.878 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.709 | 109811.154 | 268121.1295 | 32.55 | 27.7
4588 | 2022-05-18 13:18 | 38.6626 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.8582 | μmol/L | 17.8841 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.713 | 109813.4834 | 268108.648 | 32.55 | 27.7
4599 | 2022-05-18 13:18 | 38.9961 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.8878 | μmol/L | 17.878 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.714 | 109831.7959 | 268110.9622 | 32.55 | 27.7
4608 | 2022-05-18 13:19 | 39.3292 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.8878 | μmol/L | 17.878 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.714 | 109836.0475 | 268117.8493 | 32.55 | 27.7
4618 | 2022-05-18 13:19 | 39.6623 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.8878 | μmol/L | 17.878 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.714 | 109841.6052 | 268108.0746 | 32.55 | 27.7
4629 | 2022-05-18 13:19 | 39.9962 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.7518 | μmol/L | 17.8719 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.722 | 109847.2675 | 268088.8646 | 32.55 | 27.7
4639 | 2022-05-18 13:20 | 40.3292 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.8228 | μmol/L | 17.8719 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.719 | 109847.981 | 268098.3257 | 32.55 | 27.7
4648 | 2022-05-18 13:20 | 40.6624 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.7755 | μmol/L | 17.8719 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.721 | 109856.2971 | 268083.0711 | 32.55 | 27.7
4659 | 2022-05-18 13:20 | 40.9959 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.8288 | μmol/L | 17.8658 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.721 | 109853.2357 | 268086.7176 | 32.55 | 27.7
4668 | 2022-05-18 13:21 | 41.3289 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.8525 | μmol/L | 17.8658 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.72 | 109849.134 | 268099.7867 | 32.55 | 27.7
4678 | 2022-05-18 13:21 | 41.6627 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.7045 | μmol/L | 17.8719 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.724 | 109851.0546 | 268092.2508 | 32.55 | 27.7
4689 | 2022-05-18 13:21 | 41.9956 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.8051 | μmol/L | 17.8658 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.722 | 109856.3461 | 268084.0998 | 32.55 | 27.7
4698 | 2022-05-18 13:22 | 42.329 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.6809 | μmol/L | 17.8719 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.725 | 109848.2325 | 268074.1979 | 32.55 | 27.7
4709 | 2022-05-18 13:22 | 42.6624 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.7342 | μmol/L | 17.8658 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.725 | 109847.848 | 268077.7568 | 32.55 | 27.7
4718 | 2022-05-18 13:22 | 42.9956 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.8288 | μmol/L | 17.8658 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.721 | 109854.993 | 268076.9032 | 32.55 | 27.7
4729 | 2022-05-18 13:23 | 43.3296 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.5863 | μmol/L | 17.8719 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.729 | 109850.483 | 268082.5694 | 32.55 | 27.7
4739 | 2022-05-18 13:23 | 43.6627 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.7342 | μmol/L | 17.8658 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.725 | 109858.3035 | 268078.0956 | 32.55 | 27.7
4749 | 2022-05-18 13:23 | 43.9961 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.7165 | μmol/L | 17.8596 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.728 | 109854.664 | 268074.5822 | 32.55 | 27.7
4757 | 2022-05-18 13:24 | 44.3291 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.7165 | μmol/L | 17.8596 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.728 | 109861.9394 | 268067.2802 | 32.55 | 27.7
4764 | 2022-05-18 13:24 | 44.6623 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.7698 | μmol/L | 17.8535 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.728 | 109869.7346 | 268063.3562 | 32.55 | 27.7
4770 | 2022-05-18 13:24 | 44.9956 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.6929 | μmol/L | 17.8596 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.729 | 109867.9592 | 268069.9506 | 32.55 | 27.7
4772 | 2022-05-18 13:25 | 45.3292 | oxy_ch_10 (PSt7-10) | 2022-05-16 12:52 | default | 278.6516 | μmol/L | 17.8535 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.733 | 109868.2853 | 268051.4054 | 32.55 | 27.7