## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_9 | O2 | 214428135 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-16 12:51

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-18 12:20

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
2086 | 2022-05-18 11:35 | 0 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 279.1081 | μmol/L | 18.3761 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.634 | 91730.745 | 269365.6515 | 26.25 | 74
2096 | 2022-05-18 11:35 | 0.33191 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.8234 | μmol/L | 18.3761 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.646 | 91993.1993 | 269354.8103 | 26.25 | 74
2106 | 2022-05-18 11:35 | 0.66545 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.776 | μmol/L | 18.3761 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.648 | 91975.6633 | 269371.125 | 26.25 | 74
2116 | 2022-05-18 11:36 | 0.99819 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.7341 | μmol/L | 18.37 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.652 | 91936.7755 | 269351.052 | 26.25 | 74
2126 | 2022-05-18 11:36 | 1.3319 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.6394 | μmol/L | 18.37 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.656 | 91899.3364 | 269344.6211 | 26.25 | 74
2136 | 2022-05-18 11:36 | 1.6654 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.6212 | μmol/L | 18.3639 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.659 | 91867.2002 | 269331.7876 | 26.25 | 74
2146 | 2022-05-18 11:37 | 1.998 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.5083 | μmol/L | 18.3578 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.666 | 91833.0972 | 269314.0243 | 26.25 | 74
2156 | 2022-05-18 11:37 | 2.3316 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.2371 | μmol/L | 18.37 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.673 | 91836.1928 | 269292.8804 | 26.25 | 74
2166 | 2022-05-18 11:37 | 2.665 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.3718 | μmol/L | 18.3517 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.674 | 91814.0792 | 269294.1839 | 26.25 | 74
2176 | 2022-05-18 11:38 | 2.9986 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.2008 | μmol/L | 18.3578 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.679 | 91815.9749 | 269300.4911 | 26.25 | 74
2186 | 2022-05-18 11:38 | 3.3314 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.2828 | μmol/L | 18.3456 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.68 | 91809.6724 | 269284.2482 | 26.25 | 74
2196 | 2022-05-18 11:38 | 3.665 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.041 | μmol/L | 18.3517 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.688 | 91804.3525 | 269273.0537 | 26.25 | 74
2206 | 2022-05-18 11:39 | 3.9985 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.0992 | μmol/L | 18.3395 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.69 | 91782.6028 | 269271.0783 | 26.25 | 74
2216 | 2022-05-18 11:39 | 4.3314 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.0756 | μmol/L | 18.3395 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.691 | 91775.649 | 269260.5914 | 26.25 | 74
2226 | 2022-05-18 11:39 | 4.6649 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.1465 | μmol/L | 18.3395 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.688 | 91746.6003 | 269260.7477 | 26.25 | 74
2236 | 2022-05-18 11:40 | 4.9986 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.1576 | μmol/L | 18.3274 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.692 | 91745.3668 | 269258.477 | 26.25 | 74
2246 | 2022-05-18 11:40 | 5.3314 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.1339 | μmol/L | 18.3274 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.693 | 91731.7462 | 269240.5562 | 26.25 | 74
2256 | 2022-05-18 11:40 | 5.6648 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.9742 | μmol/L | 18.3213 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.702 | 91726.5518 | 269224.6548 | 26.25 | 74
2266 | 2022-05-18 11:41 | 5.9984 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.127 | μmol/L | 18.3091 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.7 | 91705.5002 | 269235.1044 | 26.25 | 74
2276 | 2022-05-18 11:41 | 6.3319 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.1034 | μmol/L | 18.3091 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.701 | 91716.965 | 269226.3118 | 26.25 | 74
2286 | 2022-05-18 11:41 | 6.6654 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.1562 | μmol/L | 18.303 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.701 | 91714.6417 | 269228.8885 | 26.25 | 74
2296 | 2022-05-18 11:42 | 6.9981 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.9909 | μmol/L | 18.303 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.708 | 91690.2081 | 269218.5485 | 26.25 | 74
2306 | 2022-05-18 11:42 | 7.3316 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.209 | μmol/L | 18.2969 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.701 | 91713.6231 | 269210.475 | 26.25 | 74
2316 | 2022-05-18 11:42 | 7.6653 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.9784 | μmol/L | 18.2908 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.713 | 91718.9666 | 269209.6137 | 26.25 | 74
2326 | 2022-05-18 11:43 | 7.9988 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.9077 | μmol/L | 18.2908 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.716 | 91721.2028 | 269196.0908 | 26.25 | 74
2336 | 2022-05-18 11:43 | 8.332 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 278.0548 | μmol/L | 18.2847 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.712 | 91724.6374 | 269195.2995 | 26.25 | 74
2346 | 2022-05-18 11:43 | 8.665 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.8369 | μmol/L | 18.2908 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.719 | 91741.182 | 269183.5479 | 26.25 | 74
2356 | 2022-05-18 11:44 | 8.9987 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.9716 | μmol/L | 18.2725 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.72 | 91766.3193 | 269173.3425 | 26.25 | 74
2366 | 2022-05-18 11:44 | 9.3318 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.8773 | μmol/L | 18.2725 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.724 | 91761.1713 | 269178.9913 | 26.25 | 74
2376 | 2022-05-18 11:44 | 9.6647 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.8301 | μmol/L | 18.2725 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.726 | 91781.5411 | 269160.3387 | 26.25 | 74
2386 | 2022-05-18 11:45 | 9.9984 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.8885 | μmol/L | 18.2604 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.728 | 91782.6851 | 269167.4641 | 26.25 | 74
2396 | 2022-05-18 11:45 | 10.332 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.8414 | μmol/L | 18.2604 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.73 | 91779.359 | 269150.1393 | 26.25 | 74
2406 | 2022-05-18 11:45 | 10.6651 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.8234 | μmol/L | 18.2543 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.733 | 91788.7266 | 269149.4005 | 26.25 | 74
2416 | 2022-05-18 11:46 | 10.9989 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.7763 | μmol/L | 18.2543 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.735 | 91805.8318 | 269145.2619 | 26.25 | 74
2426 | 2022-05-18 11:46 | 11.3319 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.8347 | μmol/L | 18.2421 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.737 | 91818.5663 | 269134.5284 | 26.25 | 74
2436 | 2022-05-18 11:46 | 11.6655 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.8347 | μmol/L | 18.2421 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.737 | 91815.7214 | 269128.5199 | 26.25 | 74
2446 | 2022-05-18 11:47 | 11.9986 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.7404 | μmol/L | 18.2421 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.741 | 91840.3694 | 269110.8094 | 26.25 | 74
2456 | 2022-05-18 11:47 | 12.3315 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.7989 | μmol/L | 18.2299 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.743 | 91874.4919 | 269113.4037 | 26.25 | 74
2466 | 2022-05-18 11:47 | 12.6652 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.9403 | μmol/L | 18.2299 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.737 | 91890.7713 | 269113.1995 | 26.25 | 74
2476 | 2022-05-18 11:48 | 12.9982 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.699 | μmol/L | 18.236 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.745 | 91912.8658 | 269107.2864 | 26.25 | 74
2486 | 2022-05-18 11:48 | 13.332 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.8517 | μmol/L | 18.2238 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.743 | 91942.2849 | 269089.9308 | 26.25 | 74
2496 | 2022-05-18 11:48 | 13.665 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.781 | μmol/L | 18.2238 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.746 | 91972.0073 | 269089.6173 | 26.25 | 74
2506 | 2022-05-18 11:49 | 13.9987 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.8102 | μmol/L | 18.2177 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.747 | 92007.55 | 269081.3189 | 26.25 | 74
2516 | 2022-05-18 11:49 | 14.3317 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.8159 | μmol/L | 18.2116 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.749 | 92032.526 | 269081.7903 | 26.25 | 74
2526 | 2022-05-18 11:49 | 14.6648 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.7802 | μmol/L | 18.1994 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.755 | 92054.4444 | 269074.1811 | 26.25 | 74
2536 | 2022-05-18 11:50 | 14.9983 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.898 | μmol/L | 18.1994 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.75 | 92089.0058 | 269074.3268 | 26.25 | 74
2546 | 2022-05-18 11:50 | 15.3315 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.7859 | μmol/L | 18.1934 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.757 | 92128.3267 | 269070.6962 | 26.25 | 74
2556 | 2022-05-18 11:50 | 15.6653 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6153 | μmol/L | 18.1994 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.762 | 92170.6367 | 269046.7887 | 26.25 | 74
2566 | 2022-05-18 11:51 | 15.9981 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.7388 | μmol/L | 18.1934 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.759 | 92189.5757 | 269037.2961 | 26.25 | 74
2576 | 2022-05-18 11:51 | 16.3316 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.8151 | μmol/L | 18.1873 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.758 | 92227.3781 | 269049.1908 | 26.25 | 74
2586 | 2022-05-18 11:51 | 16.6654 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6916 | μmol/L | 18.1934 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.761 | 92262.3543 | 269030.1244 | 26.25 | 74
2596 | 2022-05-18 11:52 | 16.9982 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.7209 | μmol/L | 18.1873 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.762 | 92305.6734 | 269017.3245 | 26.25 | 74
2606 | 2022-05-18 11:52 | 17.3319 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5796 | μmol/L | 18.1873 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.768 | 92313.7091 | 269000.3095 | 26.25 | 74
2616 | 2022-05-18 11:52 | 17.6647 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6382 | μmol/L | 18.1751 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.77 | 92342.9922 | 269007.2398 | 26.25 | 74
2626 | 2022-05-18 11:53 | 17.9985 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.7088 | μmol/L | 18.1751 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.767 | 92361.6722 | 268992.4295 | 26.25 | 74
2636 | 2022-05-18 11:53 | 18.3315 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.691 | μmol/L | 18.169 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.77 | 92367.8433 | 269002.733 | 26.25 | 74
2646 | 2022-05-18 11:53 | 18.6652 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6439 | μmol/L | 18.169 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.772 | 92367.2763 | 269002.2799 | 26.25 | 74
2656 | 2022-05-18 11:54 | 18.9982 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5498 | μmol/L | 18.169 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.776 | 92374.9855 | 268990.8991 | 26.25 | 74
2666 | 2022-05-18 11:54 | 19.332 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6496 | μmol/L | 18.1629 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.774 | 92376.9039 | 268991.0705 | 26.25 | 74
2676 | 2022-05-18 11:54 | 19.6648 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6554 | μmol/L | 18.1568 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.776 | 92393.6371 | 268993.3437 | 26.25 | 74
2686 | 2022-05-18 11:55 | 19.9985 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6847 | μmol/L | 18.1507 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.777 | 92416.0598 | 268993.5828 | 26.25 | 74
2696 | 2022-05-18 11:55 | 20.3321 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6847 | μmol/L | 18.1507 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.777 | 92423.3384 | 268987.8619 | 26.25 | 74
2706 | 2022-05-18 11:55 | 20.6648 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5848 | μmol/L | 18.1568 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.779 | 92400.4712 | 268984.3066 | 26.25 | 74
2716 | 2022-05-18 11:56 | 20.9987 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6905 | μmol/L | 18.1446 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.779 | 92424.9688 | 268981.7825 | 26.25 | 74
2726 | 2022-05-18 11:56 | 21.332 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.7375 | μmol/L | 18.1446 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.777 | 92431.3347 | 268982.0194 | 26.25 | 74
2736 | 2022-05-18 11:56 | 21.6653 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6727 | μmol/L | 18.1385 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.782 | 92445.6111 | 268958.3804 | 26.25 | 74
2746 | 2022-05-18 11:57 | 21.9988 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6021 | μmol/L | 18.1385 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.785 | 92460.3323 | 268972.9512 | 26.25 | 74
2756 | 2022-05-18 11:57 | 22.3321 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.7549 | μmol/L | 18.1264 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.783 | 92469.2343 | 268956.7197 | 26.25 | 74
2766 | 2022-05-18 11:57 | 22.6652 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.555 | μmol/L | 18.1385 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.787 | 92477.4276 | 268952.9424 | 26.25 | 74
2776 | 2022-05-18 11:58 | 22.9988 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6549 | μmol/L | 18.1324 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.785 | 92463.7315 | 268962.7207 | 26.25 | 74
2786 | 2022-05-18 11:58 | 23.3317 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.69 | μmol/L | 18.1203 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.788 | 92472.0913 | 268957.0301 | 26.25 | 74
2796 | 2022-05-18 11:58 | 23.6654 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6665 | μmol/L | 18.1203 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.789 | 92479.8544 | 268958.0951 | 26.25 | 74
2806 | 2022-05-18 11:59 | 23.9986 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.7194 | μmol/L | 18.1142 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.789 | 92488.9436 | 268938.3622 | 26.25 | 74
2816 | 2022-05-18 11:59 | 24.3318 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5431 | μmol/L | 18.1264 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.792 | 92485.6702 | 268951.598 | 26.25 | 74
2826 | 2022-05-18 11:59 | 24.665 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.7194 | μmol/L | 18.1142 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.789 | 92508.4463 | 268924.5587 | 26.25 | 74
2836 | 2022-05-18 12:00 | 24.9987 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6017 | μmol/L | 18.1142 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.794 | 92506.5017 | 268937.113 | 26.25 | 74
2846 | 2022-05-18 12:00 | 25.3316 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.7016 | μmol/L | 18.1081 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.792 | 92499.7152 | 268921.4095 | 26.25 | 74
2856 | 2022-05-18 12:00 | 25.6653 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.7074 | μmol/L | 18.102 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.794 | 92505.6112 | 268918.3562 | 26.25 | 74
2866 | 2022-05-18 12:01 | 25.9982 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6839 | μmol/L | 18.102 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.795 | 92529.5821 | 268918.9099 | 26.25 | 74
2876 | 2022-05-18 12:01 | 26.3318 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6839 | μmol/L | 18.102 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.795 | 92512.7291 | 268926.2316 | 26.25 | 74
2886 | 2022-05-18 12:01 | 26.6648 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6133 | μmol/L | 18.102 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.798 | 92523.9363 | 268923.4731 | 26.25 | 74
2896 | 2022-05-18 12:02 | 26.9981 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6897 | μmol/L | 18.0959 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.797 | 92560.6924 | 268923.3301 | 26.25 | 74
2906 | 2022-05-18 12:02 | 27.332 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6191 | μmol/L | 18.0959 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.8 | 92554.1241 | 268926.4287 | 26.25 | 74
2916 | 2022-05-18 12:02 | 27.665 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.7897 | μmol/L | 18.0898 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.795 | 92585.2411 | 268921.3516 | 26.25 | 74
2926 | 2022-05-18 12:03 | 27.9987 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6485 | μmol/L | 18.0898 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.801 | 92580.714 | 268921.5098 | 26.25 | 74
2936 | 2022-05-18 12:03 | 28.3317 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6602 | μmol/L | 18.0776 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.805 | 92597.9807 | 268913.4912 | 26.25 | 74
2946 | 2022-05-18 12:03 | 28.6653 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6308 | μmol/L | 18.0837 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.804 | 92614.0946 | 268918.8455 | 26.25 | 74
2956 | 2022-05-18 12:04 | 28.9983 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.7543 | μmol/L | 18.0776 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.801 | 92622.4303 | 268923.1032 | 26.25 | 74
2966 | 2022-05-18 12:04 | 29.3321 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.7072 | μmol/L | 18.0776 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.803 | 92644.9021 | 268938.0348 | 26.25 | 74
2976 | 2022-05-18 12:04 | 29.6649 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6602 | μmol/L | 18.0776 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.805 | 92644.523 | 268921.121 | 26.25 | 74
2986 | 2022-05-18 12:05 | 29.9988 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5896 | μmol/L | 18.0776 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.808 | 92652.5824 | 268931.965 | 26.25 | 74
2996 | 2022-05-18 12:05 | 30.3321 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6954 | μmol/L | 18.0654 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.808 | 92660.8265 | 268926.7531 | 26.25 | 74
3006 | 2022-05-18 12:05 | 30.6651 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6425 | μmol/L | 18.0715 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.808 | 92672.0371 | 268914.8498 | 26.25 | 74
3016 | 2022-05-18 12:06 | 30.9981 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6719 | μmol/L | 18.0654 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.809 | 92674.8201 | 268934.3626 | 26.25 | 74
3026 | 2022-05-18 12:06 | 31.3319 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5719 | μmol/L | 18.0715 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.811 | 92715.9176 | 268935.1121 | 26.25 | 74
3036 | 2022-05-18 12:06 | 31.665 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5778 | μmol/L | 18.0654 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.813 | 92702.1694 | 268928.5289 | 26.25 | 74
3046 | 2022-05-18 12:07 | 31.9981 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5837 | μmol/L | 18.0594 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.815 | 92688.7369 | 268928.6134 | 26.25 | 74
3056 | 2022-05-18 12:07 | 32.3318 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.4838 | μmol/L | 18.0654 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.817 | 92706.165 | 268944.8374 | 26.25 | 74
3066 | 2022-05-18 12:07 | 32.6655 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5425 | μmol/L | 18.0533 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.819 | 92734.114 | 268927.378 | 26.25 | 74
3076 | 2022-05-18 12:08 | 32.9985 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6542 | μmol/L | 18.0594 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.812 | 92741.2787 | 268940.6378 | 26.25 | 74
3086 | 2022-05-18 12:08 | 33.332 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.566 | μmol/L | 18.0533 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.818 | 92781.4597 | 268958.8245 | 26.25 | 74
3096 | 2022-05-18 12:08 | 33.6649 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.566 | μmol/L | 18.0533 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.818 | 92778.249 | 268952.39 | 26.25 | 74
3106 | 2022-05-18 12:09 | 33.9986 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6483 | μmol/L | 18.0411 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.819 | 92799.8996 | 268946.9008 | 26.25 | 74
3116 | 2022-05-18 12:09 | 34.3316 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5778 | μmol/L | 18.0411 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.822 | 92804.9041 | 268966.0797 | 26.25 | 74
3126 | 2022-05-18 12:09 | 34.6652 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5778 | μmol/L | 18.0411 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.822 | 92813.8569 | 268968.7025 | 26.25 | 74
3136 | 2022-05-18 12:10 | 34.9984 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6777 | μmol/L | 18.035 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.82 | 92835.2937 | 268963.224 | 26.25 | 74
3146 | 2022-05-18 12:10 | 35.3322 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5249 | μmol/L | 18.0472 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.822 | 92861.4332 | 268970.6399 | 26.25 | 74
3156 | 2022-05-18 12:10 | 35.6653 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.7071 | μmol/L | 18.0289 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.821 | 92866.4115 | 268970.1645 | 26.25 | 74
3166 | 2022-05-18 12:11 | 35.9984 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6542 | μmol/L | 18.035 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.821 | 92881.808 | 268972.4747 | 26.25 | 74
3176 | 2022-05-18 12:11 | 36.3315 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.4427 | μmol/L | 18.035 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.83 | 92889.4724 | 268971.0984 | 26.25 | 74
3186 | 2022-05-18 12:11 | 36.6654 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6601 | μmol/L | 18.0289 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.823 | 92890.7211 | 268977.5647 | 26.25 | 74
3196 | 2022-05-18 12:12 | 36.9983 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.4897 | μmol/L | 18.035 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.828 | 92908.5854 | 268979.8065 | 26.25 | 74
3206 | 2022-05-18 12:12 | 37.3321 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5191 | μmol/L | 18.0289 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.829 | 92895.6514 | 268980.6707 | 26.25 | 74
3216 | 2022-05-18 12:12 | 37.6653 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.619 | μmol/L | 18.0228 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.827 | 92927.301 | 268979.5893 | 26.25 | 74
3226 | 2022-05-18 12:13 | 37.9988 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.572 | μmol/L | 18.0228 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.829 | 92939.9242 | 268981.9983 | 26.25 | 74
3236 | 2022-05-18 12:13 | 38.3316 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.525 | μmol/L | 18.0228 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.831 | 92952.6846 | 268967.075 | 26.25 | 74
3246 | 2022-05-18 12:13 | 38.6651 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5485 | μmol/L | 18.0228 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.83 | 92966.2488 | 268963.8401 | 26.25 | 74
3256 | 2022-05-18 12:14 | 38.9981 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5015 | μmol/L | 18.0228 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.832 | 92964.3699 | 268970.6974 | 26.25 | 74
3266 | 2022-05-18 12:14 | 39.3319 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5191 | μmol/L | 18.0289 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.829 | 92972.3829 | 268968.5578 | 26.25 | 74
3276 | 2022-05-18 12:14 | 39.6649 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5544 | μmol/L | 18.0167 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.832 | 92979.4878 | 268959.3892 | 26.25 | 74
3286 | 2022-05-18 12:15 | 39.9986 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.4075 | μmol/L | 18.0228 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.836 | 92989.7776 | 268972.2783 | 26.25 | 74
3296 | 2022-05-18 12:15 | 40.3314 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5838 | μmol/L | 18.0106 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.833 | 93000.657 | 268969.0121 | 26.25 | 74
3306 | 2022-05-18 12:15 | 40.6647 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5603 | μmol/L | 18.0106 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.834 | 92987.5734 | 268970.8491 | 26.25 | 74
3316 | 2022-05-18 12:16 | 40.9981 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.4898 | μmol/L | 18.0106 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.837 | 93025.0203 | 268976.8504 | 26.25 | 74
3326 | 2022-05-18 12:16 | 41.3314 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5427 | μmol/L | 18.0045 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.837 | 93051.7619 | 268975.954 | 26.25 | 74
3336 | 2022-05-18 12:16 | 41.665 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5662 | μmol/L | 18.0045 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.836 | 93061.1851 | 268967.4424 | 26.25 | 74
3346 | 2022-05-18 12:17 | 41.9986 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5192 | μmol/L | 18.0045 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.838 | 93059.5177 | 268967.5693 | 26.25 | 74
3356 | 2022-05-18 12:17 | 42.3316 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5957 | μmol/L | 17.9985 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.837 | 93070.8516 | 268961.9323 | 26.25 | 74
3366 | 2022-05-18 12:17 | 42.6655 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.3783 | μmol/L | 18.0045 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.844 | 93091.8387 | 268971.6792 | 26.25 | 74
3376 | 2022-05-18 12:18 | 42.9983 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5252 | μmol/L | 17.9985 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.84 | 93082.8417 | 268978.2672 | 26.25 | 74
3386 | 2022-05-18 12:18 | 43.3321 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.4312 | μmol/L | 17.9985 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.844 | 93096.2158 | 268971.8724 | 26.25 | 74
3396 | 2022-05-18 12:18 | 43.6649 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.6192 | μmol/L | 17.9985 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.836 | 93116.0746 | 268961.484 | 26.25 | 74
3406 | 2022-05-18 12:19 | 43.9981 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5076 | μmol/L | 17.9924 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.843 | 93117.8604 | 268971.0211 | 26.25 | 74
3414 | 2022-05-18 12:19 | 44.3319 | oxy_ch_9 (PSt7-10) | 2022-05-16 12:51 | default | 277.5781 | μmol/L | 17.9924 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.84 | 93153.2729 | 268957.4847 | 26.25 | 74