## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_5 | O2 | 194970699 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-16 12:47

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-18 13:27

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
3420 | 2022-05-18 12:39 | 0 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 308.641 | μmol/L | 18.0522 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.111 | 113814.3789 | 268405.4706 | 36.4 | 83.1
3430 | 2022-05-18 12:39 | 0.33472 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 308.5694 | μmol/L | 18.0461 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.116 | 113819.3894 | 268398.0915 | 36.4 | 83.1
3440 | 2022-05-18 12:40 | 0.66814 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 308.5958 | μmol/L | 18.0461 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.115 | 113845.1182 | 268416.9311 | 36.4 | 83.1
3450 | 2022-05-18 12:40 | 1.0017 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 308.6372 | μmol/L | 18.0339 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.118 | 113825.9392 | 268418.5639 | 36.4 | 83.1
3460 | 2022-05-18 12:40 | 1.3351 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 308.5242 | μmol/L | 18.04 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.12 | 113833.9121 | 268419.3667 | 36.4 | 83.1
3470 | 2022-05-18 12:41 | 1.6687 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 308.5393 | μmol/L | 18.0278 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.124 | 113846.6557 | 268423.1045 | 36.4 | 83.1
3480 | 2022-05-18 12:41 | 2.0014 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 308.4264 | μmol/L | 18.0339 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.126 | 113853.2434 | 268422.447 | 36.4 | 83.1
3490 | 2022-05-18 12:41 | 2.3348 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 308.5732 | μmol/L | 18.0216 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.125 | 113855.5833 | 268416.017 | 36.4 | 83.1
3500 | 2022-05-18 12:42 | 2.6685 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 308.3549 | μmol/L | 18.0278 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.131 | 113863.4929 | 268417.6399 | 36.4 | 83.1
3510 | 2022-05-18 12:42 | 3.0021 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 308.4151 | μmol/L | 18.0216 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.131 | 113877.1081 | 268405.0636 | 36.4 | 83.1
3520 | 2022-05-18 12:42 | 3.3355 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 308.3888 | μmol/L | 18.0216 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.132 | 113885.7987 | 268400.3623 | 36.4 | 83.1
3530 | 2022-05-18 12:43 | 3.6683 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 308.3437 | μmol/L | 18.0155 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.136 | 113887.4764 | 268394.6067 | 36.4 | 83.1
3540 | 2022-05-18 12:43 | 4.0017 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 308.3964 | μmol/L | 18.0155 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.134 | 113898.0678 | 268398.1501 | 36.4 | 83.1
3550 | 2022-05-18 12:43 | 4.3355 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 308.2121 | μmol/L | 18.0155 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.141 | 113908.4799 | 268391.9516 | 36.4 | 83.1
3560 | 2022-05-18 12:44 | 4.6683 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 308.1858 | μmol/L | 18.0155 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.142 | 113928.5856 | 268391.781 | 36.4 | 83.1
3570 | 2022-05-18 12:44 | 5.0021 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 308.246 | μmol/L | 18.0094 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.142 | 113922.5563 | 268393.354 | 36.4 | 83.1
3580 | 2022-05-18 12:44 | 5.3349 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 308.2799 | μmol/L | 18.0033 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.143 | 113938.7908 | 268390.4216 | 36.4 | 83.1
3590 | 2022-05-18 12:45 | 5.6685 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 308.122 | μmol/L | 18.0033 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.149 | 113944.6923 | 268397.2869 | 36.4 | 83.1
3600 | 2022-05-18 12:45 | 6.0014 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 308.0431 | μmol/L | 18.0033 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.152 | 113953.5805 | 268388.2975 | 36.4 | 83.1
3610 | 2022-05-18 12:45 | 6.335 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 307.9905 | μmol/L | 18.0033 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.154 | 113982.2772 | 268404.6827 | 36.4 | 83.1
3620 | 2022-05-18 12:46 | 6.6687 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 307.893 | μmol/L | 17.9971 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.16 | 113991.0652 | 268397.1933 | 36.4 | 83.1
3630 | 2022-05-18 12:46 | 7.0022 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 307.8404 | μmol/L | 17.9971 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.162 | 114015.6305 | 268393.88 | 36.4 | 83.1
3640 | 2022-05-18 12:46 | 7.3348 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 307.8142 | μmol/L | 17.9971 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.163 | 114023.2657 | 268386.6389 | 36.4 | 83.1
3650 | 2022-05-18 12:47 | 7.6687 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 307.7091 | μmol/L | 17.9971 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.167 | 114031.8305 | 268391.3145 | 36.4 | 83.1
3660 | 2022-05-18 12:47 | 8.0021 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 307.8031 | μmol/L | 17.9849 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.168 | 114042.548 | 268394.9857 | 36.4 | 83.1
3670 | 2022-05-18 12:47 | 8.3349 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 307.6642 | μmol/L | 17.991 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.171 | 114061.4609 | 268400.0929 | 36.4 | 83.1
3680 | 2022-05-18 12:48 | 8.6683 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 307.5592 | μmol/L | 17.991 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.175 | 114077.6918 | 268389.5941 | 36.4 | 83.1
3690 | 2022-05-18 12:48 | 9.0019 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 307.4281 | μmol/L | 17.991 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.18 | 114096.5675 | 268391.1097 | 36.4 | 83.1
3700 | 2022-05-18 12:48 | 9.3354 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 307.5931 | μmol/L | 17.9849 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.176 | 114109.8636 | 268393.4656 | 36.4 | 83.1
3710 | 2022-05-18 12:49 | 9.6681 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 307.357 | μmol/L | 17.9849 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.185 | 114131.3926 | 268387.3009 | 36.4 | 83.1
3720 | 2022-05-18 12:49 | 10.0016 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 307.1998 | μmol/L | 17.9849 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.191 | 114168.2226 | 268372.626 | 36.4 | 83.1
3730 | 2022-05-18 12:49 | 10.3353 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 307.0688 | μmol/L | 17.9849 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.196 | 114201.8203 | 268374.2232 | 36.4 | 83.1
3740 | 2022-05-18 12:50 | 10.6682 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 307.1103 | μmol/L | 17.9726 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.199 | 114218.9901 | 268383.5779 | 36.4 | 83.1
3750 | 2022-05-18 12:50 | 11.0017 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 306.7547 | μmol/L | 17.9849 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.208 | 114241.4773 | 268386.196 | 36.4 | 83.1
3760 | 2022-05-18 12:50 | 11.3353 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 306.8408 | μmol/L | 17.9788 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.207 | 114251.1675 | 268371.1714 | 36.4 | 83.1
3770 | 2022-05-18 12:51 | 11.6681 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 306.7962 | μmol/L | 17.9726 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.211 | 114234.9743 | 268365.7085 | 36.4 | 83.1
3780 | 2022-05-18 12:51 | 12.0018 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 307.0394 | μmol/L | 17.9665 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.204 | 114217.5771 | 268373.6857 | 36.4 | 83.1
3790 | 2022-05-18 12:51 | 12.3348 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 307.1965 | μmol/L | 17.9665 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.198 | 114202.1491 | 268360.2028 | 36.4 | 83.1
3800 | 2022-05-18 12:52 | 12.6682 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 306.9147 | μmol/L | 17.9665 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.209 | 114230.5444 | 268365.8599 | 36.4 | 83.1
3810 | 2022-05-18 12:52 | 13.0019 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 305.4812 | μmol/L | 17.9604 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.266 | 114585.9685 | 268369.2447 | 36.4 | 83.1
3820 | 2022-05-18 12:52 | 13.3355 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 304.728 | μmol/L | 17.9604 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.295 | 114729.9385 | 268365.0971 | 36.4 | 83.1
3830 | 2022-05-18 12:53 | 13.6681 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 304.2358 | μmol/L | 17.9604 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.314 | 114830.3297 | 268340.1967 | 36.4 | 83.1
3840 | 2022-05-18 12:53 | 14.0017 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 303.7445 | μmol/L | 17.9604 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.333 | 114972.2651 | 268339.6778 | 36.4 | 83.1
3850 | 2022-05-18 12:53 | 14.3352 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.2588 | μmol/L | 17.9543 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.393 | 115281.4884 | 268346.0172 | 36.4 | 83.1
3860 | 2022-05-18 12:54 | 14.6687 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.3024 | μmol/L | 17.9604 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.389 | 115253.6599 | 268353.5949 | 36.4 | 83.1
3870 | 2022-05-18 12:54 | 15.0017 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 303.2518 | μmol/L | 17.942 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.359 | 115087.5687 | 268352.6594 | 36.4 | 83.1
3880 | 2022-05-18 12:54 | 15.3352 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 303.6887 | μmol/L | 17.9481 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.34 | 114998.5794 | 268370.3098 | 36.4 | 83.1
3890 | 2022-05-18 12:55 | 15.6687 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 303.9254 | μmol/L | 17.9604 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.326 | 114909.8447 | 268358.9 | 36.4 | 83.1
3900 | 2022-05-18 12:55 | 16.0022 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 304.3289 | μmol/L | 17.9481 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.315 | 114842.2382 | 268373.4285 | 36.4 | 83.1
3910 | 2022-05-18 12:55 | 16.3351 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 304.5102 | μmol/L | 17.9481 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.308 | 114805.3091 | 268363.9825 | 36.4 | 83.1
3920 | 2022-05-18 12:56 | 16.6681 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 304.8627 | μmol/L | 17.9359 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.299 | 114767.143 | 268370.9684 | 36.4 | 83.1
3930 | 2022-05-18 12:56 | 17.0016 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 304.7098 | μmol/L | 17.9543 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.298 | 114727.4258 | 268372.5885 | 36.4 | 83.1
3940 | 2022-05-18 12:56 | 17.3351 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 305.1145 | μmol/L | 17.942 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.287 | 114693.0979 | 268371.4965 | 36.4 | 83.1
3950 | 2022-05-18 12:57 | 17.6685 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 305.1924 | μmol/L | 17.942 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.284 | 114674.7385 | 268354.6513 | 36.4 | 83.1
3960 | 2022-05-18 12:57 | 18.0022 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 304.8991 | μmol/L | 17.9481 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.293 | 114710.0707 | 268370.3133 | 36.4 | 83.1
3970 | 2022-05-18 12:57 | 18.3349 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 304.7833 | μmol/L | 17.942 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.3 | 114764.1078 | 268361.4855 | 36.4 | 83.1
3980 | 2022-05-18 12:58 | 18.6684 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 304.2409 | μmol/L | 17.9359 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.323 | 114890.8827 | 268362.4128 | 36.4 | 83.1
3990 | 2022-05-18 12:58 | 19.0021 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 303.4142 | μmol/L | 17.9359 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.355 | 115072.3474 | 268366.7674 | 36.4 | 83.1
4000 | 2022-05-18 12:58 | 19.3355 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.81 | μmol/L | 17.9298 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.381 | 115230.6079 | 268372.5655 | 36.4 | 83.1
4010 | 2022-05-18 12:59 | 19.6681 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.0753 | μmol/L | 17.942 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.405 | 115352.3938 | 268379.0732 | 36.4 | 83.1
4020 | 2022-05-18 12:59 | 20.0018 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 301.7755 | μmol/L | 17.9359 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.419 | 115440.8438 | 268366.4727 | 36.4 | 83.1
4030 | 2022-05-18 12:59 | 20.3355 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 301.366 | μmol/L | 17.9359 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.435 | 115506.7284 | 268368.4679 | 36.4 | 83.1
4040 | 2022-05-18 13:00 | 20.6685 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 301.0611 | μmol/L | 17.9298 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.449 | 115587.717 | 268388.739 | 36.4 | 83.1
4050 | 2022-05-18 13:00 | 21.002 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 300.7609 | μmol/L | 17.9298 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.461 | 115668.1697 | 268372.956 | 36.4 | 83.1
4060 | 2022-05-18 13:00 | 21.3348 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 300.455 | μmol/L | 17.9298 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.473 | 115734.7478 | 268363.7839 | 36.4 | 83.1
4070 | 2022-05-18 13:01 | 21.6684 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 300.0339 | μmol/L | 17.9359 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.487 | 115822.9772 | 268375.5065 | 36.4 | 83.1
4080 | 2022-05-18 13:01 | 22.002 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.7622 | μmol/L | 17.9298 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.5 | 115886.3966 | 268378.1175 | 36.4 | 83.1
4090 | 2022-05-18 13:01 | 22.335 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.5397 | μmol/L | 17.9298 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.509 | 115964.1341 | 268370.483 | 36.4 | 83.1
4100 | 2022-05-18 13:02 | 22.6688 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.4322 | μmol/L | 17.9298 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.513 | 115969.6284 | 268371.8311 | 36.4 | 83.1
4110 | 2022-05-18 13:02 | 23.0016 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.3368 | μmol/L | 17.9298 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.517 | 115990.4731 | 268368.336 | 36.4 | 83.1
4120 | 2022-05-18 13:02 | 23.335 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.2608 | μmol/L | 17.9298 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.52 | 116001.7095 | 268369.0626 | 36.4 | 83.1
4130 | 2022-05-18 13:03 | 23.6687 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.052 | μmol/L | 17.9298 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 22.528 | 116038.8613 | 268374.3697 | 36.4 | 83.1
4140 | 2022-05-18 13:03 | 24.0014 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.1498 | μmol/L | 17.9175 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.529 | 116080.2226 | 268383.1521 | 36.4 | 83.1
4150 | 2022-05-18 13:03 | 24.3351 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 298.7195 | μmol/L | 17.9175 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.546 | 116159.1202 | 268370.3299 | 36.4 | 83.1
4160 | 2022-05-18 13:04 | 24.6687 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 298.1228 | μmol/L | 17.9298 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.565 | 116268.0133 | 268378.1816 | 36.4 | 83.1
4170 | 2022-05-18 13:04 | 25.0021 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 297.6015 | μmol/L | 17.9237 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.588 | 116395.6942 | 268372.3101 | 36.4 | 83.1
4180 | 2022-05-18 13:04 | 25.335 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 297.0312 | μmol/L | 17.9175 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.613 | 116520.1656 | 268377.8363 | 36.4 | 83.1
4190 | 2022-05-18 13:05 | 25.6687 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 296.4966 | μmol/L | 17.9237 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.632 | 116640.5553 | 268368.5015 | 36.4 | 83.1
4200 | 2022-05-18 13:05 | 26.0015 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 296.021 | μmol/L | 17.9237 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.651 | 116742.184 | 268375.2881 | 36.4 | 83.1
4210 | 2022-05-18 13:05 | 26.3347 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 295.6292 | μmol/L | 17.9175 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.669 | 116849.424 | 268371.9893 | 36.4 | 83.1
4220 | 2022-05-18 13:06 | 26.6684 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 294.998 | μmol/L | 17.9237 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.692 | 116966.4491 | 268373.6558 | 36.4 | 83.1
4230 | 2022-05-18 13:06 | 27.0019 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 294.583 | μmol/L | 17.9175 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.711 | 117088.465 | 268371.8944 | 36.4 | 83.1
4240 | 2022-05-18 13:06 | 27.3348 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 294.0617 | μmol/L | 17.9175 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.732 | 117201.9392 | 268379.433 | 36.4 | 83.1
4250 | 2022-05-18 13:07 | 27.6684 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 293.7643 | μmol/L | 17.9175 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.744 | 117282.9309 | 268378.3599 | 36.4 | 83.1
4260 | 2022-05-18 13:07 | 28.0019 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 293.5574 | μmol/L | 17.9053 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.757 | 117347.7303 | 268369.4681 | 36.4 | 83.1
4270 | 2022-05-18 13:07 | 28.3353 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 293.4752 | μmol/L | 17.9114 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.758 | 117360.1397 | 268377.2378 | 36.4 | 83.1
4280 | 2022-05-18 13:08 | 28.6689 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 293.5742 | μmol/L | 17.9114 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.754 | 117339.8585 | 268383.3127 | 36.4 | 83.1
4290 | 2022-05-18 13:08 | 29.0018 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 293.8466 | μmol/L | 17.9114 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.743 | 117277.8483 | 268385.7915 | 36.4 | 83.1
4300 | 2022-05-18 13:08 | 29.3355 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 294.1937 | μmol/L | 17.9114 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.729 | 117182.6799 | 268384.1579 | 36.4 | 83.1
4310 | 2022-05-18 13:09 | 29.6682 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 294.8227 | μmol/L | 17.9053 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.706 | 117076.8228 | 268378.6032 | 36.4 | 83.1
4320 | 2022-05-18 13:09 | 30.0017 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 295.4454 | μmol/L | 17.9053 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.681 | 116930.9898 | 268382.0068 | 36.4 | 83.1
4330 | 2022-05-18 13:09 | 30.3355 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 295.9368 | μmol/L | 17.9114 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.659 | 116772.5867 | 268378.5944 | 36.4 | 83.1
4340 | 2022-05-18 13:10 | 30.6681 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 296.8212 | μmol/L | 17.9053 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.626 | 116617.5184 | 268389.8525 | 36.4 | 83.1
4350 | 2022-05-18 13:10 | 31.0017 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 297.4491 | μmol/L | 17.9053 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.601 | 116453.5794 | 268382.1425 | 36.4 | 83.1
4360 | 2022-05-18 13:10 | 31.3351 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 298.0787 | μmol/L | 17.9053 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.576 | 116309.0208 | 268386.3416 | 36.4 | 83.1
4370 | 2022-05-18 13:11 | 31.6686 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 298.7021 | μmol/L | 17.9114 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.549 | 116167.9735 | 268382.4501 | 36.4 | 83.1
4380 | 2022-05-18 13:11 | 32.002 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.3429 | μmol/L | 17.9053 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.526 | 116031.9514 | 268377.3203 | 36.4 | 83.1
4390 | 2022-05-18 13:11 | 32.3348 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.8584 | μmol/L | 17.8992 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.508 | 115919.5035 | 268384.1304 | 36.4 | 83.1
4400 | 2022-05-18 13:12 | 32.6683 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 300.367 | μmol/L | 17.8992 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.488 | 115809.5893 | 268399.23 | 36.4 | 83.1
4410 | 2022-05-18 13:12 | 33.002 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 300.7747 | μmol/L | 17.8992 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.472 | 115703.7459 | 268379.8861 | 36.4 | 83.1
4420 | 2022-05-18 13:12 | 33.3347 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 301.183 | μmol/L | 17.8992 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.456 | 115609.0588 | 268390.9514 | 36.4 | 83.1
4430 | 2022-05-18 13:13 | 33.6682 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 301.5842 | μmol/L | 17.9053 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.438 | 115537.9679 | 268394.753 | 36.4 | 83.1
4440 | 2022-05-18 13:13 | 34.0016 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 301.9584 | μmol/L | 17.893 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.428 | 115479.7428 | 268395.3781 | 36.4 | 83.1
4450 | 2022-05-18 13:13 | 34.3353 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.0709 | μmol/L | 17.9053 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.419 | 115418.5246 | 268382.9429 | 36.4 | 83.1
4460 | 2022-05-18 13:14 | 34.6688 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.3096 | μmol/L | 17.8992 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.412 | 115369.359 | 268381.2058 | 36.4 | 83.1
4470 | 2022-05-18 13:14 | 35.0019 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.5742 | μmol/L | 17.893 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.404 | 115342.7125 | 268381.8633 | 36.4 | 83.1
4480 | 2022-05-18 13:14 | 35.3348 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.6256 | μmol/L | 17.893 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.402 | 115313.0288 | 268379.0564 | 36.4 | 83.1
4490 | 2022-05-18 13:15 | 35.6685 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.7876 | μmol/L | 17.8869 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.398 | 115289.68 | 268372.7339 | 36.4 | 83.1
4500 | 2022-05-18 13:15 | 36.0021 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.7798 | μmol/L | 17.893 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.396 | 115287.7032 | 268352.9651 | 36.4 | 83.1
4510 | 2022-05-18 13:15 | 36.3348 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.7205 | μmol/L | 17.8992 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.396 | 115291.7857 | 268359.8119 | 36.4 | 83.1
4520 | 2022-05-18 13:16 | 36.6682 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.7541 | μmol/L | 17.893 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.397 | 115289.8092 | 268352.4041 | 36.4 | 83.1
4530 | 2022-05-18 13:16 | 37.0017 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.5407 | μmol/L | 17.8992 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.403 | 115301.5629 | 268374.5135 | 36.4 | 83.1
4540 | 2022-05-18 13:16 | 37.3352 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.6177 | μmol/L | 17.8992 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.4 | 115312.5564 | 268357.2025 | 36.4 | 83.1
4550 | 2022-05-18 13:17 | 37.6688 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.5742 | μmol/L | 17.893 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.404 | 115318.6089 | 268363.2531 | 36.4 | 83.1
4560 | 2022-05-18 13:17 | 38.0015 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.6591 | μmol/L | 17.8869 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.403 | 115325.3772 | 268367.4876 | 36.4 | 83.1
4570 | 2022-05-18 13:17 | 38.3352 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.4201 | μmol/L | 17.893 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.41 | 115336.9323 | 268361.1943 | 36.4 | 83.1
4580 | 2022-05-18 13:18 | 38.6681 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.4023 | μmol/L | 17.8869 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.413 | 115356.5406 | 268353.4823 | 36.4 | 83.1
4590 | 2022-05-18 13:18 | 39.0016 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.3688 | μmol/L | 17.893 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.412 | 115364.5309 | 268344.0153 | 36.4 | 83.1
4600 | 2022-05-18 13:18 | 39.3352 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.3431 | μmol/L | 17.893 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.413 | 115385.2344 | 268339.1996 | 36.4 | 83.1
4610 | 2022-05-18 13:19 | 39.6684 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.2996 | μmol/L | 17.8869 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.417 | 115403.6717 | 268333.4628 | 36.4 | 83.1
4620 | 2022-05-18 13:19 | 40.0022 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.1536 | μmol/L | 17.8808 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.425 | 115427.2367 | 268331.6871 | 36.4 | 83.1
4630 | 2022-05-18 13:19 | 40.3353 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 302.0175 | μmol/L | 17.8869 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.428 | 115461.2036 | 268341.2455 | 36.4 | 83.1
4640 | 2022-05-18 13:20 | 40.6682 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 301.7614 | μmol/L | 17.8869 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.438 | 115486.3757 | 268339.3504 | 36.4 | 83.1
4650 | 2022-05-18 13:20 | 41.0014 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 301.6413 | μmol/L | 17.8808 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.445 | 115533.8021 | 268324.3004 | 36.4 | 83.1
4660 | 2022-05-18 13:20 | 41.335 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 301.4288 | μmol/L | 17.8869 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.451 | 115579.3273 | 268333.544 | 36.4 | 83.1
4670 | 2022-05-18 13:21 | 41.6689 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 301.2243 | μmol/L | 17.8869 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.459 | 115627.6166 | 268322.4567 | 36.4 | 83.1
4680 | 2022-05-18 13:21 | 42.0103 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 300.9945 | μmol/L | 17.8869 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.468 | 115678.8771 | 268326.1152 | 36.4 | 83.1
4690 | 2022-05-18 13:21 | 42.3347 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 300.7218 | μmol/L | 17.8808 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.481 | 115725.8368 | 268321.4863 | 36.4 | 83.1
4700 | 2022-05-18 13:22 | 42.6688 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 300.4846 | μmol/L | 17.8869 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.488 | 115779.2364 | 268302.5529 | 36.4 | 83.1
4710 | 2022-05-18 13:22 | 43.0016 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 300.3731 | μmol/L | 17.8747 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.497 | 115841.2422 | 268309.2814 | 36.4 | 83.1
4720 | 2022-05-18 13:22 | 43.3349 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.9583 | μmol/L | 17.8808 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.511 | 115897.6053 | 268307.0606 | 36.4 | 83.1
4730 | 2022-05-18 13:23 | 43.6687 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.6028 | μmol/L | 17.8808 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.525 | 115975.26 | 268298.6569 | 36.4 | 83.1
4740 | 2022-05-18 13:23 | 44.0019 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 299.1718 | μmol/L | 17.8808 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.542 | 116062.6484 | 268300.2363 | 36.4 | 83.1
4750 | 2022-05-18 13:23 | 44.3352 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 298.9519 | μmol/L | 17.8747 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.553 | 116145.4847 | 268296.8164 | 36.4 | 83.1
4758 | 2022-05-18 13:24 | 44.6683 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 298.4637 | μmol/L | 17.8808 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.57 | 116233.6149 | 268298.74 | 36.4 | 83.1
4765 | 2022-05-18 13:24 | 45.0016 | oxy_ch_5 (PSt7-10) | 2022-05-16 12:47 | default | 298.0679 | μmol/L | 17.8747 | °C | 1019 | hPa | Humid | 0 | 0 | 0 | 22.588 | 116323.5811 | 268289.9039 | 36.4 | 83.1