## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_6 | O2 | 152814782 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-16 12:48

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-18 13:27

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
3421 | 2022-05-18 12:39 | 0 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 266.2982 | μmol/L | 18.015 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.096 | 91747.7739 | 297380.498 | 30.45 | 114.2
3431 | 2022-05-18 12:40 | 0.33707 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 266.2132 | μmol/L | 18.0089 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.102 | 91789.4652 | 297389.9983 | 30.45 | 114.2
3441 | 2022-05-18 12:40 | 0.67072 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 266.0092 | μmol/L | 18.0089 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.111 | 91811.152 | 297384.7465 | 30.45 | 114.2
3451 | 2022-05-18 12:40 | 1.0042 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 266.1678 | μmol/L | 18.0089 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.104 | 91795.9373 | 297399.9001 | 30.45 | 114.2
3461 | 2022-05-18 12:41 | 1.337 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 266.1508 | μmol/L | 18.0027 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.107 | 91772.3902 | 297400.8045 | 30.45 | 114.2
3471 | 2022-05-18 12:41 | 1.6706 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 266.2018 | μmol/L | 17.9966 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.107 | 91784.8358 | 297409.0885 | 30.45 | 114.2
3481 | 2022-05-18 12:41 | 2.0041 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 265.6131 | μmol/L | 17.9966 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.133 | 91920.1283 | 297408.0496 | 30.45 | 114.2
3491 | 2022-05-18 12:42 | 2.3377 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 264.7331 | μmol/L | 17.9966 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.172 | 92073.9919 | 297401.738 | 30.45 | 114.2
3501 | 2022-05-18 12:42 | 2.6707 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 264.2721 | μmol/L | 17.9843 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.197 | 92208.077 | 297406.0355 | 30.45 | 114.2
3511 | 2022-05-18 12:42 | 3.0042 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 263.5823 | μmol/L | 17.9782 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.23 | 92322.5552 | 297397.6102 | 30.45 | 114.2
3521 | 2022-05-18 12:43 | 3.337 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 263.0511 | μmol/L | 17.972 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.256 | 92438.9719 | 297399.3085 | 30.45 | 114.2
3531 | 2022-05-18 12:43 | 3.6707 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.7385 | μmol/L | 17.972 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.27 | 92538.3237 | 297391.7646 | 30.45 | 114.2
3541 | 2022-05-18 12:43 | 4.0041 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.315 | μmol/L | 17.972 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.289 | 92617.6381 | 297381.5337 | 30.45 | 114.2
3551 | 2022-05-18 12:44 | 4.337 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 262.1369 | μmol/L | 17.972 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.297 | 92657.2539 | 297379.3445 | 30.45 | 114.2
3561 | 2022-05-18 12:44 | 4.6707 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.9146 | μmol/L | 17.972 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.307 | 92687.6308 | 297405.39 | 30.45 | 114.2
3571 | 2022-05-18 12:44 | 5.0041 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.6422 | μmol/L | 17.9782 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.317 | 92714.2541 | 297386.2202 | 30.45 | 114.2
3581 | 2022-05-18 12:45 | 5.3377 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.376 | μmol/L | 17.9782 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.329 | 92774.0028 | 297406.0792 | 30.45 | 114.2
3591 | 2022-05-18 12:45 | 5.6706 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 261.2323 | μmol/L | 17.9659 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.34 | 92835.8535 | 297385.1855 | 30.45 | 114.2
3601 | 2022-05-18 12:45 | 6.0042 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 260.8281 | μmol/L | 17.972 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.356 | 92930.8539 | 297394.8259 | 30.45 | 114.2
3611 | 2022-05-18 12:46 | 6.3371 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 260.4362 | μmol/L | 17.9659 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.376 | 93001.5355 | 297379.5456 | 30.45 | 114.2
3621 | 2022-05-18 12:46 | 6.6707 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 260.2596 | μmol/L | 17.9659 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.384 | 93047.953 | 297394.8784 | 30.45 | 114.2
3631 | 2022-05-18 12:46 | 7.0036 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 259.5931 | μmol/L | 17.972 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.412 | 93174.3289 | 297401.7377 | 30.45 | 114.2
3641 | 2022-05-18 12:47 | 7.337 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 258.667 | μmol/L | 17.9536 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.461 | 93387.9125 | 297387.4078 | 30.45 | 114.2
3651 | 2022-05-18 12:47 | 7.6709 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 258.2514 | μmol/L | 17.9536 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.48 | 93478.9392 | 297376.661 | 30.45 | 114.2
3661 | 2022-05-18 12:47 | 8.0037 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 257.9457 | μmol/L | 17.9536 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.494 | 93555.8848 | 297391.6115 | 30.45 | 114.2
3671 | 2022-05-18 12:48 | 8.3372 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 257.4386 | μmol/L | 17.9597 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.515 | 93638.6522 | 297397.2906 | 30.45 | 114.2
3681 | 2022-05-18 12:48 | 8.6709 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 257.2268 | μmol/L | 17.9536 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.527 | 93703.2029 | 297383.6567 | 30.45 | 114.2
3691 | 2022-05-18 12:48 | 9.0037 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 257.0152 | μmol/L | 17.9474 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.539 | 93746.2107 | 297380.3116 | 30.45 | 114.2
3701 | 2022-05-18 12:49 | 9.3373 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 256.7864 | μmol/L | 17.9597 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.545 | 93772.5335 | 297388.8412 | 30.45 | 114.2
3711 | 2022-05-18 12:49 | 9.671 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 256.7113 | μmol/L | 17.9474 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.553 | 93803.6313 | 297383.3951 | 30.45 | 114.2
3721 | 2022-05-18 12:49 | 10.0036 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 256.532 | μmol/L | 17.9536 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.559 | 93825.1493 | 297385.6727 | 30.45 | 114.2
3731 | 2022-05-18 12:50 | 10.3374 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 256.6796 | μmol/L | 17.9352 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.559 | 93858.6496 | 297376.407 | 30.45 | 114.2
3741 | 2022-05-18 12:50 | 10.671 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 256.392 | μmol/L | 17.9413 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.57 | 93873.4422 | 297375.6679 | 30.45 | 114.2
3751 | 2022-05-18 12:50 | 11.0037 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 256.4569 | μmol/L | 17.9413 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.567 | 93877.0623 | 297382.2037 | 30.45 | 114.2
3761 | 2022-05-18 12:51 | 11.3373 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 256.3803 | μmol/L | 17.9536 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.566 | 93887.2505 | 297358.8078 | 30.45 | 114.2
3771 | 2022-05-18 12:51 | 11.6711 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 256.3703 | μmol/L | 17.9413 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.571 | 93892.0258 | 297363.7969 | 30.45 | 114.2
3781 | 2022-05-18 12:51 | 12.0037 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 256.3053 | μmol/L | 17.9413 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.574 | 93887.6111 | 297371.3681 | 30.45 | 114.2
3791 | 2022-05-18 12:52 | 12.3377 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 256.2503 | μmol/L | 17.9536 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.572 | 93920.789 | 297356.4278 | 30.45 | 114.2
3801 | 2022-05-18 12:52 | 12.6704 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.9475 | μmol/L | 17.9536 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.586 | 93953.3713 | 297368.601 | 30.45 | 114.2
3811 | 2022-05-18 12:52 | 13.0039 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.8826 | μmol/L | 17.9536 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.589 | 93975.4646 | 297364.5126 | 30.45 | 114.2
3821 | 2022-05-18 12:53 | 13.3374 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.9966 | μmol/L | 17.9474 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.586 | 93949.9332 | 297359.168 | 30.45 | 114.2
3831 | 2022-05-18 12:53 | 13.671 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 256.2187 | μmol/L | 17.9413 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.578 | 93916.5964 | 297362.3945 | 30.45 | 114.2
3841 | 2022-05-18 12:53 | 14.0037 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 256.392 | μmol/L | 17.9413 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.57 | 93887.6513 | 297360.8636 | 30.45 | 114.2
3851 | 2022-05-18 12:54 | 14.3371 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 256.4745 | μmol/L | 17.9229 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.573 | 93881.0075 | 297364.2506 | 30.45 | 114.2
3861 | 2022-05-18 12:54 | 14.6706 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 256.4037 | μmol/L | 17.929 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.574 | 93887.7205 | 297362.1164 | 30.45 | 114.2
3871 | 2022-05-18 12:54 | 15.0036 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 256.4037 | μmol/L | 17.929 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.574 | 93889.127 | 297364.9963 | 30.45 | 114.2
3881 | 2022-05-18 12:55 | 15.337 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 256.1989 | μmol/L | 17.9167 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.588 | 93935.4452 | 297361.5458 | 30.45 | 114.2
3891 | 2022-05-18 12:55 | 15.6706 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.9119 | μmol/L | 17.9229 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.599 | 93984.9434 | 297354.4937 | 30.45 | 114.2
3901 | 2022-05-18 12:55 | 16.0042 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.8097 | μmol/L | 17.9167 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.606 | 94022.3364 | 297357.2091 | 30.45 | 114.2
3911 | 2022-05-18 12:56 | 16.3372 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.8097 | μmol/L | 17.9167 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.606 | 94034.108 | 297360.7631 | 30.45 | 114.2
3921 | 2022-05-18 12:56 | 16.6709 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.8097 | μmol/L | 17.9167 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.606 | 94026.6238 | 297354.1112 | 30.45 | 114.2
3931 | 2022-05-18 12:56 | 17.0044 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.8745 | μmol/L | 17.9167 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.603 | 94018.677 | 297368.4622 | 30.45 | 114.2
3941 | 2022-05-18 12:57 | 17.3373 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.8313 | μmol/L | 17.9167 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.605 | 94018.9357 | 297361.0703 | 30.45 | 114.2
3951 | 2022-05-18 12:57 | 17.6708 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.8903 | μmol/L | 17.9229 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.6 | 94024.4741 | 297355.058 | 30.45 | 114.2
3961 | 2022-05-18 12:57 | 18.0044 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.6959 | μmol/L | 17.9229 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.609 | 94043.7225 | 297372.8415 | 30.45 | 114.2
3971 | 2022-05-18 12:58 | 18.337 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.637 | μmol/L | 17.9167 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.614 | 94069.1268 | 297367.0173 | 30.45 | 114.2
3981 | 2022-05-18 12:58 | 18.6707 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.535 | μmol/L | 17.9106 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.621 | 94100.1676 | 297367.9807 | 30.45 | 114.2
3991 | 2022-05-18 12:58 | 19.0044 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.2704 | μmol/L | 17.9167 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.631 | 94157.4317 | 297366.4587 | 30.45 | 114.2
4001 | 2022-05-18 12:59 | 19.3372 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.2117 | μmol/L | 17.9106 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.636 | 94173.1209 | 297359.4676 | 30.45 | 114.2
4011 | 2022-05-18 12:59 | 19.6709 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.0981 | μmol/L | 17.9167 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.639 | 94196.0469 | 297367.2663 | 30.45 | 114.2
4021 | 2022-05-18 12:59 | 20.0037 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.1314 | μmol/L | 17.9045 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.642 | 94207.4329 | 297358.5928 | 30.45 | 114.2
4031 | 2022-05-18 13:00 | 20.3376 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.1648 | μmol/L | 17.8922 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.645 | 94212.0727 | 297369.6488 | 30.45 | 114.2
4041 | 2022-05-18 13:00 | 20.6704 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 255.1589 | μmol/L | 17.8983 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.643 | 94216.5911 | 297370.5968 | 30.45 | 114.2
4051 | 2022-05-18 13:00 | 21.004 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 254.9221 | μmol/L | 17.8983 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.654 | 94252.1361 | 297356.4581 | 30.45 | 114.2
4061 | 2022-05-18 13:01 | 21.3376 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 254.5665 | μmol/L | 17.9106 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.666 | 94300.9238 | 297369.3584 | 30.45 | 114.2
4071 | 2022-05-18 13:01 | 21.671 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 254.4066 | μmol/L | 17.8983 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.678 | 94343.3326 | 297353.821 | 30.45 | 114.2
4081 | 2022-05-18 13:01 | 22.0044 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 254.4554 | μmol/L | 17.8922 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.678 | 94375.5393 | 297368.4835 | 30.45 | 114.2
4091 | 2022-05-18 13:02 | 22.3374 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 254.2897 | μmol/L | 17.886 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.688 | 94416.9923 | 297362.1859 | 30.45 | 114.2
4101 | 2022-05-18 13:02 | 22.671 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 254.1183 | μmol/L | 17.886 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.696 | 94441.676 | 297364.9923 | 30.45 | 114.2
4111 | 2022-05-18 13:02 | 23.0038 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 254.0754 | μmol/L | 17.886 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.698 | 94479.0522 | 297378.1027 | 30.45 | 114.2
4121 | 2022-05-18 13:03 | 23.3375 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 253.6688 | μmol/L | 17.886 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.717 | 94526.4981 | 297367.8226 | 30.45 | 114.2
4131 | 2022-05-18 13:03 | 23.671 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 253.3792 | μmol/L | 17.8983 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.726 | 94583.4806 | 297375.7558 | 30.45 | 114.2
4141 | 2022-05-18 13:03 | 24.0037 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 253.263 | μmol/L | 17.886 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.736 | 94648.4586 | 297372.3805 | 30.45 | 114.2
4151 | 2022-05-18 13:04 | 24.3373 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 253.0983 | μmol/L | 17.8799 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.746 | 94693.911 | 297368.5689 | 30.45 | 114.2
4161 | 2022-05-18 13:04 | 24.6708 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 252.8213 | μmol/L | 17.8799 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.759 | 94746.1626 | 297374.7473 | 30.45 | 114.2
4171 | 2022-05-18 13:04 | 25.0037 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 252.6663 | μmol/L | 17.886 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.764 | 94763.0192 | 297368.6927 | 30.45 | 114.2
4181 | 2022-05-18 13:05 | 25.3375 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 252.7148 | μmol/L | 17.8799 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.764 | 94756.6588 | 297361.3905 | 30.45 | 114.2
4191 | 2022-05-18 13:05 | 25.6703 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 252.6782 | μmol/L | 17.8737 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.768 | 94764.2068 | 297372.4147 | 30.45 | 114.2
4201 | 2022-05-18 13:05 | 26.0039 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 252.7208 | μmol/L | 17.8737 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.766 | 94778.1856 | 297372.468 | 30.45 | 114.2
4211 | 2022-05-18 13:06 | 26.3374 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 252.5293 | μmol/L | 17.8737 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.775 | 94800.8707 | 297367.6286 | 30.45 | 114.2
4221 | 2022-05-18 13:06 | 26.6704 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 252.2684 | μmol/L | 17.8799 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.785 | 94844.0039 | 297364.6907 | 30.45 | 114.2
4231 | 2022-05-18 13:06 | 27.004 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 251.8924 | μmol/L | 17.8737 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.805 | 94933.058 | 297373.5196 | 30.45 | 114.2
4241 | 2022-05-18 13:07 | 27.3376 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 251.7169 | μmol/L | 17.8799 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.811 | 94986.0156 | 297378.4795 | 30.45 | 114.2
4251 | 2022-05-18 13:07 | 27.6705 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 251.6381 | μmol/L | 17.8737 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.817 | 95007.1098 | 297382.3514 | 30.45 | 114.2
4261 | 2022-05-18 13:07 | 28.0042 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 251.5594 | μmol/L | 17.8676 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.823 | 95042.9216 | 297370.0714 | 30.45 | 114.2
4271 | 2022-05-18 13:08 | 28.3378 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 251.1788 | μmol/L | 17.8676 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.841 | 95119.6894 | 297386.1461 | 30.45 | 114.2
4281 | 2022-05-18 13:08 | 28.6707 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 250.814 | μmol/L | 17.8737 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.856 | 95188.3603 | 297382.6954 | 30.45 | 114.2
4291 | 2022-05-18 13:08 | 29.0042 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 250.6082 | μmol/L | 17.8737 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.866 | 95221.8701 | 297385.0419 | 30.45 | 114.2
4301 | 2022-05-18 13:09 | 29.337 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 250.4617 | μmol/L | 17.8676 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.875 | 95261.6588 | 297399.0972 | 30.45 | 114.2
4311 | 2022-05-18 13:09 | 29.6706 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 250.3084 | μmol/L | 17.8737 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.88 | 95280.1554 | 297395.8155 | 30.45 | 114.2
4321 | 2022-05-18 13:09 | 30.0043 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 250.2572 | μmol/L | 17.8615 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.887 | 95319.3236 | 297385.3624 | 30.45 | 114.2
4331 | 2022-05-18 13:10 | 30.3371 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 250.089 | μmol/L | 17.8615 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.895 | 95379.0855 | 297400.0683 | 30.45 | 114.2
4341 | 2022-05-18 13:10 | 30.6706 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 249.968 | μmol/L | 17.8615 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.901 | 95395.3086 | 297379.9326 | 30.45 | 114.2
4351 | 2022-05-18 13:10 | 31.0042 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 249.8579 | μmol/L | 17.8615 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.906 | 95439.6343 | 297393.3375 | 30.45 | 114.2
4361 | 2022-05-18 13:11 | 31.337 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 249.6891 | μmol/L | 17.8676 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.912 | 95466.4959 | 297384.458 | 30.45 | 114.2
4371 | 2022-05-18 13:11 | 31.6705 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 249.3118 | μmol/L | 17.8676 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.93 | 95552.2054 | 297408.2443 | 30.45 | 114.2
4381 | 2022-05-18 13:11 | 32.0041 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 249.1294 | μmol/L | 17.8615 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.941 | 95599.5514 | 297394.4579 | 30.45 | 114.2
4391 | 2022-05-18 13:12 | 32.3377 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 248.8308 | μmol/L | 17.8676 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.953 | 95657.6518 | 297409.0616 | 30.45 | 114.2
4401 | 2022-05-18 13:12 | 32.6705 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 248.7592 | μmol/L | 17.8553 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.961 | 95687.1641 | 297401.4556 | 30.45 | 114.2
4411 | 2022-05-18 13:12 | 33.0041 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 248.6428 | μmol/L | 17.8676 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.962 | 95685.9559 | 297411.2934 | 30.45 | 114.2
4421 | 2022-05-18 13:13 | 33.3376 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 248.602 | μmol/L | 17.8615 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.966 | 95698.2098 | 297398.0784 | 30.45 | 114.2
4431 | 2022-05-18 13:13 | 33.6704 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 248.5394 | μmol/L | 17.8615 | °C | 1017 | hPa | Humid | 0 | 0 | 0 | 23.969 | 95726.1031 | 297399.3491 | 30.45 | 114.2
4441 | 2022-05-18 13:13 | 34.0041 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 248.5505 | μmol/L | 17.8553 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.971 | 95753.4493 | 297406.7859 | 30.45 | 114.2
4451 | 2022-05-18 13:14 | 34.337 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 248.3211 | μmol/L | 17.8553 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.982 | 95784.6906 | 297391.1649 | 30.45 | 114.2
4461 | 2022-05-18 13:14 | 34.6708 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 248.2914 | μmol/L | 17.843 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.988 | 95806.2611 | 297389.6283 | 30.45 | 114.2
4471 | 2022-05-18 13:14 | 35.0039 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 247.9671 | μmol/L | 17.8553 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 23.999 | 95852.197 | 297390.1096 | 30.45 | 114.2
4481 | 2022-05-18 13:15 | 35.3375 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 247.9463 | μmol/L | 17.8553 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24 | 95868.8749 | 297392.138 | 30.45 | 114.2
4491 | 2022-05-18 13:15 | 35.671 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 247.8215 | μmol/L | 17.8553 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.006 | 95880.7274 | 297381.3687 | 30.45 | 114.2
4501 | 2022-05-18 13:15 | 36.0038 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 247.5929 | μmol/L | 17.8553 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.017 | 95920.427 | 297380.9489 | 30.45 | 114.2
4511 | 2022-05-18 13:16 | 36.3373 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 247.5782 | μmol/L | 17.8492 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.02 | 95951.695 | 297385.2244 | 30.45 | 114.2
4521 | 2022-05-18 13:16 | 36.6709 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 247.3706 | μmol/L | 17.8492 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.03 | 95988.2353 | 297384.0311 | 30.45 | 114.2
4531 | 2022-05-18 13:16 | 37.0044 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 247.2522 | μmol/L | 17.843 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.038 | 96033.8154 | 297375.3805 | 30.45 | 114.2
4541 | 2022-05-18 13:17 | 37.3371 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 247.045 | μmol/L | 17.843 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.048 | 96085.2976 | 297370.6047 | 30.45 | 114.2
4551 | 2022-05-18 13:17 | 37.6706 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 246.8587 | μmol/L | 17.843 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.057 | 96118.77 | 297359.2799 | 30.45 | 114.2
4561 | 2022-05-18 13:17 | 38.0043 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 246.6045 | μmol/L | 17.8492 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.067 | 96148.2631 | 297368.1147 | 30.45 | 114.2
4571 | 2022-05-18 13:18 | 38.337 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 246.4805 | μmol/L | 17.8492 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.073 | 96173.2328 | 297364.4295 | 30.45 | 114.2
4581 | 2022-05-18 13:18 | 38.6708 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 246.4986 | μmol/L | 17.8308 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.079 | 96230.1112 | 297366.7169 | 30.45 | 114.2
4591 | 2022-05-18 13:18 | 39.0044 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 246.2449 | μmol/L | 17.8369 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.089 | 96263.8808 | 297358.4724 | 30.45 | 114.2
4601 | 2022-05-18 13:19 | 39.3372 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 246.1623 | μmol/L | 17.8369 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.093 | 96291.4144 | 297360.4011 | 30.45 | 114.2
4611 | 2022-05-18 13:19 | 39.6703 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 245.9768 | μmol/L | 17.8369 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.102 | 96316.2963 | 297353.1285 | 30.45 | 114.2
4621 | 2022-05-18 13:19 | 40.0043 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 245.7709 | μmol/L | 17.8369 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.112 | 96333.7568 | 297350.0659 | 30.45 | 114.2
4631 | 2022-05-18 13:20 | 40.3374 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 245.7975 | μmol/L | 17.8308 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.113 | 96342.5615 | 297337.8527 | 30.45 | 114.2
4641 | 2022-05-18 13:20 | 40.6703 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 245.8532 | μmol/L | 17.8369 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.108 | 96348.0072 | 297338.4288 | 30.45 | 114.2
4651 | 2022-05-18 13:20 | 41.0041 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 245.7854 | μmol/L | 17.843 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.109 | 96335.9326 | 297332.3524 | 30.45 | 114.2
4661 | 2022-05-18 13:21 | 41.3377 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 245.7709 | μmol/L | 17.8369 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.112 | 96346.6256 | 297329.4353 | 30.45 | 114.2
4671 | 2022-05-18 13:21 | 41.6706 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 245.995 | μmol/L | 17.8185 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.108 | 96327.6125 | 297328.1822 | 30.45 | 114.2
4681 | 2022-05-18 13:21 | 42.0038 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 246.0156 | μmol/L | 17.8185 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.107 | 96329.6332 | 297335.9788 | 30.45 | 114.2
4691 | 2022-05-18 13:22 | 42.3376 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 245.8036 | μmol/L | 17.8246 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.115 | 96340.7955 | 297334.3448 | 30.45 | 114.2
4701 | 2022-05-18 13:22 | 42.6711 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 245.9211 | μmol/L | 17.8308 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.107 | 96328.2999 | 297319.541 | 30.45 | 114.2
4711 | 2022-05-18 13:22 | 43.0037 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 245.812 | μmol/L | 17.8369 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.11 | 96348.1296 | 297313.7236 | 30.45 | 114.2
4721 | 2022-05-18 13:23 | 43.3372 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 245.6474 | μmol/L | 17.8369 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.118 | 96384.3078 | 297310.3517 | 30.45 | 114.2
4731 | 2022-05-18 13:23 | 43.6704 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 245.2508 | μmol/L | 17.843 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.135 | 96433.9606 | 297296.7679 | 30.45 | 114.2
4741 | 2022-05-18 13:23 | 44.0036 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 245.0661 | μmol/L | 17.843 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.144 | 96488.5045 | 297306.5259 | 30.45 | 114.2
4751 | 2022-05-18 13:24 | 44.3377 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 244.8382 | μmol/L | 17.8246 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.162 | 96566.0254 | 297300.9825 | 30.45 | 114.2
4759 | 2022-05-18 13:24 | 44.6711 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 244.4902 | μmol/L | 17.8246 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.179 | 96633.3945 | 297293.8535 | 30.45 | 114.2
4766 | 2022-05-18 13:24 | 45.004 | oxy_ch_6 (PSt7-10) | 2022-05-16 12:48 | default | 244.2388 | μmol/L | 17.8308 | °C | 1018 | hPa | Humid | 0 | 0 | 0 | 24.189 | 96695.6143 | 297290.2099 | 30.45 | 114.2