## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_4 | O2 | 32092713 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:51

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 11:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
8535 | 2022-05-19 10:07 | 0 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.8428 | μmol/L | 17.6119 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.46 | 39554.45 | 294659.9531 | 28.7 | 67.6
8545 | 2022-05-19 10:07 | 0.33634 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.6218 | μmol/L | 17.6119 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.469 | 39556.1442 | 294670.8958 | 28.7 | 67.6
8555 | 2022-05-19 10:08 | 0.66962 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.4641 | μmol/L | 17.6241 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.471 | 39548.6932 | 294682.3578 | 28.7 | 67.6
8565 | 2022-05-19 10:08 | 1.003 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.4395 | μmol/L | 17.6241 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.472 | 39546.3206 | 294688.6754 | 28.7 | 67.6
8575 | 2022-05-19 10:08 | 1.3367 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.6113 | μmol/L | 17.6241 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.465 | 39538.9098 | 294700.7022 | 28.7 | 67.6
8585 | 2022-05-19 10:09 | 1.6694 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.5429 | μmol/L | 17.618 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.47 | 39537.5448 | 294705.9311 | 28.7 | 67.6
8595 | 2022-05-19 10:09 | 2.0032 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.6552 | μmol/L | 17.6302 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.461 | 39525.7356 | 294716.4071 | 28.7 | 67.6
8605 | 2022-05-19 10:09 | 2.3367 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.7341 | μmol/L | 17.6241 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.46 | 39532.7468 | 294720.9549 | 28.7 | 67.6
8615 | 2022-05-19 10:10 | 2.67 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.6061 | μmol/L | 17.6302 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.463 | 39551.8449 | 294735.1245 | 28.7 | 67.6
8625 | 2022-05-19 10:10 | 3.0028 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.5325 | μmol/L | 17.6302 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.466 | 39547.3148 | 294760.0024 | 28.7 | 67.6
8635 | 2022-05-19 10:10 | 3.3366 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.5622 | μmol/L | 17.6241 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.467 | 39550.3035 | 294767.3695 | 28.7 | 67.6
8645 | 2022-05-19 10:11 | 3.6693 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.7289 | μmol/L | 17.6302 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.458 | 39547.3044 | 294775.2817 | 28.7 | 67.6
8655 | 2022-05-19 10:11 | 4.0026 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.5079 | μmol/L | 17.6302 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.467 | 39549.91 | 294785.5549 | 28.7 | 67.6
8665 | 2022-05-19 10:11 | 4.3361 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.5325 | μmol/L | 17.6302 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.466 | 39552.5774 | 294812.5814 | 28.7 | 67.6
8675 | 2022-05-19 10:12 | 4.6697 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.2084 | μmol/L | 17.6363 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.477 | 39547.9192 | 294801.5679 | 28.7 | 67.6
8685 | 2022-05-19 10:12 | 5.0033 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.4782 | μmol/L | 17.6363 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.466 | 39552.5986 | 294821.9512 | 28.7 | 67.6
8695 | 2022-05-19 10:12 | 5.336 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.5763 | μmol/L | 17.6363 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.462 | 39544.759 | 294829.3333 | 28.7 | 67.6
8705 | 2022-05-19 10:13 | 5.6697 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.522 | μmol/L | 17.6423 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.462 | 39551.1958 | 294860.7432 | 28.7 | 67.6
8715 | 2022-05-19 10:13 | 6.0026 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.3994 | μmol/L | 17.6423 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.467 | 39554.5257 | 294856.8464 | 28.7 | 67.6
8725 | 2022-05-19 10:13 | 6.3363 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.5711 | μmol/L | 17.6423 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.46 | 39558.6165 | 294880.9332 | 28.7 | 67.6
8735 | 2022-05-19 10:14 | 6.6699 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.4432 | μmol/L | 17.6484 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.463 | 39556.2778 | 294879.4406 | 28.7 | 67.6
8745 | 2022-05-19 10:14 | 7.0026 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.5169 | μmol/L | 17.6484 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.46 | 39563.6159 | 294905.4733 | 28.7 | 67.6
8755 | 2022-05-19 10:14 | 7.3359 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.3154 | μmol/L | 17.6545 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.466 | 39566.5394 | 294924.0448 | 28.7 | 67.6
8765 | 2022-05-19 10:15 | 7.6696 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.3942 | μmol/L | 17.6484 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.465 | 39567.5352 | 294936.3972 | 28.7 | 67.6
8775 | 2022-05-19 10:15 | 8.0027 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.389 | μmol/L | 17.6545 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.463 | 39558.5148 | 294924.7714 | 28.7 | 67.6
8785 | 2022-05-19 10:15 | 8.3364 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.5362 | μmol/L | 17.6545 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.457 | 39569.8877 | 294961.4421 | 28.7 | 67.6
8795 | 2022-05-19 10:16 | 8.6697 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.2418 | μmol/L | 17.6545 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.469 | 39580.9187 | 294957.147 | 28.7 | 67.6
8805 | 2022-05-19 10:16 | 9.0033 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.389 | μmol/L | 17.6545 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.463 | 39578.5783 | 294976.4391 | 28.7 | 67.6
8815 | 2022-05-19 10:16 | 9.336 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.2857 | μmol/L | 17.6606 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.465 | 39578.7945 | 294994.8989 | 28.7 | 67.6
8825 | 2022-05-19 10:17 | 9.6695 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.4819 | μmol/L | 17.6606 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.457 | 39578.2636 | 294997.9192 | 28.7 | 67.6
8835 | 2022-05-19 10:17 | 10.0026 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.3102 | μmol/L | 17.6606 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.464 | 39584.2981 | 295010.6799 | 28.7 | 67.6
8845 | 2022-05-19 10:17 | 10.3359 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.3786 | μmol/L | 17.6667 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.459 | 39589.2612 | 295017.3717 | 28.7 | 67.6
8855 | 2022-05-19 10:18 | 10.6696 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.3593 | μmol/L | 17.6606 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.462 | 39586.3995 | 295014.5671 | 28.7 | 67.6
8865 | 2022-05-19 10:18 | 11.0032 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.2612 | μmol/L | 17.6606 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.466 | 39583.4722 | 295048.9449 | 28.7 | 67.6
8875 | 2022-05-19 10:18 | 11.336 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.5065 | μmol/L | 17.6606 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.456 | 39580.8952 | 295051.8833 | 28.7 | 67.6
8885 | 2022-05-19 10:19 | 11.6697 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.2508 | μmol/L | 17.6727 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.462 | 39586.4451 | 295044.9513 | 28.7 | 67.6
8895 | 2022-05-19 10:19 | 12.0032 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.2999 | μmol/L | 17.6727 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.46 | 39588.7766 | 295074.7295 | 28.7 | 67.6
8905 | 2022-05-19 10:19 | 12.3362 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.2263 | μmol/L | 17.6727 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.463 | 39591.552 | 295078.3004 | 28.7 | 67.6
8915 | 2022-05-19 10:20 | 12.6699 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.1773 | μmol/L | 17.6727 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.465 | 39591.5354 | 295086.3463 | 28.7 | 67.6
8925 | 2022-05-19 10:20 | 13.0029 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.3244 | μmol/L | 17.6727 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.459 | 39598.9911 | 295102.7941 | 28.7 | 67.6
8935 | 2022-05-19 10:20 | 13.3363 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.2702 | μmol/L | 17.6788 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.459 | 39600.477 | 295111.0649 | 28.7 | 67.6
8945 | 2022-05-19 10:21 | 13.6695 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.1424 | μmol/L | 17.6849 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.462 | 39595.1623 | 295131.8516 | 28.7 | 67.6
8955 | 2022-05-19 10:21 | 14.0031 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.1231 | μmol/L | 17.6788 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.465 | 39599.4305 | 295138.6453 | 28.7 | 67.6
8965 | 2022-05-19 10:21 | 14.3363 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.265 | μmol/L | 17.6849 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.457 | 39600.4716 | 295148.8151 | 28.7 | 67.6
8975 | 2022-05-19 10:22 | 14.6695 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.265 | μmol/L | 17.6849 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.457 | 39600.8888 | 295163.8422 | 28.7 | 67.6
8985 | 2022-05-19 10:22 | 15.0032 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.2108 | μmol/L | 17.691 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.457 | 39611.2735 | 295183.5012 | 28.7 | 67.6
8995 | 2022-05-19 10:22 | 15.336 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.1618 | μmol/L | 17.691 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.459 | 39606.5391 | 295181.8559 | 28.7 | 67.6
9005 | 2022-05-19 10:23 | 15.6694 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.4613 | μmol/L | 17.6849 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.449 | 39608.1066 | 295209.7863 | 28.7 | 67.6
9015 | 2022-05-19 10:23 | 16.0031 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.9168 | μmol/L | 17.691 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.469 | 39605.8108 | 295205.7325 | 28.7 | 67.6
9025 | 2022-05-19 10:23 | 16.3366 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.1863 | μmol/L | 17.691 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.458 | 39611.3466 | 295233.998 | 28.7 | 67.6
9035 | 2022-05-19 10:24 | 16.6695 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.9902 | μmol/L | 17.691 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.466 | 39608.6677 | 295210.3727 | 28.7 | 67.6
9045 | 2022-05-19 10:24 | 17.003 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.0096 | μmol/L | 17.6971 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.463 | 39606.1951 | 295248.9274 | 28.7 | 67.6
9055 | 2022-05-19 10:24 | 17.3365 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.3334 | μmol/L | 17.691 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.452 | 39614.7977 | 295264.8694 | 28.7 | 67.6
9065 | 2022-05-19 10:25 | 17.6699 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.1321 | μmol/L | 17.6971 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.458 | 39609.3603 | 295277.3468 | 28.7 | 67.6
9075 | 2022-05-19 10:25 | 18.003 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.0044 | μmol/L | 17.7032 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.461 | 39605.1783 | 295280.2708 | 28.7 | 67.6
9085 | 2022-05-19 10:25 | 18.3365 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.1025 | μmol/L | 17.7032 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.457 | 39619.2908 | 295307.8619 | 28.7 | 67.6
9095 | 2022-05-19 10:26 | 18.6698 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.1076 | μmol/L | 17.6971 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.459 | 39621.3696 | 295310.2101 | 28.7 | 67.6
9105 | 2022-05-19 10:26 | 19.0027 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.127 | μmol/L | 17.7032 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.456 | 39628.606 | 295328.894 | 28.7 | 67.6
9115 | 2022-05-19 10:26 | 19.3363 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.0882 | μmol/L | 17.691 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.462 | 39628.463 | 295328.7872 | 28.7 | 67.6
9125 | 2022-05-19 10:27 | 19.67 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.0831 | μmol/L | 17.6971 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.46 | 39631.8767 | 295370.6159 | 28.7 | 67.6
9135 | 2022-05-19 10:27 | 20.0028 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.0831 | μmol/L | 17.6971 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.46 | 39627.5413 | 295373.3769 | 28.7 | 67.6
9145 | 2022-05-19 10:27 | 20.3365 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.0586 | μmol/L | 17.6971 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.461 | 39641.9385 | 295391.9667 | 28.7 | 67.6
9155 | 2022-05-19 10:28 | 20.67 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.0535 | μmol/L | 17.7032 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.459 | 39639.8978 | 295394.3356 | 28.7 | 67.6
9165 | 2022-05-19 10:28 | 21.0027 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.8768 | μmol/L | 17.7092 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.464 | 39643.6899 | 295416.2717 | 28.7 | 67.6
9175 | 2022-05-19 10:28 | 21.3365 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.0535 | μmol/L | 17.7032 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.459 | 39652.9683 | 295436.045 | 28.7 | 67.6
9185 | 2022-05-19 10:29 | 21.6692 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 284.0728 | μmol/L | 17.7092 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.456 | 39648.3373 | 295435.4981 | 28.7 | 67.6
9195 | 2022-05-19 10:29 | 22.0026 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.8279 | μmol/L | 17.7092 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.466 | 39663.4202 | 295459.3773 | 28.7 | 67.6
9205 | 2022-05-19 10:29 | 22.336 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.9013 | μmol/L | 17.7092 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.463 | 39662.3655 | 295473.907 | 28.7 | 67.6
9215 | 2022-05-19 10:30 | 22.6694 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.7248 | μmol/L | 17.7153 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.468 | 39668.0927 | 295473.6928 | 28.7 | 67.6
9225 | 2022-05-19 10:30 | 23.0031 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.5291 | μmol/L | 17.7153 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.476 | 39689.3787 | 295498.3819 | 28.7 | 67.6
9235 | 2022-05-19 10:30 | 23.3366 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.6566 | μmol/L | 17.7092 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.473 | 39696.4488 | 295512.0101 | 28.7 | 67.6
9245 | 2022-05-19 10:31 | 23.67 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.4314 | μmol/L | 17.7153 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.48 | 39704.9989 | 295525.5489 | 28.7 | 67.6
9255 | 2022-05-19 10:31 | 24.0027 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.7647 | μmol/L | 17.6971 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.473 | 39702.0375 | 295508.6587 | 28.7 | 67.6
9265 | 2022-05-19 10:31 | 24.3367 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.5587 | μmol/L | 17.7092 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.477 | 39717.4995 | 295523.7271 | 28.7 | 67.6
9275 | 2022-05-19 10:32 | 24.6694 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.2796 | μmol/L | 17.7214 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.484 | 39710.3785 | 295539.2299 | 28.7 | 67.6
9285 | 2022-05-19 10:32 | 25.0029 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.2308 | μmol/L | 17.7214 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.486 | 39717.8019 | 295549.1366 | 28.7 | 67.6
9295 | 2022-05-19 10:32 | 25.3364 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.4558 | μmol/L | 17.7153 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.479 | 39720.9661 | 295557.4593 | 28.7 | 67.6
9305 | 2022-05-19 10:33 | 25.67 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.0792 | μmol/L | 17.7275 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.49 | 39732.1163 | 295572.9831 | 28.7 | 67.6
9315 | 2022-05-19 10:33 | 26.0034 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.128 | μmol/L | 17.7275 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.488 | 39732.294 | 295576.609 | 28.7 | 67.6
9325 | 2022-05-19 10:33 | 26.3362 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.3285 | μmol/L | 17.7214 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.482 | 39741.1995 | 295578.4116 | 28.7 | 67.6
9335 | 2022-05-19 10:34 | 26.6698 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.1036 | μmol/L | 17.7275 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.489 | 39748.8446 | 295585.1894 | 28.7 | 67.6
9345 | 2022-05-19 10:34 | 27.0026 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.2012 | μmol/L | 17.7275 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.485 | 39754.4055 | 295594.6588 | 28.7 | 67.6
9355 | 2022-05-19 10:34 | 27.3365 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.2411 | μmol/L | 17.7092 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.49 | 39756.8212 | 295605.3346 | 28.7 | 67.6
9365 | 2022-05-19 10:35 | 27.6693 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.2655 | μmol/L | 17.7092 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.489 | 39766.8648 | 295623.5609 | 28.7 | 67.6
9375 | 2022-05-19 10:35 | 28.0026 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 283.1678 | μmol/L | 17.7092 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.493 | 39768.1167 | 295639.4061 | 28.7 | 67.6
9385 | 2022-05-19 10:35 | 28.3362 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.9482 | μmol/L | 17.7092 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.502 | 39770.9388 | 295630.3369 | 28.7 | 67.6
9395 | 2022-05-19 10:36 | 28.6698 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.689 | μmol/L | 17.7275 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.506 | 39767.4858 | 295658.339 | 28.7 | 67.6
9405 | 2022-05-19 10:36 | 29.0033 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.7377 | μmol/L | 17.7275 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.504 | 39786.8708 | 295664.3916 | 28.7 | 67.6
9415 | 2022-05-19 10:36 | 29.3359 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.7134 | μmol/L | 17.7275 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.505 | 39796.4233 | 295667.0164 | 28.7 | 67.6
9425 | 2022-05-19 10:37 | 29.6694 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.5428 | μmol/L | 17.7275 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.512 | 39801.2267 | 295673.8277 | 28.7 | 67.6
9435 | 2022-05-19 10:37 | 30.0031 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.6159 | μmol/L | 17.7275 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.509 | 39817.4071 | 295679.8805 | 28.7 | 67.6
9445 | 2022-05-19 10:37 | 30.3366 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.5672 | μmol/L | 17.7275 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.511 | 39820.2382 | 295684.4891 | 28.7 | 67.6
9455 | 2022-05-19 10:38 | 30.6694 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.2995 | μmol/L | 17.7275 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.522 | 39834.1798 | 295706.9972 | 28.7 | 67.6
9465 | 2022-05-19 10:38 | 31.0028 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.9732 | μmol/L | 17.7396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.531 | 39836.8334 | 295695.5509 | 28.7 | 67.6
9475 | 2022-05-19 10:38 | 31.3366 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.0704 | μmol/L | 17.7396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.527 | 39843.848 | 295706.3066 | 28.7 | 67.6
9485 | 2022-05-19 10:39 | 31.6694 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.0652 | μmol/L | 17.7457 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.525 | 39853.2718 | 295722.4256 | 28.7 | 67.6
9495 | 2022-05-19 10:39 | 32.0029 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.1727 | μmol/L | 17.7336 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.525 | 39850.7149 | 295729.3332 | 28.7 | 67.6
9505 | 2022-05-19 10:39 | 32.3363 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.0218 | μmol/L | 17.7396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.529 | 39860.1753 | 295748.4184 | 28.7 | 67.6
9515 | 2022-05-19 10:40 | 32.6698 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.1293 | μmol/L | 17.7275 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.529 | 39862.8127 | 295744.1902 | 28.7 | 67.6
9525 | 2022-05-19 10:40 | 33.0026 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.9732 | μmol/L | 17.7396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.531 | 39863.2411 | 295753.0128 | 28.7 | 67.6
9535 | 2022-05-19 10:40 | 33.3362 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.9003 | μmol/L | 17.7396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.534 | 39869.1775 | 295759.4966 | 28.7 | 67.6
9545 | 2022-05-19 10:41 | 33.6697 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.954 | μmol/L | 17.7336 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.534 | 39881.3984 | 295758.3754 | 28.7 | 67.6
9555 | 2022-05-19 10:41 | 34.0033 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.9887 | μmol/L | 17.7214 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.537 | 39884.4563 | 295778.7227 | 28.7 | 67.6
9565 | 2022-05-19 10:41 | 34.3361 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.9887 | μmol/L | 17.7214 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.537 | 39890.385 | 295773.274 | 28.7 | 67.6
9575 | 2022-05-19 10:42 | 34.6694 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7789 | μmol/L | 17.7396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.539 | 39890.1365 | 295776.1482 | 28.7 | 67.6
9585 | 2022-05-19 10:42 | 35.003 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6767 | μmol/L | 17.7457 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.541 | 39897.8326 | 295787.781 | 28.7 | 67.6
9595 | 2022-05-19 10:42 | 35.3367 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7061 | μmol/L | 17.7396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.542 | 39899.4392 | 295797.6227 | 28.7 | 67.6
9605 | 2022-05-19 10:43 | 35.6692 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.9835 | μmol/L | 17.7275 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.535 | 39878.1431 | 295805.8123 | 28.7 | 67.6
9615 | 2022-05-19 10:43 | 36.0027 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.0129 | μmol/L | 17.7214 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.536 | 39886.1656 | 295814.0959 | 28.7 | 67.6
9625 | 2022-05-19 10:43 | 36.3364 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.9106 | μmol/L | 17.7275 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.538 | 39894.2246 | 295804.5463 | 28.7 | 67.6
9635 | 2022-05-19 10:44 | 36.67 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7495 | μmol/L | 17.7457 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.538 | 39899.5837 | 295806.1178 | 28.7 | 67.6
9645 | 2022-05-19 10:44 | 37.003 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.5555 | μmol/L | 17.7457 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.546 | 39908.4736 | 295829.4862 | 28.7 | 67.6
9655 | 2022-05-19 10:44 | 37.3366 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.5312 | μmol/L | 17.7457 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.547 | 39910.6727 | 295820.4311 | 28.7 | 67.6
9665 | 2022-05-19 10:45 | 37.6693 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.4394 | μmol/L | 17.7396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.553 | 39920.0712 | 295836.8274 | 28.7 | 67.6
9675 | 2022-05-19 10:45 | 38.0029 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6974 | μmol/L | 17.7214 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.549 | 39928.2033 | 295840.8348 | 28.7 | 67.6
9685 | 2022-05-19 10:45 | 38.3365 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.765 | μmol/L | 17.7275 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.544 | 39929.7467 | 295835.0495 | 28.7 | 67.6
9695 | 2022-05-19 10:46 | 38.6693 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.4636 | μmol/L | 17.7396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.552 | 39933.1423 | 295844.0363 | 28.7 | 67.6
9705 | 2022-05-19 10:46 | 39.0026 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.5849 | μmol/L | 17.7396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.547 | 39931.362 | 295856.193 | 28.7 | 67.6
9715 | 2022-05-19 10:46 | 39.336 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.3909 | μmol/L | 17.7396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.555 | 39939.6042 | 295855.7179 | 28.7 | 67.6
9725 | 2022-05-19 10:47 | 39.6696 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.4342 | μmol/L | 17.7457 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.551 | 39947.7022 | 295843.7494 | 28.7 | 67.6
9735 | 2022-05-19 10:47 | 40.003 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.3476 | μmol/L | 17.7336 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.559 | 39950.015 | 295843.5897 | 28.7 | 67.6
9745 | 2022-05-19 10:47 | 40.336 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.2647 | μmol/L | 17.7457 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.558 | 39952.6836 | 295850.8575 | 28.7 | 67.6
9755 | 2022-05-19 10:48 | 40.6696 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.2698 | μmol/L | 17.7396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.56 | 39955.3898 | 295855.3881 | 28.7 | 67.6
9765 | 2022-05-19 10:48 | 41.0031 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.3425 | μmol/L | 17.7396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.557 | 39954.6884 | 295860.5348 | 28.7 | 67.6
9775 | 2022-05-19 10:48 | 41.336 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.9742 | μmol/L | 17.7457 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.57 | 39965.9339 | 295869.9444 | 28.7 | 67.6
9785 | 2022-05-19 10:49 | 41.6696 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.2698 | μmol/L | 17.7396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.56 | 39967.8679 | 295868.8621 | 28.7 | 67.6
9795 | 2022-05-19 10:49 | 42.003 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.0468 | μmol/L | 17.7457 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.567 | 39972.7444 | 295865.9164 | 28.7 | 67.6
9805 | 2022-05-19 10:49 | 42.3367 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.0468 | μmol/L | 17.7457 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.567 | 39968.1639 | 295877.8421 | 28.7 | 67.6
9815 | 2022-05-19 10:50 | 42.6693 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.0571 | μmol/L | 17.7336 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.571 | 39977.3755 | 295881.3255 | 28.7 | 67.6
9825 | 2022-05-19 10:50 | 43.0028 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.1297 | μmol/L | 17.7336 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.568 | 39978.4705 | 295884.8231 | 28.7 | 67.6
9835 | 2022-05-19 10:50 | 43.3363 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.0087 | μmol/L | 17.7336 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.573 | 39975.1579 | 295885.4229 | 28.7 | 67.6
9845 | 2022-05-19 10:51 | 43.6698 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.0329 | μmol/L | 17.7336 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.572 | 39980.3995 | 295889.2564 | 28.7 | 67.6
9855 | 2022-05-19 10:51 | 44.0033 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.7618 | μmol/L | 17.7396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.581 | 39982.885 | 295890.4165 | 28.7 | 67.6
9865 | 2022-05-19 10:51 | 44.3366 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.9984 | μmol/L | 17.7457 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.569 | 39986.1615 | 295894.8165 | 28.7 | 67.6
9875 | 2022-05-19 10:52 | 44.6696 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.931 | μmol/L | 17.7396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.574 | 39987.4625 | 295893.5353 | 28.7 | 67.6
9885 | 2022-05-19 10:52 | 45.0033 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.7135 | μmol/L | 17.7396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.583 | 39994.475 | 295888.4867 | 28.7 | 67.6
9895 | 2022-05-19 10:52 | 45.3367 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.729 | μmol/L | 17.7214 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.589 | 40000.8863 | 295889.5393 | 28.7 | 67.6
9905 | 2022-05-19 10:53 | 45.6695 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.7049 | μmol/L | 17.7214 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.59 | 40005.6986 | 295889.641 | 28.7 | 67.6
9915 | 2022-05-19 10:53 | 46.0032 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.8257 | μmol/L | 17.7214 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.585 | 40006.8232 | 295892.9094 | 28.7 | 67.6
9925 | 2022-05-19 10:53 | 46.336 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.7187 | μmol/L | 17.7336 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.585 | 40014.2989 | 295897.3928 | 28.7 | 67.6
9935 | 2022-05-19 10:54 | 46.6694 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.5927 | μmol/L | 17.7396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.588 | 40021.5482 | 295898.4113 | 28.7 | 67.6
9945 | 2022-05-19 10:54 | 47.003 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.472 | μmol/L | 17.7396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.593 | 40029.0167 | 295900.9009 | 28.7 | 67.6
9955 | 2022-05-19 10:54 | 47.336 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.3273 | μmol/L | 17.7396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.599 | 40033.3891 | 295906.5749 | 28.7 | 67.6
9965 | 2022-05-19 10:55 | 47.6694 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.3566 | μmol/L | 17.7336 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.6 | 40037.6006 | 295899.9704 | 28.7 | 67.6
9975 | 2022-05-19 10:55 | 48.0029 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.4237 | μmol/L | 17.7396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.595 | 40040.8453 | 295906.922 | 28.7 | 67.6
9985 | 2022-05-19 10:55 | 48.3364 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.2497 | μmol/L | 17.7457 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.6 | 40044.7785 | 295907.1617 | 28.7 | 67.6
9995 | 2022-05-19 10:56 | 48.67 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.3566 | μmol/L | 17.7336 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.6 | 40051.2434 | 295915.6406 | 28.7 | 67.6
10005 | 2022-05-19 10:56 | 49.0033 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.1982 | μmol/L | 17.7214 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.611 | 40059.2378 | 295904.8774 | 28.7 | 67.6
10015 | 2022-05-19 10:56 | 49.3359 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.193 | μmol/L | 17.7275 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.609 | 40070.6784 | 295912.7828 | 28.7 | 67.6
10025 | 2022-05-19 10:57 | 49.6694 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.8213 | μmol/L | 17.7396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.62 | 40075.6613 | 295910.9126 | 28.7 | 67.6
10035 | 2022-05-19 10:57 | 50.0032 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.8987 | μmol/L | 17.7336 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.619 | 40085.0197 | 295911.081 | 28.7 | 67.6
10045 | 2022-05-19 10:57 | 50.3359 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 280.0139 | μmol/L | 17.7396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.612 | 40088.1846 | 295919.0204 | 28.7 | 67.6
10055 | 2022-05-19 10:58 | 50.6695 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.8213 | μmol/L | 17.7396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.62 | 40099.3071 | 295916.906 | 28.7 | 67.6
10065 | 2022-05-19 10:58 | 51.003 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.586 | μmol/L | 17.7336 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.632 | 40094.2031 | 295915.8579 | 28.7 | 67.6
10075 | 2022-05-19 10:58 | 51.3364 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.7114 | μmol/L | 17.7275 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.629 | 40110.9885 | 295923.4156 | 28.7 | 67.6
10085 | 2022-05-19 10:59 | 51.6698 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.7303 | μmol/L | 17.7336 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.626 | 40114.5452 | 295933.7175 | 28.7 | 67.6
10095 | 2022-05-19 10:59 | 52.0033 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.6152 | μmol/L | 17.7275 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.633 | 40112.5909 | 295922.2252 | 28.7 | 67.6
10105 | 2022-05-19 10:59 | 52.3367 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.562 | μmol/L | 17.7336 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.633 | 40118.3466 | 295940.7864 | 28.7 | 67.6
10115 | 2022-05-19 11:00 | 52.6694 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.4418 | μmol/L | 17.7336 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.638 | 40117.7005 | 295922.2936 | 28.7 | 67.6
10125 | 2022-05-19 11:00 | 53.0028 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.4951 | μmol/L | 17.7275 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.638 | 40119.5641 | 295928.8578 | 28.7 | 67.6
10135 | 2022-05-19 11:00 | 53.3364 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.4658 | μmol/L | 17.7336 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.637 | 40124.4713 | 295922.5171 | 28.7 | 67.6
10145 | 2022-05-19 11:01 | 53.67 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.2633 | μmol/L | 17.7457 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.641 | 40123.2252 | 295924.3075 | 28.7 | 67.6
10155 | 2022-05-19 11:01 | 54.0033 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.5672 | μmol/L | 17.7275 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.635 | 40123.5741 | 295932.3552 | 28.7 | 67.6
10165 | 2022-05-19 11:01 | 54.3363 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.3938 | μmol/L | 17.7336 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.64 | 40133.8638 | 295937.9753 | 28.7 | 67.6
10175 | 2022-05-19 11:02 | 54.6698 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.3509 | μmol/L | 17.7275 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.644 | 40140.4077 | 295930.7505 | 28.7 | 67.6
10185 | 2022-05-19 11:02 | 55.0032 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.399 | μmol/L | 17.7275 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.642 | 40145.2967 | 295930.5802 | 28.7 | 67.6
10195 | 2022-05-19 11:02 | 55.3366 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.5295 | μmol/L | 17.7153 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.641 | 40146.2194 | 295936.4271 | 28.7 | 67.6
10205 | 2022-05-19 11:03 | 55.67 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.4627 | μmol/L | 17.7092 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.646 | 40151.6642 | 295935.8822 | 28.7 | 67.6
10215 | 2022-05-19 11:03 | 56.0027 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.5055 | μmol/L | 17.7153 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.642 | 40141.1296 | 295921.8153 | 28.7 | 67.6
10225 | 2022-05-19 11:03 | 56.3361 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.2309 | μmol/L | 17.7275 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.649 | 40147.0501 | 295936.388 | 28.7 | 67.6
10235 | 2022-05-19 11:04 | 56.6697 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.2121 | μmol/L | 17.7214 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.652 | 40147.4057 | 295927.8723 | 28.7 | 67.6
10245 | 2022-05-19 11:04 | 57.0032 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.1829 | μmol/L | 17.7275 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.651 | 40147.4039 | 295918.4089 | 28.7 | 67.6
10255 | 2022-05-19 11:04 | 57.336 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.1881 | μmol/L | 17.7214 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.653 | 40156.4381 | 295934.35 | 28.7 | 67.6
10265 | 2022-05-19 11:05 | 57.6696 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.2549 | μmol/L | 17.7275 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.648 | 40154.7507 | 295917.7145 | 28.7 | 67.6
10275 | 2022-05-19 11:05 | 58.0033 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.2601 | μmol/L | 17.7214 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.65 | 40158.4057 | 295926.731 | 28.7 | 67.6
10285 | 2022-05-19 11:05 | 58.3359 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.3374 | μmol/L | 17.7153 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.649 | 40157.4667 | 295929.4703 | 28.7 | 67.6
10295 | 2022-05-19 11:06 | 58.6695 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.3478 | μmol/L | 17.7032 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.653 | 40164.4098 | 295915.1437 | 28.7 | 67.6
10305 | 2022-05-19 11:06 | 59.003 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.233 | μmol/L | 17.6971 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.66 | 40170.6176 | 295929.5387 | 28.7 | 67.6
10315 | 2022-05-19 11:06 | 59.3365 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.1026 | μmol/L | 17.7092 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.661 | 40178.6165 | 295931.337 | 28.7 | 67.6
10325 | 2022-05-19 11:07 | 59.6693 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 279.0307 | μmol/L | 17.7092 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.664 | 40174.2213 | 295926.6215 | 28.7 | 67.6
10335 | 2022-05-19 11:07 | 60.0027 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.9056 | μmol/L | 17.7153 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.667 | 40180.4922 | 295924.1248 | 28.7 | 67.6
10345 | 2022-05-19 11:07 | 60.3363 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 278.9056 | μmol/L | 17.7153 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.667 | 40174.8626 | 295931.9266 | 28.7 | 67.6