## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_8 | O2 | 190713773 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:58

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 11:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
8539 | 2022-05-19 10:07 | 0 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.0673 | μmol/L | 17.6543 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.35 | 170898.905 | 306557.4841 | 33.25 | 68.6
8549 | 2022-05-19 10:07 | 0.3322 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.1537 | μmol/L | 17.6604 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.344 | 170732.836 | 306566.5507 | 33.25 | 68.6
8559 | 2022-05-19 10:08 | 0.66605 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.1455 | μmol/L | 17.6665 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.342 | 170582.5106 | 306559.3825 | 33.25 | 68.6
8569 | 2022-05-19 10:08 | 0.99892 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.3197 | μmol/L | 17.6604 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.337 | 170425.9695 | 306561.8276 | 33.25 | 68.6
8579 | 2022-05-19 10:08 | 1.3326 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.2794 | μmol/L | 17.6725 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.334 | 170329.9409 | 306554.4566 | 33.25 | 68.6
8589 | 2022-05-19 10:09 | 1.6658 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.2948 | μmol/L | 17.6786 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.331 | 170224.0167 | 306548.4802 | 33.25 | 68.6
8599 | 2022-05-19 10:09 | 1.9995 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.366 | μmol/L | 17.6786 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.328 | 170152.8989 | 306544.1216 | 33.25 | 68.6
8609 | 2022-05-19 10:09 | 2.3323 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.334 | μmol/L | 17.6847 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.327 | 170058.3005 | 306546.7149 | 33.25 | 68.6
8619 | 2022-05-19 10:10 | 2.6656 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.4217 | μmol/L | 17.6725 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.328 | 169948.1601 | 306548.7157 | 33.25 | 68.6
8629 | 2022-05-19 10:10 | 2.9993 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.1455 | μmol/L | 17.6665 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.342 | 170056.1426 | 306550.1911 | 33.25 | 68.6
8639 | 2022-05-19 10:10 | 3.333 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.7737 | μmol/L | 17.6786 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.353 | 170099.0831 | 306549.5153 | 33.25 | 68.6
8649 | 2022-05-19 10:11 | 3.6658 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.8767 | μmol/L | 17.6725 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.351 | 170081.0249 | 306542.7478 | 33.25 | 68.6
8659 | 2022-05-19 10:11 | 3.9995 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.853 | μmol/L | 17.6725 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.352 | 170042.0299 | 306540.2293 | 33.25 | 68.6
8669 | 2022-05-19 10:11 | 4.333 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.8128 | μmol/L | 17.6847 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.349 | 169990.9438 | 306568.477 | 33.25 | 68.6
8679 | 2022-05-19 10:12 | 4.6658 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.9548 | μmol/L | 17.6847 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.343 | 169928.489 | 306569.9261 | 33.25 | 68.6
8689 | 2022-05-19 10:12 | 4.9993 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.0022 | μmol/L | 17.6847 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.341 | 169876.023 | 306577.8713 | 33.25 | 68.6
8699 | 2022-05-19 10:12 | 5.333 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.8909 | μmol/L | 17.6969 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.341 | 169833.4983 | 306591.2737 | 33.25 | 68.6
8709 | 2022-05-19 10:13 | 5.6658 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.065 | μmol/L | 17.6908 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.336 | 169787.2954 | 306590.0577 | 33.25 | 68.6
8719 | 2022-05-19 10:13 | 5.9993 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.0567 | μmol/L | 17.6969 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.334 | 169753.0161 | 306587.7298 | 33.25 | 68.6
8729 | 2022-05-19 10:13 | 6.3328 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.2072 | μmol/L | 17.6908 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.33 | 169709.3845 | 306599.2911 | 33.25 | 68.6
8739 | 2022-05-19 10:14 | 6.6657 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.1752 | μmol/L | 17.6969 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.329 | 169704.7793 | 306606.5983 | 33.25 | 68.6
8749 | 2022-05-19 10:14 | 6.9995 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.1515 | μmol/L | 17.6969 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.33 | 169697.6216 | 306624.3342 | 33.25 | 68.6
8759 | 2022-05-19 10:14 | 7.3327 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.1433 | μmol/L | 17.7029 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.328 | 169677.5804 | 306636.0889 | 33.25 | 68.6
8769 | 2022-05-19 10:15 | 7.6656 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.135 | μmol/L | 17.709 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.326 | 169652.9955 | 306631.7809 | 33.25 | 68.6
8779 | 2022-05-19 10:15 | 7.999 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.1113 | μmol/L | 17.709 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.327 | 169638.671 | 306636.1259 | 33.25 | 68.6
8789 | 2022-05-19 10:15 | 8.3327 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.1505 | μmol/L | 17.7151 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.323 | 169620.8313 | 306649.17 | 33.25 | 68.6
8799 | 2022-05-19 10:16 | 8.6659 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.0948 | μmol/L | 17.7212 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.323 | 169608.5488 | 306641.7968 | 33.25 | 68.6
8809 | 2022-05-19 10:16 | 8.9989 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.1824 | μmol/L | 17.709 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.324 | 169596.81 | 306661.6545 | 33.25 | 68.6
8819 | 2022-05-19 10:16 | 9.3329 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.1742 | μmol/L | 17.7151 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.322 | 169570.7119 | 306663.1781 | 33.25 | 68.6
8829 | 2022-05-19 10:17 | 9.6662 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.1505 | μmol/L | 17.7151 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.323 | 169581.1088 | 306674.8354 | 33.25 | 68.6
8839 | 2022-05-19 10:17 | 9.9994 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.2061 | μmol/L | 17.709 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.323 | 169565.1376 | 306673.1138 | 33.25 | 68.6
8849 | 2022-05-19 10:17 | 10.3324 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.1268 | μmol/L | 17.7151 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.324 | 169560.7349 | 306681.5626 | 33.25 | 68.6
8859 | 2022-05-19 10:18 | 10.666 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.0475 | μmol/L | 17.7212 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.325 | 169548.0816 | 306688.653 | 33.25 | 68.6
8869 | 2022-05-19 10:18 | 10.9996 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.1505 | μmol/L | 17.7151 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.323 | 169520.6011 | 306695.899 | 33.25 | 68.6
8879 | 2022-05-19 10:18 | 11.3325 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.0866 | μmol/L | 17.7273 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.321 | 169536.4729 | 306703.6516 | 33.25 | 68.6
8889 | 2022-05-19 10:19 | 11.6661 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.0073 | μmol/L | 17.7334 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.322 | 169528.6545 | 306717.3839 | 33.25 | 68.6
8899 | 2022-05-19 10:19 | 11.9996 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.0629 | μmol/L | 17.7273 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.322 | 169557.299 | 306711.971 | 33.25 | 68.6
8909 | 2022-05-19 10:19 | 12.3324 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.9517 | μmol/L | 17.7394 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.322 | 169563.8638 | 306731.158 | 33.25 | 68.6
8919 | 2022-05-19 10:20 | 12.6662 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.9754 | μmol/L | 17.7394 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.321 | 169538.3156 | 306732.0726 | 33.25 | 68.6
8929 | 2022-05-19 10:20 | 12.9993 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.9517 | μmol/L | 17.7394 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.322 | 169548.6741 | 306754.2719 | 33.25 | 68.6
8939 | 2022-05-19 10:20 | 13.333 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.031 | μmol/L | 17.7334 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.321 | 169545.6696 | 306737.3863 | 33.25 | 68.6
8949 | 2022-05-19 10:21 | 13.6663 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.9754 | μmol/L | 17.7394 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.321 | 169569.2103 | 306751.7396 | 33.25 | 68.6
8959 | 2022-05-19 10:21 | 13.9992 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 284.031 | μmol/L | 17.7334 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.321 | 169603.3638 | 306768.3363 | 33.25 | 68.6
8969 | 2022-05-19 10:21 | 14.3326 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.9517 | μmol/L | 17.7394 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.322 | 169599.779 | 306774.081 | 33.25 | 68.6
8979 | 2022-05-19 10:22 | 14.6656 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.8333 | μmol/L | 17.7394 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.327 | 169607.2991 | 306781.4856 | 33.25 | 68.6
8989 | 2022-05-19 10:22 | 14.9992 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.9672 | μmol/L | 17.7455 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.319 | 169601.5282 | 306807.97 | 33.25 | 68.6
8999 | 2022-05-19 10:22 | 15.3327 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.9044 | μmol/L | 17.7394 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.324 | 169621.7195 | 306803.6867 | 33.25 | 68.6
9009 | 2022-05-19 10:23 | 15.6661 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.9281 | μmol/L | 17.7394 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.323 | 169627.2714 | 306814.3135 | 33.25 | 68.6
9019 | 2022-05-19 10:23 | 15.9995 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.8962 | μmol/L | 17.7455 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.322 | 169632.4332 | 306826.6472 | 33.25 | 68.6
9029 | 2022-05-19 10:23 | 16.3322 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.9044 | μmol/L | 17.7394 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.324 | 169647.8413 | 306842.1884 | 33.25 | 68.6
9039 | 2022-05-19 10:24 | 16.6658 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.857 | μmol/L | 17.7394 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.326 | 169646.8239 | 306847.6394 | 33.25 | 68.6
9049 | 2022-05-19 10:24 | 16.9994 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.8807 | μmol/L | 17.7394 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.325 | 169657.3831 | 306848.1252 | 33.25 | 68.6
9059 | 2022-05-19 10:24 | 17.333 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.9363 | μmol/L | 17.7334 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.325 | 169689.8672 | 306860.7554 | 33.25 | 68.6
9069 | 2022-05-19 10:25 | 17.6658 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.9281 | μmol/L | 17.7394 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.323 | 169683.5202 | 306864.9626 | 33.25 | 68.6
9079 | 2022-05-19 10:25 | 17.9994 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.8015 | μmol/L | 17.7455 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.326 | 169678.4697 | 306882.0749 | 33.25 | 68.6
9089 | 2022-05-19 10:25 | 18.3324 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.9517 | μmol/L | 17.7394 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.322 | 169703.1546 | 306900.8342 | 33.25 | 68.6
9099 | 2022-05-19 10:26 | 18.6655 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.6986 | μmol/L | 17.7516 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.328 | 169708.3308 | 306894.0031 | 33.25 | 68.6
9109 | 2022-05-19 10:26 | 18.9993 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.8015 | μmol/L | 17.7455 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.326 | 169717.5747 | 306919.0021 | 33.25 | 68.6
9119 | 2022-05-19 10:26 | 19.3328 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.8015 | μmol/L | 17.7455 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.326 | 169730.1927 | 306925.5485 | 33.25 | 68.6
9129 | 2022-05-19 10:27 | 19.6656 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.8015 | μmol/L | 17.7455 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.326 | 169731.5782 | 306928.0554 | 33.25 | 68.6
9139 | 2022-05-19 10:27 | 19.9993 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.7696 | μmol/L | 17.7516 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.325 | 169752.841 | 306945.3077 | 33.25 | 68.6
9149 | 2022-05-19 10:27 | 20.3329 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.7696 | μmol/L | 17.7516 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.325 | 169759.912 | 306952.1229 | 33.25 | 68.6
9159 | 2022-05-19 10:28 | 20.6656 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.7459 | μmol/L | 17.7516 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.326 | 169769.0153 | 306972.5601 | 33.25 | 68.6
9169 | 2022-05-19 10:28 | 20.9992 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.6431 | μmol/L | 17.7577 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.328 | 169789.9241 | 306964.4673 | 33.25 | 68.6
9179 | 2022-05-19 10:28 | 21.3322 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.6431 | μmol/L | 17.7577 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.328 | 169783.5195 | 306991.354 | 33.25 | 68.6
9189 | 2022-05-19 10:29 | 21.6659 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.5794 | μmol/L | 17.7699 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.326 | 169798.036 | 307008.5764 | 33.25 | 68.6
9199 | 2022-05-19 10:29 | 21.9993 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.4848 | μmol/L | 17.7699 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.33 | 169813.4822 | 307018.349 | 33.25 | 68.6
9209 | 2022-05-19 10:29 | 22.3328 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.3821 | μmol/L | 17.7759 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.332 | 169830.4129 | 307021.9016 | 33.25 | 68.6
9219 | 2022-05-19 10:30 | 22.6656 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.4293 | μmol/L | 17.7759 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.33 | 169846.5434 | 307037.9288 | 33.25 | 68.6
9229 | 2022-05-19 10:30 | 22.9991 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.3584 | μmol/L | 17.7759 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.333 | 169873.0563 | 307038.1624 | 33.25 | 68.6
9239 | 2022-05-19 10:30 | 23.3325 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.2875 | μmol/L | 17.7759 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.336 | 169909.817 | 307056.8363 | 33.25 | 68.6
9249 | 2022-05-19 10:31 | 23.6661 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.2639 | μmol/L | 17.7759 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.337 | 169909.9029 | 307063.3612 | 33.25 | 68.6
9259 | 2022-05-19 10:31 | 23.9994 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.2639 | μmol/L | 17.7759 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.337 | 169944.3757 | 307067.0484 | 33.25 | 68.6
9269 | 2022-05-19 10:31 | 24.3325 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.2085 | μmol/L | 17.782 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.337 | 169976.7094 | 307064.9792 | 33.25 | 68.6
9279 | 2022-05-19 10:32 | 24.666 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.1849 | μmol/L | 17.782 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.338 | 169979.096 | 307081.7082 | 33.25 | 68.6
9289 | 2022-05-19 10:32 | 24.9996 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.1295 | μmol/L | 17.7881 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.338 | 169994.3934 | 307100.7684 | 33.25 | 68.6
9299 | 2022-05-19 10:32 | 25.333 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.2085 | μmol/L | 17.782 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.337 | 169988.4236 | 307112.1907 | 33.25 | 68.6
9309 | 2022-05-19 10:33 | 25.6656 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.0668 | μmol/L | 17.782 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.343 | 170023.1201 | 307111.506 | 33.25 | 68.6
9319 | 2022-05-19 10:33 | 25.9991 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.1141 | μmol/L | 17.782 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.341 | 170017.745 | 307124.0739 | 33.25 | 68.6
9329 | 2022-05-19 10:33 | 26.3328 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.0505 | μmol/L | 17.7942 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.339 | 170030.8958 | 307127.2352 | 33.25 | 68.6
9339 | 2022-05-19 10:34 | 26.6656 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.0269 | μmol/L | 17.7942 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.34 | 170024.6296 | 307118.8304 | 33.25 | 68.6
9349 | 2022-05-19 10:34 | 26.9992 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.0587 | μmol/L | 17.7881 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.341 | 170032.6771 | 307138.0515 | 33.25 | 68.6
9359 | 2022-05-19 10:34 | 27.3329 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.948 | μmol/L | 17.8003 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.341 | 170011.5517 | 307130.5096 | 33.25 | 68.6
9369 | 2022-05-19 10:35 | 27.6664 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.0896 | μmol/L | 17.8003 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.335 | 170030.9512 | 307151.9711 | 33.25 | 68.6
9379 | 2022-05-19 10:35 | 27.9989 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.9952 | μmol/L | 17.8003 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.339 | 170030.708 | 307158.3476 | 33.25 | 68.6
9389 | 2022-05-19 10:35 | 28.3327 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.0505 | μmol/L | 17.7942 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.339 | 170050.7685 | 307166.1415 | 33.25 | 68.6
9399 | 2022-05-19 10:36 | 28.6663 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.9952 | μmol/L | 17.8003 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.339 | 170036.9082 | 307185.7948 | 33.25 | 68.6
9409 | 2022-05-19 10:36 | 28.9992 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.0033 | μmol/L | 17.7942 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.341 | 170021.3554 | 307176.5762 | 33.25 | 68.6
9419 | 2022-05-19 10:36 | 29.3327 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.1531 | μmol/L | 17.7881 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.337 | 170032.205 | 307180.263 | 33.25 | 68.6
9429 | 2022-05-19 10:37 | 29.6662 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.1295 | μmol/L | 17.7881 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.338 | 170066.9721 | 307202.0744 | 33.25 | 68.6
9439 | 2022-05-19 10:37 | 29.9992 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.0505 | μmol/L | 17.7942 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.339 | 170086.2401 | 307202.691 | 33.25 | 68.6
9449 | 2022-05-19 10:37 | 30.3328 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 283.0269 | μmol/L | 17.7942 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.34 | 170074.7742 | 307197.2459 | 33.25 | 68.6
9459 | 2022-05-19 10:38 | 30.6662 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.8772 | μmol/L | 17.8003 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.344 | 170087.8514 | 307209.3647 | 33.25 | 68.6
9469 | 2022-05-19 10:38 | 30.9997 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.7829 | μmol/L | 17.8003 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.348 | 170109.3339 | 307221.2743 | 33.25 | 68.6
9479 | 2022-05-19 10:38 | 31.3324 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.7983 | μmol/L | 17.8064 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.345 | 170113.9974 | 307225.6842 | 33.25 | 68.6
9489 | 2022-05-19 10:39 | 31.6661 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.7829 | μmol/L | 17.8003 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.348 | 170136.5174 | 307232.6245 | 33.25 | 68.6
9499 | 2022-05-19 10:39 | 31.9995 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.8536 | μmol/L | 17.8003 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.345 | 170121.5101 | 307247.1393 | 33.25 | 68.6
9509 | 2022-05-19 10:39 | 32.333 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.8772 | μmol/L | 17.8003 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.344 | 170125.3429 | 307248.6546 | 33.25 | 68.6
9519 | 2022-05-19 10:40 | 32.6659 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.8536 | μmol/L | 17.8003 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.345 | 170137.8774 | 307263.1305 | 33.25 | 68.6
9529 | 2022-05-19 10:40 | 32.9995 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.7276 | μmol/L | 17.8064 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.348 | 170159.5531 | 307267.3273 | 33.25 | 68.6
9539 | 2022-05-19 10:40 | 33.3326 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.8618 | μmol/L | 17.7942 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.347 | 170171.8794 | 307265.1944 | 33.25 | 68.6
9549 | 2022-05-19 10:41 | 33.6662 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.8536 | μmol/L | 17.8003 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.345 | 170189.6156 | 307278.2898 | 33.25 | 68.6
9559 | 2022-05-19 10:41 | 33.9997 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.7747 | μmol/L | 17.8064 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.346 | 170178.9403 | 307280.5797 | 33.25 | 68.6
9569 | 2022-05-19 10:41 | 34.3322 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.578 | μmol/L | 17.8124 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.352 | 170176.0999 | 307272.7463 | 33.25 | 68.6
9579 | 2022-05-19 10:42 | 34.6657 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.578 | μmol/L | 17.8124 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.352 | 170194.1718 | 307299.3078 | 33.25 | 68.6
9589 | 2022-05-19 10:42 | 34.9993 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.6333 | μmol/L | 17.8064 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.352 | 170188.1594 | 307285.0823 | 33.25 | 68.6
9599 | 2022-05-19 10:42 | 35.3324 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.7511 | μmol/L | 17.8064 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.347 | 170187.883 | 307283.1565 | 33.25 | 68.6
9609 | 2022-05-19 10:43 | 35.6662 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.7121 | μmol/L | 17.8003 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.351 | 170198.1192 | 307303.4282 | 33.25 | 68.6
9619 | 2022-05-19 10:43 | 35.9992 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.7593 | μmol/L | 17.8003 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.349 | 170204.7698 | 307297.2615 | 33.25 | 68.6
9629 | 2022-05-19 10:43 | 36.3329 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.8382 | μmol/L | 17.7942 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.348 | 170176.5534 | 307304.5805 | 33.25 | 68.6
9639 | 2022-05-19 10:44 | 36.6657 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.6804 | μmol/L | 17.8064 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.35 | 170163.0036 | 307305.8642 | 33.25 | 68.6
9649 | 2022-05-19 10:44 | 36.9991 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.7593 | μmol/L | 17.8003 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.349 | 170204.3314 | 307317.2193 | 33.25 | 68.6
9659 | 2022-05-19 10:44 | 37.3324 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.7276 | μmol/L | 17.8064 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.348 | 170181.0028 | 307309.224 | 33.25 | 68.6
9669 | 2022-05-19 10:45 | 37.666 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.7511 | μmol/L | 17.8064 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.347 | 170181.151 | 307318.1952 | 33.25 | 68.6
9679 | 2022-05-19 10:45 | 37.9995 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.7276 | μmol/L | 17.8064 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.348 | 170191.2134 | 307313.2372 | 33.25 | 68.6
9689 | 2022-05-19 10:45 | 38.333 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.8064 | μmol/L | 17.8003 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.347 | 170203.4896 | 307312.8745 | 33.25 | 68.6
9699 | 2022-05-19 10:46 | 38.6657 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.704 | μmol/L | 17.8064 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.349 | 170182.901 | 307332.265 | 33.25 | 68.6
9709 | 2022-05-19 10:46 | 38.9992 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.7121 | μmol/L | 17.8003 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.351 | 170205.0506 | 307327.587 | 33.25 | 68.6
9719 | 2022-05-19 10:46 | 39.3326 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.7593 | μmol/L | 17.8003 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.349 | 170200.6101 | 307323.7932 | 33.25 | 68.6
9729 | 2022-05-19 10:47 | 39.6663 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.6886 | μmol/L | 17.8003 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.352 | 170227.8552 | 307337.0694 | 33.25 | 68.6
9739 | 2022-05-19 10:47 | 39.999 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.5862 | μmol/L | 17.8064 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.354 | 170216.9138 | 307328.0004 | 33.25 | 68.6
9749 | 2022-05-19 10:47 | 40.3325 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.5626 | μmol/L | 17.8064 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.355 | 170257.3775 | 307340.6918 | 33.25 | 68.6
9759 | 2022-05-19 10:48 | 40.666 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.5074 | μmol/L | 17.8124 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.355 | 170260.4445 | 307338.8497 | 33.25 | 68.6
9769 | 2022-05-19 10:48 | 40.9996 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.4521 | μmol/L | 17.8185 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.355 | 170265.5619 | 307337.1783 | 33.25 | 68.6
9779 | 2022-05-19 10:48 | 41.3326 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.4286 | μmol/L | 17.8185 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.356 | 170266.9048 | 307334.0373 | 33.25 | 68.6
9789 | 2022-05-19 10:49 | 41.6661 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.4286 | μmol/L | 17.8185 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.356 | 170280.9481 | 307344.2361 | 33.25 | 68.6
9799 | 2022-05-19 10:49 | 41.9995 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.3028 | μmol/L | 17.8246 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.359 | 170283.3757 | 307345.2681 | 33.25 | 68.6
9809 | 2022-05-19 10:49 | 42.333 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.358 | μmol/L | 17.8185 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.359 | 170269.3865 | 307347.1845 | 33.25 | 68.6
9819 | 2022-05-19 10:50 | 42.6658 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.2873 | μmol/L | 17.8185 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.362 | 170303.5062 | 307362.7165 | 33.25 | 68.6
9829 | 2022-05-19 10:50 | 42.9993 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.3263 | μmol/L | 17.8246 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.358 | 170290.7814 | 307363.5868 | 33.25 | 68.6
9839 | 2022-05-19 10:50 | 43.3322 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.3263 | μmol/L | 17.8246 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.358 | 170258.9733 | 307353.5644 | 33.25 | 68.6
9849 | 2022-05-19 10:51 | 43.6661 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.4757 | μmol/L | 17.8185 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.354 | 170255.4857 | 307359.2459 | 33.25 | 68.6
9859 | 2022-05-19 10:51 | 43.9997 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.3734 | μmol/L | 17.8246 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.356 | 170259.0881 | 307356.7911 | 33.25 | 68.6
9869 | 2022-05-19 10:51 | 44.3324 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.4992 | μmol/L | 17.8185 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.353 | 170243.9511 | 307373.8705 | 33.25 | 68.6
9879 | 2022-05-19 10:52 | 44.6662 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.4123 | μmol/L | 17.8307 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.352 | 170240.3135 | 307357.0049 | 33.25 | 68.6
9889 | 2022-05-19 10:52 | 44.9989 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.4521 | μmol/L | 17.8185 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.355 | 170244.3926 | 307367.1908 | 33.25 | 68.6
9899 | 2022-05-19 10:52 | 45.333 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.4838 | μmol/L | 17.8124 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.356 | 170248.5653 | 307370.5896 | 33.25 | 68.6
9909 | 2022-05-19 10:53 | 45.6656 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.578 | μmol/L | 17.8124 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.352 | 170252.8159 | 307358.3253 | 33.25 | 68.6
9919 | 2022-05-19 10:53 | 45.9993 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.6025 | μmol/L | 17.7942 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.358 | 170271.5512 | 307370.3336 | 33.25 | 68.6
9929 | 2022-05-19 10:53 | 46.3327 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.5472 | μmol/L | 17.8003 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.358 | 170276.8358 | 307363.2644 | 33.25 | 68.6
9939 | 2022-05-19 10:54 | 46.6657 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.5472 | μmol/L | 17.8003 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.358 | 170262.5635 | 307364.4499 | 33.25 | 68.6
9949 | 2022-05-19 10:54 | 46.9993 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.4919 | μmol/L | 17.8064 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.358 | 170265.344 | 307374.5176 | 33.25 | 68.6
9959 | 2022-05-19 10:54 | 47.333 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.5155 | μmol/L | 17.8064 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.357 | 170267.0535 | 307373.2047 | 33.25 | 68.6
9969 | 2022-05-19 10:55 | 47.6657 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.5626 | μmol/L | 17.8064 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.355 | 170273.8415 | 307371.6956 | 33.25 | 68.6
9979 | 2022-05-19 10:55 | 47.9993 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.5626 | μmol/L | 17.8064 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.355 | 170277.5761 | 307360.5281 | 33.25 | 68.6
9989 | 2022-05-19 10:55 | 48.333 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.4603 | μmol/L | 17.8124 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.357 | 170292.9953 | 307361.4647 | 33.25 | 68.6
9999 | 2022-05-19 10:56 | 48.6659 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.3661 | μmol/L | 17.8124 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.361 | 170314.7519 | 307374.8504 | 33.25 | 68.6
10009 | 2022-05-19 10:56 | 48.9995 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.2955 | μmol/L | 17.8124 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.364 | 170331.784 | 307369.4686 | 33.25 | 68.6
10019 | 2022-05-19 10:56 | 49.3323 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.3425 | μmol/L | 17.8124 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.362 | 170340.6939 | 307372.9868 | 33.25 | 68.6
10029 | 2022-05-19 10:57 | 49.6658 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.2249 | μmol/L | 17.8124 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.367 | 170366.3713 | 307371.1341 | 33.25 | 68.6
10039 | 2022-05-19 10:57 | 49.9996 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.2484 | μmol/L | 17.8124 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.366 | 170372.6709 | 307379.1392 | 33.25 | 68.6
10049 | 2022-05-19 10:57 | 50.3322 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.2484 | μmol/L | 17.8124 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.366 | 170380.9511 | 307366.3261 | 33.25 | 68.6
10059 | 2022-05-19 10:58 | 50.6657 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.1308 | μmol/L | 17.8124 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.371 | 170386.7177 | 307376.6299 | 33.25 | 68.6
10069 | 2022-05-19 10:58 | 50.9994 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.1227 | μmol/L | 17.8185 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.369 | 170386.1032 | 307369.3303 | 33.25 | 68.6
10079 | 2022-05-19 10:58 | 51.3328 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.1462 | μmol/L | 17.8185 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.368 | 170413.5947 | 307371.4347 | 33.25 | 68.6
10089 | 2022-05-19 10:59 | 51.6662 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.1462 | μmol/L | 17.8185 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.368 | 170410.5062 | 307374.0267 | 33.25 | 68.6
10099 | 2022-05-19 10:59 | 51.9997 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.1543 | μmol/L | 17.8124 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.37 | 170405.3789 | 307383.4899 | 33.25 | 68.6
10109 | 2022-05-19 10:59 | 52.3323 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.3353 | μmol/L | 17.8003 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.367 | 170390.7556 | 307398.3286 | 33.25 | 68.6
10119 | 2022-05-19 11:00 | 52.6659 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.2801 | μmol/L | 17.8064 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.367 | 170409.9121 | 307381.2385 | 33.25 | 68.6
10129 | 2022-05-19 11:00 | 52.9995 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.3588 | μmol/L | 17.8003 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.366 | 170357.3706 | 307379.2106 | 33.25 | 68.6
10139 | 2022-05-19 11:00 | 53.333 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.5399 | μmol/L | 17.7881 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.363 | 170324.445 | 307386.6612 | 33.25 | 68.6
10149 | 2022-05-19 11:01 | 53.6657 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.5635 | μmol/L | 17.7881 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.362 | 170324.5126 | 307389.7168 | 33.25 | 68.6
10159 | 2022-05-19 11:01 | 53.9992 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.4765 | μmol/L | 17.8003 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.361 | 170317.0469 | 307393.8878 | 33.25 | 68.6
10169 | 2022-05-19 11:01 | 54.3328 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.3272 | μmol/L | 17.8064 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.365 | 170339.4922 | 307381.1177 | 33.25 | 68.6
10179 | 2022-05-19 11:02 | 54.6655 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.2249 | μmol/L | 17.8124 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.367 | 170351.5585 | 307383.574 | 33.25 | 68.6
10189 | 2022-05-19 11:02 | 54.999 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.2014 | μmol/L | 17.8124 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.368 | 170368.4132 | 307380.0542 | 33.25 | 68.6
10199 | 2022-05-19 11:02 | 55.3326 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.1932 | μmol/L | 17.8185 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.366 | 170360.7134 | 307390.5942 | 33.25 | 68.6
10209 | 2022-05-19 11:03 | 55.6663 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.1851 | μmol/L | 17.8246 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.364 | 170361.165 | 307378.6391 | 33.25 | 68.6
10219 | 2022-05-19 11:03 | 55.9989 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.1146 | μmol/L | 17.8246 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.367 | 170350.135 | 307377.4389 | 33.25 | 68.6
10229 | 2022-05-19 11:03 | 56.3325 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.1932 | μmol/L | 17.8185 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.366 | 170358.6066 | 307389.8737 | 33.25 | 68.6
10239 | 2022-05-19 11:04 | 56.6663 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.1697 | μmol/L | 17.8185 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.367 | 170332.9001 | 307364.9311 | 33.25 | 68.6
10249 | 2022-05-19 11:04 | 56.9997 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.0675 | μmol/L | 17.8246 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.369 | 170356.4157 | 307376.1995 | 33.25 | 68.6
10259 | 2022-05-19 11:04 | 57.3324 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.1227 | μmol/L | 17.8185 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.369 | 170374.1567 | 307366.4747 | 33.25 | 68.6
10269 | 2022-05-19 11:05 | 57.6659 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.0992 | μmol/L | 17.8185 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.37 | 170358.5058 | 307366.8635 | 33.25 | 68.6
10279 | 2022-05-19 11:05 | 57.9993 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.0757 | μmol/L | 17.8185 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.371 | 170361.4001 | 307367.7783 | 33.25 | 68.6
10289 | 2022-05-19 11:05 | 58.3329 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.044 | μmol/L | 17.8246 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.37 | 170344.9009 | 307376.0213 | 33.25 | 68.6
10299 | 2022-05-19 11:06 | 58.6656 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.1227 | μmol/L | 17.8185 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.369 | 170352.6842 | 307378.3095 | 33.25 | 68.6
10309 | 2022-05-19 11:06 | 58.9993 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.2168 | μmol/L | 17.8185 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.365 | 170355.5675 | 307351.2985 | 33.25 | 68.6
10319 | 2022-05-19 11:06 | 59.333 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.0675 | μmol/L | 17.8246 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.369 | 170366.7303 | 307358.6482 | 33.25 | 68.6
10329 | 2022-05-19 11:07 | 59.6657 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 282.0205 | μmol/L | 17.8246 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.371 | 170378.1832 | 307361.8436 | 33.25 | 68.6
10339 | 2022-05-19 11:07 | 59.9992 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 281.9816 | μmol/L | 17.8185 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.375 | 170404.2204 | 307371.7807 | 33.25 | 68.6
10349 | 2022-05-19 11:07 | 60.3329 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 281.8877 | μmol/L | 17.8185 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.379 | 170426.4686 | 307376.2566 | 33.25 | 68.6