## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_1 | O2 | 173180888 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:46

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 12:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
10352 | 2022-05-19 11:24 | 0 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.5996 | μmol/L | 19.1614 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.724 | 113876.1571 | 274225.068 | 33.25 | 75.7
10361 | 2022-05-19 11:24 | 0.32833 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.5365 | μmol/L | 19.143 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.733 | 113936.5777 | 274249.0488 | 33.25 | 75.7
10371 | 2022-05-19 11:24 | 0.6618 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.5948 | μmol/L | 19.1308 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.735 | 113978.636 | 274251.4011 | 33.25 | 75.7
10381 | 2022-05-19 11:25 | 0.99533 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.603 | μmol/L | 19.1185 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.739 | 114004.0621 | 274265.6225 | 33.25 | 75.7
10391 | 2022-05-19 11:25 | 1.3288 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.5529 | μmol/L | 19.1185 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.741 | 114044.9716 | 274250.9512 | 33.25 | 75.7
10401 | 2022-05-19 11:25 | 1.6623 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.4025 | μmol/L | 19.1185 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.747 | 114069.1679 | 274248.1633 | 33.25 | 75.7
10411 | 2022-05-19 11:26 | 1.9949 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.4275 | μmol/L | 19.1185 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.746 | 114055.319 | 274234.194 | 33.25 | 75.7
10421 | 2022-05-19 11:26 | 2.3284 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.2021 | μmol/L | 19.1185 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.755 | 114094.7307 | 274245.9255 | 33.25 | 75.7
10431 | 2022-05-19 11:26 | 2.6618 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.0561 | μmol/L | 19.1124 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.763 | 114122.5448 | 274239.449 | 33.25 | 75.7
10441 | 2022-05-19 11:27 | 2.9952 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.2145 | μmol/L | 19.1001 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.761 | 114161.5416 | 274236.1753 | 33.25 | 75.7
10451 | 2022-05-19 11:27 | 3.3287 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.0393 | μmol/L | 19.1001 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.768 | 114150.7932 | 274223.4374 | 33.25 | 75.7
10461 | 2022-05-19 11:27 | 3.662 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 288.0143 | μmol/L | 19.1001 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.769 | 114192.6948 | 274222.2415 | 33.25 | 75.7
10471 | 2022-05-19 11:28 | 3.9952 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.9143 | μmol/L | 19.1001 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.773 | 114199.0446 | 274209.5617 | 33.25 | 75.7
10481 | 2022-05-19 11:28 | 4.3288 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.8726 | μmol/L | 19.0878 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.779 | 114232.8529 | 274213.4869 | 33.25 | 75.7
10491 | 2022-05-19 11:28 | 4.6616 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.8518 | μmol/L | 19.0817 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.782 | 114283.4227 | 274217.9636 | 33.25 | 75.7
10501 | 2022-05-19 11:29 | 4.9952 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.7561 | μmol/L | 19.0756 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.788 | 114290.1022 | 274200.5538 | 33.25 | 75.7
10511 | 2022-05-19 11:29 | 5.3286 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.6811 | μmol/L | 19.0756 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.791 | 114303.2467 | 274193.0718 | 33.25 | 75.7
10521 | 2022-05-19 11:29 | 5.6621 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.6646 | μmol/L | 19.0633 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.796 | 114334.1681 | 274176.4003 | 33.25 | 75.7
10531 | 2022-05-19 11:30 | 5.9951 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 287.249 | μmol/L | 19.051 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.817 | 114456.6379 | 274175.3893 | 33.25 | 75.7
10541 | 2022-05-19 11:30 | 6.3283 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 286.4574 | μmol/L | 19.0449 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.851 | 114704.5946 | 274187.6845 | 33.25 | 75.7
10551 | 2022-05-19 11:30 | 6.6617 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.3805 | μmol/L | 19.0265 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.901 | 114974.8728 | 274168.4525 | 33.25 | 75.7
10561 | 2022-05-19 11:31 | 6.9952 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 283.9565 | μmol/L | 19.0204 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.961 | 115351.5465 | 274160.5631 | 33.25 | 75.7
10571 | 2022-05-19 11:31 | 7.3289 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.8834 | μmol/L | 19.0142 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.007 | 115637.2162 | 274169.6987 | 33.25 | 75.7
10581 | 2022-05-19 11:31 | 7.6615 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.9769 | μmol/L | 19.0204 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.042 | 115840.3992 | 274160.8612 | 33.25 | 75.7
10591 | 2022-05-19 11:32 | 7.995 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.1889 | μmol/L | 19.002 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.081 | 116078.6553 | 274167.4092 | 33.25 | 75.7
10601 | 2022-05-19 11:32 | 8.3286 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.2062 | μmol/L | 18.9897 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.126 | 116338.2399 | 274144.2207 | 33.25 | 75.7
10611 | 2022-05-19 11:32 | 8.662 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.4204 | μmol/L | 18.9774 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.163 | 116575.7479 | 274152.3492 | 33.25 | 75.7
10621 | 2022-05-19 11:33 | 8.9949 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.7391 | μmol/L | 18.9836 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.231 | 116986.0053 | 274144.9931 | 33.25 | 75.7
10631 | 2022-05-19 11:33 | 9.3284 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.6819 | μmol/L | 18.9652 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.282 | 117293.176 | 274137.9771 | 33.25 | 75.7
10641 | 2022-05-19 11:33 | 9.6618 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.5441 | μmol/L | 18.959 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.29 | 117361.3702 | 274146.6288 | 33.25 | 75.7
10651 | 2022-05-19 11:34 | 9.9954 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.7625 | μmol/L | 18.959 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.323 | 117558.7403 | 274132.3346 | 33.25 | 75.7
10661 | 2022-05-19 11:34 | 10.3281 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.5781 | μmol/L | 18.9529 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.333 | 117641.014 | 274136.4562 | 33.25 | 75.7
10671 | 2022-05-19 11:34 | 10.6618 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.6537 | μmol/L | 18.9468 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.332 | 117635.946 | 274120.8578 | 33.25 | 75.7
10681 | 2022-05-19 11:35 | 10.9953 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.7577 | μmol/L | 18.9345 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.332 | 117615.9848 | 274122.5311 | 33.25 | 75.7
10691 | 2022-05-19 11:35 | 11.3289 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.141 | μmol/L | 18.9284 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.318 | 117533.2481 | 274132.0392 | 33.25 | 75.7
10701 | 2022-05-19 11:35 | 11.6615 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.7907 | μmol/L | 18.9161 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.295 | 117387.3956 | 274120.4495 | 33.25 | 75.7
10711 | 2022-05-19 11:36 | 11.9952 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.1472 | μmol/L | 18.9161 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.28 | 117277.3775 | 274120.7434 | 33.25 | 75.7
10721 | 2022-05-19 11:36 | 12.3287 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.6614 | μmol/L | 18.8977 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.265 | 117212.3435 | 274102.359 | 33.25 | 75.7
10731 | 2022-05-19 11:36 | 12.6622 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.1899 | μmol/L | 18.8916 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.287 | 117333.1209 | 274103.6932 | 33.25 | 75.7
10741 | 2022-05-19 11:37 | 12.995 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.4727 | μmol/L | 18.8977 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.315 | 117488.4298 | 274095.1677 | 33.25 | 75.7
10751 | 2022-05-19 11:37 | 13.3286 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.1695 | μmol/L | 18.8916 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.33 | 117593.3185 | 274111.0098 | 33.25 | 75.7
10761 | 2022-05-19 11:37 | 13.662 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.8478 | μmol/L | 18.8793 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.348 | 117679.6724 | 274104.2962 | 33.25 | 75.7
10771 | 2022-05-19 11:38 | 13.9956 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.1918 | μmol/L | 18.8732 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.378 | 117841.0527 | 274092.237 | 33.25 | 75.7
10781 | 2022-05-19 11:38 | 14.3282 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.6228 | μmol/L | 18.8486 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.411 | 118083.9488 | 274090.1758 | 33.25 | 75.7
10791 | 2022-05-19 11:38 | 14.6618 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.6146 | μmol/L | 18.8486 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.454 | 118334.3224 | 274094.4426 | 33.25 | 75.7
10801 | 2022-05-19 11:39 | 14.9955 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.7607 | μmol/L | 18.8364 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.495 | 118565.0835 | 274104.9063 | 33.25 | 75.7
10811 | 2022-05-19 11:39 | 15.3282 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.4235 | μmol/L | 18.8241 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.557 | 118927.8987 | 274096.5863 | 33.25 | 75.7
10821 | 2022-05-19 11:39 | 15.6621 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.4352 | μmol/L | 18.818 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.602 | 119204.8946 | 274102.8275 | 33.25 | 75.7
10831 | 2022-05-19 11:40 | 15.9954 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.4236 | μmol/L | 18.818 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.646 | 119455.4488 | 274096.5673 | 33.25 | 75.7
10841 | 2022-05-19 11:40 | 16.3289 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.7137 | μmol/L | 18.818 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.677 | 119644.5587 | 274093.3554 | 33.25 | 75.7
10851 | 2022-05-19 11:40 | 16.6618 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.2391 | μmol/L | 18.8118 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.7 | 119792.6179 | 274087.8892 | 33.25 | 75.7
10861 | 2022-05-19 11:41 | 16.9953 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.0594 | μmol/L | 18.7812 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.719 | 119905.2165 | 274093.364 | 33.25 | 75.7
10871 | 2022-05-19 11:41 | 17.3286 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.7003 | μmol/L | 18.775 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.737 | 120020.2943 | 274095.2541 | 33.25 | 75.7
10881 | 2022-05-19 11:41 | 17.6621 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.1045 | μmol/L | 18.7812 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.761 | 120152.9504 | 274093.1038 | 33.25 | 75.7
10891 | 2022-05-19 11:42 | 17.9955 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.6842 | μmol/L | 18.7689 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.784 | 120287.7001 | 274103.1738 | 33.25 | 75.7
10901 | 2022-05-19 11:42 | 18.3289 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.5361 | μmol/L | 18.7566 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.795 | 120365.0884 | 274083.0981 | 33.25 | 75.7
10911 | 2022-05-19 11:42 | 18.6622 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.5135 | μmol/L | 18.7566 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.796 | 120383.7223 | 274078.6205 | 33.25 | 75.7
10921 | 2022-05-19 11:43 | 18.9956 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.2875 | μmol/L | 18.7566 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.806 | 120420.2631 | 274085.9944 | 33.25 | 75.7
10931 | 2022-05-19 11:43 | 19.3283 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.1623 | μmol/L | 18.7444 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.816 | 120470.2429 | 274085.5396 | 33.25 | 75.7
10941 | 2022-05-19 11:43 | 19.6616 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 265.9696 | μmol/L | 18.7321 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.829 | 120543.4887 | 274080.0439 | 33.25 | 75.7
10951 | 2022-05-19 11:44 | 19.9951 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 265.7096 | μmol/L | 18.7198 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.845 | 120640.1919 | 274087.1309 | 33.25 | 75.7
10961 | 2022-05-19 11:44 | 20.3284 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 265.3892 | μmol/L | 18.726 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.857 | 120716.6124 | 274076.3637 | 33.25 | 75.7
10971 | 2022-05-19 11:44 | 20.6618 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 265.351 | μmol/L | 18.7444 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.852 | 120680.6889 | 274080.6048 | 33.25 | 75.7
10981 | 2022-05-19 11:45 | 20.9953 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.0217 | μmol/L | 18.7505 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.82 | 120472.4054 | 274076.9678 | 33.25 | 75.7
10991 | 2022-05-19 11:45 | 21.3289 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.2417 | μmol/L | 18.726 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.775 | 120207.4496 | 274058.3491 | 33.25 | 75.7
11001 | 2022-05-19 11:45 | 21.6615 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.458 | μmol/L | 18.7137 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.726 | 119935.666 | 274066.0872 | 33.25 | 75.7
11011 | 2022-05-19 11:46 | 21.995 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.6811 | μmol/L | 18.7014 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.677 | 119632.7665 | 274070.4673 | 33.25 | 75.7
11021 | 2022-05-19 11:46 | 22.3285 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.3118 | μmol/L | 18.6892 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.654 | 119463.4692 | 274062.3913 | 33.25 | 75.7
11031 | 2022-05-19 11:46 | 22.6619 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.4653 | μmol/L | 18.6708 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.654 | 119476.9889 | 274063.9708 | 33.25 | 75.7
11041 | 2022-05-19 11:47 | 22.9954 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.9009 | μmol/L | 18.6585 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.683 | 119636.2383 | 274065.5936 | 33.25 | 75.7
11051 | 2022-05-19 11:47 | 23.3282 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.1322 | μmol/L | 18.6463 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.721 | 119872.3626 | 274056.4873 | 33.25 | 75.7
11061 | 2022-05-19 11:47 | 23.6618 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.7465 | μmol/L | 18.6401 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.784 | 120256.4683 | 274057.9858 | 33.25 | 75.7
11071 | 2022-05-19 11:48 | 23.9952 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.5506 | μmol/L | 18.634 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.839 | 120577.4001 | 274059.8031 | 33.25 | 75.7
11081 | 2022-05-19 11:48 | 24.3287 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.516 | μmol/L | 18.6217 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.845 | 120589.71 | 274055.8641 | 33.25 | 75.7
11091 | 2022-05-19 11:48 | 24.6621 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 265.2149 | μmol/L | 18.6156 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.905 | 120968.3027 | 274067.3126 | 33.25 | 75.7
11101 | 2022-05-19 11:49 | 24.9956 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 264.9958 | μmol/L | 18.6095 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.917 | 121062.6504 | 274059.3262 | 33.25 | 75.7
11111 | 2022-05-19 11:49 | 25.3284 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 265.1187 | μmol/L | 18.5972 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.916 | 121029.5304 | 274068.9832 | 33.25 | 75.7
11121 | 2022-05-19 11:49 | 25.662 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.0742 | μmol/L | 18.5849 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.878 | 120792.142 | 274070.6384 | 33.25 | 75.7
11131 | 2022-05-19 11:50 | 25.9956 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.3576 | μmol/L | 18.5911 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.819 | 120464.515 | 274067.9822 | 33.25 | 75.7
11141 | 2022-05-19 11:50 | 26.3282 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.0042 | μmol/L | 18.5788 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.795 | 120317.8949 | 274071.7136 | 33.25 | 75.7
11151 | 2022-05-19 11:50 | 26.6618 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.5052 | μmol/L | 18.5788 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.773 | 120166.5496 | 274057.188 | 33.25 | 75.7
11161 | 2022-05-19 11:51 | 26.9953 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.7045 | μmol/L | 18.5665 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.725 | 119879.0641 | 274066.5155 | 33.25 | 75.7
11171 | 2022-05-19 11:51 | 27.3285 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.7951 | μmol/L | 18.5543 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.682 | 119618.7789 | 274074.5671 | 33.25 | 75.7
11181 | 2022-05-19 11:51 | 27.662 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.2616 | μmol/L | 18.5481 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.664 | 119501.9226 | 274059.5289 | 33.25 | 75.7
11191 | 2022-05-19 11:52 | 27.9949 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.8627 | μmol/L | 18.5481 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.638 | 119347.6636 | 274060.8194 | 33.25 | 75.7
11201 | 2022-05-19 11:52 | 28.3283 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.6099 | μmol/L | 18.542 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.608 | 119176.7483 | 274061.0421 | 33.25 | 75.7
11211 | 2022-05-19 11:52 | 28.6619 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.5177 | μmol/L | 18.542 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.569 | 118954.2508 | 274063.018 | 33.25 | 75.7
11221 | 2022-05-19 11:53 | 28.9954 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.3121 | μmol/L | 18.542 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.535 | 118719.5701 | 274049.0762 | 33.25 | 75.7
11231 | 2022-05-19 11:53 | 29.3288 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.355 | μmol/L | 18.5297 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.495 | 118488.0432 | 274058.5133 | 33.25 | 75.7
11241 | 2022-05-19 11:53 | 29.6622 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.2557 | μmol/L | 18.5236 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.459 | 118260.679 | 274045.5076 | 33.25 | 75.7
11251 | 2022-05-19 11:54 | 29.9952 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.1363 | μmol/L | 18.5175 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.424 | 118053.75 | 274038.8004 | 33.25 | 75.7
11261 | 2022-05-19 11:54 | 30.3288 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.83 | μmol/L | 18.5113 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.397 | 117867.8059 | 274044.8337 | 33.25 | 75.7
11271 | 2022-05-19 11:54 | 30.6617 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.64 | μmol/L | 18.5113 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.363 | 117673.997 | 274043.1739 | 33.25 | 75.7
11281 | 2022-05-19 11:55 | 30.9956 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.4393 | μmol/L | 18.4991 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.334 | 117485.9609 | 274042.1218 | 33.25 | 75.7
11291 | 2022-05-19 11:55 | 31.3289 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.9239 | μmol/L | 18.4929 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.316 | 117371.4794 | 274046.0007 | 33.25 | 75.7
11301 | 2022-05-19 11:55 | 31.6615 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.5026 | μmol/L | 18.4807 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.338 | 117510.9363 | 274048.2781 | 33.25 | 75.7
11311 | 2022-05-19 11:56 | 31.995 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.9696 | μmol/L | 18.4868 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.4 | 117901.3446 | 274045.0419 | 33.25 | 75.7
11321 | 2022-05-19 11:56 | 32.3287 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.5573 | μmol/L | 18.4745 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.464 | 118288.8168 | 274045.4646 | 33.25 | 75.7
11331 | 2022-05-19 11:56 | 32.6623 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.1202 | μmol/L | 18.4745 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.525 | 118642.2565 | 274039.77 | 33.25 | 75.7
11341 | 2022-05-19 11:57 | 32.9951 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.8844 | μmol/L | 18.4684 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.58 | 118987.2192 | 274037.5316 | 33.25 | 75.7
11351 | 2022-05-19 11:57 | 33.3287 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.3435 | μmol/L | 18.4745 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.644 | 119377.1295 | 274027.2994 | 33.25 | 75.7
11361 | 2022-05-19 11:57 | 33.6621 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.5496 | μmol/L | 18.4561 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.685 | 119611.7233 | 274029.3134 | 33.25 | 75.7
11371 | 2022-05-19 11:58 | 33.9956 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.8171 | μmol/L | 18.45 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.719 | 119821.3524 | 274032.3443 | 33.25 | 75.7
11381 | 2022-05-19 11:58 | 34.3283 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.0468 | μmol/L | 18.4378 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.757 | 120028.0073 | 274046.8781 | 33.25 | 75.7
11391 | 2022-05-19 11:58 | 34.6615 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.2803 | μmol/L | 18.45 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.786 | 120186.5261 | 274040.4215 | 33.25 | 75.7
11401 | 2022-05-19 11:59 | 34.9949 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 269.0226 | μmol/L | 18.4316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.804 | 120301.1587 | 274033.7587 | 33.25 | 75.7
11411 | 2022-05-19 11:59 | 35.3285 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.7772 | μmol/L | 18.4255 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.817 | 120384.1174 | 274041.9565 | 33.25 | 75.7
11421 | 2022-05-19 11:59 | 35.6623 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.4354 | μmol/L | 18.4255 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.832 | 120477.6389 | 274039.4095 | 33.25 | 75.7
11431 | 2022-05-19 12:00 | 35.9957 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.2245 | μmol/L | 18.4071 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.848 | 120583.2356 | 274031.1312 | 33.25 | 75.7
11441 | 2022-05-19 12:00 | 36.3284 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.8665 | μmol/L | 18.401 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.866 | 120690.9746 | 274028.5713 | 33.25 | 75.7
11451 | 2022-05-19 12:00 | 36.6618 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.4528 | μmol/L | 18.4071 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.882 | 120799.8338 | 274027.5746 | 33.25 | 75.7
11461 | 2022-05-19 12:01 | 36.9952 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.0625 | μmol/L | 18.4132 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.897 | 120889.8998 | 274026.2293 | 33.25 | 75.7
11471 | 2022-05-19 12:01 | 37.3288 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.5878 | μmol/L | 18.3887 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.927 | 121028.0239 | 274017.6969 | 33.25 | 75.7
11481 | 2022-05-19 12:01 | 37.6623 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.137 | μmol/L | 18.3887 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.947 | 121145.9214 | 274019.0803 | 33.25 | 75.7
11491 | 2022-05-19 12:02 | 37.9948 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 265.5917 | μmol/L | 18.3948 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.969 | 121271.7351 | 274021.1732 | 33.25 | 75.7
11501 | 2022-05-19 12:02 | 38.3282 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 265.4851 | μmol/L | 18.3887 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.976 | 121345.2933 | 274010.8528 | 33.25 | 75.7
11511 | 2022-05-19 12:02 | 38.6618 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 265.1823 | μmol/L | 18.3764 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.994 | 121439.7653 | 274006.3214 | 33.25 | 75.7
11521 | 2022-05-19 12:03 | 38.9956 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 264.7346 | μmol/L | 18.3764 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.014 | 121541.7378 | 274009.0663 | 33.25 | 75.7
11531 | 2022-05-19 12:03 | 39.3282 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 264.6117 | μmol/L | 18.3642 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.024 | 121634.946 | 274003.1283 | 33.25 | 75.7
11541 | 2022-05-19 12:03 | 39.6618 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 264.2544 | μmol/L | 18.3642 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.04 | 121714.3275 | 273989.0888 | 33.25 | 75.7
11551 | 2022-05-19 12:04 | 39.9955 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 264.1708 | μmol/L | 18.358 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.046 | 121760.3123 | 274008.0566 | 33.25 | 75.7
11561 | 2022-05-19 12:04 | 40.3287 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 264.1372 | μmol/L | 18.3703 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.043 | 121744.892 | 273993.9978 | 33.25 | 75.7
11571 | 2022-05-19 12:04 | 40.6622 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 264.065 | μmol/L | 18.3519 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.053 | 121775.4667 | 273991.8249 | 33.25 | 75.7
11581 | 2022-05-19 12:05 | 40.9949 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 263.7868 | μmol/L | 18.3396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.07 | 121894.5153 | 273998.3182 | 33.25 | 75.7
11591 | 2022-05-19 12:05 | 41.3284 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 263.259 | μmol/L | 18.3335 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.096 | 122013.9175 | 273999.1637 | 33.25 | 75.7
11601 | 2022-05-19 12:05 | 41.662 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 263.148 | μmol/L | 18.3335 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.101 | 122049.6085 | 273989.6242 | 33.25 | 75.7
11611 | 2022-05-19 12:06 | 41.9954 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 262.987 | μmol/L | 18.3396 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.106 | 122076.2213 | 273982.4914 | 33.25 | 75.7
11621 | 2022-05-19 12:06 | 42.3289 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 263.0149 | μmol/L | 18.3335 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.107 | 122104.9003 | 273981.2171 | 33.25 | 75.7
11631 | 2022-05-19 12:06 | 42.6617 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 263.0099 | μmol/L | 18.3151 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.114 | 122134.9195 | 273984.0745 | 33.25 | 75.7
11641 | 2022-05-19 12:07 | 42.9953 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 262.7325 | μmol/L | 18.3274 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.122 | 122182.5349 | 273986.5501 | 33.25 | 75.7
11651 | 2022-05-19 12:07 | 43.3287 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 262.4784 | μmol/L | 18.3151 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.138 | 122281.3413 | 273983.49 | 33.25 | 75.7
11661 | 2022-05-19 12:07 | 43.6622 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 262.2794 | μmol/L | 18.3151 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.147 | 122294.4921 | 273980.5975 | 33.25 | 75.7
11671 | 2022-05-19 12:08 | 43.995 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 262.3736 | μmol/L | 18.309 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.145 | 122298.1135 | 273977.0694 | 33.25 | 75.7
11681 | 2022-05-19 12:08 | 44.3289 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 262.4899 | μmol/L | 18.3028 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.142 | 122283.6537 | 273976.8661 | 33.25 | 75.7
11691 | 2022-05-19 12:08 | 44.6623 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 262.6226 | μmol/L | 18.3028 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.136 | 122254.2596 | 273971.4481 | 33.25 | 75.7
11701 | 2022-05-19 12:09 | 44.9956 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 262.5341 | μmol/L | 18.3028 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.14 | 122249.5114 | 273957.626 | 33.25 | 75.7
11711 | 2022-05-19 12:09 | 45.3283 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 262.6505 | μmol/L | 18.2967 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.137 | 122247.8198 | 273965.1778 | 33.25 | 75.7
11721 | 2022-05-19 12:09 | 45.6618 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 262.6505 | μmol/L | 18.2967 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.137 | 122255.2123 | 273967.5438 | 33.25 | 75.7
11731 | 2022-05-19 12:10 | 45.9952 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 262.5678 | μmol/L | 18.2906 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.143 | 122278.9208 | 273971.4932 | 33.25 | 75.7
11741 | 2022-05-19 12:10 | 46.3286 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 262.4851 | μmol/L | 18.2845 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.149 | 122303.0008 | 273968.9083 | 33.25 | 75.7
11751 | 2022-05-19 12:10 | 46.662 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 262.4303 | μmol/L | 18.2722 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.156 | 122349.7024 | 273951.3614 | 33.25 | 75.7
11761 | 2022-05-19 12:11 | 46.9957 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 262.0165 | μmol/L | 18.2661 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.177 | 122471.1058 | 273970.4286 | 33.25 | 75.7
11771 | 2022-05-19 12:11 | 47.3285 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 261.7357 | μmol/L | 18.2599 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.192 | 122566.1121 | 273951.3036 | 33.25 | 75.7
11781 | 2022-05-19 12:11 | 47.662 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 261.4773 | μmol/L | 18.2538 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.206 | 122652.2454 | 273950.6307 | 33.25 | 75.7
11791 | 2022-05-19 12:12 | 47.9955 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 261.2354 | μmol/L | 18.2538 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.217 | 122710.7842 | 273954.7747 | 33.25 | 75.7
11801 | 2022-05-19 12:12 | 48.329 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 261.2354 | μmol/L | 18.2538 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.217 | 122726.7315 | 273954.6415 | 33.25 | 75.7
11811 | 2022-05-19 12:12 | 48.6615 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 261.2193 | μmol/L | 18.2477 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.22 | 122715.1208 | 273944.3236 | 33.25 | 75.7
11821 | 2022-05-19 12:13 | 48.9948 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 261.2632 | μmol/L | 18.2477 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.218 | 122697.8596 | 273933.0083 | 33.25 | 75.7
11831 | 2022-05-19 12:13 | 49.3284 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 261.4392 | μmol/L | 18.2477 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.21 | 122676.2726 | 273936.8177 | 33.25 | 75.7
11841 | 2022-05-19 12:13 | 49.6618 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 261.445 | μmol/L | 18.2415 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.212 | 122676.5125 | 273942.3452 | 33.25 | 75.7
11851 | 2022-05-19 12:14 | 49.9954 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 261.1431 | μmol/L | 18.2354 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.228 | 122760.7292 | 273931.5813 | 33.25 | 75.7
11861 | 2022-05-19 12:14 | 50.3288 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 260.8197 | μmol/L | 18.2293 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.245 | 122853.8016 | 273931.449 | 33.25 | 75.7
11871 | 2022-05-19 12:14 | 50.6615 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 260.7598 | μmol/L | 18.2231 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.25 | 122900.1801 | 273924.202 | 33.25 | 75.7
11881 | 2022-05-19 12:15 | 50.9952 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 260.4093 | μmol/L | 18.2231 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.266 | 122988.9508 | 273922.5629 | 33.25 | 75.7
11891 | 2022-05-19 12:15 | 51.3286 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 260.3933 | μmol/L | 18.217 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.269 | 123012.4941 | 273909.9588 | 33.25 | 75.7
11901 | 2022-05-19 12:15 | 51.662 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 260.1586 | μmol/L | 18.2109 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.282 | 123065.6856 | 273913.891 | 33.25 | 75.7
11911 | 2022-05-19 12:16 | 51.9949 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 259.7873 | μmol/L | 18.2109 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.299 | 123150.6823 | 273898.1974 | 33.25 | 75.7
11921 | 2022-05-19 12:16 | 52.3282 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 259.6901 | μmol/L | 18.1986 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.308 | 123227.4601 | 273903.0462 | 33.25 | 75.7
11931 | 2022-05-19 12:16 | 52.6615 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 259.5375 | μmol/L | 18.1986 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.315 | 123274.233 | 273891.8598 | 33.25 | 75.7
11941 | 2022-05-19 12:17 | 52.9951 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 259.3414 | μmol/L | 18.1986 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.324 | 123326.7172 | 273887.9241 | 33.25 | 75.7
11951 | 2022-05-19 12:17 | 53.3284 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 259.1733 | μmol/L | 18.1925 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.334 | 123383.8818 | 273883.3005 | 33.25 | 75.7
11961 | 2022-05-19 12:17 | 53.6621 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 258.9499 | μmol/L | 18.1986 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.342 | 123416.9025 | 273892.6502 | 33.25 | 75.7
11971 | 2022-05-19 12:18 | 53.9956 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 258.9993 | μmol/L | 18.1925 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.342 | 123410.5958 | 273871.5973 | 33.25 | 75.7
11981 | 2022-05-19 12:18 | 54.3283 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 259.021 | μmol/L | 18.1925 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.341 | 123391.7937 | 273872.216 | 33.25 | 75.7
11991 | 2022-05-19 12:18 | 54.6619 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 259.1515 | μmol/L | 18.1925 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.335 | 123366.8905 | 273853.8199 | 33.25 | 75.7
12001 | 2022-05-19 12:19 | 54.9954 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 259.1733 | μmol/L | 18.1925 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.334 | 123342.3904 | 273856.1483 | 33.25 | 75.7
12011 | 2022-05-19 12:19 | 55.3288 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 259.3533 | μmol/L | 18.1863 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.328 | 123336.5631 | 273852.0419 | 33.25 | 75.7
12021 | 2022-05-19 12:19 | 55.6622 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 259.1357 | μmol/L | 18.1863 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.338 | 123358.4562 | 273841.5014 | 33.25 | 75.7
12031 | 2022-05-19 12:20 | 55.9948 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 259.0487 | μmol/L | 18.1863 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.342 | 123387.4162 | 273835.2532 | 33.25 | 75.7
12041 | 2022-05-19 12:20 | 56.3284 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 259.1101 | μmol/L | 18.1679 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.346 | 123435.6418 | 273810.9842 | 33.25 | 75.7
12051 | 2022-05-19 12:20 | 56.6619 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 258.7782 | μmol/L | 18.1741 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.359 | 123468.3062 | 273814.7098 | 33.25 | 75.7
12061 | 2022-05-19 12:21 | 56.9948 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 258.4961 | μmol/L | 18.1741 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.372 | 123544.4102 | 273797.8887 | 33.25 | 75.7
12071 | 2022-05-19 12:21 | 57.3283 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 258.3504 | μmol/L | 18.1679 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.381 | 123617.7844 | 273779.8894 | 33.25 | 75.7
12081 | 2022-05-19 12:21 | 57.6618 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 258.1771 | μmol/L | 18.1679 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.389 | 123644.5561 | 273772.6422 | 33.25 | 75.7
12091 | 2022-05-19 12:22 | 57.9953 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 258.1182 | μmol/L | 18.1618 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.394 | 123655.3779 | 273754.4536 | 33.25 | 75.7
12101 | 2022-05-19 12:22 | 58.3289 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 257.9824 | μmol/L | 18.1679 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.398 | 123663.0208 | 273739.7747 | 33.25 | 75.7
12106 | 2022-05-19 12:22 | 58.6616 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 257.9728 | μmol/L | 18.1557 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.403 | 123672.5581 | 273723.1671 | 33.25 | 75.7
12107 | 2022-05-19 12:23 | 58.9952 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 257.8647 | μmol/L | 18.1557 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.408 | 123688.2573 | 273714.2905 | 33.25 | 75.7
12108 | 2022-05-19 12:23 | 59.3285 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 257.8214 | μmol/L | 18.1557 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.41 | 123690.8459 | 273689.4514 | 33.25 | 75.7
12109 | 2022-05-19 12:23 | 59.662 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 257.7782 | μmol/L | 18.1557 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.412 | 123680.6137 | 273677.4572 | 33.25 | 75.7
12110 | 2022-05-19 12:24 | 59.9956 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 257.741 | μmol/L | 18.1496 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.416 | 123696.4027 | 273673.1354 | 33.25 | 75.7
12111 | 2022-05-19 12:24 | 60.3282 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 257.8707 | μmol/L | 18.1496 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.41 | 123470.2545 | 273653.9044 | 33.25 | 75.7
12112 | 2022-05-19 12:24 | 60.6618 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 257.8551 | μmol/L | 18.1434 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.413 | 124223.7664 | 273625.7453 | 33.25 | 75.7
12113 | 2022-05-19 12:25 | 60.9953 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 257.8551 | μmol/L | 18.1434 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.413 | 124411.521 | 273619.8845 | 33.25 | 75.7
12114 | 2022-05-19 12:25 | 61.3286 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 257.9908 | μmol/L | 18.1373 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.409 | 123501.2753 | 273598.276 | 33.25 | 75.7