## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_10 | O2 | 200465988 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 10:01

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 12:26

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
10362 | 2022-05-19 11:24 | 0 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.9128 | μmol/L | 19.2539 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.968 | 105669.5455 | 269436.8478 | 32.55 | 27.7
10373 | 2022-05-19 11:24 | 0.33393 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.872 | μmol/L | 19.2416 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.974 | 105681.9777 | 269437.8293 | 32.55 | 27.7
10382 | 2022-05-19 11:25 | 0.66669 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.8024 | μmol/L | 19.2355 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.979 | 105672.5671 | 269430.3562 | 32.55 | 27.7
10393 | 2022-05-19 11:25 | 1.0001 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.6837 | μmol/L | 19.2294 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.986 | 105679.447 | 269416.2744 | 32.55 | 27.7
10403 | 2022-05-19 11:25 | 1.3337 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.7125 | μmol/L | 19.2233 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.987 | 105680.185 | 269400.2789 | 32.55 | 27.7
10413 | 2022-05-19 11:26 | 1.6671 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.6388 | μmol/L | 19.2233 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.99 | 105690.0571 | 269394.7485 | 32.55 | 27.7
10423 | 2022-05-19 11:26 | 2.0006 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.5982 | μmol/L | 19.211 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.996 | 105698.2465 | 269365.4564 | 32.55 | 27.7
10433 | 2022-05-19 11:26 | 2.334 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.5042 | μmol/L | 19.2049 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.002 | 105712.1926 | 269375.6612 | 32.55 | 27.7
10442 | 2022-05-19 11:27 | 2.6673 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.5821 | μmol/L | 19.1988 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.001 | 105721.645 | 269372.9847 | 32.55 | 27.7
10452 | 2022-05-19 11:27 | 3 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.5661 | μmol/L | 19.1866 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.006 | 105721.8321 | 269348.1923 | 32.55 | 27.7
10462 | 2022-05-19 11:27 | 3.3334 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.5704 | μmol/L | 19.1805 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.008 | 105731.9611 | 269349.8905 | 32.55 | 27.7
10472 | 2022-05-19 11:28 | 3.6667 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.6035 | μmol/L | 19.1682 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.011 | 105738.4974 | 269338.8796 | 32.55 | 27.7
10482 | 2022-05-19 11:28 | 4.0002 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.5299 | μmol/L | 19.1682 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.014 | 105755.3214 | 269340.6873 | 32.55 | 27.7
10493 | 2022-05-19 11:28 | 4.3338 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.563 | μmol/L | 19.156 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.017 | 105764.0348 | 269331.3867 | 32.55 | 27.7
10502 | 2022-05-19 11:29 | 4.6667 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.5471 | μmol/L | 19.1438 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.022 | 105775.3601 | 269330.5304 | 32.55 | 27.7
10513 | 2022-05-19 11:29 | 5.0004 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.5557 | μmol/L | 19.1315 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.026 | 105779.3493 | 269330.6364 | 32.55 | 27.7
10523 | 2022-05-19 11:29 | 5.3333 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.511 | μmol/L | 19.1254 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.03 | 105789.1248 | 269322.3481 | 32.55 | 27.7
10533 | 2022-05-19 11:30 | 5.6674 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.5933 | μmol/L | 19.1132 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.031 | 105799.9237 | 269316.5463 | 32.55 | 27.7
10543 | 2022-05-19 11:30 | 6.0004 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.5285 | μmol/L | 19.101 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.038 | 105809.9452 | 269314.2458 | 32.55 | 27.7
10553 | 2022-05-19 11:30 | 6.3333 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.5083 | μmol/L | 19.0948 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.041 | 105816.5046 | 269307.5083 | 32.55 | 27.7
10562 | 2022-05-19 11:31 | 6.6671 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.4882 | μmol/L | 19.0887 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.044 | 105830.445 | 269296.533 | 32.55 | 27.7
10572 | 2022-05-19 11:31 | 7.0007 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.546 | μmol/L | 19.0765 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.046 | 105843.0475 | 269296.5493 | 32.55 | 27.7
10582 | 2022-05-19 11:31 | 7.3333 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.3499 | μmol/L | 19.0765 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.054 | 105854.1291 | 269295.4338 | 32.55 | 27.7
10593 | 2022-05-19 11:32 | 7.6668 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.3877 | μmol/L | 19.0581 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.059 | 105866.4304 | 269274.3043 | 32.55 | 27.7
10602 | 2022-05-19 11:32 | 8.0005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.3098 | μmol/L | 19.0643 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.06 | 105860.1935 | 269273.0425 | 32.55 | 27.7
10612 | 2022-05-19 11:32 | 8.3332 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.4745 | μmol/L | 19.0398 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.062 | 105872.7757 | 269275.7937 | 32.55 | 27.7
10623 | 2022-05-19 11:33 | 8.6671 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.43 | μmol/L | 19.0337 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.066 | 105884.2906 | 269262.5917 | 32.55 | 27.7
10632 | 2022-05-19 11:33 | 9.0006 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.4879 | μmol/L | 19.0214 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.068 | 105893.7716 | 269260.4847 | 32.55 | 27.7
10642 | 2022-05-19 11:33 | 9.3335 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.3654 | μmol/L | 19.0214 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.073 | 105906.3291 | 269256.2955 | 32.55 | 27.7
10652 | 2022-05-19 11:34 | 9.6672 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.4034 | μmol/L | 19.0031 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.078 | 105917.2391 | 269262.1883 | 32.55 | 27.7
10663 | 2022-05-19 11:34 | 10.0005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.4613 | μmol/L | 18.9909 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.08 | 105924.1929 | 269244.7277 | 32.55 | 27.7
10673 | 2022-05-19 11:34 | 10.3338 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.3879 | μmol/L | 18.9909 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.083 | 105943.7698 | 269258.0828 | 32.55 | 27.7
10683 | 2022-05-19 11:35 | 10.6666 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.2945 | μmol/L | 18.9848 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.089 | 105955.5794 | 269247.9509 | 32.55 | 27.7
10693 | 2022-05-19 11:35 | 11.0003 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.299 | μmol/L | 18.9786 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.091 | 105956.1669 | 269248.7782 | 32.55 | 27.7
10702 | 2022-05-19 11:35 | 11.3332 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.357 | μmol/L | 18.9664 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.093 | 105971.9048 | 269233.8754 | 32.55 | 27.7
10713 | 2022-05-19 11:36 | 11.6674 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.4395 | μmol/L | 18.9542 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.094 | 105993.4165 | 269243.6356 | 32.55 | 27.7
10723 | 2022-05-19 11:36 | 12.0002 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.2972 | μmol/L | 18.9481 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.102 | 106016.4847 | 269246.3481 | 32.55 | 27.7
10732 | 2022-05-19 11:36 | 12.3338 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 284.0573 | μmol/L | 18.9419 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.114 | 106053.7299 | 269239.5828 | 32.55 | 27.7
10743 | 2022-05-19 11:37 | 12.6674 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.8909 | μmol/L | 18.9358 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.123 | 106090.7332 | 269211.5456 | 32.55 | 27.7
10753 | 2022-05-19 11:37 | 13 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.778 | μmol/L | 18.9236 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.132 | 106125.8957 | 269229.0235 | 32.55 | 27.7
10762 | 2022-05-19 11:37 | 13.3335 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.6362 | μmol/L | 18.9175 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.14 | 106155.669 | 269227.9764 | 32.55 | 27.7
10772 | 2022-05-19 11:38 | 13.6672 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.8163 | μmol/L | 18.9052 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.137 | 106159.7838 | 269218.7763 | 32.55 | 27.7
10783 | 2022-05-19 11:38 | 14.0001 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.6455 | μmol/L | 18.9052 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.144 | 106165.8195 | 269223.4045 | 32.55 | 27.7
10793 | 2022-05-19 11:38 | 14.3335 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.6304 | μmol/L | 18.893 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.149 | 106178.7225 | 269214.2952 | 32.55 | 27.7
10802 | 2022-05-19 11:39 | 14.6671 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.606 | μmol/L | 18.893 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.15 | 106183.0756 | 269222.8506 | 32.55 | 27.7
10813 | 2022-05-19 11:39 | 15.0006 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.7616 | μmol/L | 18.8808 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.148 | 106189.7733 | 269231.5431 | 32.55 | 27.7
10822 | 2022-05-19 11:39 | 15.3334 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.6931 | μmol/L | 18.8747 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.153 | 106206.0057 | 269215.2971 | 32.55 | 27.7
10832 | 2022-05-19 11:40 | 15.6668 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.8047 | μmol/L | 18.8563 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.155 | 106210.6474 | 269210.5434 | 32.55 | 27.7
10843 | 2022-05-19 11:40 | 16.0005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.6828 | μmol/L | 18.8563 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.16 | 106224.2005 | 269199.5655 | 32.55 | 27.7
10852 | 2022-05-19 11:40 | 16.3333 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.7166 | μmol/L | 18.8441 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.163 | 106244.3939 | 269208.769 | 32.55 | 27.7
10862 | 2022-05-19 11:41 | 16.6668 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.7213 | μmol/L | 18.838 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.165 | 106268.2961 | 269212.6343 | 32.55 | 27.7
10873 | 2022-05-19 11:41 | 17.0004 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.4289 | μmol/L | 18.838 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.177 | 106301.9792 | 269197.5063 | 32.55 | 27.7
10882 | 2022-05-19 11:41 | 17.334 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 283.1707 | μmol/L | 18.8257 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.192 | 106380.3627 | 269190.8756 | 32.55 | 27.7
10892 | 2022-05-19 11:42 | 17.6674 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.8352 | μmol/L | 18.8196 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.208 | 106465.4055 | 269198.9557 | 32.55 | 27.7
10902 | 2022-05-19 11:42 | 18.0001 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.5198 | μmol/L | 18.8196 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.221 | 106529.0005 | 269194.6694 | 32.55 | 27.7
10912 | 2022-05-19 11:42 | 18.3333 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.3597 | μmol/L | 18.8074 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.232 | 106584.5426 | 269193.4394 | 32.55 | 27.7
10923 | 2022-05-19 11:43 | 18.6669 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 282.1756 | μmol/L | 18.7952 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.244 | 106650.9788 | 269197.3816 | 32.55 | 27.7
10933 | 2022-05-19 11:43 | 19.0003 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.8418 | μmol/L | 18.7891 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.26 | 106727.4698 | 269175.1909 | 32.55 | 27.7
10943 | 2022-05-19 11:43 | 19.3339 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.33 | μmol/L | 18.7952 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.279 | 106840.0692 | 269199.2571 | 32.55 | 27.7
10952 | 2022-05-19 11:44 | 19.6667 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 281.0554 | μmol/L | 18.7768 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.297 | 106929.2697 | 269195.1644 | 32.55 | 27.7
10962 | 2022-05-19 11:44 | 20.0002 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.5503 | μmol/L | 18.7768 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.318 | 107019.7178 | 269187.4346 | 32.55 | 27.7
10972 | 2022-05-19 11:44 | 20.3337 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 280.3488 | μmol/L | 18.7585 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.333 | 107106.8783 | 269186.7606 | 32.55 | 27.7
10982 | 2022-05-19 11:45 | 20.6673 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.9652 | μmol/L | 18.7585 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.349 | 107191.1658 | 269193.6145 | 32.55 | 27.7
10993 | 2022-05-19 11:45 | 21.0006 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.6828 | μmol/L | 18.7524 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.363 | 107258.2168 | 269185.9245 | 32.55 | 27.7
11002 | 2022-05-19 11:45 | 21.3333 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.2953 | μmol/L | 18.7585 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.377 | 107342.9278 | 269194.5175 | 32.55 | 27.7
11013 | 2022-05-19 11:46 | 21.6673 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 279.148 | μmol/L | 18.734 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.392 | 107419.505 | 269183.5461 | 32.55 | 27.7
11022 | 2022-05-19 11:46 | 22.0001 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.6712 | μmol/L | 18.734 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.412 | 107499.9738 | 269181.324 | 32.55 | 27.7
11032 | 2022-05-19 11:46 | 22.3335 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.5383 | μmol/L | 18.7218 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.422 | 107594.2668 | 269184.6898 | 32.55 | 27.7
11043 | 2022-05-19 11:47 | 22.6671 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.9205 | μmol/L | 18.7218 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.448 | 107709.9986 | 269187.0369 | 32.55 | 27.7
11053 | 2022-05-19 11:47 | 23 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.6696 | μmol/L | 18.7096 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.463 | 107794.9608 | 269172.4262 | 32.55 | 27.7
11063 | 2022-05-19 11:47 | 23.3335 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.3144 | μmol/L | 18.7096 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.478 | 107872.3846 | 269171.1289 | 32.55 | 27.7
11072 | 2022-05-19 11:48 | 23.6671 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.9934 | μmol/L | 18.6973 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.496 | 107957.4592 | 269178.263 | 32.55 | 27.7
11082 | 2022-05-19 11:48 | 24 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5972 | μmol/L | 18.6912 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.515 | 108051.7517 | 269174.9112 | 32.55 | 27.7
11093 | 2022-05-19 11:48 | 24.3336 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9614 | μmol/L | 18.6912 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.542 | 108184.1309 | 269170.216 | 32.55 | 27.7
11102 | 2022-05-19 11:49 | 24.667 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.5018 | μmol/L | 18.679 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.566 | 108320.2166 | 269174.6011 | 32.55 | 27.7
11112 | 2022-05-19 11:49 | 25.0001 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.3479 | μmol/L | 18.6667 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.577 | 108401.9113 | 269164.7568 | 32.55 | 27.7
11123 | 2022-05-19 11:49 | 25.3333 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.0433 | μmol/L | 18.6667 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.59 | 108453.9014 | 269163.4075 | 32.55 | 27.7
11133 | 2022-05-19 11:50 | 25.6669 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.7574 | μmol/L | 18.6729 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.6 | 108494.2366 | 269167.7696 | 32.55 | 27.7
11143 | 2022-05-19 11:50 | 26.0007 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.6508 | μmol/L | 18.6606 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.609 | 108544.1831 | 269161.1302 | 32.55 | 27.7
11153 | 2022-05-19 11:50 | 26.3333 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.3991 | μmol/L | 18.6545 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.622 | 108618.5735 | 269164.0116 | 32.55 | 27.7
11162 | 2022-05-19 11:51 | 26.6668 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.0596 | μmol/L | 18.6423 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.641 | 108728.2472 | 269150.4524 | 32.55 | 27.7
11172 | 2022-05-19 11:51 | 27.0002 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.6173 | μmol/L | 18.6423 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.66 | 108830.4413 | 269169.4411 | 32.55 | 27.7
11183 | 2022-05-19 11:51 | 27.3337 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.2972 | μmol/L | 18.6362 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.676 | 108908.8973 | 269166.4168 | 32.55 | 27.7
11192 | 2022-05-19 11:52 | 27.6666 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 273.0935 | μmol/L | 18.6301 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.687 | 108990.5429 | 269175.2357 | 32.55 | 27.7
11203 | 2022-05-19 11:52 | 28.0003 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.769 | μmol/L | 18.6301 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.701 | 109051.4954 | 269156.5103 | 32.55 | 27.7
11212 | 2022-05-19 11:52 | 28.3337 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.6227 | μmol/L | 18.6117 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.714 | 109104.9286 | 269165.8579 | 32.55 | 27.7
11222 | 2022-05-19 11:53 | 28.6672 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.5533 | μmol/L | 18.6117 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.717 | 109145.7151 | 269158.4735 | 32.55 | 27.7
11233 | 2022-05-19 11:53 | 29.0007 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.2989 | μmol/L | 18.6117 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.728 | 109185.1127 | 269167.8316 | 32.55 | 27.7
11243 | 2022-05-19 11:53 | 29.3334 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.2349 | μmol/L | 18.6056 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.733 | 109215.0322 | 269153.0486 | 32.55 | 27.7
11252 | 2022-05-19 11:54 | 29.6666 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.2455 | μmol/L | 18.5934 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.737 | 109241.7575 | 269152.9227 | 32.55 | 27.7
11263 | 2022-05-19 11:54 | 30.0002 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.0554 | μmol/L | 18.5995 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.743 | 109255.9957 | 269152.8016 | 32.55 | 27.7
11273 | 2022-05-19 11:54 | 30.3337 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 272.0944 | μmol/L | 18.5811 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.748 | 109266.241 | 269143.5855 | 32.55 | 27.7
11282 | 2022-05-19 11:55 | 30.6667 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.9383 | μmol/L | 18.575 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.757 | 109300.6686 | 269148.6226 | 32.55 | 27.7
11293 | 2022-05-19 11:55 | 31.0001 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.8176 | μmol/L | 18.5811 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.76 | 109336.0227 | 269139.2132 | 32.55 | 27.7
11302 | 2022-05-19 11:55 | 31.3339 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.8052 | μmol/L | 18.5689 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.765 | 109349.6082 | 269153.279 | 32.55 | 27.7
11312 | 2022-05-19 11:56 | 31.6666 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.7184 | μmol/L | 18.5628 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.771 | 109374.5612 | 269155.8151 | 32.55 | 27.7
11322 | 2022-05-19 11:56 | 32.0001 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.6493 | μmol/L | 18.5628 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.774 | 109399.2851 | 269145.2367 | 32.55 | 27.7
11332 | 2022-05-19 11:56 | 32.3339 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.4421 | μmol/L | 18.5628 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.783 | 109421.5284 | 269154.5127 | 32.55 | 27.7
11343 | 2022-05-19 11:57 | 32.6667 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.4582 | μmol/L | 18.5444 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.789 | 109453.3181 | 269147.4254 | 32.55 | 27.7
11352 | 2022-05-19 11:57 | 33.0004 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 271.3026 | μmol/L | 18.5383 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.798 | 109523.2819 | 269146.7949 | 32.55 | 27.7
11363 | 2022-05-19 11:57 | 33.334 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.6894 | μmol/L | 18.5567 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.818 | 109603.8786 | 269144.9904 | 32.55 | 27.7
11372 | 2022-05-19 11:58 | 33.6674 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.2704 | μmol/L | 18.5383 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.843 | 109725.0128 | 269138.08 | 32.55 | 27.7
11383 | 2022-05-19 11:58 | 34 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 270.0068 | μmol/L | 18.5261 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.859 | 109847.028 | 269131.0926 | 32.55 | 27.7
11393 | 2022-05-19 11:58 | 34.3341 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.5557 | μmol/L | 18.52 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.881 | 109939.4178 | 269121.8905 | 32.55 | 27.7
11403 | 2022-05-19 11:59 | 34.6674 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 269.2367 | μmol/L | 18.52 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.895 | 110030.247 | 269129.1045 | 32.55 | 27.7
11412 | 2022-05-19 11:59 | 35.0001 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.9691 | μmol/L | 18.5139 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.909 | 110093.7429 | 269120.7067 | 32.55 | 27.7
11423 | 2022-05-19 11:59 | 35.3338 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.8099 | μmol/L | 18.5139 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.916 | 110137.8947 | 269123.5321 | 32.55 | 27.7
11432 | 2022-05-19 12:00 | 35.6666 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.9063 | μmol/L | 18.5078 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.914 | 110158.1331 | 269142.6536 | 32.55 | 27.7
11442 | 2022-05-19 12:00 | 36.0002 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.8037 | μmol/L | 18.4955 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.923 | 110168.2209 | 269116.4501 | 32.55 | 27.7
11453 | 2022-05-19 12:00 | 36.3338 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.7355 | μmol/L | 18.4955 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.926 | 110179.6561 | 269118.1452 | 32.55 | 27.7
11463 | 2022-05-19 12:01 | 36.6674 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.6674 | μmol/L | 18.4955 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.929 | 110197.1604 | 269118.2788 | 32.55 | 27.7
11473 | 2022-05-19 12:01 | 36.9999 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.6048 | μmol/L | 18.4894 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.934 | 110219.2667 | 269126.8046 | 32.55 | 27.7
11482 | 2022-05-19 12:01 | 37.3334 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.6557 | μmol/L | 18.4833 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.934 | 110247.5472 | 269122.9196 | 32.55 | 27.7
11492 | 2022-05-19 12:02 | 37.6668 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.3834 | μmol/L | 18.4833 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.946 | 110283.1339 | 269126.0208 | 32.55 | 27.7
11503 | 2022-05-19 12:02 | 38.0003 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 268.0999 | μmol/L | 18.4711 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.963 | 110374.7327 | 269119.0922 | 32.55 | 27.7
11513 | 2022-05-19 12:02 | 38.334 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.6757 | μmol/L | 18.465 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.984 | 110483.9491 | 269120.4715 | 32.55 | 27.7
11523 | 2022-05-19 12:03 | 38.6674 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 267.1566 | μmol/L | 18.465 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.007 | 110609.6507 | 269118.3211 | 32.55 | 27.7
11532 | 2022-05-19 12:03 | 39 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.7568 | μmol/L | 18.4588 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.027 | 110721.4187 | 269124.077 | 32.55 | 27.7
11543 | 2022-05-19 12:03 | 39.3334 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 266.2455 | μmol/L | 18.4527 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.052 | 110836.6825 | 269117.7444 | 32.55 | 27.7
11552 | 2022-05-19 12:04 | 39.667 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 265.8979 | μmol/L | 18.4405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.072 | 110967.9268 | 269115.9274 | 32.55 | 27.7
11562 | 2022-05-19 12:04 | 40.0005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 265.3329 | μmol/L | 18.4466 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.095 | 111073.352 | 269124.0707 | 32.55 | 27.7
11572 | 2022-05-19 12:04 | 40.3332 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.9087 | μmol/L | 18.4466 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.114 | 111178.0636 | 269116.5133 | 32.55 | 27.7
11583 | 2022-05-19 12:05 | 40.6671 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.5468 | μmol/L | 18.4283 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.137 | 111300.5112 | 269116.482 | 32.55 | 27.7
11592 | 2022-05-19 12:05 | 41.0006 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.0963 | μmol/L | 18.4344 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.155 | 111396.8261 | 269108.4063 | 32.55 | 27.7
11603 | 2022-05-19 12:05 | 41.334 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.1133 | μmol/L | 18.416 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.161 | 111421.1399 | 269106.1372 | 32.55 | 27.7
11612 | 2022-05-19 12:06 | 41.6667 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 264.3801 | μmol/L | 18.416 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.149 | 111398.1174 | 269108.8245 | 32.55 | 27.7
11623 | 2022-05-19 12:06 | 42.0001 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 263.7303 | μmol/L | 18.4221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.176 | 111502.1258 | 269117.7274 | 32.55 | 27.7
11633 | 2022-05-19 12:06 | 42.3339 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 263.3871 | μmol/L | 18.4099 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.196 | 111604.2569 | 269111.4697 | 32.55 | 27.7
11642 | 2022-05-19 12:07 | 42.6666 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 263.1052 | μmol/L | 18.4038 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.211 | 111721.8086 | 269104.5397 | 32.55 | 27.7
11652 | 2022-05-19 12:07 | 43.0001 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 262.5034 | μmol/L | 18.4099 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.236 | 111834.0349 | 269108.6785 | 32.55 | 27.7
11662 | 2022-05-19 12:07 | 43.3335 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 262.2447 | μmol/L | 18.4038 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.25 | 111934.1644 | 269102.4739 | 32.55 | 27.7
11673 | 2022-05-19 12:08 | 43.6671 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 261.9482 | μmol/L | 18.3916 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.268 | 112020.3666 | 269112.9378 | 32.55 | 27.7
11683 | 2022-05-19 12:08 | 44.0005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 261.6463 | μmol/L | 18.3855 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.284 | 112096.3516 | 269094.1818 | 32.55 | 27.7
11692 | 2022-05-19 12:08 | 44.3339 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 261.3611 | μmol/L | 18.3855 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.297 | 112155.2371 | 269091.7262 | 32.55 | 27.7
11703 | 2022-05-19 12:09 | 44.6668 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 261.1858 | μmol/L | 18.3855 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.305 | 112206.2819 | 269090.2816 | 32.55 | 27.7
11712 | 2022-05-19 12:09 | 45.0006 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.9726 | μmol/L | 18.3793 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.317 | 112275.9255 | 269096.5709 | 32.55 | 27.7
11723 | 2022-05-19 12:09 | 45.334 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.448 | μmol/L | 18.3793 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.341 | 112389.2348 | 269082.7136 | 32.55 | 27.7
11733 | 2022-05-19 12:10 | 45.6673 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 259.9741 | μmol/L | 18.3732 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.365 | 112520.4839 | 269090.9134 | 32.55 | 27.7
11742 | 2022-05-19 12:10 | 46.0007 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 259.6535 | μmol/L | 18.3671 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.382 | 112615.7146 | 269093.5366 | 32.55 | 27.7
11752 | 2022-05-19 12:10 | 46.3335 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 259.3927 | μmol/L | 18.3671 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.394 | 112676.6669 | 269087.0158 | 32.55 | 27.7
11763 | 2022-05-19 12:11 | 46.667 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 259.2958 | μmol/L | 18.3549 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.403 | 112739.3747 | 269099.0821 | 32.55 | 27.7
11773 | 2022-05-19 12:11 | 46.9999 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 259.0847 | μmol/L | 18.3488 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.415 | 112800.3312 | 269102.9679 | 32.55 | 27.7
11782 | 2022-05-19 12:11 | 47.3333 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 258.8188 | μmol/L | 18.3549 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.425 | 112839.2101 | 269095.0337 | 32.55 | 27.7
11792 | 2022-05-19 12:12 | 47.6674 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 258.7813 | μmol/L | 18.3488 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.429 | 112874.7281 | 269079.6965 | 32.55 | 27.7
11802 | 2022-05-19 12:12 | 48 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 258.6023 | μmol/L | 18.3549 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.435 | 112909.7238 | 269082.8161 | 32.55 | 27.7
11812 | 2022-05-19 12:12 | 48.3334 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 258.4135 | μmol/L | 18.3488 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.446 | 112947.5732 | 269080.198 | 32.55 | 27.7
11822 | 2022-05-19 12:13 | 48.667 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 258.3271 | μmol/L | 18.3488 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.45 | 112965.1039 | 269086.0769 | 32.55 | 27.7
11832 | 2022-05-19 12:13 | 49.0006 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 258.3388 | μmol/L | 18.3365 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.454 | 112982.606 | 269091.0323 | 32.55 | 27.7
11843 | 2022-05-19 12:13 | 49.334 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 258.3604 | μmol/L | 18.3365 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.453 | 112979.2412 | 269073.6237 | 32.55 | 27.7
11852 | 2022-05-19 12:14 | 49.6668 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 258.5451 | μmol/L | 18.3243 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.449 | 112969.2833 | 269094.7846 | 32.55 | 27.7
11863 | 2022-05-19 12:14 | 50.0002 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 258.5825 | μmol/L | 18.3304 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.445 | 112949.4142 | 269086.3348 | 32.55 | 27.7
11873 | 2022-05-19 12:14 | 50.3336 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 258.7832 | μmol/L | 18.3243 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.438 | 112909.1491 | 269081.4915 | 32.55 | 27.7
11883 | 2022-05-19 12:15 | 50.6671 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 258.8323 | μmol/L | 18.3182 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.438 | 112876.6536 | 269071.262 | 32.55 | 27.7
11892 | 2022-05-19 12:15 | 51.0006 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 258.8265 | μmol/L | 18.3243 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.436 | 112853.9476 | 269080.1376 | 32.55 | 27.7
11902 | 2022-05-19 12:15 | 51.3334 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 259.2343 | μmol/L | 18.306 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.424 | 112819.9386 | 269078.7461 | 32.55 | 27.7
11912 | 2022-05-19 12:16 | 51.6669 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 259.2067 | μmol/L | 18.3121 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.423 | 112784.7688 | 269065.3169 | 32.55 | 27.7
11922 | 2022-05-19 12:16 | 52.0003 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 259.4572 | μmol/L | 18.2999 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.416 | 112742.3512 | 269063.9469 | 32.55 | 27.7
11933 | 2022-05-19 12:16 | 52.3336 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 259.4888 | μmol/L | 18.3121 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.41 | 112723.1264 | 269060.213 | 32.55 | 27.7
11943 | 2022-05-19 12:17 | 52.6673 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 259.5323 | μmol/L | 18.3121 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.408 | 112697.3976 | 269054.0702 | 32.55 | 27.7
11953 | 2022-05-19 12:17 | 53.0007 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 259.8108 | μmol/L | 18.2937 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.402 | 112673.8134 | 269038.1374 | 32.55 | 27.7
11963 | 2022-05-19 12:17 | 53.3334 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 259.7238 | μmol/L | 18.2937 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.406 | 112669.1517 | 269034.6688 | 32.55 | 27.7
11973 | 2022-05-19 12:18 | 53.6669 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 259.7456 | μmol/L | 18.2937 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.405 | 112650.0539 | 269016.8974 | 32.55 | 27.7
11982 | 2022-05-19 12:18 | 54.0006 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 259.8978 | μmol/L | 18.2937 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.398 | 112629.983 | 269029.9024 | 32.55 | 27.7
11992 | 2022-05-19 12:18 | 54.3335 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.0561 | μmol/L | 18.2876 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.393 | 112588.0495 | 269024.2999 | 32.55 | 27.7
12002 | 2022-05-19 12:19 | 54.6669 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.383 | μmol/L | 18.2876 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.378 | 112527.3572 | 269024.9623 | 32.55 | 27.7
12012 | 2022-05-19 12:19 | 55.0005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.6012 | μmol/L | 18.2876 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.368 | 112462.6175 | 269001.7015 | 32.55 | 27.7
12023 | 2022-05-19 12:19 | 55.3339 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 260.9407 | μmol/L | 18.2754 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.357 | 112412.9338 | 269008.8503 | 32.55 | 27.7
12033 | 2022-05-19 12:20 | 55.6667 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 261.066 | μmol/L | 18.2815 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.349 | 112350.0135 | 268985.7232 | 32.55 | 27.7
12043 | 2022-05-19 12:20 | 56.0003 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 261.247 | μmol/L | 18.2754 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.343 | 112318.5394 | 268979.4144 | 32.55 | 27.7
12052 | 2022-05-19 12:20 | 56.3338 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 261.3565 | μmol/L | 18.2754 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.338 | 112290.6327 | 268986.3707 | 32.55 | 27.7
12063 | 2022-05-19 12:21 | 56.6673 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 261.3346 | μmol/L | 18.2754 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.339 | 112283.482 | 268975.146 | 32.55 | 27.7
12072 | 2022-05-19 12:21 | 56.9999 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 261.4837 | μmol/L | 18.2571 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.339 | 112281.5876 | 268967.0127 | 32.55 | 27.7
12083 | 2022-05-19 12:21 | 57.3338 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 261.3523 | μmol/L | 18.2571 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.345 | 112290.6208 | 268963.6649 | 32.55 | 27.7
12092 | 2022-05-19 12:22 | 57.6666 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 261.1393 | μmol/L | 18.2509 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.357 | 112490.9189 | 268949.0444 | 32.55 | 27.7