## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_3 | O2 | 412637359 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:50

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 11:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
8534 | 2022-05-19 10:07 | 0 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.4564 | μmol/L | 17.5857 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.735 | 96614.1955 | 212840.8824 | 27.3 | 43.4
8544 | 2022-05-19 10:07 | 0.34066 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.4564 | μmol/L | 17.5857 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.735 | 96576.8705 | 212840.9977 | 27.3 | 43.4
8554 | 2022-05-19 10:08 | 0.6748 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.3664 | μmol/L | 17.5918 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.736 | 96543.4699 | 212847.5651 | 27.3 | 43.4
8564 | 2022-05-19 10:08 | 1.0076 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.4417 | μmol/L | 17.5979 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.731 | 96507.4911 | 212856.0497 | 27.3 | 43.4
8574 | 2022-05-19 10:08 | 1.3414 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.5519 | μmol/L | 17.5979 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.727 | 96495.2428 | 212865.1582 | 27.3 | 43.4
8584 | 2022-05-19 10:09 | 1.6748 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.3242 | μmol/L | 17.604 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.733 | 96452.644 | 212856.1176 | 27.3 | 43.4
8594 | 2022-05-19 10:09 | 2.0074 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.3316 | μmol/L | 17.5979 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.735 | 96449.2776 | 212863.8629 | 27.3 | 43.4
8604 | 2022-05-19 10:09 | 2.341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.4417 | μmol/L | 17.5979 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.731 | 96428.6491 | 212868.0421 | 27.3 | 43.4
8614 | 2022-05-19 10:10 | 2.6744 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.2344 | μmol/L | 17.6101 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.734 | 96406.9499 | 212861.5402 | 27.3 | 43.4
8624 | 2022-05-19 10:10 | 3.0081 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.3793 | μmol/L | 17.604 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.731 | 96421.6928 | 212868.1133 | 27.3 | 43.4
8634 | 2022-05-19 10:10 | 3.3408 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.2821 | μmol/L | 17.6162 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.73 | 96406.081 | 212876.866 | 27.3 | 43.4
8644 | 2022-05-19 10:11 | 3.6745 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.227 | μmol/L | 17.6162 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.732 | 96385.2374 | 212875.731 | 27.3 | 43.4
8654 | 2022-05-19 10:11 | 4.0081 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.1995 | μmol/L | 17.6162 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.733 | 96382.6944 | 212887.6759 | 27.3 | 43.4
8664 | 2022-05-19 10:11 | 4.3407 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.3647 | μmol/L | 17.6162 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.727 | 96358.6892 | 212899.7658 | 27.3 | 43.4
8674 | 2022-05-19 10:12 | 4.674 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.2748 | μmol/L | 17.6223 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.728 | 96368.122 | 212904.126 | 27.3 | 43.4
8684 | 2022-05-19 10:12 | 5.0076 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.2124 | μmol/L | 17.6284 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.728 | 96365.0409 | 212901.3612 | 27.3 | 43.4
8694 | 2022-05-19 10:12 | 5.3411 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.3501 | μmol/L | 17.6284 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.723 | 96350.3831 | 212906.3377 | 27.3 | 43.4
8704 | 2022-05-19 10:13 | 5.6748 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.1501 | μmol/L | 17.6345 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.728 | 96335.5564 | 212905.024 | 27.3 | 43.4
8714 | 2022-05-19 10:13 | 6.0074 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.1849 | μmol/L | 17.6284 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.729 | 96336.9659 | 212917.4402 | 27.3 | 43.4
8724 | 2022-05-19 10:13 | 6.3409 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.1501 | μmol/L | 17.6345 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.728 | 96336.5257 | 212920.4853 | 27.3 | 43.4
8734 | 2022-05-19 10:14 | 6.6745 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.2051 | μmol/L | 17.6345 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.726 | 96345.5142 | 212928.9222 | 27.3 | 43.4
8744 | 2022-05-19 10:14 | 7.0081 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.0878 | μmol/L | 17.6407 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.728 | 96333.0082 | 212928.3602 | 27.3 | 43.4
8754 | 2022-05-19 10:14 | 7.3412 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.1703 | μmol/L | 17.6407 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.725 | 96332.5844 | 212949.0114 | 27.3 | 43.4
8764 | 2022-05-19 10:15 | 7.6747 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.2051 | μmol/L | 17.6345 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.726 | 96322.2788 | 212947.7912 | 27.3 | 43.4
8774 | 2022-05-19 10:15 | 8.0082 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.1428 | μmol/L | 17.6407 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.726 | 96315.0746 | 212961.3903 | 27.3 | 43.4
8784 | 2022-05-19 10:15 | 8.3409 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.0457 | μmol/L | 17.6529 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.725 | 96315.5981 | 212968.2603 | 27.3 | 43.4
8794 | 2022-05-19 10:16 | 8.674 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.0457 | μmol/L | 17.6529 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.725 | 96312.5747 | 212969.6353 | 27.3 | 43.4
8804 | 2022-05-19 10:16 | 9.0081 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.0385 | μmol/L | 17.659 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.723 | 96309.2888 | 212984.6653 | 27.3 | 43.4
8814 | 2022-05-19 10:16 | 9.3413 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.2181 | μmol/L | 17.6468 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.721 | 96321.9537 | 212987.0168 | 27.3 | 43.4
8824 | 2022-05-19 10:17 | 9.6747 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.0312 | μmol/L | 17.6651 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.721 | 96311.4037 | 212991.1529 | 27.3 | 43.4
8834 | 2022-05-19 10:17 | 10.0075 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.1833 | μmol/L | 17.6529 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.72 | 96297.8274 | 212999.1061 | 27.3 | 43.4
8844 | 2022-05-19 10:17 | 10.3409 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.0862 | μmol/L | 17.6651 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.719 | 96311.9217 | 213010.8312 | 27.3 | 43.4
8854 | 2022-05-19 10:18 | 10.6744 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.2659 | μmol/L | 17.6529 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.717 | 96319.3887 | 213011.9231 | 27.3 | 43.4
8864 | 2022-05-19 10:18 | 11.0081 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.1413 | μmol/L | 17.6651 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.717 | 96317.7087 | 213010.7309 | 27.3 | 43.4
8874 | 2022-05-19 10:18 | 11.3412 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.0312 | μmol/L | 17.6651 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.721 | 96304.6347 | 213018.2614 | 27.3 | 43.4
8884 | 2022-05-19 10:19 | 11.6744 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.1138 | μmol/L | 17.6651 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.718 | 96307.4618 | 213022.4109 | 27.3 | 43.4
8894 | 2022-05-19 10:19 | 12.0082 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.2311 | μmol/L | 17.659 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.716 | 96300.2826 | 213024.3721 | 27.3 | 43.4
8904 | 2022-05-19 10:19 | 12.3409 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.0718 | μmol/L | 17.6773 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.715 | 96300.0044 | 213037.1205 | 27.3 | 43.4
8914 | 2022-05-19 10:20 | 12.6743 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.1065 | μmol/L | 17.6712 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.716 | 96323.4936 | 213060.6996 | 27.3 | 43.4
8924 | 2022-05-19 10:20 | 13.0081 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.0993 | μmol/L | 17.6773 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.714 | 96282.3858 | 213059.6383 | 27.3 | 43.4
8934 | 2022-05-19 10:20 | 13.3407 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.0718 | μmol/L | 17.6773 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.715 | 96306.0935 | 213059.6337 | 27.3 | 43.4
8944 | 2022-05-19 10:21 | 13.6749 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.0993 | μmol/L | 17.6773 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.714 | 96305.0775 | 213063.7146 | 27.3 | 43.4
8954 | 2022-05-19 10:21 | 14.0076 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.0442 | μmol/L | 17.6773 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.716 | 96315.5487 | 213068.6004 | 27.3 | 43.4
8964 | 2022-05-19 10:21 | 14.3414 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8373 | μmol/L | 17.6895 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.719 | 96298.4685 | 213083.0027 | 27.3 | 43.4
8974 | 2022-05-19 10:22 | 14.6747 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.037 | μmol/L | 17.6834 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.714 | 96293.5123 | 213081.6331 | 27.3 | 43.4
8984 | 2022-05-19 10:22 | 15.0074 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.2022 | μmol/L | 17.6834 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.708 | 96296.7212 | 213094.9895 | 27.3 | 43.4
8994 | 2022-05-19 10:22 | 15.3411 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9951 | μmol/L | 17.6956 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.711 | 96298.2128 | 213100.1694 | 27.3 | 43.4
9004 | 2022-05-19 10:23 | 15.6746 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.0023 | μmol/L | 17.6895 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.713 | 96298.2821 | 213115.5555 | 27.3 | 43.4
9014 | 2022-05-19 10:23 | 16.0081 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.0298 | μmol/L | 17.6895 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.712 | 96314.665 | 213119.8374 | 27.3 | 43.4
9024 | 2022-05-19 10:23 | 16.3408 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.0226 | μmol/L | 17.6956 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.71 | 96295.3751 | 213121.3539 | 27.3 | 43.4
9034 | 2022-05-19 10:24 | 16.6743 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.94 | μmol/L | 17.6956 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.713 | 96296.6073 | 213130.0022 | 27.3 | 43.4
9044 | 2022-05-19 10:24 | 17.0078 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9328 | μmol/L | 17.7017 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.711 | 96287.8839 | 213134.0876 | 27.3 | 43.4
9054 | 2022-05-19 10:24 | 17.3412 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.0776 | μmol/L | 17.6956 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.708 | 96297.9597 | 213148.7042 | 27.3 | 43.4
9064 | 2022-05-19 10:25 | 17.6748 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9604 | μmol/L | 17.7017 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.71 | 96310.7231 | 213153.8311 | 27.3 | 43.4
9074 | 2022-05-19 10:25 | 18.0074 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7332 | μmol/L | 17.7078 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.716 | 96307.1227 | 213154.759 | 27.3 | 43.4
9084 | 2022-05-19 10:25 | 18.3407 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8778 | μmol/L | 17.7017 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.713 | 96313.7983 | 213168.8105 | 27.3 | 43.4
9094 | 2022-05-19 10:26 | 18.6743 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.0776 | μmol/L | 17.6956 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.708 | 96312.8809 | 213173.4123 | 27.3 | 43.4
9104 | 2022-05-19 10:26 | 19.008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8778 | μmol/L | 17.7017 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.713 | 96312.2858 | 213195.1792 | 27.3 | 43.4
9114 | 2022-05-19 10:26 | 19.3407 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9879 | μmol/L | 17.7017 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.709 | 96310.389 | 213193.7105 | 27.3 | 43.4
9124 | 2022-05-19 10:27 | 19.6744 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7881 | μmol/L | 17.7078 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.714 | 96315.141 | 213217.9679 | 27.3 | 43.4
9134 | 2022-05-19 10:27 | 20.008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9185 | μmol/L | 17.7139 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.707 | 96334.6653 | 213227.0165 | 27.3 | 43.4
9144 | 2022-05-19 10:27 | 20.3408 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9185 | μmol/L | 17.7139 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.707 | 96339.3879 | 213224.5024 | 27.3 | 43.4
9154 | 2022-05-19 10:28 | 20.6744 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8981 | μmol/L | 17.7078 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.71 | 96332.7863 | 213228.0043 | 27.3 | 43.4
9164 | 2022-05-19 10:28 | 21.008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9185 | μmol/L | 17.7139 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.707 | 96329.9035 | 213234.0287 | 27.3 | 43.4
9174 | 2022-05-19 10:28 | 21.3408 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9185 | μmol/L | 17.7139 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.707 | 96325.728 | 213247.1449 | 27.3 | 43.4
9184 | 2022-05-19 10:29 | 21.6745 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8288 | μmol/L | 17.7201 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.708 | 96348.4696 | 213252.8871 | 27.3 | 43.4
9194 | 2022-05-19 10:29 | 22.0081 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9735 | μmol/L | 17.7139 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.705 | 96347.3964 | 213252.0266 | 27.3 | 43.4
9204 | 2022-05-19 10:29 | 22.3407 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8013 | μmol/L | 17.7201 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.709 | 96353.5255 | 213262.8355 | 27.3 | 43.4
9214 | 2022-05-19 10:30 | 22.6744 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8084 | μmol/L | 17.7139 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.711 | 96358.8617 | 213274.6128 | 27.3 | 43.4
9224 | 2022-05-19 10:30 | 23.0079 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8909 | μmol/L | 17.7139 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.708 | 96349.7493 | 213282.3781 | 27.3 | 43.4
9234 | 2022-05-19 10:30 | 23.3414 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9388 | μmol/L | 17.7201 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.704 | 96363.5143 | 213292.6982 | 27.3 | 43.4
9244 | 2022-05-19 10:31 | 23.6742 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9735 | μmol/L | 17.7139 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.705 | 96355.7526 | 213289.3069 | 27.3 | 43.4
9254 | 2022-05-19 10:31 | 24.0079 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.0082 | μmol/L | 17.7078 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.706 | 96353.7655 | 213291.3097 | 27.3 | 43.4
9264 | 2022-05-19 10:31 | 24.3409 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.0357 | μmol/L | 17.7078 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.705 | 96368.3955 | 213306.1313 | 27.3 | 43.4
9274 | 2022-05-19 10:32 | 24.6747 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.946 | μmol/L | 17.7139 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.706 | 96370.2524 | 213307.59 | 27.3 | 43.4
9284 | 2022-05-19 10:32 | 25.0082 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9388 | μmol/L | 17.7201 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.704 | 96388.169 | 213312.7499 | 27.3 | 43.4
9294 | 2022-05-19 10:32 | 25.3407 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.0213 | μmol/L | 17.7201 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.701 | 96365.2011 | 213322.3536 | 27.3 | 43.4
9304 | 2022-05-19 10:33 | 25.6743 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.001 | μmol/L | 17.7139 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.704 | 96369.6901 | 213329.9606 | 27.3 | 43.4
9314 | 2022-05-19 10:33 | 26.0079 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9735 | μmol/L | 17.7139 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.705 | 96369.1543 | 213335.0184 | 27.3 | 43.4
9324 | 2022-05-19 10:33 | 26.3414 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.0285 | μmol/L | 17.7139 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.703 | 96388.5466 | 213345.8058 | 27.3 | 43.4
9334 | 2022-05-19 10:34 | 26.6744 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9388 | μmol/L | 17.7201 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.704 | 96376.9996 | 213344.9517 | 27.3 | 43.4
9344 | 2022-05-19 10:34 | 27.0079 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7941 | μmol/L | 17.7262 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.707 | 96374.8263 | 213350.7605 | 27.3 | 43.4
9354 | 2022-05-19 10:34 | 27.3408 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8491 | μmol/L | 17.7262 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.705 | 96375.3512 | 213353.2611 | 27.3 | 43.4
9364 | 2022-05-19 10:35 | 27.6743 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8216 | μmol/L | 17.7262 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.706 | 96366.0094 | 213359.5236 | 27.3 | 43.4
9374 | 2022-05-19 10:35 | 28.0078 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9041 | μmol/L | 17.7262 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.703 | 96380.9608 | 213360.2845 | 27.3 | 43.4
9384 | 2022-05-19 10:35 | 28.3414 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8766 | μmol/L | 17.7262 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.704 | 96386.6652 | 213369.3729 | 27.3 | 43.4
9394 | 2022-05-19 10:36 | 28.6743 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9663 | μmol/L | 17.7201 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.703 | 96382.8773 | 213384.8262 | 27.3 | 43.4
9404 | 2022-05-19 10:36 | 29.0079 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9591 | μmol/L | 17.7262 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.701 | 96399.3636 | 213379.9722 | 27.3 | 43.4
9414 | 2022-05-19 10:36 | 29.3415 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9938 | μmol/L | 17.7201 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.702 | 96406.9414 | 213394.0158 | 27.3 | 43.4
9424 | 2022-05-19 10:37 | 29.6742 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8216 | μmol/L | 17.7262 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.706 | 96397.2829 | 213402.3544 | 27.3 | 43.4
9434 | 2022-05-19 10:37 | 30.0077 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8766 | μmol/L | 17.7262 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.704 | 96395.7601 | 213412.9197 | 27.3 | 43.4
9444 | 2022-05-19 10:37 | 30.341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.0968 | μmol/L | 17.7262 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.696 | 96386.4412 | 213394.3303 | 27.3 | 43.4
9454 | 2022-05-19 10:38 | 30.6747 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.1039 | μmol/L | 17.7201 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.698 | 96408.1304 | 213403.8076 | 27.3 | 43.4
9464 | 2022-05-19 10:38 | 31.0078 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9113 | μmol/L | 17.7201 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.705 | 96402.735 | 213404.0093 | 27.3 | 43.4
9474 | 2022-05-19 10:38 | 31.3414 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.0417 | μmol/L | 17.7262 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.698 | 96397.3539 | 213403.3863 | 27.3 | 43.4
9484 | 2022-05-19 10:39 | 31.6741 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9591 | μmol/L | 17.7262 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.701 | 96407.5409 | 213416.0645 | 27.3 | 43.4
9494 | 2022-05-19 10:39 | 32.0075 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.952 | μmol/L | 17.7323 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.699 | 96414.5389 | 213412.124 | 27.3 | 43.4
9504 | 2022-05-19 10:39 | 32.341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8969 | μmol/L | 17.7323 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.701 | 96414.2526 | 213415.5387 | 27.3 | 43.4
9514 | 2022-05-19 10:40 | 32.6745 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7726 | μmol/L | 17.7445 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.701 | 96413.2232 | 213422.0387 | 27.3 | 43.4
9524 | 2022-05-19 10:40 | 33.0073 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7726 | μmol/L | 17.7445 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.701 | 96428.7965 | 213433.792 | 27.3 | 43.4
9534 | 2022-05-19 10:40 | 33.3412 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7726 | μmol/L | 17.7445 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.701 | 96413.5487 | 213431.1894 | 27.3 | 43.4
9544 | 2022-05-19 10:41 | 33.6741 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7726 | μmol/L | 17.7445 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.701 | 96423.6047 | 213441.1981 | 27.3 | 43.4
9554 | 2022-05-19 10:41 | 34.0077 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9652 | μmol/L | 17.7445 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.694 | 96426.9664 | 213439.9044 | 27.3 | 43.4
9564 | 2022-05-19 10:41 | 34.3413 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9173 | μmol/L | 17.7384 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.698 | 96433.2762 | 213441.6658 | 27.3 | 43.4
9574 | 2022-05-19 10:42 | 34.6746 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9173 | μmol/L | 17.7384 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.698 | 96426.314 | 213449.4399 | 27.3 | 43.4
9584 | 2022-05-19 10:42 | 35.0082 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7451 | μmol/L | 17.7445 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.702 | 96434.4006 | 213449.8631 | 27.3 | 43.4
9594 | 2022-05-19 10:42 | 35.341 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8551 | μmol/L | 17.7445 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.698 | 96443.7618 | 213466.0005 | 27.3 | 43.4
9604 | 2022-05-19 10:43 | 35.6748 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8623 | μmol/L | 17.7384 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.7 | 96438.8647 | 213464.2743 | 27.3 | 43.4
9614 | 2022-05-19 10:43 | 36.0078 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.6901 | μmol/L | 17.7445 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.704 | 96441.1407 | 213469.0461 | 27.3 | 43.4
9624 | 2022-05-19 10:43 | 36.3414 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8001 | μmol/L | 17.7445 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.7 | 96437.5026 | 213472.4766 | 27.3 | 43.4
9634 | 2022-05-19 10:44 | 36.6743 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8001 | μmol/L | 17.7445 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.7 | 96438.5026 | 213470.1242 | 27.3 | 43.4
9644 | 2022-05-19 10:44 | 37.0079 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8826 | μmol/L | 17.7445 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.697 | 96430.8844 | 213479.0706 | 27.3 | 43.4
9654 | 2022-05-19 10:44 | 37.3413 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8205 | μmol/L | 17.7506 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.697 | 96440.5594 | 213490.1448 | 27.3 | 43.4
9664 | 2022-05-19 10:45 | 37.6747 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7655 | μmol/L | 17.7506 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.699 | 96432.5316 | 213495.5923 | 27.3 | 43.4
9674 | 2022-05-19 10:45 | 38.0075 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8276 | μmol/L | 17.7445 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.699 | 96435.9588 | 213487.8448 | 27.3 | 43.4
9684 | 2022-05-19 10:45 | 38.3409 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8276 | μmol/L | 17.7445 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.699 | 96442.7097 | 213495.2246 | 27.3 | 43.4
9694 | 2022-05-19 10:46 | 38.6745 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8276 | μmol/L | 17.7445 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.699 | 96435.7983 | 213487.1283 | 27.3 | 43.4
9704 | 2022-05-19 10:46 | 39.0081 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.793 | μmol/L | 17.7506 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.698 | 96450.107 | 213484.4513 | 27.3 | 43.4
9714 | 2022-05-19 10:46 | 39.3408 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7105 | μmol/L | 17.7506 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.701 | 96443.6523 | 213492.7901 | 27.3 | 43.4
9724 | 2022-05-19 10:47 | 39.6742 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7583 | μmol/L | 17.7567 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.697 | 96445.4562 | 213503.8398 | 27.3 | 43.4
9734 | 2022-05-19 10:47 | 40.0076 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.848 | μmol/L | 17.7506 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.696 | 96450.5133 | 213505.0783 | 27.3 | 43.4
9744 | 2022-05-19 10:47 | 40.3412 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.738 | μmol/L | 17.7506 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.7 | 96451.4709 | 213514.5772 | 27.3 | 43.4
9754 | 2022-05-19 10:48 | 40.6748 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7105 | μmol/L | 17.7506 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.701 | 96442.5813 | 213502.7618 | 27.3 | 43.4
9764 | 2022-05-19 10:48 | 41.0075 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.848 | μmol/L | 17.7506 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.696 | 96442.195 | 213500.1795 | 27.3 | 43.4
9774 | 2022-05-19 10:48 | 41.3412 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9102 | μmol/L | 17.7445 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.696 | 96452.7079 | 213517.8363 | 27.3 | 43.4
9784 | 2022-05-19 10:49 | 41.6744 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.848 | μmol/L | 17.7506 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.696 | 96446.9674 | 213499.3415 | 27.3 | 43.4
9794 | 2022-05-19 10:49 | 42.0073 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.793 | μmol/L | 17.7506 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.698 | 96439.1221 | 213501.4622 | 27.3 | 43.4
9804 | 2022-05-19 10:49 | 42.3407 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8133 | μmol/L | 17.7567 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.695 | 96442.8235 | 213513.3299 | 27.3 | 43.4
9814 | 2022-05-19 10:50 | 42.6743 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7583 | μmol/L | 17.7567 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.697 | 96446.4354 | 213509.9626 | 27.3 | 43.4
9824 | 2022-05-19 10:50 | 43.0077 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7655 | μmol/L | 17.7506 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.699 | 96448.5411 | 213510.6211 | 27.3 | 43.4
9834 | 2022-05-19 10:50 | 43.3412 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8205 | μmol/L | 17.7506 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.697 | 96447.0992 | 213510.6004 | 27.3 | 43.4
9844 | 2022-05-19 10:51 | 43.674 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9377 | μmol/L | 17.7445 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.695 | 96448.9042 | 213512.4853 | 27.3 | 43.4
9854 | 2022-05-19 10:51 | 44.0075 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.793 | μmol/L | 17.7506 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.698 | 96445.2505 | 213520.1805 | 27.3 | 43.4
9864 | 2022-05-19 10:51 | 44.3411 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7858 | μmol/L | 17.7567 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.696 | 96453.1448 | 213520.0482 | 27.3 | 43.4
9874 | 2022-05-19 10:52 | 44.6741 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7655 | μmol/L | 17.7506 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.699 | 96442.3923 | 213519.1726 | 27.3 | 43.4
9884 | 2022-05-19 10:52 | 45.0077 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7308 | μmol/L | 17.7567 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.698 | 96448.9584 | 213529.6532 | 27.3 | 43.4
9894 | 2022-05-19 10:52 | 45.3413 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.6687 | μmol/L | 17.7628 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.698 | 96448.722 | 213522.4699 | 27.3 | 43.4
9904 | 2022-05-19 10:53 | 45.6748 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8409 | μmol/L | 17.7567 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.694 | 96443.2903 | 213526.8863 | 27.3 | 43.4
9914 | 2022-05-19 10:53 | 46.0075 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9234 | μmol/L | 17.7567 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.691 | 96440.5963 | 213536.4588 | 27.3 | 43.4
9924 | 2022-05-19 10:53 | 46.3412 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7033 | μmol/L | 17.7567 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.699 | 96450.1998 | 213535.4183 | 27.3 | 43.4
9934 | 2022-05-19 10:54 | 46.6747 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7583 | μmol/L | 17.7567 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.697 | 96446.5526 | 213538.8003 | 27.3 | 43.4
9944 | 2022-05-19 10:54 | 47.0074 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8133 | μmol/L | 17.7567 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.695 | 96441.2454 | 213535.4702 | 27.3 | 43.4
9954 | 2022-05-19 10:54 | 47.3411 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8684 | μmol/L | 17.7567 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.693 | 96448.0715 | 213534.6523 | 27.3 | 43.4
9964 | 2022-05-19 10:55 | 47.6748 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.6758 | μmol/L | 17.7567 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.7 | 96435.3215 | 213533.3712 | 27.3 | 43.4
9974 | 2022-05-19 10:55 | 48.0077 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9102 | μmol/L | 17.7445 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.696 | 96438.3151 | 213523.97 | 27.3 | 43.4
9984 | 2022-05-19 10:55 | 48.3407 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.903 | μmol/L | 17.7506 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.694 | 96433.7035 | 213539.2559 | 27.3 | 43.4
9994 | 2022-05-19 10:56 | 48.6744 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.903 | μmol/L | 17.7506 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.694 | 96437.2163 | 213540.1733 | 27.3 | 43.4
10004 | 2022-05-19 10:56 | 49.0078 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7858 | μmol/L | 17.7567 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.696 | 96438.4528 | 213528.0632 | 27.3 | 43.4
10014 | 2022-05-19 10:56 | 49.3413 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8409 | μmol/L | 17.7567 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.694 | 96435.5913 | 213535.6861 | 27.3 | 43.4
10024 | 2022-05-19 10:57 | 49.6748 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8133 | μmol/L | 17.7567 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.695 | 96440.8836 | 213542.1202 | 27.3 | 43.4
10034 | 2022-05-19 10:57 | 50.0081 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8755 | μmol/L | 17.7506 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.695 | 96441.4425 | 213546.676 | 27.3 | 43.4
10044 | 2022-05-19 10:57 | 50.3407 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9102 | μmol/L | 17.7445 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.696 | 96440.8925 | 213543.5516 | 27.3 | 43.4
10054 | 2022-05-19 10:58 | 50.6746 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.848 | μmol/L | 17.7506 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.696 | 96440.6631 | 213537.8673 | 27.3 | 43.4
10064 | 2022-05-19 10:58 | 51.0082 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7858 | μmol/L | 17.7567 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.696 | 96432.9945 | 213540.7471 | 27.3 | 43.4
10074 | 2022-05-19 10:58 | 51.3412 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7858 | μmol/L | 17.7567 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.696 | 96445.8361 | 213539.487 | 27.3 | 43.4
10084 | 2022-05-19 10:59 | 51.6748 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8959 | μmol/L | 17.7567 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.692 | 96438.0991 | 213532.8196 | 27.3 | 43.4
10094 | 2022-05-19 10:59 | 52.0081 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.0274 | μmol/L | 17.7384 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.694 | 96444.207 | 213554.1829 | 27.3 | 43.4
10104 | 2022-05-19 10:59 | 52.3408 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8551 | μmol/L | 17.7445 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.698 | 96446.6746 | 213536.8767 | 27.3 | 43.4
10114 | 2022-05-19 11:00 | 52.6744 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.848 | μmol/L | 17.7506 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.696 | 96442.7187 | 213544.6422 | 27.3 | 43.4
10124 | 2022-05-19 11:00 | 53.0078 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8755 | μmol/L | 17.7506 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.695 | 96442.7595 | 213548.0403 | 27.3 | 43.4
10134 | 2022-05-19 11:00 | 53.3412 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8826 | μmol/L | 17.7445 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.697 | 96439.1523 | 213565.0242 | 27.3 | 43.4
10144 | 2022-05-19 11:01 | 53.6746 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8133 | μmol/L | 17.7567 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.695 | 96439.3772 | 213555.6141 | 27.3 | 43.4
10154 | 2022-05-19 11:01 | 54.0081 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.793 | μmol/L | 17.7506 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.698 | 96448.2488 | 213548.8908 | 27.3 | 43.4
10164 | 2022-05-19 11:01 | 54.3407 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7655 | μmol/L | 17.7506 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.699 | 96433.0235 | 213541.9919 | 27.3 | 43.4
10174 | 2022-05-19 11:02 | 54.6742 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.6758 | μmol/L | 17.7567 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.7 | 96422.3043 | 213545.2407 | 27.3 | 43.4
10184 | 2022-05-19 11:02 | 55.0077 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.6137 | μmol/L | 17.7628 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.7 | 96418.5504 | 213555.1095 | 27.3 | 43.4
10194 | 2022-05-19 11:02 | 55.3411 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.6962 | μmol/L | 17.7628 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.697 | 96417.0501 | 213548.7221 | 27.3 | 43.4
10204 | 2022-05-19 11:03 | 55.6747 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7237 | μmol/L | 17.7628 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.696 | 96439.4858 | 213545.6616 | 27.3 | 43.4
10214 | 2022-05-19 11:03 | 56.0073 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.6962 | μmol/L | 17.7628 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.697 | 96437.5407 | 213557.6685 | 27.3 | 43.4
10224 | 2022-05-19 11:03 | 56.3408 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.6962 | μmol/L | 17.7628 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.697 | 96430.8467 | 213550.1593 | 27.3 | 43.4
10234 | 2022-05-19 11:04 | 56.6745 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7512 | μmol/L | 17.7628 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.695 | 96427.8313 | 213558.7594 | 27.3 | 43.4
10244 | 2022-05-19 11:04 | 57.008 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.6687 | μmol/L | 17.7628 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.698 | 96440.8442 | 213563.1579 | 27.3 | 43.4
10254 | 2022-05-19 11:04 | 57.3414 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.6687 | μmol/L | 17.7628 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.698 | 96427.6538 | 213547.2392 | 27.3 | 43.4
10264 | 2022-05-19 11:05 | 57.6741 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.6962 | μmol/L | 17.7628 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.697 | 96438.8259 | 213554.1174 | 27.3 | 43.4
10274 | 2022-05-19 11:05 | 58.0076 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7512 | μmol/L | 17.7628 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.695 | 96436.8752 | 213562.6702 | 27.3 | 43.4
10284 | 2022-05-19 11:05 | 58.3413 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.5791 | μmol/L | 17.7689 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.699 | 96431.3167 | 213551.3822 | 27.3 | 43.4
10294 | 2022-05-19 11:06 | 58.6743 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7033 | μmol/L | 17.7567 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.699 | 96440.4444 | 213548.4359 | 27.3 | 43.4
10304 | 2022-05-19 11:06 | 59.0079 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7105 | μmol/L | 17.7506 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.701 | 96431.7813 | 213550.4482 | 27.3 | 43.4
10314 | 2022-05-19 11:06 | 59.3415 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.8205 | μmol/L | 17.7506 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.697 | 96433.8303 | 213562.6151 | 27.3 | 43.4
10324 | 2022-05-19 11:07 | 59.6742 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7655 | μmol/L | 17.7506 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.699 | 96432.7029 | 213562.9192 | 27.3 | 43.4
10334 | 2022-05-19 11:07 | 60.0079 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9999 | μmol/L | 17.7384 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.695 | 96431.3359 | 213567.5639 | 27.3 | 43.4
10344 | 2022-05-19 11:07 | 60.3415 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.7308 | μmol/L | 17.7567 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 21.698 | 96435.1432 | 213552.1693 | 27.3 | 43.4