## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_8 | O2 | 190713773 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:58

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 16:30

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
15202 | 2022-05-19 15:15 | 0 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 273.4776 | μmol/L | 18.5242 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.472 | 169913.8015 | 302666.727 | 33.25 | 68.6
15212 | 2022-05-19 15:15 | 0.33945 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 273.3411 | μmol/L | 18.5242 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.478 | 169858.703 | 302656.3704 | 33.25 | 68.6
15222 | 2022-05-19 15:15 | 0.67242 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 273.3258 | μmol/L | 18.5181 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.481 | 169833.7084 | 302664.9256 | 33.25 | 68.6
15232 | 2022-05-19 15:16 | 1.0064 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 273.1365 | μmol/L | 18.5242 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.487 | 169782.4946 | 302677.091 | 33.25 | 68.6
15242 | 2022-05-19 15:16 | 1.3396 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 273.1667 | μmol/L | 18.5181 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.488 | 169740.3626 | 302664.715 | 33.25 | 68.6
15252 | 2022-05-19 15:16 | 1.6729 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 273.0911 | μmol/L | 18.5242 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.489 | 169685.1746 | 302655.8966 | 33.25 | 68.6
15262 | 2022-05-19 15:17 | 2.0064 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 273.0304 | μmol/L | 18.5181 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.494 | 169632.1819 | 302642.8199 | 33.25 | 68.6
15272 | 2022-05-19 15:17 | 2.3395 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.9697 | μmol/L | 18.5121 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.499 | 169612.0285 | 302651.6957 | 33.25 | 68.6
15282 | 2022-05-19 15:17 | 2.6729 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.9697 | μmol/L | 18.5121 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.499 | 169575.6121 | 302645.0815 | 33.25 | 68.6
15292 | 2022-05-19 15:18 | 3.0059 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.909 | μmol/L | 18.506 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.504 | 169533.8955 | 302622.0104 | 33.25 | 68.6
15302 | 2022-05-19 15:18 | 3.3393 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.9317 | μmol/L | 18.506 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.503 | 169487.4 | 302626.9629 | 33.25 | 68.6
15312 | 2022-05-19 15:18 | 3.6726 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.7655 | μmol/L | 18.5121 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.508 | 169470.3653 | 302624.6789 | 33.25 | 68.6
15322 | 2022-05-19 15:19 | 4.0059 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.7502 | μmol/L | 18.506 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.511 | 169413.1926 | 302609.5347 | 33.25 | 68.6
15332 | 2022-05-19 15:19 | 4.3391 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.7275 | μmol/L | 18.506 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.512 | 169379.1011 | 302593.3372 | 33.25 | 68.6
15342 | 2022-05-19 15:19 | 4.6725 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.6896 | μmol/L | 18.4999 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.516 | 169367.9906 | 302616.1821 | 33.25 | 68.6
15352 | 2022-05-19 15:20 | 5.0061 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.6971 | μmol/L | 18.4938 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.518 | 169333.9737 | 302601.6059 | 33.25 | 68.6
15362 | 2022-05-19 15:20 | 5.3394 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.5763 | μmol/L | 18.4999 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.521 | 169330.3685 | 302601.0635 | 33.25 | 68.6
15372 | 2022-05-19 15:20 | 5.6727 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.531 | μmol/L | 18.4999 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.523 | 169300.8748 | 302599.5232 | 33.25 | 68.6
15382 | 2022-05-19 15:21 | 6.0062 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.463 | μmol/L | 18.4999 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.526 | 169275.9122 | 302591.9658 | 33.25 | 68.6
15392 | 2022-05-19 15:21 | 6.3397 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.4705 | μmol/L | 18.4938 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.528 | 169248.347 | 302583.7612 | 33.25 | 68.6
15402 | 2022-05-19 15:21 | 6.673 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.4479 | μmol/L | 18.4938 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.529 | 169225.7214 | 302577.9553 | 33.25 | 68.6
15412 | 2022-05-19 15:22 | 7.0057 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.4252 | μmol/L | 18.4938 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.53 | 169195.1718 | 302569.4809 | 33.25 | 68.6
15422 | 2022-05-19 15:22 | 7.3393 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.4327 | μmol/L | 18.4877 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.532 | 169201.0293 | 302569.0057 | 33.25 | 68.6
15432 | 2022-05-19 15:22 | 7.673 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.3347 | μmol/L | 18.4938 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.534 | 169159.889 | 302560.3067 | 33.25 | 68.6
15442 | 2022-05-19 15:23 | 8.0057 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.3722 | μmol/L | 18.4816 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.537 | 169141.8892 | 302558.3988 | 33.25 | 68.6
15452 | 2022-05-19 15:23 | 8.3394 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.2215 | μmol/L | 18.4938 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.539 | 169123.8235 | 302562.0454 | 33.25 | 68.6
15462 | 2022-05-19 15:23 | 8.6726 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.2064 | μmol/L | 18.4877 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.542 | 169100.8026 | 302557.1526 | 33.25 | 68.6
15472 | 2022-05-19 15:24 | 9.0065 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.229 | μmol/L | 18.4877 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.541 | 169087.1293 | 302549.7479 | 33.25 | 68.6
15482 | 2022-05-19 15:24 | 9.339 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.146 | μmol/L | 18.4816 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.547 | 169082.5227 | 302541.4106 | 33.25 | 68.6
15492 | 2022-05-19 15:24 | 9.6724 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.2439 | μmol/L | 18.4756 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.545 | 169058.6264 | 302530.3607 | 33.25 | 68.6
15502 | 2022-05-19 15:25 | 10.006 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.0782 | μmol/L | 18.4816 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.55 | 169040.2592 | 302536.4648 | 33.25 | 68.6
15512 | 2022-05-19 15:25 | 10.3396 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.1008 | μmol/L | 18.4816 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.549 | 169027.0578 | 302528.1236 | 33.25 | 68.6
15522 | 2022-05-19 15:25 | 10.6728 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.1083 | μmol/L | 18.4756 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.551 | 169011.1041 | 302538.9858 | 33.25 | 68.6
15532 | 2022-05-19 15:26 | 11.0065 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.0404 | μmol/L | 18.4756 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.554 | 169017.3247 | 302517.32 | 33.25 | 68.6
15542 | 2022-05-19 15:26 | 11.339 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.9878 | μmol/L | 18.4816 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.554 | 169014.6532 | 302513.0686 | 33.25 | 68.6
15552 | 2022-05-19 15:26 | 11.6724 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.9049 | μmol/L | 18.4756 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.56 | 168991.0743 | 302512.3429 | 33.25 | 68.6
15562 | 2022-05-19 15:27 | 12.0059 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.9049 | μmol/L | 18.4756 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.56 | 168994.9603 | 302521.6671 | 33.25 | 68.6
15572 | 2022-05-19 15:27 | 12.3391 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.935 | μmol/L | 18.4695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.561 | 168978.3815 | 302501.681 | 33.25 | 68.6
15582 | 2022-05-19 15:27 | 12.6731 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.8672 | μmol/L | 18.4695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.564 | 168958.7264 | 302509.4143 | 33.25 | 68.6
15592 | 2022-05-19 15:28 | 13.0057 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.8672 | μmol/L | 18.4695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.564 | 168955.9361 | 302498.0405 | 33.25 | 68.6
15602 | 2022-05-19 15:28 | 13.3391 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.7543 | μmol/L | 18.4695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.569 | 168959.1935 | 302494.8749 | 33.25 | 68.6
15612 | 2022-05-19 15:28 | 13.6726 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.7317 | μmol/L | 18.4695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.57 | 168963.1773 | 302489.1596 | 33.25 | 68.6
15622 | 2022-05-19 15:29 | 14.006 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.7092 | μmol/L | 18.4695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.571 | 168947.9109 | 302486.4877 | 33.25 | 68.6
15632 | 2022-05-19 15:29 | 14.3394 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.7543 | μmol/L | 18.4695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.569 | 168954.0898 | 302489.7372 | 33.25 | 68.6
15642 | 2022-05-19 15:29 | 14.6726 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.664 | μmol/L | 18.4695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.573 | 168951.2556 | 302491.1124 | 33.25 | 68.6
15652 | 2022-05-19 15:30 | 15.0058 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.6715 | μmol/L | 18.4634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.575 | 168962.2697 | 302474.0418 | 33.25 | 68.6
15662 | 2022-05-19 15:30 | 15.3394 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.6565 | μmol/L | 18.4573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.578 | 168950.1478 | 302481.8523 | 33.25 | 68.6
15672 | 2022-05-19 15:30 | 15.6727 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.5588 | μmol/L | 18.4634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.58 | 168952.7635 | 302457.047 | 33.25 | 68.6
15682 | 2022-05-19 15:31 | 16.0062 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.5137 | μmol/L | 18.4634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.582 | 168953.3987 | 302467.1199 | 33.25 | 68.6
15692 | 2022-05-19 15:31 | 16.3396 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.446 | μmol/L | 18.4634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.585 | 168954.2544 | 302480.993 | 33.25 | 68.6
15702 | 2022-05-19 15:31 | 16.6728 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.4911 | μmol/L | 18.4634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.583 | 168947.5301 | 302447.6747 | 33.25 | 68.6
15712 | 2022-05-19 15:32 | 17.0064 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.4535 | μmol/L | 18.4573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.587 | 168957.0698 | 302448.3773 | 33.25 | 68.6
15722 | 2022-05-19 15:32 | 17.3397 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.3559 | μmol/L | 18.4634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.589 | 168942.6627 | 302447.2634 | 33.25 | 68.6
15732 | 2022-05-19 15:32 | 17.673 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.4085 | μmol/L | 18.4573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.589 | 168947.2429 | 302433.1377 | 33.25 | 68.6
15742 | 2022-05-19 15:33 | 18.0063 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.2883 | μmol/L | 18.4634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.592 | 168938.9347 | 302430.7154 | 33.25 | 68.6
15752 | 2022-05-19 15:33 | 18.3397 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.3859 | μmol/L | 18.4573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.59 | 168907.6625 | 302435.5817 | 33.25 | 68.6
15762 | 2022-05-19 15:33 | 18.6724 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.4385 | μmol/L | 18.4512 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.59 | 168899.38 | 302431.2938 | 33.25 | 68.6
15772 | 2022-05-19 15:34 | 19.0059 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.4911 | μmol/L | 18.4451 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.59 | 168864.5432 | 302426.3378 | 33.25 | 68.6
15782 | 2022-05-19 15:34 | 19.3392 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.4611 | μmol/L | 18.4512 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.589 | 168858.0124 | 302413.7227 | 33.25 | 68.6
15792 | 2022-05-19 15:34 | 19.6731 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.4611 | μmol/L | 18.4512 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.589 | 168830.2943 | 302410.7003 | 33.25 | 68.6
15802 | 2022-05-19 15:35 | 20.0061 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.416 | μmol/L | 18.4512 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.591 | 168819.3565 | 302407.2395 | 33.25 | 68.6
15812 | 2022-05-19 15:35 | 20.3394 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.4385 | μmol/L | 18.4512 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.59 | 168818.9488 | 302403.1222 | 33.25 | 68.6
15822 | 2022-05-19 15:35 | 20.6727 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.416 | μmol/L | 18.4512 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.591 | 168806.478 | 302408.3858 | 33.25 | 68.6
15832 | 2022-05-19 15:36 | 21.0062 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.4385 | μmol/L | 18.4512 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.59 | 168805.7479 | 302389.7206 | 33.25 | 68.6
15842 | 2022-05-19 15:36 | 21.3397 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.4235 | μmol/L | 18.4451 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.593 | 168781.1946 | 302385.9167 | 33.25 | 68.6
15852 | 2022-05-19 15:36 | 21.6731 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.401 | μmol/L | 18.4451 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.594 | 168801.0535 | 302380.7952 | 33.25 | 68.6
15862 | 2022-05-19 15:37 | 22.0059 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.431 | μmol/L | 18.439 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.595 | 168793.4618 | 302375.2978 | 33.25 | 68.6
15872 | 2022-05-19 15:37 | 22.3393 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.3409 | μmol/L | 18.439 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.599 | 168803.7414 | 302363.8859 | 33.25 | 68.6
15882 | 2022-05-19 15:37 | 22.6729 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.2584 | μmol/L | 18.433 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.605 | 168849.4216 | 302377.4513 | 33.25 | 68.6
15892 | 2022-05-19 15:38 | 23.0064 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.9883 | μmol/L | 18.433 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.617 | 168947.4846 | 302364.8584 | 33.25 | 68.6
15902 | 2022-05-19 15:38 | 23.3392 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.8234 | μmol/L | 18.439 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.622 | 168967.1114 | 302357.1212 | 33.25 | 68.6
15912 | 2022-05-19 15:38 | 23.6727 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.7936 | μmol/L | 18.4269 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.628 | 168966.7337 | 302357.2804 | 33.25 | 68.6
15922 | 2022-05-19 15:39 | 24.0061 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.861 | μmol/L | 18.4269 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.625 | 168949.0549 | 302342.004 | 33.25 | 68.6
15932 | 2022-05-19 15:39 | 24.3394 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.756 | μmol/L | 18.439 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.625 | 168937.3064 | 302348.1551 | 33.25 | 68.6
15942 | 2022-05-19 15:39 | 24.6729 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.786 | μmol/L | 18.433 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.626 | 168927.0283 | 302365.2545 | 33.25 | 68.6
15952 | 2022-05-19 15:40 | 25.0063 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.756 | μmol/L | 18.439 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.625 | 168912.1449 | 302334.0176 | 33.25 | 68.6
15962 | 2022-05-19 15:40 | 25.3397 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.8984 | μmol/L | 18.433 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.621 | 168885.1592 | 302341.8706 | 33.25 | 68.6
15972 | 2022-05-19 15:40 | 25.673 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.6437 | μmol/L | 18.439 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.63 | 168942.1942 | 302341.2704 | 33.25 | 68.6
15982 | 2022-05-19 15:41 | 26.0058 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.3596 | μmol/L | 18.433 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.645 | 169063.6689 | 302337.6065 | 33.25 | 68.6
15992 | 2022-05-19 15:41 | 26.3398 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.8296 | μmol/L | 18.4269 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.671 | 169272.836 | 302334.2045 | 33.25 | 68.6
16002 | 2022-05-19 15:41 | 26.6727 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.8072 | μmol/L | 18.4269 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.672 | 169258.3472 | 302342.5853 | 33.25 | 68.6
16012 | 2022-05-19 15:42 | 27.0063 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.6359 | μmol/L | 18.4208 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.682 | 169347.8477 | 302322.402 | 33.25 | 68.6
16022 | 2022-05-19 15:42 | 27.3398 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.316 | μmol/L | 18.4086 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.701 | 169502.4228 | 302323.9874 | 33.25 | 68.6
16032 | 2022-05-19 15:42 | 27.6725 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.4469 | μmol/L | 18.4269 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.733 | 169756.4766 | 302316.1542 | 33.25 | 68.6
16042 | 2022-05-19 15:43 | 28.0061 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.1803 | μmol/L | 18.4269 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.745 | 169805.4497 | 302302.4142 | 33.25 | 68.6
16052 | 2022-05-19 15:43 | 28.3394 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 267.8183 | μmol/L | 18.4147 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.766 | 169996.1646 | 302318.956 | 33.25 | 68.6
16062 | 2022-05-19 15:43 | 28.6727 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 267.1909 | μmol/L | 18.4208 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.792 | 170199.3017 | 302314.9806 | 33.25 | 68.6
16072 | 2022-05-19 15:44 | 29.0063 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.8892 | μmol/L | 18.4147 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.808 | 170325.7277 | 302308.5132 | 33.25 | 68.6
16082 | 2022-05-19 15:44 | 29.3396 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.7348 | μmol/L | 18.4147 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.815 | 170377.6388 | 302306.2902 | 33.25 | 68.6
16092 | 2022-05-19 15:44 | 29.6729 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.5211 | μmol/L | 18.4269 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.82 | 170411.2357 | 302298.6831 | 33.25 | 68.6
16102 | 2022-05-19 15:45 | 30.0058 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.5508 | μmol/L | 18.4208 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.821 | 170400.7061 | 302307.0106 | 33.25 | 68.6
16112 | 2022-05-19 15:45 | 30.3391 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.5143 | μmol/L | 18.4147 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.825 | 170437.297 | 302312.6229 | 33.25 | 68.6
16122 | 2022-05-19 15:45 | 30.6724 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.4771 | μmol/L | 18.4269 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.822 | 170453.564 | 302294.2599 | 33.25 | 68.6
16132 | 2022-05-19 15:46 | 31.0059 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.3745 | μmol/L | 18.4208 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.829 | 170455.6894 | 302300.5115 | 33.25 | 68.6
16142 | 2022-05-19 15:46 | 31.3394 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.3084 | μmol/L | 18.4208 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.832 | 170480.3147 | 302294.9582 | 33.25 | 68.6
16152 | 2022-05-19 15:46 | 31.6727 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.2348 | μmol/L | 18.4269 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.833 | 170480.9886 | 302293.4112 | 33.25 | 68.6
16162 | 2022-05-19 15:47 | 32.006 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.1764 | μmol/L | 18.4208 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.838 | 170503.3704 | 302302.0532 | 33.25 | 68.6
16172 | 2022-05-19 15:47 | 32.3395 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.1468 | μmol/L | 18.4269 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.837 | 170527.196 | 302288.7135 | 33.25 | 68.6
16182 | 2022-05-19 15:47 | 32.673 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.9565 | μmol/L | 18.4208 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.848 | 170570.2357 | 302305.1375 | 33.25 | 68.6
16192 | 2022-05-19 15:48 | 33.0065 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.9125 | μmol/L | 18.4208 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.85 | 170622.9471 | 302291.1523 | 33.25 | 68.6
16202 | 2022-05-19 15:48 | 33.3398 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.9057 | μmol/L | 18.4086 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.855 | 170672.981 | 302312.4564 | 33.25 | 68.6
16212 | 2022-05-19 15:48 | 33.6725 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.8246 | μmol/L | 18.4208 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.854 | 170653.3056 | 302309.2794 | 33.25 | 68.6
16222 | 2022-05-19 15:49 | 34.0059 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.008 | μmol/L | 18.4147 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.848 | 170589.8847 | 302305.1131 | 33.25 | 68.6
16232 | 2022-05-19 15:49 | 34.3393 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.118 | μmol/L | 18.4147 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.843 | 170528.4527 | 302306.2299 | 33.25 | 68.6
16242 | 2022-05-19 15:49 | 34.6728 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.096 | μmol/L | 18.4147 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.844 | 170506.5942 | 302304.2631 | 33.25 | 68.6
16252 | 2022-05-19 15:50 | 35.0063 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.25 | μmol/L | 18.4147 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.837 | 170465.5444 | 302295.1689 | 33.25 | 68.6
16262 | 2022-05-19 15:50 | 35.3394 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.316 | μmol/L | 18.4147 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.834 | 170448.9182 | 302296.7389 | 33.25 | 68.6
16272 | 2022-05-19 15:50 | 35.6729 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.294 | μmol/L | 18.4147 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.835 | 170436.9816 | 302286.267 | 33.25 | 68.6
16282 | 2022-05-19 15:51 | 36.0063 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.294 | μmol/L | 18.4147 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.835 | 170443.6818 | 302290.6539 | 33.25 | 68.6
16292 | 2022-05-19 15:51 | 36.3396 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.2796 | μmol/L | 18.4086 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.838 | 170479.3801 | 302310.6658 | 33.25 | 68.6
16302 | 2022-05-19 15:51 | 36.673 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.9937 | μmol/L | 18.4086 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.851 | 170598.5857 | 302305.1544 | 33.25 | 68.6
16312 | 2022-05-19 15:52 | 37.0064 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.5983 | μmol/L | 18.4086 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.869 | 170715.2771 | 302297.0657 | 33.25 | 68.6
16322 | 2022-05-19 15:52 | 37.3398 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.1599 | μmol/L | 18.4086 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.889 | 170895.69 | 302303.9062 | 33.25 | 68.6
16332 | 2022-05-19 15:52 | 37.6732 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 264.7299 | μmol/L | 18.4025 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.911 | 171037.7609 | 302300.8675 | 33.25 | 68.6
16342 | 2022-05-19 15:53 | 38.0064 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 264.5333 | μmol/L | 18.4025 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.92 | 171160.9512 | 302290.8181 | 33.25 | 68.6
16352 | 2022-05-19 15:53 | 38.3397 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 264.242 | μmol/L | 18.4086 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.931 | 171209.9793 | 302308.616 | 33.25 | 68.6
16362 | 2022-05-19 15:53 | 38.6727 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 264.1918 | μmol/L | 18.3965 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.938 | 171281.7526 | 302305.7719 | 33.25 | 68.6
16372 | 2022-05-19 15:54 | 39.0062 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.9881 | μmol/L | 18.4025 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.945 | 171333.5403 | 302304.5829 | 33.25 | 68.6
16382 | 2022-05-19 15:54 | 39.3395 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.9369 | μmol/L | 18.4086 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.945 | 171344.3924 | 302317.8893 | 33.25 | 68.6
16392 | 2022-05-19 15:54 | 39.673 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.828 | μmol/L | 18.4086 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.95 | 171388.3474 | 302300.6717 | 33.25 | 68.6
16402 | 2022-05-19 15:55 | 40.0065 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.6539 | μmol/L | 18.4086 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.958 | 171416.7973 | 302295.0134 | 33.25 | 68.6
16412 | 2022-05-19 15:55 | 40.3391 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.5963 | μmol/L | 18.4025 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.963 | 171506.179 | 302318.6186 | 33.25 | 68.6
16422 | 2022-05-19 15:55 | 40.6724 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.4735 | μmol/L | 18.3965 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.971 | 171564.8845 | 302317.622 | 33.25 | 68.6
16432 | 2022-05-19 15:56 | 41.0062 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.2628 | μmol/L | 18.4086 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.976 | 171601.8585 | 302302.2354 | 33.25 | 68.6
16442 | 2022-05-19 15:56 | 41.3397 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.0751 | μmol/L | 18.4025 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.987 | 171671.6311 | 302302.1552 | 33.25 | 68.6
16452 | 2022-05-19 15:56 | 41.673 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.9016 | μmol/L | 18.4025 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.995 | 171755.206 | 302309.5207 | 33.25 | 68.6
16462 | 2022-05-19 15:57 | 42.0059 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.7576 | μmol/L | 18.3965 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.004 | 171812.3178 | 302307.4156 | 33.25 | 68.6
16472 | 2022-05-19 15:57 | 42.3393 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.685 | μmol/L | 18.4025 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.005 | 171816.3064 | 302298.7326 | 33.25 | 68.6
16482 | 2022-05-19 15:57 | 42.6726 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.6634 | μmol/L | 18.4025 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.006 | 171845.319 | 302312.4696 | 33.25 | 68.6
16492 | 2022-05-19 15:58 | 43.006 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.5118 | μmol/L | 18.4025 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.013 | 171896.7395 | 302307.4354 | 33.25 | 68.6
16502 | 2022-05-19 15:58 | 43.3393 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.4037 | μmol/L | 18.4025 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.018 | 171937.1984 | 302319.8014 | 33.25 | 68.6
16512 | 2022-05-19 15:58 | 43.6726 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.2092 | μmol/L | 18.4025 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.027 | 171987.3515 | 302315.3412 | 33.25 | 68.6
16522 | 2022-05-19 15:59 | 44.0061 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.1659 | μmol/L | 18.4025 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.029 | 172040.0418 | 302312.0882 | 33.25 | 68.6
16532 | 2022-05-19 15:59 | 44.3397 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.1736 | μmol/L | 18.3965 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.031 | 172035.1039 | 302296.2688 | 33.25 | 68.6
16542 | 2022-05-19 15:59 | 44.6731 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.0872 | μmol/L | 18.3965 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.035 | 172070.7928 | 302317.1973 | 33.25 | 68.6
16552 | 2022-05-19 16:00 | 45.0065 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.0009 | μmol/L | 18.3965 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.039 | 172106.0722 | 302308.5058 | 33.25 | 68.6
16562 | 2022-05-19 16:00 | 45.3392 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.9222 | μmol/L | 18.3904 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.045 | 172120.4136 | 302300.6023 | 33.25 | 68.6
16572 | 2022-05-19 16:00 | 45.6725 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.9577 | μmol/L | 18.3965 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.041 | 172107.6721 | 302297.1357 | 33.25 | 68.6
16582 | 2022-05-19 16:01 | 46.0065 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.0733 | μmol/L | 18.3904 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.038 | 172092.304 | 302288.0862 | 33.25 | 68.6
16592 | 2022-05-19 16:01 | 46.3392 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.044 | μmol/L | 18.3965 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.037 | 172084.6984 | 302294.822 | 33.25 | 68.6
16602 | 2022-05-19 16:01 | 46.6726 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.9869 | μmol/L | 18.3904 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.042 | 172120.3475 | 302296.8122 | 33.25 | 68.6
16612 | 2022-05-19 16:02 | 47.0059 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.0301 | μmol/L | 18.3904 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.04 | 172098.6829 | 302300.0342 | 33.25 | 68.6
16622 | 2022-05-19 16:02 | 47.3391 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.0593 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.041 | 172069.0038 | 302294.0782 | 33.25 | 68.6
16632 | 2022-05-19 16:02 | 47.6724 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.0378 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.042 | 172088.1742 | 302278.157 | 33.25 | 68.6
16642 | 2022-05-19 16:03 | 48.0059 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.9514 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.046 | 172125.3505 | 302284.959 | 33.25 | 68.6
16652 | 2022-05-19 16:03 | 48.3393 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.0023 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.046 | 172126.9047 | 302288.0165 | 33.25 | 68.6
16662 | 2022-05-19 16:03 | 48.6728 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.822 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.052 | 172178.2606 | 302286.0027 | 33.25 | 68.6
16672 | 2022-05-19 16:04 | 49.0061 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.6496 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.06 | 172251.2062 | 302281.9801 | 33.25 | 68.6
16682 | 2022-05-19 16:04 | 49.3396 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.5849 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.063 | 172276.6487 | 302285.8876 | 33.25 | 68.6
16692 | 2022-05-19 16:04 | 49.6725 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.4772 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.068 | 172303.3211 | 302291.6734 | 33.25 | 68.6
16702 | 2022-05-19 16:05 | 50.0059 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.2974 | μmol/L | 18.3904 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.074 | 172329.5778 | 302298.6256 | 33.25 | 68.6
16712 | 2022-05-19 16:05 | 50.3395 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.2544 | μmol/L | 18.3904 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.076 | 172381.8984 | 302287.4806 | 33.25 | 68.6
16722 | 2022-05-19 16:05 | 50.6728 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.176 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.082 | 172413.2221 | 302276.3303 | 33.25 | 68.6
16732 | 2022-05-19 16:06 | 51.0063 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.9903 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.093 | 172504.8964 | 302288.669 | 33.25 | 68.6
16742 | 2022-05-19 16:06 | 51.3398 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.9044 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.097 | 172530.0274 | 302279.4091 | 33.25 | 68.6
16752 | 2022-05-19 16:06 | 51.6724 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.8262 | μmol/L | 18.3721 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.103 | 172587.1162 | 302304.9106 | 33.25 | 68.6
16762 | 2022-05-19 16:07 | 52.006 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.5534 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.111 | 172652.0951 | 302277.4895 | 33.25 | 68.6
16772 | 2022-05-19 16:07 | 52.3393 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.4968 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.116 | 172674.8798 | 302284.3738 | 33.25 | 68.6
16782 | 2022-05-19 16:07 | 52.6725 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.4325 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.119 | 172685.1619 | 302285.1612 | 33.25 | 68.6
16792 | 2022-05-19 16:08 | 53.0062 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.4034 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.118 | 172689.8791 | 302288.6281 | 33.25 | 68.6
16802 | 2022-05-19 16:08 | 53.3397 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.4753 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.117 | 172716.3705 | 302279.1236 | 33.25 | 68.6
16812 | 2022-05-19 16:08 | 53.6725 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.411 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.12 | 172707.7545 | 302269.0997 | 33.25 | 68.6
16822 | 2022-05-19 16:09 | 54.006 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.3545 | μmol/L | 18.3721 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.125 | 172718.1079 | 302274.3942 | 33.25 | 68.6
16832 | 2022-05-19 16:09 | 54.3395 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.3177 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.122 | 172741.8425 | 302269.28 | 33.25 | 68.6
16842 | 2022-05-19 16:09 | 54.6728 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.2106 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.127 | 172756.618 | 302260.6256 | 33.25 | 68.6
16852 | 2022-05-19 16:10 | 55.0062 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.0532 | μmol/L | 18.3904 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.132 | 172806.9821 | 302268.398 | 33.25 | 68.6
16862 | 2022-05-19 16:10 | 55.3395 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.9112 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.141 | 172857.1323 | 302261.1701 | 33.25 | 68.6
16872 | 2022-05-19 16:10 | 55.6731 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.7479 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.151 | 172931.6457 | 302260.4231 | 33.25 | 68.6
16882 | 2022-05-19 16:11 | 56.0063 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.5908 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.156 | 173005.1949 | 302258.8635 | 33.25 | 68.6
16892 | 2022-05-19 16:11 | 56.3392 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.5984 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.158 | 173007.514 | 302248.8972 | 33.25 | 68.6
16902 | 2022-05-19 16:11 | 56.6727 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.4551 | μmol/L | 18.3904 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.16 | 173019.3206 | 302267.2934 | 33.25 | 68.6
16912 | 2022-05-19 16:12 | 57.006 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.5054 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.16 | 173053.3721 | 302249.7574 | 33.25 | 68.6
16922 | 2022-05-19 16:12 | 57.3393 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.5131 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.162 | 173050.0082 | 302260.3381 | 33.25 | 68.6
16932 | 2022-05-19 16:12 | 57.6729 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.4201 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.164 | 173062.6662 | 302250.9767 | 33.25 | 68.6
16942 | 2022-05-19 16:13 | 58.0062 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.3425 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.17 | 173124.0762 | 302247.0467 | 33.25 | 68.6
16952 | 2022-05-19 16:13 | 58.3398 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.143 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.177 | 173162.6939 | 302259.2782 | 33.25 | 68.6
16962 | 2022-05-19 16:13 | 58.6726 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.0016 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.186 | 173237.5381 | 302263.3439 | 33.25 | 68.6
16972 | 2022-05-19 16:14 | 59.0061 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 258.6613 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.202 | 173363.335 | 302249.6767 | 33.25 | 68.6
16982 | 2022-05-19 16:14 | 59.3397 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 258.4625 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.209 | 173444.71 | 302244.003 | 33.25 | 68.6
16992 | 2022-05-19 16:14 | 59.6725 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 258.4277 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.213 | 173450.8006 | 302240.8601 | 33.25 | 68.6
17002 | 2022-05-19 16:15 | 60.006 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 258.3988 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.212 | 173448.2966 | 302245.7179 | 33.25 | 68.6
17012 | 2022-05-19 16:15 | 60.3394 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 258.3563 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.214 | 173451.0178 | 302238.2143 | 33.25 | 68.6
17022 | 2022-05-19 16:15 | 60.673 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 258.3351 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.215 | 173469.1583 | 302249.3847 | 33.25 | 68.6
17032 | 2022-05-19 16:16 | 61.0061 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 258.2078 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.221 | 173519.546 | 302240.5255 | 33.25 | 68.6
17042 | 2022-05-19 16:16 | 61.3396 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 258.2656 | μmol/L | 18.3721 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.223 | 173536.6255 | 302257.9748 | 33.25 | 68.6
17052 | 2022-05-19 16:16 | 61.6732 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 258.1307 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.227 | 173587.7404 | 302260.0507 | 33.25 | 68.6
17062 | 2022-05-19 16:17 | 62.0058 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 257.89 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.236 | 173650.5636 | 302248.4952 | 33.25 | 68.6
17072 | 2022-05-19 16:17 | 62.3395 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 257.7283 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.246 | 173737.1501 | 302237.4118 | 33.25 | 68.6
17082 | 2022-05-19 16:17 | 62.6728 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 257.5649 | μmol/L | 18.3904 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.249 | 173753.2644 | 302252.0813 | 33.25 | 68.6
17092 | 2022-05-19 16:18 | 63.0063 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 257.6014 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.252 | 173748.2946 | 302255.0295 | 33.25 | 68.6
17102 | 2022-05-19 16:18 | 63.3397 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 257.5802 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.253 | 173763.2368 | 302246.0707 | 33.25 | 68.6
17112 | 2022-05-19 16:18 | 63.673 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 257.4246 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.258 | 173787.1451 | 302240.6461 | 33.25 | 68.6
17122 | 2022-05-19 16:19 | 64.0059 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 257.3401 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.262 | 173832.0501 | 302242.5386 | 33.25 | 68.6
17132 | 2022-05-19 16:19 | 64.3393 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 257.4745 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.258 | 173819.4171 | 302242.6438 | 33.25 | 68.6
17142 | 2022-05-19 16:19 | 64.6728 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 257.3478 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.264 | 173843.4209 | 302245.3872 | 33.25 | 68.6
17152 | 2022-05-19 16:20 | 65.0063 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 257.2633 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.268 | 173867.7762 | 302241.4614 | 33.25 | 68.6
17162 | 2022-05-19 16:20 | 65.3397 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 257.1865 | μmol/L | 18.3721 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.274 | 173937.7556 | 302230.9782 | 33.25 | 68.6
17172 | 2022-05-19 16:20 | 65.6724 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 256.989 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.281 | 173974.0125 | 302230.1386 | 33.25 | 68.6
17182 | 2022-05-19 16:21 | 66.0057 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 256.9679 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.282 | 173972.1844 | 302233.7146 | 33.25 | 68.6
17192 | 2022-05-19 16:21 | 66.3398 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 256.8759 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.284 | 174014.7932 | 302238.9725 | 33.25 | 68.6
17202 | 2022-05-19 16:21 | 66.6731 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 256.8414 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.288 | 174036.9849 | 302240.0592 | 33.25 | 68.6
17212 | 2022-05-19 16:22 | 67.0057 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 256.7993 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.29 | 174039.049 | 302227.3883 | 33.25 | 68.6
17222 | 2022-05-19 16:22 | 67.3392 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 256.8203 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.289 | 174091.2326 | 302242.6477 | 33.25 | 68.6
17232 | 2022-05-19 16:22 | 67.6725 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 256.5676 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.301 | 174169.8159 | 302242.5803 | 33.25 | 68.6
17242 | 2022-05-19 16:23 | 68.006 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 256.3706 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.308 | 174218.8551 | 302224.3377 | 33.25 | 68.6
17252 | 2022-05-19 16:23 | 68.3394 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 256.2942 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.314 | 174259.5219 | 302235.6262 | 33.25 | 68.6
17262 | 2022-05-19 16:23 | 68.6729 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 256.1471 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.321 | 174367.5966 | 302237.047 | 33.25 | 68.6
17272 | 2022-05-19 16:24 | 69.0063 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 255.9372 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.331 | 174404.3361 | 302241.9957 | 33.25 | 68.6
17282 | 2022-05-19 16:24 | 69.3396 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 255.8323 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.336 | 174449.7022 | 302234.7466 | 33.25 | 68.6
17292 | 2022-05-19 16:24 | 69.6731 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 255.476 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.353 | 174615.251 | 302224.3418 | 33.25 | 68.6
17302 | 2022-05-19 16:25 | 70.0063 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 255.3009 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.359 | 174636.4196 | 302223.7347 | 33.25 | 68.6
17312 | 2022-05-19 16:25 | 70.3397 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 255.2877 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.362 | 174656.3227 | 302226.5889 | 33.25 | 68.6
17322 | 2022-05-19 16:25 | 70.6732 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 255.1754 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.365 | 174677.6484 | 302215.6187 | 33.25 | 68.6
17332 | 2022-05-19 16:26 | 71.0057 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 255.1336 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.367 | 174664.3771 | 302206.5101 | 33.25 | 68.6
17342 | 2022-05-19 16:26 | 71.3394 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 255.1831 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.367 | 174662.2458 | 302205.4761 | 33.25 | 68.6
17352 | 2022-05-19 16:26 | 71.673 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 255.204 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.366 | 174664.5134 | 302209.2986 | 33.25 | 68.6
17362 | 2022-05-19 16:27 | 72.0064 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 255.1336 | μmol/L | 18.3843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.367 | 174662.4252 | 302201.6475 | 33.25 | 68.6
17372 | 2022-05-19 16:27 | 72.3391 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 255.0577 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.373 | 175214.622 | 302215.5047 | 33.25 | 68.6
17382 | 2022-05-19 16:27 | 72.6726 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 254.8488 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.383 | 175286.886 | 302214.6445 | 33.25 | 68.6
17392 | 2022-05-19 16:28 | 73.0064 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 254.807 | μmol/L | 18.3782 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 24.385 | 175325.0052 | 302214.6364 | 33.25 | 68.6