## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_9 | O2 | 143006660 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 10:00

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 15:01

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
13576 | 2022-05-19 13:54 | 0 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.2164 | μmol/L | 18.6563 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.487 | 97700.0739 | 268069.16 | 26.25 | 74
13586 | 2022-05-19 13:54 | 0.32847 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 280.044 | μmol/L | 18.6624 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.492 | 97643.671 | 268049.0164 | 26.25 | 74
13596 | 2022-05-19 13:54 | 0.66171 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.8768 | μmol/L | 18.6624 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.499 | 97575.676 | 268053.0147 | 26.25 | 74
13606 | 2022-05-19 13:55 | 0.99488 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.7286 | μmol/L | 18.6685 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.503 | 97510.5852 | 268038.7778 | 26.25 | 74
13616 | 2022-05-19 13:55 | 1.328 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.6144 | μmol/L | 18.6624 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.51 | 97441.608 | 268025.0504 | 26.25 | 74
13626 | 2022-05-19 13:55 | 1.662 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.5718 | μmol/L | 18.6563 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.514 | 97369.361 | 268010.3478 | 26.25 | 74
13636 | 2022-05-19 13:56 | 1.9953 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 279.4952 | μmol/L | 18.6624 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.515 | 97309.2182 | 268015.3771 | 26.25 | 74
13646 | 2022-05-19 13:56 | 2.3284 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 278.8816 | μmol/L | 18.6563 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.543 | 97336.8 | 268003.3292 | 26.25 | 74
13656 | 2022-05-19 13:56 | 2.6616 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 277.0121 | μmol/L | 18.6563 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.622 | 97631.4197 | 267992.8263 | 26.25 | 74
13666 | 2022-05-19 13:57 | 2.9954 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.8801 | μmol/L | 18.6563 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.799 | 98445.6277 | 267982.5076 | 26.25 | 74
13676 | 2022-05-19 13:57 | 3.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.6774 | μmol/L | 18.6502 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.81 | 98493.1034 | 267973.8452 | 26.25 | 74
13686 | 2022-05-19 13:57 | 3.6617 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.649 | μmol/L | 18.6563 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.809 | 98480.4448 | 267968.9424 | 26.25 | 74
13696 | 2022-05-19 13:58 | 3.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.857 | μmol/L | 18.6563 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.8 | 98416.4132 | 267953.3552 | 26.25 | 74
13706 | 2022-05-19 13:58 | 4.3286 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.7301 | μmol/L | 18.638 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.769 | 98203.9567 | 267949.3305 | 26.25 | 74
13716 | 2022-05-19 13:58 | 4.6618 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.1123 | μmol/L | 18.6258 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.757 | 98094.1535 | 267926.9318 | 26.25 | 74
13726 | 2022-05-19 13:59 | 4.9951 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.2752 | μmol/L | 18.6258 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.75 | 98038.5346 | 267922.7757 | 26.25 | 74
13736 | 2022-05-19 13:59 | 5.3283 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.6117 | μmol/L | 18.6137 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.74 | 97923.4445 | 267919.6398 | 26.25 | 74
13746 | 2022-05-19 13:59 | 5.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.5471 | μmol/L | 18.6076 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.745 | 97920.9333 | 267913.1513 | 26.25 | 74
13756 | 2022-05-19 14:00 | 5.9952 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.4772 | μmol/L | 18.6076 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.748 | 97912.6585 | 267896.8714 | 26.25 | 74
13766 | 2022-05-19 14:00 | 6.3284 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.3143 | μmol/L | 18.6076 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.755 | 97944.2091 | 267904.1124 | 26.25 | 74
13776 | 2022-05-19 14:00 | 6.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.2678 | μmol/L | 18.6076 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.757 | 97969.9814 | 267898.5784 | 26.25 | 74
13786 | 2022-05-19 14:01 | 6.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.2212 | μmol/L | 18.6076 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.759 | 97960.7506 | 267888.5446 | 26.25 | 74
13796 | 2022-05-19 14:01 | 7.3287 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.2678 | μmol/L | 18.6076 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.757 | 97966.6024 | 267872.9601 | 26.25 | 74
13806 | 2022-05-19 14:01 | 7.6619 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.2445 | μmol/L | 18.6076 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.758 | 97941.9469 | 267871.7253 | 26.25 | 74
13816 | 2022-05-19 14:02 | 7.9951 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.2086 | μmol/L | 18.5954 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.764 | 97957.8002 | 267860.9331 | 26.25 | 74
13826 | 2022-05-19 14:02 | 8.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.9994 | μmol/L | 18.5954 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.773 | 97973.2128 | 267857.2882 | 26.25 | 74
13836 | 2022-05-19 14:02 | 8.6616 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.7672 | μmol/L | 18.5954 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.783 | 97984.4235 | 267836.0094 | 26.25 | 74
13846 | 2022-05-19 14:03 | 8.9948 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.9297 | μmol/L | 18.5954 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.776 | 97969.697 | 267829.7364 | 26.25 | 74
13856 | 2022-05-19 14:03 | 9.328 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.8368 | μmol/L | 18.5954 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.78 | 97952.5672 | 267826.735 | 26.25 | 74
13866 | 2022-05-19 14:03 | 9.662 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.2837 | μmol/L | 18.5893 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.763 | 97863.4343 | 267812.8548 | 26.25 | 74
13876 | 2022-05-19 14:04 | 9.9953 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.7834 | μmol/L | 18.5771 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.746 | 97760.4287 | 267799.1101 | 26.25 | 74
13886 | 2022-05-19 14:04 | 10.3286 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.1387 | μmol/L | 18.571 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.733 | 97657.2382 | 267794.0509 | 26.25 | 74
13896 | 2022-05-19 14:04 | 10.6618 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.586 | μmol/L | 18.5406 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.725 | 97598.3486 | 267785.9475 | 26.25 | 74
13906 | 2022-05-19 14:05 | 10.995 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.4457 | μmol/L | 18.5406 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.731 | 97624.5395 | 267781.778 | 26.25 | 74
13916 | 2022-05-19 14:05 | 11.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 275.1348 | μmol/L | 18.5223 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.751 | 97676.5563 | 267764.7917 | 26.25 | 74
13926 | 2022-05-19 14:05 | 11.662 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.8675 | μmol/L | 18.5345 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.758 | 97734.6278 | 267759.1388 | 26.25 | 74
13936 | 2022-05-19 14:06 | 11.9953 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.7276 | μmol/L | 18.5345 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.764 | 97757.7404 | 267749.2135 | 26.25 | 74
13946 | 2022-05-19 14:06 | 12.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.681 | μmol/L | 18.5345 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.766 | 97779.8609 | 267731.8171 | 26.25 | 74
13956 | 2022-05-19 14:06 | 12.6619 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.5879 | μmol/L | 18.5345 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.77 | 97794.3057 | 267724.6674 | 26.25 | 74
13966 | 2022-05-19 14:07 | 12.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.4303 | μmol/L | 18.5284 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.779 | 97826.3547 | 267725.8096 | 26.25 | 74
13976 | 2022-05-19 14:07 | 13.3287 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.5396 | μmol/L | 18.5101 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.781 | 97844.7853 | 267720.8451 | 26.25 | 74
13986 | 2022-05-19 14:07 | 13.6618 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.3767 | μmol/L | 18.5101 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.788 | 97853.4404 | 267711.2632 | 26.25 | 74
13996 | 2022-05-19 14:08 | 13.995 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.4341 | μmol/L | 18.4979 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.79 | 97850.3885 | 267715.5383 | 26.25 | 74
14006 | 2022-05-19 14:08 | 14.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.4163 | μmol/L | 18.4918 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.793 | 97831.025 | 267700.0271 | 26.25 | 74
14016 | 2022-05-19 14:08 | 14.6617 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.3356 | μmol/L | 18.504 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.792 | 97801.0136 | 267685.1408 | 26.25 | 74
14026 | 2022-05-19 14:09 | 14.9951 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.3178 | μmol/L | 18.4979 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.795 | 97813.7735 | 267688.2244 | 26.25 | 74
14036 | 2022-05-19 14:09 | 15.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.1962 | μmol/L | 18.504 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.798 | 97832.113 | 267669.9555 | 26.25 | 74
14046 | 2022-05-19 14:09 | 15.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.1784 | μmol/L | 18.4979 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.801 | 97845.2863 | 267657.521 | 26.25 | 74
14056 | 2022-05-19 14:10 | 15.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.1373 | μmol/L | 18.4918 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.805 | 97866.0029 | 267662.766 | 26.25 | 74
14066 | 2022-05-19 14:10 | 16.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 274.0034 | μmol/L | 18.4857 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.813 | 97887.8971 | 267653.9142 | 26.25 | 74
14076 | 2022-05-19 14:10 | 16.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.9393 | μmol/L | 18.4796 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.818 | 97916.0117 | 267626.6215 | 26.25 | 74
14086 | 2022-05-19 14:11 | 16.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.9393 | μmol/L | 18.4796 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.818 | 97915.6871 | 267641.6778 | 26.25 | 74
14096 | 2022-05-19 14:11 | 17.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.8465 | μmol/L | 18.4796 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.822 | 97347.5771 | 267626.6303 | 26.25 | 74
14106 | 2022-05-19 14:11 | 17.6616 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.7251 | μmol/L | 18.4857 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.825 | 97263.1675 | 267635.611 | 26.25 | 74
14116 | 2022-05-19 14:12 | 17.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.6951 | μmol/L | 18.4675 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.833 | 97251.8458 | 267621.8994 | 26.25 | 74
14126 | 2022-05-19 14:12 | 18.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.6256 | μmol/L | 18.4675 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.836 | 97261.112 | 267606.2341 | 26.25 | 74
14136 | 2022-05-19 14:12 | 18.6617 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.6024 | μmol/L | 18.4675 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.837 | 97269.6604 | 267594.026 | 26.25 | 74
14146 | 2022-05-19 14:13 | 18.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.4811 | μmol/L | 18.4736 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.84 | 97266.8628 | 267605.8347 | 26.25 | 74
14156 | 2022-05-19 14:13 | 19.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.2728 | μmol/L | 18.4736 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.849 | 97297.8819 | 267595.9189 | 26.25 | 74
14166 | 2022-05-19 14:13 | 19.6619 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.4171 | μmol/L | 18.4675 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.845 | 97307.1278 | 267589.6727 | 26.25 | 74
14176 | 2022-05-19 14:14 | 19.9953 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.1913 | μmol/L | 18.4614 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.857 | 97311.6944 | 267576.5556 | 26.25 | 74
14186 | 2022-05-19 14:14 | 20.3281 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.243 | μmol/L | 18.4553 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.857 | 97321.0542 | 267576.6681 | 26.25 | 74
14196 | 2022-05-19 14:14 | 20.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.3124 | μmol/L | 18.4553 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.854 | 97307.3882 | 267563.1534 | 26.25 | 74
14206 | 2022-05-19 14:15 | 20.9951 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.2485 | μmol/L | 18.4492 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.859 | 97319.8596 | 267554.2804 | 26.25 | 74
14216 | 2022-05-19 14:15 | 21.3286 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.3642 | μmol/L | 18.4492 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.854 | 97320.5164 | 267547.6833 | 26.25 | 74
14226 | 2022-05-19 14:15 | 21.6619 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.0636 | μmol/L | 18.4492 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.867 | 97336.319 | 267532.9136 | 26.25 | 74
14236 | 2022-05-19 14:16 | 21.9953 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.1153 | μmol/L | 18.4431 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.867 | 97383.1402 | 267532.317 | 26.25 | 74
14246 | 2022-05-19 14:16 | 22.3286 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 273.1781 | μmol/L | 18.4248 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.871 | 97391.7386 | 267529.6428 | 26.25 | 74
14256 | 2022-05-19 14:16 | 22.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.9591 | μmol/L | 18.437 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.876 | 97419.2802 | 267531.3892 | 26.25 | 74
14266 | 2022-05-19 14:17 | 22.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.792 | μmol/L | 18.4431 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.881 | 97454.3013 | 267520.1074 | 26.25 | 74
14276 | 2022-05-19 14:17 | 23.3287 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.5668 | μmol/L | 18.437 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.893 | 97455.7351 | 267520.7161 | 26.25 | 74
14286 | 2022-05-19 14:17 | 23.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.5954 | μmol/L | 18.4309 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.894 | 97478.9688 | 267503.8636 | 26.25 | 74
14296 | 2022-05-19 14:18 | 23.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.5143 | μmol/L | 18.4187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.902 | 97504.5272 | 267505.1168 | 26.25 | 74
14306 | 2022-05-19 14:18 | 24.328 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.2959 | μmol/L | 18.4309 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.907 | 97525.0678 | 267490.4746 | 26.25 | 74
14316 | 2022-05-19 14:18 | 24.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.261 | μmol/L | 18.4187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.913 | 97554.663 | 267494.2991 | 26.25 | 74
14326 | 2022-05-19 14:19 | 24.9951 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.0539 | μmol/L | 18.4187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.922 | 97599.999 | 267487.7087 | 26.25 | 74
14336 | 2022-05-19 14:19 | 25.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.0539 | μmol/L | 18.4187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.922 | 97629.793 | 267475.1227 | 26.25 | 74
14346 | 2022-05-19 14:19 | 25.6617 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 272.0135 | μmol/L | 18.4126 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.926 | 97645.6982 | 267464.2266 | 26.25 | 74
14356 | 2022-05-19 14:20 | 25.995 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.893 | μmol/L | 18.4187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.929 | 97675.86 | 267464.4615 | 26.25 | 74
14366 | 2022-05-19 14:20 | 26.3283 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.7322 | μmol/L | 18.4187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.936 | 97696.2799 | 267450.0742 | 26.25 | 74
14376 | 2022-05-19 14:20 | 26.6616 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.9098 | μmol/L | 18.4005 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.935 | 97704.7727 | 267448.1699 | 26.25 | 74
14386 | 2022-05-19 14:21 | 26.995 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.4854 | μmol/L | 18.4126 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.949 | 97713.5889 | 267434.4745 | 26.25 | 74
14396 | 2022-05-19 14:21 | 27.3286 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.7204 | μmol/L | 18.4066 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.941 | 97748.5773 | 267421.9269 | 26.25 | 74
14406 | 2022-05-19 14:21 | 27.6619 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.5827 | μmol/L | 18.4066 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.947 | 97775.3565 | 267430.1401 | 26.25 | 74
14416 | 2022-05-19 14:22 | 27.9946 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.491 | μmol/L | 18.4066 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.951 | 97811.2689 | 267412.1333 | 26.25 | 74
14426 | 2022-05-19 14:22 | 28.328 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.3992 | μmol/L | 18.4066 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.955 | 97858.41 | 267410.7929 | 26.25 | 74
14436 | 2022-05-19 14:22 | 28.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.4161 | μmol/L | 18.3883 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.961 | 97891.2113 | 267403.0929 | 26.25 | 74
14446 | 2022-05-19 14:23 | 28.9948 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.1355 | μmol/L | 18.3944 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.971 | 97930.8094 | 267395.1226 | 26.25 | 74
14456 | 2022-05-19 14:23 | 29.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 271.0267 | μmol/L | 18.3883 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.978 | 97986.3724 | 267397.2262 | 26.25 | 74
14466 | 2022-05-19 14:23 | 29.6616 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.8838 | μmol/L | 18.3944 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.982 | 98020.7865 | 267368.7614 | 26.25 | 74
14476 | 2022-05-19 14:24 | 29.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.7924 | μmol/L | 18.3944 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.986 | 98050.5823 | 267372.809 | 26.25 | 74
14486 | 2022-05-19 14:24 | 30.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.7066 | μmol/L | 18.3883 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.992 | 98100.7301 | 267362.7947 | 26.25 | 74
14496 | 2022-05-19 14:24 | 30.6616 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.5239 | μmol/L | 18.3883 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23 | 98151.8169 | 267359.4632 | 26.25 | 74
14506 | 2022-05-19 14:25 | 30.9953 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.461 | μmol/L | 18.3822 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.005 | 98178.9446 | 267345.6498 | 26.25 | 74
14516 | 2022-05-19 14:25 | 31.3286 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.2785 | μmol/L | 18.3822 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.013 | 98204.3189 | 267340.2416 | 26.25 | 74
14526 | 2022-05-19 14:25 | 31.6621 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.4439 | μmol/L | 18.3761 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.008 | 98210.9823 | 267350.1722 | 26.25 | 74
14536 | 2022-05-19 14:26 | 31.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.3013 | μmol/L | 18.3822 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.012 | 98225.7306 | 267332.1601 | 26.25 | 74
14546 | 2022-05-19 14:26 | 32.3287 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.3982 | μmol/L | 18.3761 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.01 | 98256.5098 | 267328.643 | 26.25 | 74
14556 | 2022-05-19 14:26 | 32.6619 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.3126 | μmol/L | 18.37 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.016 | 98282.4222 | 267314.6948 | 26.25 | 74
14566 | 2022-05-19 14:27 | 32.9951 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.3982 | μmol/L | 18.3761 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.01 | 98288.9541 | 267305.8355 | 26.25 | 74
14576 | 2022-05-19 14:27 | 33.3286 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.2614 | μmol/L | 18.3761 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.016 | 98301.5901 | 267304.4803 | 26.25 | 74
14586 | 2022-05-19 14:27 | 33.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.307 | μmol/L | 18.3761 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.014 | 98301.3953 | 267306.3586 | 26.25 | 74
14596 | 2022-05-19 14:28 | 33.9954 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.2727 | μmol/L | 18.3639 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.02 | 98318.2528 | 267288.2307 | 26.25 | 74
14606 | 2022-05-19 14:28 | 34.3287 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.1759 | μmol/L | 18.37 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.022 | 98352.0752 | 267281.987 | 26.25 | 74
14616 | 2022-05-19 14:28 | 34.662 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.0221 | μmol/L | 18.3639 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.031 | 98375.8685 | 267278.1761 | 26.25 | 74
14626 | 2022-05-19 14:29 | 34.9953 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 270.0164 | μmol/L | 18.37 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.029 | 98410.1281 | 267280.7839 | 26.25 | 74
14636 | 2022-05-19 14:29 | 35.3286 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.8514 | μmol/L | 18.3761 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.034 | 98447.7345 | 267265.2744 | 26.25 | 74
14646 | 2022-05-19 14:29 | 35.662 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.6807 | μmol/L | 18.3639 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.046 | 98528.5134 | 267258.9644 | 26.25 | 74
14656 | 2022-05-19 14:30 | 35.9953 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.4989 | μmol/L | 18.3639 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.054 | 98580.0891 | 267255.846 | 26.25 | 74
14666 | 2022-05-19 14:30 | 36.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.4819 | μmol/L | 18.3578 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.057 | 98617.2273 | 267245.5413 | 26.25 | 74
14676 | 2022-05-19 14:30 | 36.6618 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.3854 | μmol/L | 18.3639 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.059 | 98647.4424 | 267244.2272 | 26.25 | 74
14686 | 2022-05-19 14:31 | 36.9954 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.3172 | μmol/L | 18.3639 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.062 | 98677.9718 | 267237.4342 | 26.25 | 74
14696 | 2022-05-19 14:31 | 37.3287 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.1357 | μmol/L | 18.3639 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.07 | 98710.6838 | 267223.1338 | 26.25 | 74
14706 | 2022-05-19 14:31 | 37.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.1131 | μmol/L | 18.3639 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.071 | 98745.4879 | 267237.0467 | 26.25 | 74
14716 | 2022-05-19 14:32 | 37.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.0338 | μmol/L | 18.3517 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.079 | 98780.3913 | 267224.7217 | 26.25 | 74
14726 | 2022-05-19 14:32 | 38.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 269.0848 | μmol/L | 18.3456 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.079 | 98816.7932 | 267197.9918 | 26.25 | 74
14736 | 2022-05-19 14:32 | 38.6617 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.8921 | μmol/L | 18.3578 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.083 | 98847.146 | 267214.8507 | 26.25 | 74
14746 | 2022-05-19 14:33 | 38.9951 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.8299 | μmol/L | 18.3517 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.088 | 98850.4209 | 267189.0385 | 26.25 | 74
14756 | 2022-05-19 14:33 | 39.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.7507 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.096 | 98904.2355 | 267204.6191 | 26.25 | 74
14766 | 2022-05-19 14:33 | 39.6617 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.4961 | μmol/L | 18.3456 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.105 | 98952.4767 | 267188.8136 | 26.25 | 74
14776 | 2022-05-19 14:34 | 39.9951 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.3153 | μmol/L | 18.3456 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.113 | 99004.876 | 267177.9819 | 26.25 | 74
14786 | 2022-05-19 14:34 | 40.3286 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.225 | μmol/L | 18.3456 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.117 | 99032.6866 | 267179.1139 | 26.25 | 74
14796 | 2022-05-19 14:34 | 40.662 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.0727 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.126 | 99070.4167 | 267157.8682 | 26.25 | 74
14806 | 2022-05-19 14:35 | 40.9954 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.1687 | μmol/L | 18.3335 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.124 | 99098.2168 | 267164.7359 | 26.25 | 74
14816 | 2022-05-19 14:35 | 41.3288 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 268.0785 | μmol/L | 18.3335 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.128 | 99119.2615 | 267166.7816 | 26.25 | 74
14826 | 2022-05-19 14:35 | 41.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.8923 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.134 | 99163.5972 | 267157.1648 | 26.25 | 74
14836 | 2022-05-19 14:36 | 41.9954 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.6895 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.143 | 99186.7214 | 267153.3164 | 26.25 | 74
14846 | 2022-05-19 14:36 | 42.3283 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.4868 | μmol/L | 18.3395 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.152 | 99217.6583 | 267149.9247 | 26.25 | 74
14856 | 2022-05-19 14:36 | 42.6618 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.5376 | μmol/L | 18.3335 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.152 | 99231.572 | 267126.9043 | 26.25 | 74
14866 | 2022-05-19 14:37 | 42.9953 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.6334 | μmol/L | 18.3274 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.15 | 99239.7858 | 267143.217 | 26.25 | 74
14876 | 2022-05-19 14:37 | 43.328 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.3801 | μmol/L | 18.3335 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.159 | 99247.0189 | 267126.954 | 26.25 | 74
14886 | 2022-05-19 14:37 | 43.6615 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 267.2959 | μmol/L | 18.3274 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.165 | 99283.4978 | 267117.5147 | 26.25 | 74
14896 | 2022-05-19 14:38 | 43.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.7064 | μmol/L | 18.3335 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.189 | 99399.7163 | 267125.4017 | 26.25 | 74
14906 | 2022-05-19 14:38 | 44.3283 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.5553 | μmol/L | 18.3274 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.198 | 99437.4236 | 267128.6767 | 26.25 | 74
14916 | 2022-05-19 14:38 | 44.6616 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.6731 | μmol/L | 18.3213 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.195 | 99453.0673 | 267114.3686 | 26.25 | 74
14926 | 2022-05-19 14:39 | 44.9951 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.6898 | μmol/L | 18.3274 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.192 | 99460.5468 | 267111.3738 | 26.25 | 74
14936 | 2022-05-19 14:39 | 45.3286 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.7122 | μmol/L | 18.3274 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.191 | 99447.731 | 267108.7908 | 26.25 | 74
14946 | 2022-05-19 14:39 | 45.6614 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.718 | μmol/L | 18.3213 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.193 | 99433.8493 | 267099.1211 | 26.25 | 74
14956 | 2022-05-19 14:40 | 45.9951 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.8243 | μmol/L | 18.3274 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.186 | 99422.6677 | 267105.4171 | 26.25 | 74
14966 | 2022-05-19 14:40 | 46.3288 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.8974 | μmol/L | 18.3213 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.185 | 99412.1722 | 267110.2704 | 26.25 | 74
14976 | 2022-05-19 14:40 | 46.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.8243 | μmol/L | 18.3274 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.186 | 99405.2952 | 267081.8877 | 26.25 | 74
14986 | 2022-05-19 14:41 | 46.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.7628 | μmol/L | 18.3213 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.191 | 99431.8571 | 267086.0148 | 26.25 | 74
14996 | 2022-05-19 14:41 | 47.3289 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.6731 | μmol/L | 18.3213 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.195 | 99459.4489 | 267071.0808 | 26.25 | 74
15006 | 2022-05-19 14:41 | 47.6616 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.3761 | μmol/L | 18.3274 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.206 | 99509.065 | 267074.6526 | 26.25 | 74
15016 | 2022-05-19 14:42 | 47.9955 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.3371 | μmol/L | 18.3213 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.21 | 99561.3394 | 267069.2807 | 26.25 | 74
15026 | 2022-05-19 14:42 | 48.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.1582 | μmol/L | 18.3213 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.218 | 99576.7705 | 267060.1435 | 26.25 | 74
15036 | 2022-05-19 14:42 | 48.6618 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.1863 | μmol/L | 18.3152 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.219 | 99586.6854 | 267061.489 | 26.25 | 74
15046 | 2022-05-19 14:43 | 48.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.0522 | μmol/L | 18.3152 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.225 | 99607.9053 | 267069.2488 | 26.25 | 74
15056 | 2022-05-19 14:43 | 49.3284 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 266.0745 | μmol/L | 18.3152 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.224 | 99630.354 | 267065.3261 | 26.25 | 74
15066 | 2022-05-19 14:43 | 49.662 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.8511 | μmol/L | 18.3152 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.234 | 99663.0574 | 267039.2441 | 26.25 | 74
15076 | 2022-05-19 14:44 | 49.9956 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.79 | μmol/L | 18.3091 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.239 | 99698.7065 | 267040.6695 | 26.25 | 74
15086 | 2022-05-19 14:44 | 50.3282 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.6115 | μmol/L | 18.3091 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.247 | 99711.4763 | 267040.533 | 26.25 | 74
15096 | 2022-05-19 14:44 | 50.6621 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.6056 | μmol/L | 18.3152 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.245 | 99727.4578 | 267042.6194 | 26.25 | 74
15106 | 2022-05-19 14:45 | 50.9947 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.6115 | μmol/L | 18.3091 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.247 | 99749.1232 | 267037.2593 | 26.25 | 74
15116 | 2022-05-19 14:45 | 51.3286 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.4777 | μmol/L | 18.3091 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.253 | 99752.6801 | 267046.734 | 26.25 | 74
15126 | 2022-05-19 14:45 | 51.6621 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.4108 | μmol/L | 18.3091 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.256 | 99778.6228 | 267028.2107 | 26.25 | 74
15136 | 2022-05-19 14:46 | 51.9949 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.344 | μmol/L | 18.3091 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.259 | 99772.1604 | 267028.4521 | 26.25 | 74
15146 | 2022-05-19 14:46 | 52.3285 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.2994 | μmol/L | 18.3091 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.261 | 99790.5334 | 267017.5288 | 26.25 | 74
15156 | 2022-05-19 14:46 | 52.662 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.3604 | μmol/L | 18.3152 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.256 | 99771.8422 | 267021.0538 | 26.25 | 74
15166 | 2022-05-19 14:47 | 52.9946 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.1881 | μmol/L | 18.3091 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.266 | 99798.752 | 267019.8713 | 26.25 | 74
15176 | 2022-05-19 14:47 | 53.328 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.1881 | μmol/L | 18.3091 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.266 | 99815.2712 | 267016.4566 | 26.25 | 74
15186 | 2022-05-19 14:47 | 53.6613 | oxy_ch_9 (PSt7-10) | 2022-05-17 10:00 | default | 265.2104 | μmol/L | 18.3091 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.265 | 99819.6916 | 267022.843 | 26.25 | 74