## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_6 | O2 | 630958479 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:55

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 16:30

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
15200 | 2022-05-19 15:15 | 0 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.9538 | μmol/L | 18.4388 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.827 | 88184.0635 | 294504.9059 | 30.45 | 114.2
15210 | 2022-05-19 15:15 | 0.33145 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.6317 | μmol/L | 18.4388 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.841 | 88223.5373 | 294520.6711 | 30.45 | 114.2
15220 | 2022-05-19 15:15 | 0.66467 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.4023 | μmol/L | 18.445 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.849 | 88265.9719 | 294523.2048 | 30.45 | 114.2
15230 | 2022-05-19 15:16 | 0.99814 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.2131 | μmol/L | 18.445 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.857 | 88281.1476 | 294513.8952 | 30.45 | 114.2
15240 | 2022-05-19 15:16 | 1.3315 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 268.1265 | μmol/L | 18.4388 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.863 | 88310.32 | 294530.4116 | 30.45 | 114.2
15250 | 2022-05-19 15:16 | 1.6648 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.943 | μmol/L | 18.4388 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.871 | 88334.2306 | 294509.6376 | 30.45 | 114.2
15260 | 2022-05-19 15:17 | 1.9981 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.7369 | μmol/L | 18.4388 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.88 | 88356.3451 | 294500.3804 | 30.45 | 114.2
15270 | 2022-05-19 15:17 | 2.3315 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.5538 | μmol/L | 18.4388 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.888 | 88388.1949 | 294500.4202 | 30.45 | 114.2
15280 | 2022-05-19 15:17 | 2.6649 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.4394 | μmol/L | 18.4388 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.893 | 88412.99 | 294489.5098 | 30.45 | 114.2
15290 | 2022-05-19 15:18 | 2.9984 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.3988 | μmol/L | 18.4327 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.897 | 88424.6787 | 294482.2753 | 30.45 | 114.2
15300 | 2022-05-19 15:18 | 3.3311 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.1475 | μmol/L | 18.4327 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.908 | 88443.8845 | 294472.6326 | 30.45 | 114.2
15310 | 2022-05-19 15:18 | 3.6645 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.244 | μmol/L | 18.4265 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.906 | 88454.8066 | 294474.7116 | 30.45 | 114.2
15320 | 2022-05-19 15:19 | 3.998 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 267.0161 | μmol/L | 18.4327 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.914 | 88474.8851 | 294465.338 | 30.45 | 114.2
15330 | 2022-05-19 15:19 | 4.3313 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.9193 | μmol/L | 18.4327 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.918 | 88480.9627 | 294465.9826 | 30.45 | 114.2
15340 | 2022-05-19 15:19 | 4.6651 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.788 | μmol/L | 18.4327 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.924 | 88496.9074 | 294462.2222 | 30.45 | 114.2
15350 | 2022-05-19 15:20 | 4.998 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.7193 | μmol/L | 18.4265 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.929 | 88512.9126 | 294455.6596 | 30.45 | 114.2
15360 | 2022-05-19 15:20 | 5.3315 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.702 | μmol/L | 18.4265 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.93 | 88524.3037 | 294454.7254 | 30.45 | 114.2
15370 | 2022-05-19 15:20 | 5.665 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.6281 | μmol/L | 18.4265 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.933 | 88546.3254 | 294464.5641 | 30.45 | 114.2
15380 | 2022-05-19 15:21 | 5.9979 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.537 | μmol/L | 18.4265 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.937 | 88555.5013 | 294449.7946 | 30.45 | 114.2
15390 | 2022-05-19 15:21 | 6.3313 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.525 | μmol/L | 18.4204 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.94 | 88566.6229 | 294447.3945 | 30.45 | 114.2
15400 | 2022-05-19 15:21 | 6.6646 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.4284 | μmol/L | 18.4204 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.944 | 88580.3534 | 294438.2099 | 30.45 | 114.2
15410 | 2022-05-19 15:22 | 6.9987 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.2919 | μmol/L | 18.4204 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.95 | 88588.0759 | 294435.6346 | 30.45 | 114.2
15420 | 2022-05-19 15:22 | 7.3313 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.2691 | μmol/L | 18.4204 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.951 | 88605.8739 | 294443.2531 | 30.45 | 114.2
15430 | 2022-05-19 15:22 | 7.665 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.2519 | μmol/L | 18.4204 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.952 | 88607.1376 | 294440.5535 | 30.45 | 114.2
15440 | 2022-05-19 15:23 | 7.9986 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.2344 | μmol/L | 18.4143 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.955 | 88612.7723 | 294422.3153 | 30.45 | 114.2
15450 | 2022-05-19 15:23 | 8.3313 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.0925 | μmol/L | 18.4143 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.961 | 88616.0045 | 294429.1691 | 30.45 | 114.2
15460 | 2022-05-19 15:23 | 8.6646 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.1032 | μmol/L | 18.4081 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.963 | 88626.4899 | 294427.0709 | 30.45 | 114.2
15470 | 2022-05-19 15:24 | 8.9983 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.9617 | μmol/L | 18.4143 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.967 | 88626.2469 | 294417.0833 | 30.45 | 114.2
15480 | 2022-05-19 15:24 | 9.3313 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 266.075 | μmol/L | 18.4081 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.964 | 88636.3701 | 294426.5157 | 30.45 | 114.2
15490 | 2022-05-19 15:24 | 9.6646 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.9108 | μmol/L | 18.4143 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.969 | 88640.6277 | 294391.1478 | 30.45 | 114.2
15500 | 2022-05-19 15:25 | 9.9978 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.8988 | μmol/L | 18.4081 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.972 | 88652.2732 | 294416.0399 | 30.45 | 114.2
15510 | 2022-05-19 15:25 | 10.3314 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.9215 | μmol/L | 18.4081 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.971 | 88657.3443 | 294422.5369 | 30.45 | 114.2
15520 | 2022-05-19 15:25 | 10.6648 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.8531 | μmol/L | 18.402 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.976 | 88661.8485 | 294398.4782 | 30.45 | 114.2
15530 | 2022-05-19 15:26 | 10.9983 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.8531 | μmol/L | 18.402 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.976 | 88671.8144 | 294400.1162 | 30.45 | 114.2
15540 | 2022-05-19 15:26 | 11.3319 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.7626 | μmol/L | 18.4081 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.978 | 88677.989 | 294395.5613 | 30.45 | 114.2
15550 | 2022-05-19 15:26 | 11.6644 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.7451 | μmol/L | 18.402 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.981 | 88676.2888 | 294384.4953 | 30.45 | 114.2
15560 | 2022-05-19 15:27 | 11.9979 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.6263 | μmol/L | 18.402 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.986 | 88684.2464 | 294387.5989 | 30.45 | 114.2
15570 | 2022-05-19 15:27 | 12.3313 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.7449 | μmol/L | 18.3958 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.983 | 88689.3366 | 294382.3095 | 30.45 | 114.2
15580 | 2022-05-19 15:27 | 12.6646 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.6649 | μmol/L | 18.3897 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.989 | 88696.1318 | 294378.2037 | 30.45 | 114.2
15590 | 2022-05-19 15:28 | 12.998 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.6821 | μmol/L | 18.3897 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.988 | 88701.1822 | 294377.3654 | 30.45 | 114.2
15600 | 2022-05-19 15:28 | 13.3315 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.5129 | μmol/L | 18.402 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.991 | 88705.8011 | 294378.4995 | 30.45 | 114.2
15610 | 2022-05-19 15:28 | 13.665 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.5411 | μmol/L | 18.402 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.99 | 88718.0974 | 294378.0423 | 30.45 | 114.2
15620 | 2022-05-19 15:29 | 13.9977 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.6195 | μmol/L | 18.3897 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.991 | 88716.106 | 294385.9392 | 30.45 | 114.2
15630 | 2022-05-19 15:29 | 14.3311 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.5914 | μmol/L | 18.3897 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.992 | 88720.9945 | 294367.8006 | 30.45 | 114.2
15640 | 2022-05-19 15:29 | 14.6646 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.4275 | μmol/L | 18.3958 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.997 | 88724.7043 | 294368.5222 | 30.45 | 114.2
15650 | 2022-05-19 15:30 | 14.998 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.5286 | μmol/L | 18.3835 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.997 | 88732.7335 | 294350.9106 | 30.45 | 114.2
15660 | 2022-05-19 15:30 | 15.3316 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.438 | μmol/L | 18.3835 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.001 | 88731.5266 | 294357.7037 | 30.45 | 114.2
15670 | 2022-05-19 15:30 | 15.6649 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.438 | μmol/L | 18.3835 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.001 | 88736.9037 | 294355.3969 | 30.45 | 114.2
15680 | 2022-05-19 15:31 | 15.9977 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.4206 | μmol/L | 18.3774 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.004 | 88737.7943 | 294350.356 | 30.45 | 114.2
15690 | 2022-05-19 15:31 | 16.3315 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.3927 | μmol/L | 18.3835 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.003 | 88740.0894 | 294353.7188 | 30.45 | 114.2
15700 | 2022-05-19 15:31 | 16.6648 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.3927 | μmol/L | 18.3835 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.003 | 88749.0434 | 294342.8228 | 30.45 | 114.2
15710 | 2022-05-19 15:32 | 16.9985 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.4206 | μmol/L | 18.3774 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.004 | 88753.5516 | 294338.7306 | 30.45 | 114.2
15720 | 2022-05-19 15:32 | 17.3312 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.3022 | μmol/L | 18.3835 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.007 | 88755.9228 | 294340.4565 | 30.45 | 114.2
15730 | 2022-05-19 15:32 | 17.6645 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.2395 | μmol/L | 18.3774 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.012 | 88757.6481 | 294327.5671 | 30.45 | 114.2
15740 | 2022-05-19 15:33 | 17.9979 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.3527 | μmol/L | 18.3774 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.007 | 88758.3054 | 294329.9063 | 30.45 | 114.2
15750 | 2022-05-19 15:33 | 18.3314 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.2621 | μmol/L | 18.3774 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.011 | 88761.704 | 294327.0214 | 30.45 | 114.2
15760 | 2022-05-19 15:33 | 18.6649 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.3074 | μmol/L | 18.3774 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.009 | 88766.2688 | 294330.6769 | 30.45 | 114.2
15770 | 2022-05-19 15:34 | 18.9985 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.3127 | μmol/L | 18.3713 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.011 | 88771.9344 | 294319.1264 | 30.45 | 114.2
15780 | 2022-05-19 15:34 | 19.3311 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.1716 | μmol/L | 18.3774 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.015 | 88763.9777 | 294325.0163 | 30.45 | 114.2
15790 | 2022-05-19 15:34 | 19.6648 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.2169 | μmol/L | 18.3774 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.013 | 88769.3015 | 294320.9303 | 30.45 | 114.2
15800 | 2022-05-19 15:35 | 19.9979 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.1038 | μmol/L | 18.3774 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.018 | 88771.8395 | 294309.5628 | 30.45 | 114.2
15810 | 2022-05-19 15:35 | 20.3314 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.1038 | μmol/L | 18.3774 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.018 | 88777.1443 | 294294.592 | 30.45 | 114.2
15820 | 2022-05-19 15:35 | 20.6648 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.2448 | μmol/L | 18.3713 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.014 | 88777.4018 | 294295.677 | 30.45 | 114.2
15830 | 2022-05-19 15:36 | 20.9981 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.2274 | μmol/L | 18.3651 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.017 | 88781.182 | 294302.235 | 30.45 | 114.2
15840 | 2022-05-19 15:36 | 21.3315 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.2274 | μmol/L | 18.3651 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.017 | 88779.1015 | 294293.9871 | 30.45 | 114.2
15850 | 2022-05-19 15:36 | 21.6647 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.1143 | μmol/L | 18.3651 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.022 | 88780.212 | 294284.4881 | 30.45 | 114.2
15860 | 2022-05-19 15:37 | 21.9982 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.0186 | μmol/L | 18.3713 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.024 | 88782.762 | 294292.166 | 30.45 | 114.2
15870 | 2022-05-19 15:37 | 22.3318 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.0186 | μmol/L | 18.3713 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.024 | 88784.4256 | 294286.5863 | 30.45 | 114.2
15880 | 2022-05-19 15:37 | 22.6646 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.1648 | μmol/L | 18.359 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.022 | 88791.385 | 294281.5643 | 30.45 | 114.2
15890 | 2022-05-19 15:38 | 22.9981 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.0691 | μmol/L | 18.3651 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.024 | 88791.2534 | 294264.5732 | 30.45 | 114.2
15900 | 2022-05-19 15:38 | 23.3317 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.0292 | μmol/L | 18.359 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.028 | 88778.0181 | 294261.5905 | 30.45 | 114.2
15910 | 2022-05-19 15:38 | 23.6652 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.996 | μmol/L | 18.3713 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.025 | 88788.5867 | 294251.0404 | 30.45 | 114.2
15920 | 2022-05-19 15:39 | 23.9985 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.9335 | μmol/L | 18.3651 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.03 | 88787.5333 | 294251.4103 | 30.45 | 114.2
15930 | 2022-05-19 15:39 | 24.3311 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 265.0292 | μmol/L | 18.359 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.028 | 88793.2607 | 294250.7427 | 30.45 | 114.2
15940 | 2022-05-19 15:39 | 24.6646 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.9561 | μmol/L | 18.3651 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.029 | 88789.2333 | 294248.0498 | 30.45 | 114.2
15950 | 2022-05-19 15:40 | 24.9983 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.9162 | μmol/L | 18.359 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.033 | 88794.9194 | 294233.1307 | 30.45 | 114.2
15960 | 2022-05-19 15:40 | 25.3317 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.8936 | μmol/L | 18.359 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.034 | 88793.7118 | 294235.945 | 30.45 | 114.2
15970 | 2022-05-19 15:40 | 25.6652 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.9335 | μmol/L | 18.3651 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.03 | 88785.5285 | 294250.0104 | 30.45 | 114.2
15980 | 2022-05-19 15:41 | 25.9985 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.9162 | μmol/L | 18.359 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.033 | 88795.0921 | 294244.3252 | 30.45 | 114.2
15990 | 2022-05-19 15:41 | 26.3318 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.9109 | μmol/L | 18.3651 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.031 | 88794.7514 | 294237.8962 | 30.45 | 114.2
16000 | 2022-05-19 15:41 | 26.6644 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.8989 | μmol/L | 18.3528 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.036 | 88796.2521 | 294227.6346 | 30.45 | 114.2
16010 | 2022-05-19 15:42 | 26.998 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.9668 | μmol/L | 18.359 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.031 | 88795.982 | 294232.5368 | 30.45 | 114.2
16020 | 2022-05-19 15:42 | 27.3316 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.9774 | μmol/L | 18.3467 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.035 | 88785.0873 | 294244.8234 | 30.45 | 114.2
16030 | 2022-05-19 15:42 | 27.6651 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.944 | μmol/L | 18.3528 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.034 | 88785.5854 | 294230.3915 | 30.45 | 114.2
16040 | 2022-05-19 15:43 | 27.9979 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.8258 | μmol/L | 18.359 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.037 | 88780.4692 | 294216.1966 | 30.45 | 114.2
16050 | 2022-05-19 15:43 | 28.3314 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.8366 | μmol/L | 18.3528 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.039 | 88783.5501 | 294217.2711 | 30.45 | 114.2
16060 | 2022-05-19 15:43 | 28.6648 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.944 | μmol/L | 18.3528 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.034 | 88782.9866 | 294226.2624 | 30.45 | 114.2
16070 | 2022-05-19 15:44 | 28.9981 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.8763 | μmol/L | 18.3528 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.037 | 88783.4179 | 294215.377 | 30.45 | 114.2
16080 | 2022-05-19 15:44 | 29.3316 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.8311 | μmol/L | 18.3528 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.039 | 88779.1259 | 294211.9828 | 30.45 | 114.2
16090 | 2022-05-19 15:44 | 29.6651 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.9945 | μmol/L | 18.3467 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.034 | 88782.6626 | 294209.3829 | 30.45 | 114.2
16100 | 2022-05-19 15:45 | 29.9985 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.7806 | μmol/L | 18.359 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.039 | 88783.5807 | 294214.4438 | 30.45 | 114.2
16110 | 2022-05-19 15:45 | 30.3319 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.8366 | μmol/L | 18.3528 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.039 | 88782.1403 | 294212.5501 | 30.45 | 114.2
16120 | 2022-05-19 15:45 | 30.6644 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.9322 | μmol/L | 18.3467 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.037 | 88782.915 | 294212.5347 | 30.45 | 114.2
16130 | 2022-05-19 15:46 | 30.9978 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.814 | μmol/L | 18.3528 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.04 | 88784.5854 | 294204.2014 | 30.45 | 114.2
16140 | 2022-05-19 15:46 | 31.3315 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.859 | μmol/L | 18.3467 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.04 | 88782.5728 | 294210.7683 | 30.45 | 114.2
16150 | 2022-05-19 15:46 | 31.6646 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.8419 | μmol/L | 18.3467 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.041 | 88785.3514 | 294206.5281 | 30.45 | 114.2
16160 | 2022-05-19 15:47 | 31.998 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.9096 | μmol/L | 18.3467 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.038 | 88784.0027 | 294223.7547 | 30.45 | 114.2
16170 | 2022-05-19 15:47 | 32.3313 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.7687 | μmol/L | 18.3467 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.044 | 88796.7787 | 294225.233 | 30.45 | 114.2
16180 | 2022-05-19 15:47 | 32.6648 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.7859 | μmol/L | 18.3528 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.041 | 88794.4393 | 294211.5677 | 30.45 | 114.2
16190 | 2022-05-19 15:48 | 32.9983 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.8417 | μmol/L | 18.3405 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.043 | 88797.8301 | 294213.6789 | 30.45 | 114.2
16200 | 2022-05-19 15:48 | 33.3311 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.8191 | μmol/L | 18.3405 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.044 | 88792.4538 | 294203.8115 | 30.45 | 114.2
16210 | 2022-05-19 15:48 | 33.6644 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.7462 | μmol/L | 18.3528 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.043 | 88801.6631 | 294210.9979 | 30.45 | 114.2
16220 | 2022-05-19 15:49 | 33.9979 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.7514 | μmol/L | 18.3405 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.047 | 88804.4493 | 294219.5413 | 30.45 | 114.2
16230 | 2022-05-19 15:49 | 34.3317 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.8191 | μmol/L | 18.3405 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.044 | 88811.2381 | 294213.4725 | 30.45 | 114.2
16240 | 2022-05-19 15:49 | 34.6645 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.5936 | μmol/L | 18.3467 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.052 | 88804.3167 | 294211.1542 | 30.45 | 114.2
16250 | 2022-05-19 15:50 | 34.9979 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.7117 | μmol/L | 18.3405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.049 | 88810.268 | 294234.0992 | 30.45 | 114.2
16260 | 2022-05-19 15:50 | 35.3313 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.6558 | μmol/L | 18.3467 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.049 | 88816.9109 | 294221.7778 | 30.45 | 114.2
16270 | 2022-05-19 15:50 | 35.6648 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.717 | μmol/L | 18.3344 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.051 | 88811.6915 | 294212.4037 | 30.45 | 114.2
16280 | 2022-05-19 15:51 | 35.9982 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.6613 | μmol/L | 18.3467 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.049 | 88813.3382 | 294220.4454 | 30.45 | 114.2
16290 | 2022-05-19 15:51 | 36.3315 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.7343 | μmol/L | 18.3405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.048 | 88821.7143 | 294218.698 | 30.45 | 114.2
16300 | 2022-05-19 15:51 | 36.6651 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.7117 | μmol/L | 18.3405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.049 | 88828.3653 | 294227.5257 | 30.45 | 114.2
16310 | 2022-05-19 15:52 | 36.998 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.5538 | μmol/L | 18.3405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.056 | 88821.6099 | 294225.3873 | 30.45 | 114.2
16320 | 2022-05-19 15:52 | 37.3319 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.6719 | μmol/L | 18.3344 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.053 | 88838.2628 | 294229.429 | 30.45 | 114.2
16330 | 2022-05-19 15:52 | 37.6652 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.6042 | μmol/L | 18.3344 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.056 | 88836.2511 | 294238.3482 | 30.45 | 114.2
16340 | 2022-05-19 15:53 | 37.9981 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.5816 | μmol/L | 18.3344 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.057 | 88839.0382 | 294233.6194 | 30.45 | 114.2
16350 | 2022-05-19 15:53 | 38.3316 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.7223 | μmol/L | 18.3283 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.053 | 88842.3885 | 294240.3165 | 30.45 | 114.2
16360 | 2022-05-19 15:53 | 38.665 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.6042 | μmol/L | 18.3344 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.056 | 88846.0374 | 294225.5395 | 30.45 | 114.2
16370 | 2022-05-19 15:54 | 38.9981 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.5087 | μmol/L | 18.3405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.058 | 88849.1024 | 294235.3844 | 30.45 | 114.2
16380 | 2022-05-19 15:54 | 39.3316 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.5591 | μmol/L | 18.3344 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.058 | 88850.7757 | 294243.5098 | 30.45 | 114.2
16390 | 2022-05-19 15:54 | 39.6649 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.6321 | μmol/L | 18.3283 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.057 | 88858.3483 | 294236.5977 | 30.45 | 114.2
16400 | 2022-05-19 15:55 | 39.9984 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.5591 | μmol/L | 18.3344 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.058 | 88858.9352 | 294228.8975 | 30.45 | 114.2
16410 | 2022-05-19 15:55 | 40.3311 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.3005 | μmol/L | 18.3467 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.065 | 88860.8458 | 294234.1047 | 30.45 | 114.2
16420 | 2022-05-19 15:55 | 40.6646 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.5365 | μmol/L | 18.3344 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.059 | 88863.5978 | 294248.7398 | 30.45 | 114.2
16430 | 2022-05-19 15:56 | 40.998 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.5816 | μmol/L | 18.3344 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.057 | 88866.2344 | 294241.2314 | 30.45 | 114.2
16440 | 2022-05-19 15:56 | 41.3317 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.4238 | μmol/L | 18.3344 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.064 | 88869.5787 | 294221.084 | 30.45 | 114.2
16450 | 2022-05-19 15:56 | 41.6644 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.5193 | μmol/L | 18.3283 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.062 | 88877.4213 | 294234.2757 | 30.45 | 114.2
16460 | 2022-05-19 15:57 | 41.9981 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.4742 | μmol/L | 18.3283 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.064 | 88879.1245 | 294234.9127 | 30.45 | 114.2
16470 | 2022-05-19 15:57 | 42.3316 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.3841 | μmol/L | 18.3283 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.068 | 88874.9307 | 294233.2628 | 30.45 | 114.2
16480 | 2022-05-19 15:57 | 42.6649 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.4119 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.069 | 88891.6129 | 294239.1006 | 30.45 | 114.2
16490 | 2022-05-19 15:58 | 42.9981 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.4968 | μmol/L | 18.3283 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.063 | 88893.5872 | 294237.1751 | 30.45 | 114.2
16500 | 2022-05-19 15:58 | 43.3318 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.3841 | μmol/L | 18.3283 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.068 | 88896.5921 | 294223.5291 | 30.45 | 114.2
16510 | 2022-05-19 15:58 | 43.6645 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.3841 | μmol/L | 18.3283 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.068 | 88903.9242 | 294243.7123 | 30.45 | 114.2
16520 | 2022-05-19 15:59 | 43.9979 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.2608 | μmol/L | 18.3405 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.069 | 88913.7077 | 294249.1557 | 30.45 | 114.2
16530 | 2022-05-19 15:59 | 44.3314 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.4119 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.069 | 88916.5115 | 294248.8871 | 30.45 | 114.2
16540 | 2022-05-19 15:59 | 44.6649 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.2939 | μmol/L | 18.3283 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.072 | 88915.5682 | 294240.124 | 30.45 | 114.2
16550 | 2022-05-19 16:00 | 44.9983 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.2885 | μmol/L | 18.3283 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.072 | 88911.5571 | 294236.9796 | 30.45 | 114.2
16560 | 2022-05-19 16:00 | 45.3318 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.2489 | μmol/L | 18.3283 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.074 | 88923.0491 | 294236.0843 | 30.45 | 114.2
16570 | 2022-05-19 16:00 | 45.6645 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.2209 | μmol/L | 18.3283 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.075 | 88935.3132 | 294241.0524 | 30.45 | 114.2
16580 | 2022-05-19 16:01 | 45.998 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.3443 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.072 | 88926.73 | 294227.4584 | 30.45 | 114.2
16590 | 2022-05-19 16:01 | 46.3312 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.1417 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.081 | 88936.9187 | 294231.3891 | 30.45 | 114.2
16600 | 2022-05-19 16:01 | 46.6647 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.2039 | μmol/L | 18.3283 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.076 | 88934.3034 | 294232.8648 | 30.45 | 114.2
16610 | 2022-05-19 16:02 | 46.9982 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.3217 | μmol/L | 18.316 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.075 | 88947.4807 | 294241.81 | 30.45 | 114.2
16620 | 2022-05-19 16:02 | 47.3319 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.1192 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.082 | 88937.8765 | 294229.7155 | 30.45 | 114.2
16630 | 2022-05-19 16:02 | 47.6644 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.2821 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.077 | 88948.3225 | 294225.0657 | 30.45 | 114.2
16640 | 2022-05-19 16:03 | 47.9979 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.1309 | μmol/L | 18.3283 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.079 | 88953.0359 | 294238.0307 | 30.45 | 114.2
16650 | 2022-05-19 16:03 | 48.3314 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.1812 | μmol/L | 18.3221 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.079 | 88957.392 | 294228.6312 | 30.45 | 114.2
16660 | 2022-05-19 16:03 | 48.6646 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.0742 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.084 | 88968.3439 | 294243.329 | 30.45 | 114.2
16670 | 2022-05-19 16:04 | 48.9981 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.2092 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.078 | 88970.141 | 294215.594 | 30.45 | 114.2
16680 | 2022-05-19 16:04 | 49.3315 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.0237 | μmol/L | 18.3221 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.086 | 88957.5896 | 294219.3828 | 30.45 | 114.2
16690 | 2022-05-19 16:04 | 49.665 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.0409 | μmol/L | 18.3283 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.083 | 88966.953 | 294227.9592 | 30.45 | 114.2
16700 | 2022-05-19 16:05 | 49.9984 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.102 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.085 | 88981.4771 | 294225.3976 | 30.45 | 114.2
16710 | 2022-05-19 16:05 | 50.3311 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.9563 | μmol/L | 18.3283 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.087 | 88978.1124 | 294225.9353 | 30.45 | 114.2
16720 | 2022-05-19 16:05 | 50.6646 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.012 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.089 | 88978.4055 | 294215.5316 | 30.45 | 114.2
16730 | 2022-05-19 16:06 | 50.9981 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 264.0345 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.088 | 88990.5962 | 294223.0268 | 30.45 | 114.2
16740 | 2022-05-19 16:06 | 51.3315 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.9617 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.089 | 88991.6936 | 294210.215 | 30.45 | 114.2
16750 | 2022-05-19 16:06 | 51.6651 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.967 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.091 | 88985.4606 | 294215.3085 | 30.45 | 114.2
16760 | 2022-05-19 16:07 | 51.9979 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.8996 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.094 | 88994.0897 | 294210.9789 | 30.45 | 114.2
16770 | 2022-05-19 16:07 | 52.3313 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.9167 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.091 | 88992.6392 | 294204.0222 | 30.45 | 114.2
16780 | 2022-05-19 16:07 | 52.6649 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.922 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.093 | 88992.7878 | 294209.9246 | 30.45 | 114.2
16790 | 2022-05-19 16:08 | 52.9977 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.9392 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.09 | 88986.1211 | 294197.6798 | 30.45 | 114.2
16800 | 2022-05-19 16:08 | 53.3312 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.8043 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.096 | 89004.1056 | 294210.1662 | 30.45 | 114.2
16810 | 2022-05-19 16:08 | 53.6647 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.8546 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.096 | 89000.3958 | 294211.9726 | 30.45 | 114.2
16820 | 2022-05-19 16:09 | 53.9979 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.7872 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.099 | 89000.2242 | 294196.3389 | 30.45 | 114.2
16830 | 2022-05-19 16:09 | 54.3315 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.8268 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.095 | 89006.59 | 294193.9286 | 30.45 | 114.2
16840 | 2022-05-19 16:09 | 54.6649 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.8097 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.098 | 89007.3924 | 294199.9507 | 30.45 | 114.2
16850 | 2022-05-19 16:10 | 54.9983 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.7872 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.099 | 89004.0305 | 294202.7231 | 30.45 | 114.2
16860 | 2022-05-19 16:10 | 55.3318 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.8097 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.098 | 89007.0093 | 294207.4806 | 30.45 | 114.2
16870 | 2022-05-19 16:10 | 55.6647 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.8546 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.096 | 89009.309 | 294197.1857 | 30.45 | 114.2
16880 | 2022-05-19 16:11 | 55.9982 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.7144 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.1 | 89015.0563 | 294199.4238 | 30.45 | 114.2
16890 | 2022-05-19 16:11 | 56.3318 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.6471 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.103 | 89016.8976 | 294196.8663 | 30.45 | 114.2
16900 | 2022-05-19 16:11 | 56.6645 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.7476 | μmol/L | 18.3098 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.103 | 89018.9875 | 294188.8701 | 30.45 | 114.2
16910 | 2022-05-19 16:12 | 56.9978 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.6075 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.107 | 89024.2854 | 294193.2431 | 30.45 | 114.2
16920 | 2022-05-19 16:12 | 57.3311 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.6075 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.107 | 89020.2429 | 294191.3677 | 30.45 | 114.2
16930 | 2022-05-19 16:12 | 57.6648 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.6578 | μmol/L | 18.3098 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.107 | 89032.2983 | 294185.0769 | 30.45 | 114.2
16940 | 2022-05-19 16:13 | 57.9982 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.6973 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.103 | 89024.3137 | 294171.364 | 30.45 | 114.2
16950 | 2022-05-19 16:13 | 58.3316 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.6022 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.105 | 89029.8362 | 294177.0646 | 30.45 | 114.2
16960 | 2022-05-19 16:13 | 58.6645 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.6973 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.103 | 89035.4225 | 294180.7785 | 30.45 | 114.2
16970 | 2022-05-19 16:14 | 58.9978 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.6749 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.104 | 89038.0874 | 294185.3312 | 30.45 | 114.2
16980 | 2022-05-19 16:14 | 59.3312 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.5626 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.109 | 89036.9153 | 294179.081 | 30.45 | 114.2
16990 | 2022-05-19 16:14 | 59.6646 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.5348 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.108 | 89044.8457 | 294183.4515 | 30.45 | 114.2
17000 | 2022-05-19 16:15 | 59.9981 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.4899 | μmol/L | 18.3221 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.11 | 89046.0653 | 294176.28 | 30.45 | 114.2
17010 | 2022-05-19 16:15 | 60.3318 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.6578 | μmol/L | 18.3098 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.107 | 89046.6606 | 294177.8355 | 30.45 | 114.2
17020 | 2022-05-19 16:15 | 60.6651 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.6129 | μmol/L | 18.3098 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.109 | 89053.0546 | 294180.4595 | 30.45 | 114.2
17030 | 2022-05-19 16:16 | 60.9977 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.5904 | μmol/L | 18.3098 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.11 | 89052.5461 | 294182.3316 | 30.45 | 114.2
17040 | 2022-05-19 16:16 | 61.3313 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.5402 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.11 | 89054.6405 | 294183.1703 | 30.45 | 114.2
17050 | 2022-05-19 16:16 | 61.6646 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.4611 | μmol/L | 18.3037 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.118 | 89061.1203 | 294173.8759 | 30.45 | 114.2
17060 | 2022-05-19 16:17 | 61.9982 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.5455 | μmol/L | 18.3098 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.112 | 89063.5843 | 294179.6384 | 30.45 | 114.2
17070 | 2022-05-19 16:17 | 62.3317 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.4728 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.113 | 89065.9372 | 294159.3191 | 30.45 | 114.2
17080 | 2022-05-19 16:17 | 62.6644 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.3831 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.117 | 89069.9138 | 294166.4383 | 30.45 | 114.2
17090 | 2022-05-19 16:18 | 62.9978 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.4504 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.114 | 89069.8535 | 294157.263 | 30.45 | 114.2
17100 | 2022-05-19 16:18 | 63.3312 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.4109 | μmol/L | 18.3098 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.118 | 89073.9051 | 294154.8535 | 30.45 | 114.2
17110 | 2022-05-19 16:18 | 63.6647 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.3885 | μmol/L | 18.3098 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.119 | 89080.0406 | 294152.4782 | 30.45 | 114.2
17120 | 2022-05-19 16:19 | 63.9983 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.3436 | μmol/L | 18.3098 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.121 | 89081.8568 | 294171.2685 | 30.45 | 114.2
17130 | 2022-05-19 16:19 | 64.3312 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.4333 | μmol/L | 18.3098 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.117 | 89082.203 | 294163.0331 | 30.45 | 114.2
17140 | 2022-05-19 16:19 | 64.6647 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.3436 | μmol/L | 18.3098 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.121 | 89080.8811 | 294150.5478 | 30.45 | 114.2
17150 | 2022-05-19 16:20 | 64.9981 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.366 | μmol/L | 18.3098 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.12 | 89096.1601 | 294146.8571 | 30.45 | 114.2
17160 | 2022-05-19 16:20 | 65.3318 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.2763 | μmol/L | 18.3098 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.124 | 89099.0062 | 294148.9268 | 30.45 | 114.2
17170 | 2022-05-19 16:20 | 65.6651 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.2091 | μmol/L | 18.3098 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.127 | 89098.8815 | 294159.2219 | 30.45 | 114.2
17180 | 2022-05-19 16:21 | 65.998 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.2763 | μmol/L | 18.3098 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.124 | 89099.5164 | 294162.5903 | 30.45 | 114.2
17190 | 2022-05-19 16:21 | 66.3315 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.2817 | μmol/L | 18.3037 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.126 | 89101.5722 | 294166.633 | 30.45 | 114.2
17200 | 2022-05-19 16:21 | 66.6652 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.2539 | μmol/L | 18.3098 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.125 | 89113.427 | 294151.3786 | 30.45 | 114.2
17210 | 2022-05-19 16:22 | 66.9984 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.1589 | μmol/L | 18.3098 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.129 | 89103.7685 | 294149.1317 | 30.45 | 114.2
17220 | 2022-05-19 16:22 | 67.3312 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.1419 | μmol/L | 18.3098 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.13 | 89114.0603 | 294160.1803 | 30.45 | 114.2
17230 | 2022-05-19 16:22 | 67.6647 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.1419 | μmol/L | 18.3098 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.13 | 89123.085 | 294147.1513 | 30.45 | 114.2
17240 | 2022-05-19 16:23 | 67.9981 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.1419 | μmol/L | 18.3098 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.13 | 89120.2407 | 294147.5191 | 30.45 | 114.2
17250 | 2022-05-19 16:23 | 68.3317 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.1249 | μmol/L | 18.3037 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.133 | 89121.3582 | 294154.8531 | 30.45 | 114.2
17260 | 2022-05-19 16:23 | 68.6644 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.1697 | μmol/L | 18.3037 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.131 | 89130.3115 | 294156.3852 | 30.45 | 114.2
17270 | 2022-05-19 16:24 | 68.9978 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.0693 | μmol/L | 18.316 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.131 | 89134.0477 | 294135.0115 | 30.45 | 114.2
17280 | 2022-05-19 16:24 | 69.3314 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.0747 | μmol/L | 18.3098 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.133 | 89131.4144 | 294146.0354 | 30.45 | 114.2
17290 | 2022-05-19 16:24 | 69.665 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.0971 | μmol/L | 18.3098 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.132 | 89142.2694 | 294149.4817 | 30.45 | 114.2
17300 | 2022-05-19 16:25 | 69.9982 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.0971 | μmol/L | 18.3098 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.132 | 89138.3367 | 294148.9966 | 30.45 | 114.2
17310 | 2022-05-19 16:25 | 70.3311 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.1249 | μmol/L | 18.3037 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.133 | 89137.546 | 294149.9223 | 30.45 | 114.2
17320 | 2022-05-19 16:25 | 70.6649 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.0075 | μmol/L | 18.3098 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.136 | 89136.6175 | 294140.4157 | 30.45 | 114.2
17330 | 2022-05-19 16:26 | 70.9984 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.0801 | μmol/L | 18.3037 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.135 | 89138.4968 | 294148.0822 | 30.45 | 114.2
17340 | 2022-05-19 16:26 | 71.3313 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.0523 | μmol/L | 18.3037 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 23.136 | 89141.8417 | 294147.34 | 30.45 | 114.2
17350 | 2022-05-19 16:26 | 71.6648 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 262.9681 | μmol/L | 18.3037 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.14 | 89133.312 | 294151.3291 | 30.45 | 114.2
17360 | 2022-05-19 16:27 | 71.9984 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.0183 | μmol/L | 18.2975 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.14 | 89137.2278 | 294146.8953 | 30.45 | 114.2
17370 | 2022-05-19 16:27 | 72.3311 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.0577 | μmol/L | 18.3037 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.136 | 89113.7172 | 294150.4695 | 30.45 | 114.2
17380 | 2022-05-19 16:27 | 72.6644 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.1025 | μmol/L | 18.3037 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.134 | 89119.3745 | 294146.3262 | 30.45 | 114.2
17390 | 2022-05-19 16:28 | 72.9982 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.1078 | μmol/L | 18.2975 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.136 | 89127.0357 | 294138.8945 | 30.45 | 114.2
17400 | 2022-05-19 16:28 | 73.3318 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 263.0801 | μmol/L | 18.3037 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 23.135 | 89119.3546 | 294147.6027 | 30.45 | 114.2