## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_1 | O2 | 173180888 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:46

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 15:01

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
13584 | 2022-05-19 13:54 | 0 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.3731 | μmol/L | 18.6463 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.037 | 122972.0654 | 271003.4948 | 33.25 | 75.7
13594 | 2022-05-19 13:54 | 0.32745 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.2056 | μmol/L | 18.6401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.046 | 122993.3264 | 270997.6244 | 33.25 | 75.7
13604 | 2022-05-19 13:55 | 0.66065 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.3581 | μmol/L | 18.634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.042 | 123014.9637 | 270998.5819 | 33.25 | 75.7
13614 | 2022-05-19 13:55 | 0.99378 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 285.1318 | μmol/L | 18.6401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.049 | 123030.0046 | 270985.1176 | 33.25 | 75.7
13624 | 2022-05-19 13:55 | 1.327 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.9645 | μmol/L | 18.634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.058 | 123065.1162 | 270979.3668 | 33.25 | 75.7
13634 | 2022-05-19 13:56 | 1.6603 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.8662 | μmol/L | 18.634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.062 | 123098.9813 | 270972.5247 | 33.25 | 75.7
13644 | 2022-05-19 13:56 | 1.9938 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.6943 | μmol/L | 18.634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.069 | 123123.732 | 270953.7791 | 33.25 | 75.7
13654 | 2022-05-19 13:56 | 2.3269 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.562 | μmol/L | 18.6463 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.07 | 123138.5687 | 270954.8342 | 33.25 | 75.7
13664 | 2022-05-19 13:57 | 2.6602 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.9641 | μmol/L | 18.6033 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.069 | 123149.3749 | 270946.1061 | 33.25 | 75.7
13674 | 2022-05-19 13:57 | 2.9942 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.8167 | μmol/L | 18.6033 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.075 | 123163.3705 | 270926.4397 | 33.25 | 75.7
13684 | 2022-05-19 13:57 | 3.3276 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.7185 | μmol/L | 18.6033 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.079 | 123196.2161 | 270917.9156 | 33.25 | 75.7
13694 | 2022-05-19 13:58 | 3.6607 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.5665 | μmol/L | 18.6095 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.083 | 123229.5405 | 270910.2422 | 33.25 | 75.7
13704 | 2022-05-19 13:58 | 3.9937 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.3948 | μmol/L | 18.6095 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.09 | 123233.5595 | 270901.6543 | 33.25 | 75.7
13714 | 2022-05-19 13:58 | 4.3272 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.3703 | μmol/L | 18.6095 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.091 | 123245.8648 | 270896.448 | 33.25 | 75.7
13724 | 2022-05-19 13:59 | 4.6605 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.3507 | μmol/L | 18.6033 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.094 | 123262.5013 | 270869.1243 | 33.25 | 75.7
13734 | 2022-05-19 13:59 | 4.9938 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.3359 | μmol/L | 18.5911 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.099 | 123287.2736 | 270874.8309 | 33.25 | 75.7
13744 | 2022-05-19 13:59 | 5.3271 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.2624 | μmol/L | 18.5911 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.102 | 123306.0306 | 270856.3858 | 33.25 | 75.7
13754 | 2022-05-19 14:00 | 5.6602 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.3751 | μmol/L | 18.5727 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.104 | 123309.5004 | 270849.9128 | 33.25 | 75.7
13764 | 2022-05-19 14:00 | 5.9936 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.3261 | μmol/L | 18.5727 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.106 | 123313.194 | 270841.6733 | 33.25 | 75.7
13774 | 2022-05-19 14:00 | 6.3276 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.1939 | μmol/L | 18.5849 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.107 | 123317.2545 | 270819.7359 | 33.25 | 75.7
13784 | 2022-05-19 14:01 | 6.6603 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.2771 | μmol/L | 18.5727 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.108 | 123330.3027 | 270826.0154 | 33.25 | 75.7
13794 | 2022-05-19 14:01 | 6.9936 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.1792 | μmol/L | 18.5727 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.112 | 123344.5415 | 270817.6829 | 33.25 | 75.7
13804 | 2022-05-19 14:01 | 7.3268 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 284.0862 | μmol/L | 18.5665 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.118 | 123380.2135 | 270804.7164 | 33.25 | 75.7
13814 | 2022-05-19 14:02 | 7.6608 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 283.871 | μmol/L | 18.5604 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.129 | 123424.2225 | 270784.7552 | 33.25 | 75.7
13824 | 2022-05-19 14:02 | 7.9942 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 283.8027 | μmol/L | 18.5543 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.134 | 123446.5613 | 270782.4493 | 33.25 | 75.7
13834 | 2022-05-19 14:02 | 8.3268 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 283.7832 | μmol/L | 18.5481 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.137 | 123457.6994 | 270763.7945 | 33.25 | 75.7
13844 | 2022-05-19 14:03 | 8.6601 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 283.7538 | μmol/L | 18.5543 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.136 | 123452.6028 | 270758.2941 | 33.25 | 75.7
13854 | 2022-05-19 14:03 | 8.9942 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 283.7881 | μmol/L | 18.542 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.139 | 123457.7603 | 270747.0831 | 33.25 | 75.7
13864 | 2022-05-19 14:03 | 9.3274 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 283.7442 | μmol/L | 18.5359 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.143 | 123487.8944 | 270737.1969 | 33.25 | 75.7
13874 | 2022-05-19 14:04 | 9.6607 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.9397 | μmol/L | 18.5359 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.176 | 123679.9169 | 270736.1788 | 33.25 | 75.7
13884 | 2022-05-19 14:04 | 9.9941 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 282.4392 | μmol/L | 18.5236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.201 | 123840.4352 | 270729.7059 | 33.25 | 75.7
13894 | 2022-05-19 14:04 | 10.3272 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.9057 | μmol/L | 18.5236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.223 | 123986.4042 | 270713.0961 | 33.25 | 75.7
13904 | 2022-05-19 14:05 | 10.6604 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.6394 | μmol/L | 18.5236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.234 | 124051.8501 | 270708.7101 | 33.25 | 75.7
13914 | 2022-05-19 14:05 | 10.9936 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.7412 | μmol/L | 18.5175 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.232 | 124041.0627 | 270701.6618 | 33.25 | 75.7
13924 | 2022-05-19 14:05 | 11.3268 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 281.3301 | μmol/L | 18.5175 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.249 | 124159.4406 | 270699.1444 | 33.25 | 75.7
13934 | 2022-05-19 14:06 | 11.6601 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.6306 | μmol/L | 18.5175 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.278 | 124298.5796 | 270672.3476 | 33.25 | 75.7
13944 | 2022-05-19 14:06 | 11.9941 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 280.1735 | μmol/L | 18.5175 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.297 | 124424.9809 | 270676.9583 | 33.25 | 75.7
13954 | 2022-05-19 14:06 | 12.3272 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.7704 | μmol/L | 18.5113 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.316 | 124554.747 | 270680.6866 | 33.25 | 75.7
13964 | 2022-05-19 14:07 | 12.6604 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.44 | μmol/L | 18.5052 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.332 | 124647.103 | 270662.3256 | 33.25 | 75.7
13974 | 2022-05-19 14:07 | 12.9935 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 279.11 | μmol/L | 18.4991 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.348 | 124737.0871 | 270656.4318 | 33.25 | 75.7
13984 | 2022-05-19 14:07 | 13.3275 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.5981 | μmol/L | 18.5113 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.365 | 124856.9614 | 270639.6125 | 33.25 | 75.7
13994 | 2022-05-19 14:08 | 13.6605 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.4414 | μmol/L | 18.4991 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.376 | 124921.1693 | 270640.282 | 33.25 | 75.7
14004 | 2022-05-19 14:08 | 13.9935 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.2746 | μmol/L | 18.4991 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.383 | 124930.5142 | 270617.114 | 33.25 | 75.7
14014 | 2022-05-19 14:08 | 14.327 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.2211 | μmol/L | 18.4991 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.385 | 124945.9749 | 270622.35 | 33.25 | 75.7
14024 | 2022-05-19 14:09 | 14.6603 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.1606 | μmol/L | 18.4929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.39 | 124979.7548 | 270607.4572 | 33.25 | 75.7
14034 | 2022-05-19 14:09 | 14.9938 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 278.084 | μmol/L | 18.4991 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.391 | 124996.5111 | 270610.1538 | 33.25 | 75.7
14044 | 2022-05-19 14:09 | 15.3273 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.9702 | μmol/L | 18.4929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.398 | 125018.323 | 270601.6307 | 33.25 | 75.7
14054 | 2022-05-19 14:10 | 15.6609 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.8565 | μmol/L | 18.4868 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.405 | 125047.8353 | 270587.8285 | 33.25 | 75.7
14064 | 2022-05-19 14:10 | 15.9935 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.5899 | μmol/L | 18.4929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.414 | 125095.5234 | 270580.5543 | 33.25 | 75.7
14074 | 2022-05-19 14:10 | 16.3269 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.5899 | μmol/L | 18.4929 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.414 | 125116.7655 | 270586.4618 | 33.25 | 75.7
14084 | 2022-05-19 14:11 | 16.6602 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.6947 | μmol/L | 18.4745 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.416 | 125127.7079 | 270575.3854 | 33.25 | 75.7
14094 | 2022-05-19 14:11 | 16.9939 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.587 | μmol/L | 18.4684 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.423 | 125167.471 | 270572.9101 | 33.25 | 75.7
14104 | 2022-05-19 14:11 | 17.3273 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.3155 | μmol/L | 18.4807 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.43 | 125188.5341 | 270558.7803 | 33.25 | 75.7
14114 | 2022-05-19 14:12 | 17.6605 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.131 | μmol/L | 18.4745 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.44 | 125226.5707 | 270548.3135 | 33.25 | 75.7
14124 | 2022-05-19 14:12 | 17.9938 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.2126 | μmol/L | 18.4623 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.441 | 125253.9382 | 270543.3206 | 33.25 | 75.7
14134 | 2022-05-19 14:12 | 18.3273 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.26 | μmol/L | 18.4623 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.439 | 125228.7888 | 270536.9252 | 33.25 | 75.7
14144 | 2022-05-19 14:13 | 18.6607 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.2652 | μmol/L | 18.4561 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.441 | 125243.1763 | 270532.0446 | 33.25 | 75.7
14154 | 2022-05-19 14:13 | 18.994 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 277.123 | μmol/L | 18.4561 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.447 | 125287.5432 | 270534.4393 | 33.25 | 75.7
14164 | 2022-05-19 14:13 | 19.3275 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.9625 | μmol/L | 18.45 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.456 | 125342.5144 | 270502.8764 | 33.25 | 75.7
14174 | 2022-05-19 14:14 | 19.6604 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.6492 | μmol/L | 18.45 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.469 | 125399.0302 | 270505.9564 | 33.25 | 75.7
14184 | 2022-05-19 14:14 | 19.994 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.5368 | μmol/L | 18.45 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.474 | 125422.7869 | 270513.5548 | 33.25 | 75.7
14194 | 2022-05-19 14:14 | 20.3273 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.6419 | μmol/L | 18.4378 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.474 | 125458.1475 | 270501.9175 | 33.25 | 75.7
14204 | 2022-05-19 14:15 | 20.6609 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.3767 | μmol/L | 18.4439 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.483 | 125476.0203 | 270492.3183 | 33.25 | 75.7
14214 | 2022-05-19 14:15 | 20.9937 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.3637 | μmol/L | 18.4316 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.488 | 125510.0838 | 270490.1878 | 33.25 | 75.7
14224 | 2022-05-19 14:15 | 21.3274 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.1985 | μmol/L | 18.4316 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.495 | 125548.7392 | 270492.2321 | 33.25 | 75.7
14234 | 2022-05-19 14:16 | 21.6609 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 276.1513 | μmol/L | 18.4316 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.497 | 125558.8336 | 270475.4385 | 33.25 | 75.7
14244 | 2022-05-19 14:16 | 21.9935 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.9757 | μmol/L | 18.4439 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.5 | 125587.81 | 270479.1823 | 33.25 | 75.7
14254 | 2022-05-19 14:16 | 22.3273 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.6873 | μmol/L | 18.4439 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.512 | 125634.5702 | 270473.031 | 33.25 | 75.7
14264 | 2022-05-19 14:17 | 22.6609 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.523 | μmol/L | 18.45 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.517 | 125649.7498 | 270464.2307 | 33.25 | 75.7
14274 | 2022-05-19 14:17 | 22.9941 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.7272 | μmol/L | 18.4316 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.515 | 125659.2745 | 270450.1755 | 33.25 | 75.7
14284 | 2022-05-19 14:17 | 23.3269 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.9422 | μmol/L | 18.401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.517 | 125662.9184 | 270444.5693 | 33.25 | 75.7
14294 | 2022-05-19 14:18 | 23.6606 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.5731 | μmol/L | 18.4194 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.526 | 125716.061 | 270425.3445 | 33.25 | 75.7
14304 | 2022-05-19 14:18 | 23.9938 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.4737 | μmol/L | 18.4255 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.528 | 125723.9798 | 270421.2437 | 33.25 | 75.7
14314 | 2022-05-19 14:18 | 24.327 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.1865 | μmol/L | 18.4316 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.538 | 125763.8115 | 270421.8437 | 33.25 | 75.7
14324 | 2022-05-19 14:19 | 24.6606 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.1032 | μmol/L | 18.4194 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.546 | 125820.849 | 270415.6742 | 33.25 | 75.7
14334 | 2022-05-19 14:19 | 24.994 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.9859 | μmol/L | 18.4194 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.551 | 125843.0468 | 270405.2132 | 33.25 | 75.7
14344 | 2022-05-19 14:19 | 25.3275 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.9444 | μmol/L | 18.4132 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.555 | 125848.5356 | 270394.8952 | 33.25 | 75.7
14354 | 2022-05-19 14:20 | 25.6602 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 275.0201 | μmol/L | 18.4071 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.554 | 125870.9888 | 270396.9236 | 33.25 | 75.7
14364 | 2022-05-19 14:20 | 25.9936 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.7749 | μmol/L | 18.4194 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.56 | 125891.4734 | 270391.9958 | 33.25 | 75.7
14374 | 2022-05-19 14:20 | 26.327 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.7676 | μmol/L | 18.401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.567 | 125918.3076 | 270388.9184 | 33.25 | 75.7
14384 | 2022-05-19 14:21 | 26.6605 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.6739 | μmol/L | 18.401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.571 | 125953.3748 | 270374.3771 | 33.25 | 75.7
14394 | 2022-05-19 14:21 | 26.9941 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.4632 | μmol/L | 18.401 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.58 | 126000.6167 | 270364.8146 | 33.25 | 75.7
14404 | 2022-05-19 14:21 | 27.3268 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.4038 | μmol/L | 18.3887 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.587 | 126032.4628 | 270363.3995 | 33.25 | 75.7
14414 | 2022-05-19 14:22 | 27.6603 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.0604 | μmol/L | 18.4071 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.595 | 126076.346 | 270349.1305 | 33.25 | 75.7
14424 | 2022-05-19 14:22 | 27.9934 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.1466 | μmol/L | 18.3887 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.598 | 126110.0516 | 270357.1691 | 33.25 | 75.7
14434 | 2022-05-19 14:22 | 28.3276 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 274.0299 | μmol/L | 18.3887 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.603 | 126137.7874 | 270348.7063 | 33.25 | 75.7
14444 | 2022-05-19 14:23 | 28.6609 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.9365 | μmol/L | 18.3887 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.607 | 126150.9646 | 270338.8204 | 33.25 | 75.7
14454 | 2022-05-19 14:23 | 28.9935 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.8898 | μmol/L | 18.3887 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.609 | 126175.3932 | 270324.2719 | 33.25 | 75.7
14464 | 2022-05-19 14:23 | 29.327 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.6976 | μmol/L | 18.3887 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.617 | 126210.9266 | 270312.9789 | 33.25 | 75.7
14474 | 2022-05-19 14:24 | 29.6605 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.5867 | μmol/L | 18.3887 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.622 | 126233.422 | 270312.5298 | 33.25 | 75.7
14484 | 2022-05-19 14:24 | 29.9939 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.429 | μmol/L | 18.3826 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.631 | 126267.9452 | 270312.5363 | 33.25 | 75.7
14494 | 2022-05-19 14:24 | 30.3274 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.4521 | μmol/L | 18.3764 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.632 | 126289.0034 | 270302.4295 | 33.25 | 75.7
14504 | 2022-05-19 14:25 | 30.6608 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.1785 | μmol/L | 18.3764 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.644 | 126342.105 | 270287.66 | 33.25 | 75.7
14514 | 2022-05-19 14:25 | 30.9942 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 273.0909 | μmol/L | 18.3703 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.65 | 126387.5169 | 270273.3817 | 33.25 | 75.7
14524 | 2022-05-19 14:25 | 31.3268 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.7833 | μmol/L | 18.3703 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.663 | 126450.6865 | 270283.6877 | 33.25 | 75.7
14534 | 2022-05-19 14:26 | 31.6609 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.6552 | μmol/L | 18.3642 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.671 | 126517.024 | 270270.0156 | 33.25 | 75.7
14544 | 2022-05-19 14:26 | 31.9938 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.5336 | μmol/L | 18.3642 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.676 | 126524.6039 | 270259.264 | 33.25 | 75.7
14554 | 2022-05-19 14:26 | 32.3273 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.2325 | μmol/L | 18.3703 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.687 | 126587.0794 | 270261.753 | 33.25 | 75.7
14564 | 2022-05-19 14:27 | 32.6608 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 272.0705 | μmol/L | 18.3703 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.694 | 126657.9576 | 270246.4811 | 33.25 | 75.7
14574 | 2022-05-19 14:27 | 32.9941 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.8447 | μmol/L | 18.3642 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.706 | 126690.473 | 270247.7434 | 33.25 | 75.7
14584 | 2022-05-19 14:27 | 33.3276 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.8612 | μmol/L | 18.3458 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.712 | 126752.7647 | 270253.5681 | 33.25 | 75.7
14594 | 2022-05-19 14:28 | 33.6609 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.6533 | μmol/L | 18.3458 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.721 | 126791.7206 | 270253.0973 | 33.25 | 75.7
14604 | 2022-05-19 14:28 | 33.9934 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.3193 | μmol/L | 18.358 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.731 | 126849.3425 | 270236.2176 | 33.25 | 75.7
14614 | 2022-05-19 14:28 | 34.3268 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.3764 | μmol/L | 18.3458 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.733 | 126865.9916 | 270224.4125 | 33.25 | 75.7
14624 | 2022-05-19 14:29 | 34.6608 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.3534 | μmol/L | 18.3458 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.734 | 126873.0579 | 270213.0653 | 33.25 | 75.7
14634 | 2022-05-19 14:29 | 34.9942 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 271.0769 | μmol/L | 18.3458 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.746 | 126934.8129 | 270209.2445 | 33.25 | 75.7
14644 | 2022-05-19 14:29 | 35.327 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.8467 | μmol/L | 18.3458 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.756 | 126976.4521 | 270200.7687 | 33.25 | 75.7
14654 | 2022-05-19 14:30 | 35.6607 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 270.7262 | μmol/L | 18.3519 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.759 | 127019.9389 | 270195.9831 | 33.25 | 75.7
14664 | 2022-05-19 14:30 | 35.994 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 268.6552 | μmol/L | 18.3396 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.854 | 127603.8748 | 270183.5187 | 33.25 | 75.7
14674 | 2022-05-19 14:30 | 36.3274 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.7916 | μmol/L | 18.3396 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.892 | 127853.8761 | 270187.9661 | 33.25 | 75.7
14684 | 2022-05-19 14:31 | 36.6602 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.3838 | μmol/L | 18.3396 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.91 | 127982.7036 | 270181.9918 | 33.25 | 75.7
14694 | 2022-05-19 14:31 | 36.9935 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.3103 | μmol/L | 18.3458 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.911 | 127966.0372 | 270170.2723 | 33.25 | 75.7
14704 | 2022-05-19 14:31 | 37.3268 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.565 | μmol/L | 18.3396 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.902 | 127871.8525 | 270167.8492 | 33.25 | 75.7
14714 | 2022-05-19 14:32 | 37.6602 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.565 | μmol/L | 18.3396 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.902 | 127888.7642 | 270153.6451 | 33.25 | 75.7
14724 | 2022-05-19 14:32 | 37.9936 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.0299 | μmol/L | 18.3396 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.97 | 128298.3167 | 270155.8291 | 33.25 | 75.7
14734 | 2022-05-19 14:32 | 38.3272 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.0749 | μmol/L | 18.3396 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.968 | 128295.5699 | 270150.1459 | 33.25 | 75.7
14744 | 2022-05-19 14:33 | 38.6608 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.5817 | μmol/L | 18.3274 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.95 | 128164.4448 | 270146.9717 | 33.25 | 75.7
14754 | 2022-05-19 14:33 | 38.9935 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.8694 | μmol/L | 18.3335 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.935 | 128084.1717 | 270145.4028 | 33.25 | 75.7
14764 | 2022-05-19 14:33 | 39.3269 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.1236 | μmol/L | 18.3274 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.926 | 128027.2985 | 270140.3153 | 33.25 | 75.7
14774 | 2022-05-19 14:34 | 39.6604 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.231 | μmol/L | 18.3335 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.919 | 127967.7573 | 270129.9405 | 33.25 | 75.7
14784 | 2022-05-19 14:34 | 39.994 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.4177 | μmol/L | 18.3274 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.913 | 127927.2285 | 270117.873 | 33.25 | 75.7
14794 | 2022-05-19 14:34 | 40.3276 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.6554 | μmol/L | 18.3151 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.907 | 127881.4033 | 270127.266 | 33.25 | 75.7
14804 | 2022-05-19 14:35 | 40.6602 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.6271 | μmol/L | 18.3212 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.906 | 127865.6109 | 270124.8506 | 33.25 | 75.7
14814 | 2022-05-19 14:35 | 40.9938 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.7858 | μmol/L | 18.3212 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.899 | 127834.3391 | 270111.2656 | 33.25 | 75.7
14824 | 2022-05-19 14:35 | 41.3273 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.8312 | μmol/L | 18.3212 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.897 | 127818.8982 | 270109.6214 | 33.25 | 75.7
14834 | 2022-05-19 14:36 | 41.6607 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.6328 | μmol/L | 18.3151 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.908 | 127880.2738 | 270101.753 | 33.25 | 75.7
14844 | 2022-05-19 14:36 | 41.994 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.7461 | μmol/L | 18.3151 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.903 | 127856.3418 | 270089.652 | 33.25 | 75.7
14854 | 2022-05-19 14:36 | 42.3276 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.8197 | μmol/L | 18.309 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.902 | 127848.1855 | 270084.0613 | 33.25 | 75.7
14864 | 2022-05-19 14:37 | 42.6603 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.7688 | μmol/L | 18.3151 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.902 | 127832.5742 | 270085.5851 | 33.25 | 75.7
14874 | 2022-05-19 14:37 | 42.9937 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.6781 | μmol/L | 18.3151 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.906 | 127836.1507 | 270089.1504 | 33.25 | 75.7
14884 | 2022-05-19 14:37 | 43.3274 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.6554 | μmol/L | 18.3151 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.907 | 127844.0307 | 270065.7538 | 33.25 | 75.7
14894 | 2022-05-19 14:38 | 43.6608 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.6101 | μmol/L | 18.3151 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.909 | 127852.5628 | 270070.3028 | 33.25 | 75.7
14904 | 2022-05-19 14:38 | 43.9942 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.6894 | μmol/L | 18.3028 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.91 | 127861.209 | 270058.0089 | 33.25 | 75.7
14914 | 2022-05-19 14:38 | 44.3269 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.5761 | μmol/L | 18.3028 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.915 | 127903.4943 | 270065.9758 | 33.25 | 75.7
14924 | 2022-05-19 14:39 | 44.6604 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.5025 | μmol/L | 18.309 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.916 | 127922.375 | 270051.7467 | 33.25 | 75.7
14934 | 2022-05-19 14:39 | 44.9938 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.4912 | μmol/L | 18.2967 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.921 | 127934.0728 | 270052.571 | 33.25 | 75.7
14944 | 2022-05-19 14:39 | 45.3274 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.3497 | μmol/L | 18.3028 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.925 | 127931.0578 | 270052.8263 | 33.25 | 75.7
14954 | 2022-05-19 14:40 | 45.6608 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 267.1631 | μmol/L | 18.309 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.931 | 127979.8144 | 270045.6877 | 33.25 | 75.7
14964 | 2022-05-19 14:40 | 45.9935 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.9823 | μmol/L | 18.309 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.939 | 128016.2887 | 270045.1156 | 33.25 | 75.7
14974 | 2022-05-19 14:40 | 46.3273 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.9146 | μmol/L | 18.309 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.942 | 128040.4965 | 270044.2593 | 33.25 | 75.7
14984 | 2022-05-19 14:41 | 46.6609 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.8299 | μmol/L | 18.3028 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.948 | 128059.6396 | 270040.8956 | 33.25 | 75.7
14994 | 2022-05-19 14:41 | 46.9935 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.8074 | μmol/L | 18.3028 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.949 | 128075.1724 | 270025.8985 | 33.25 | 75.7
15004 | 2022-05-19 14:41 | 47.3275 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.5142 | μmol/L | 18.3028 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.962 | 128155.1686 | 270029.3352 | 33.25 | 75.7
15014 | 2022-05-19 14:42 | 47.6601 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.4072 | μmol/L | 18.2967 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.969 | 128205.229 | 270039.1019 | 33.25 | 75.7
15024 | 2022-05-19 14:42 | 47.9938 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.2721 | μmol/L | 18.2967 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.975 | 128233.4085 | 270035.5087 | 33.25 | 75.7
15034 | 2022-05-19 14:42 | 48.3275 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.1539 | μmol/L | 18.3028 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.978 | 128247.0928 | 270017.5946 | 33.25 | 75.7
15044 | 2022-05-19 14:43 | 48.6601 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.2045 | μmol/L | 18.2967 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.978 | 128253.1019 | 270010.142 | 33.25 | 75.7
15054 | 2022-05-19 14:43 | 48.9938 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 266.092 | μmol/L | 18.2967 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.983 | 128293.165 | 270009.6321 | 33.25 | 75.7
15064 | 2022-05-19 14:43 | 49.3274 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 265.9628 | μmol/L | 18.2906 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.991 | 128321.0141 | 270017.3419 | 33.25 | 75.7
15074 | 2022-05-19 14:44 | 49.6611 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 265.7382 | μmol/L | 18.2906 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.001 | 128368.476 | 270008.1344 | 33.25 | 75.7
15084 | 2022-05-19 14:44 | 49.9936 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 265.8055 | μmol/L | 18.2906 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.998 | 128369.1237 | 270005.6266 | 33.25 | 75.7
15094 | 2022-05-19 14:44 | 50.3272 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 265.6202 | μmol/L | 18.2967 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.004 | 128407.1054 | 270013.0089 | 33.25 | 75.7
15104 | 2022-05-19 14:45 | 50.6601 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 265.3511 | μmol/L | 18.2967 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.016 | 128460.2905 | 269992.4027 | 33.25 | 75.7
15114 | 2022-05-19 14:45 | 50.9937 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 265.5419 | μmol/L | 18.2845 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.012 | 128468.6007 | 269997.4622 | 33.25 | 75.7
15124 | 2022-05-19 14:45 | 51.3272 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 265.3062 | μmol/L | 18.2967 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.018 | 128488.5165 | 269991.5702 | 33.25 | 75.7
15134 | 2022-05-19 14:46 | 51.6606 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 265.2447 | μmol/L | 18.2906 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.023 | 128520.2443 | 269982.8279 | 33.25 | 75.7
15144 | 2022-05-19 14:46 | 51.9942 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 264.9984 | μmol/L | 18.2906 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.034 | 128583.3558 | 269979.6032 | 33.25 | 75.7
15154 | 2022-05-19 14:46 | 52.3268 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 264.7971 | μmol/L | 18.2906 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.043 | 128645.7391 | 269982.8419 | 33.25 | 75.7
15164 | 2022-05-19 14:47 | 52.661 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 264.6241 | μmol/L | 18.2845 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.053 | 128683.6599 | 269973.273 | 33.25 | 75.7
15174 | 2022-05-19 14:47 | 52.9938 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 264.5348 | μmol/L | 18.2845 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.057 | 128727.259 | 269976.939 | 33.25 | 75.7
15184 | 2022-05-19 14:47 | 53.3272 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 264.4901 | μmol/L | 18.2845 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.059 | 128717.4102 | 269972.4339 | 33.25 | 75.7
15194 | 2022-05-19 14:48 | 53.6607 | oxy_ch_1 (PSt7-10) | 2022-05-17 09:46 | default | 264.4512 | μmol/L | 18.2783 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 23.063 | 128758.4896 | 269980.0034 | 33.25 | 75.7