## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_7 | O2 | 690909578 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:57

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 16:30

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
15201 | 2022-05-19 15:15 | 0 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.2109 | μmol/L | 18.3922 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.449 | 125862.2025 | 288607.3672 | 59.9307 | 49.4
15211 | 2022-05-19 15:15 | 0.3265 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 279.0051 | μmol/L | 18.3798 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.462 | 125943.0447 | 288608.8537 | 59.9307 | 49.4
15221 | 2022-05-19 15:15 | 0.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.5677 | μmol/L | 18.386 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.478 | 126036.2195 | 288600.0622 | 59.9307 | 49.4
15231 | 2022-05-19 15:16 | 0.99367 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 278.3572 | μmol/L | 18.3798 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.489 | 126119.2179 | 288602.7672 | 59.9307 | 49.4
15241 | 2022-05-19 15:16 | 1.3268 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.9689 | μmol/L | 18.386 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.503 | 126177.4416 | 288591.3066 | 59.9307 | 49.4
15251 | 2022-05-19 15:16 | 1.6603 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.8599 | μmol/L | 18.3737 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.512 | 126235.8671 | 288598.2893 | 59.9307 | 49.4
15261 | 2022-05-19 15:17 | 1.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.5441 | μmol/L | 18.3798 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.523 | 126287.3375 | 288587.9083 | 59.9307 | 49.4
15271 | 2022-05-19 15:17 | 2.3269 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.3531 | μmol/L | 18.3798 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.531 | 126326.9628 | 288566.2829 | 59.9307 | 49.4
15281 | 2022-05-19 15:17 | 2.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 277.2339 | μmol/L | 18.3798 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.536 | 126374.9149 | 288571.0038 | 59.9307 | 49.4
15291 | 2022-05-19 15:18 | 2.9937 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.9956 | μmol/L | 18.3798 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.546 | 126421.9956 | 288562.8397 | 59.9307 | 49.4
15301 | 2022-05-19 15:18 | 3.3273 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.8581 | μmol/L | 18.3737 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.554 | 126457.6245 | 288568.3701 | 59.9307 | 49.4
15311 | 2022-05-19 15:18 | 3.6599 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.6677 | μmol/L | 18.3737 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.562 | 126498.6686 | 288551.6487 | 59.9307 | 49.4
15321 | 2022-05-19 15:19 | 3.9933 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.5489 | μmol/L | 18.3737 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.567 | 126531.4038 | 288574.6843 | 59.9307 | 49.4
15331 | 2022-05-19 15:19 | 4.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.3772 | μmol/L | 18.3798 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.572 | 126562.806 | 288553.3136 | 59.9307 | 49.4
15341 | 2022-05-19 15:19 | 4.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.2822 | μmol/L | 18.3798 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.576 | 126589.8125 | 288536.092 | 59.9307 | 49.4
15351 | 2022-05-19 15:20 | 4.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.1873 | μmol/L | 18.3798 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.58 | 126621.7019 | 288541.3915 | 59.9307 | 49.4
15361 | 2022-05-19 15:20 | 5.3273 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 276.0924 | μmol/L | 18.3798 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.584 | 126650.3584 | 288537.4484 | 59.9307 | 49.4
15371 | 2022-05-19 15:20 | 5.66 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.8553 | μmol/L | 18.3798 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.594 | 126668.399 | 288543.8445 | 59.9307 | 49.4
15381 | 2022-05-19 15:21 | 5.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.7842 | μmol/L | 18.3798 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.597 | 126697.5149 | 288536.8864 | 59.9307 | 49.4
15391 | 2022-05-19 15:21 | 6.327 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.7185 | μmol/L | 18.3737 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.602 | 126725.732 | 288536.245 | 59.9307 | 49.4
15401 | 2022-05-19 15:21 | 6.6605 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.7131 | μmol/L | 18.3798 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.6 | 126734.4374 | 288527.453 | 59.9307 | 49.4
15411 | 2022-05-19 15:22 | 6.9931 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.6948 | μmol/L | 18.3737 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.603 | 126750.9265 | 288529.2863 | 59.9307 | 49.4
15421 | 2022-05-19 15:22 | 7.3268 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.5108 | μmol/L | 18.3675 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.613 | 126772.5944 | 288507.2462 | 59.9307 | 49.4
15431 | 2022-05-19 15:22 | 7.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.4108 | μmol/L | 18.3737 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.615 | 126796.4111 | 288520.8869 | 59.9307 | 49.4
15441 | 2022-05-19 15:23 | 7.9941 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 275.4539 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.631 | 126877.0635 | 288514.3155 | 59.9307 | 49.4
15451 | 2022-05-19 15:23 | 8.3268 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.0279 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.777 | 127829.7014 | 288526.7824 | 59.9307 | 49.4
15461 | 2022-05-19 15:23 | 8.6605 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.1389 | μmol/L | 18.3305 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.77 | 127762.8023 | 288515.7047 | 59.9307 | 49.4
15471 | 2022-05-19 15:24 | 8.9933 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.3323 | μmol/L | 18.349 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.755 | 127688.8726 | 288506.9571 | 59.9307 | 49.4
15481 | 2022-05-19 15:24 | 9.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.5135 | μmol/L | 18.3552 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.745 | 127616.5089 | 288520.3133 | 59.9307 | 49.4
15491 | 2022-05-19 15:24 | 9.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.7004 | μmol/L | 18.3552 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.737 | 127567.135 | 288490.5308 | 59.9307 | 49.4
15501 | 2022-05-19 15:25 | 9.9935 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.6069 | μmol/L | 18.3552 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.741 | 127580.8324 | 288494.8968 | 59.9307 | 49.4
15511 | 2022-05-19 15:25 | 10.3269 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.4256 | μmol/L | 18.349 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.751 | 127638.6146 | 288484.6289 | 59.9307 | 49.4
15521 | 2022-05-19 15:25 | 10.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 272.006 | μmol/L | 18.349 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.769 | 127751.6111 | 288476.7889 | 59.9307 | 49.4
15531 | 2022-05-19 15:26 | 10.9937 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.7554 | μmol/L | 18.3428 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.782 | 127829.2326 | 288491.8357 | 59.9307 | 49.4
15541 | 2022-05-19 15:26 | 11.3269 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 271.2156 | μmol/L | 18.349 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.803 | 127960.0127 | 288470.2453 | 59.9307 | 49.4
15551 | 2022-05-19 15:26 | 11.6603 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.9427 | μmol/L | 18.3428 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.817 | 128053.5416 | 288480.0694 | 59.9307 | 49.4
15561 | 2022-05-19 15:27 | 11.9937 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.6416 | μmol/L | 18.3428 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.83 | 128132.7407 | 288460.1486 | 59.9307 | 49.4
15571 | 2022-05-19 15:27 | 12.3272 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.1561 | μmol/L | 18.3428 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.851 | 128251.1598 | 288459.8462 | 59.9307 | 49.4
15581 | 2022-05-19 15:27 | 12.6606 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.8791 | μmol/L | 18.3428 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.863 | 128312.2201 | 288454.8052 | 59.9307 | 49.4
15591 | 2022-05-19 15:28 | 12.9932 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.7001 | μmol/L | 18.3366 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.873 | 128366.2294 | 288437.5262 | 59.9307 | 49.4
15601 | 2022-05-19 15:28 | 13.3268 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.7978 | μmol/L | 18.3305 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.871 | 128387.0707 | 288462.5472 | 59.9307 | 49.4
15611 | 2022-05-19 15:28 | 13.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.7462 | μmol/L | 18.3366 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.871 | 128384.3747 | 288456.1853 | 59.9307 | 49.4
15621 | 2022-05-19 15:29 | 13.9937 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.654 | μmol/L | 18.3366 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.875 | 128383.961 | 288442.3294 | 59.9307 | 49.4
15631 | 2022-05-19 15:29 | 14.3268 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.654 | μmol/L | 18.3366 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.875 | 128399.6522 | 288468.7024 | 59.9307 | 49.4
15641 | 2022-05-19 15:29 | 14.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.5388 | μmol/L | 18.3366 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.88 | 128438.3828 | 288471.184 | 59.9307 | 49.4
15651 | 2022-05-19 15:30 | 14.9935 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.9187 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.868 | 128360.9053 | 288455.1337 | 59.9307 | 49.4
15661 | 2022-05-19 15:30 | 15.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.8846 | μmol/L | 18.3366 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.865 | 128317.6593 | 288459.972 | 59.9307 | 49.4
15671 | 2022-05-19 15:30 | 15.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.9824 | μmol/L | 18.3305 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.863 | 128289.5434 | 288467.9373 | 59.9307 | 49.4
15681 | 2022-05-19 15:31 | 15.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.3574 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.849 | 128230.356 | 288428.779 | 59.9307 | 49.4
15691 | 2022-05-19 15:31 | 16.3265 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.5193 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.842 | 128176.865 | 288414.1758 | 59.9307 | 49.4
15701 | 2022-05-19 15:31 | 16.6605 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.6173 | μmol/L | 18.3181 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.84 | 128154.039 | 288438.5117 | 59.9307 | 49.4
15711 | 2022-05-19 15:32 | 16.9933 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.6812 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.835 | 128123.5446 | 288429.3241 | 59.9307 | 49.4
15721 | 2022-05-19 15:32 | 17.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.6349 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.837 | 128132.1849 | 288415.7523 | 59.9307 | 49.4
15731 | 2022-05-19 15:32 | 17.6601 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 270.4499 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.845 | 128161.9364 | 288425.4685 | 59.9307 | 49.4
15741 | 2022-05-19 15:33 | 17.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.7572 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.875 | 128379.0066 | 288421.3423 | 59.9307 | 49.4
15751 | 2022-05-19 15:33 | 18.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.4578 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.888 | 128473.8407 | 288412.4274 | 59.9307 | 49.4
15761 | 2022-05-19 15:33 | 18.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.6245 | μmol/L | 18.3181 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.883 | 128405.255 | 288410.9737 | 59.9307 | 49.4
15771 | 2022-05-19 15:34 | 18.9937 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.7683 | μmol/L | 18.312 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.879 | 128388.3518 | 288414.7249 | 59.9307 | 49.4
15781 | 2022-05-19 15:34 | 19.3272 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.3712 | μmol/L | 18.3181 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.894 | 128453.4653 | 288414.0081 | 59.9307 | 49.4
15791 | 2022-05-19 15:34 | 19.6606 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 269.0834 | μmol/L | 18.3058 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.911 | 128568.9001 | 288418.1182 | 59.9307 | 49.4
15801 | 2022-05-19 15:35 | 19.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.4701 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.931 | 128699.2424 | 288408.4354 | 59.9307 | 49.4
15811 | 2022-05-19 15:35 | 20.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.0122 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.951 | 128814.3246 | 288385.9135 | 59.9307 | 49.4
15821 | 2022-05-19 15:35 | 20.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.1321 | μmol/L | 18.3181 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.948 | 128783.122 | 288393.7585 | 59.9307 | 49.4
15831 | 2022-05-19 15:36 | 20.9935 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.2292 | μmol/L | 18.312 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.946 | 128791.4448 | 288379.1046 | 59.9307 | 49.4
15841 | 2022-05-19 15:36 | 21.3268 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.2979 | μmol/L | 18.312 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.943 | 128764.8217 | 288382.8129 | 59.9307 | 49.4
15851 | 2022-05-19 15:36 | 21.66 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.5381 | μmol/L | 18.2996 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.937 | 128720.8221 | 288381.0855 | 59.9307 | 49.4
15861 | 2022-05-19 15:37 | 21.9935 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.5326 | μmol/L | 18.3058 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.935 | 128708.4268 | 288390.0639 | 59.9307 | 49.4
15871 | 2022-05-19 15:37 | 22.3268 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.3319 | μmol/L | 18.2996 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.946 | 128756.2384 | 288376.1671 | 59.9307 | 49.4
15881 | 2022-05-19 15:37 | 22.6603 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 268.0344 | μmol/L | 18.2996 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.959 | 128842.8545 | 288380.7444 | 59.9307 | 49.4
15891 | 2022-05-19 15:38 | 22.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.7774 | μmol/L | 18.3058 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.968 | 128914.563 | 288372.4412 | 59.9307 | 49.4
15901 | 2022-05-19 15:38 | 23.327 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.6744 | μmol/L | 18.2935 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.977 | 128954.1452 | 288377.0227 | 59.9307 | 49.4
15911 | 2022-05-19 15:38 | 23.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.5547 | μmol/L | 18.2996 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.98 | 128972.4812 | 288361.7924 | 59.9307 | 49.4
15921 | 2022-05-19 15:39 | 23.9935 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.4406 | μmol/L | 18.2996 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.985 | 128991.9279 | 288356.5713 | 59.9307 | 49.4
15931 | 2022-05-19 15:39 | 24.3268 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.4406 | μmol/L | 18.2996 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.985 | 129004.9623 | 288367.2623 | 59.9307 | 49.4
15941 | 2022-05-19 15:39 | 24.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.281 | μmol/L | 18.2996 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.992 | 129013.846 | 288347.6414 | 59.9307 | 49.4
15951 | 2022-05-19 15:40 | 24.9937 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.241 | μmol/L | 18.2935 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 22.996 | 129039.4786 | 288348.3296 | 59.9307 | 49.4
15961 | 2022-05-19 15:40 | 25.327 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.1499 | μmol/L | 18.2935 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23 | 129071.6214 | 288352.9817 | 59.9307 | 49.4
15971 | 2022-05-19 15:40 | 25.6598 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.1611 | μmol/L | 18.2811 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.004 | 129081.6322 | 288347.5133 | 59.9307 | 49.4
15981 | 2022-05-19 15:41 | 25.9932 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 267.0189 | μmol/L | 18.2873 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.008 | 129113.1996 | 288344.6197 | 59.9307 | 49.4
15991 | 2022-05-19 15:41 | 26.3266 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 266.9961 | μmol/L | 18.2873 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.009 | 129152.4671 | 288340.4399 | 59.9307 | 49.4
16001 | 2022-05-19 15:41 | 26.6599 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 266.6777 | μmol/L | 18.2873 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.023 | 129211.4204 | 288334.7422 | 59.9307 | 49.4
16011 | 2022-05-19 15:42 | 26.9935 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 266.3144 | μmol/L | 18.2873 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.039 | 129302.4006 | 288326.1439 | 59.9307 | 49.4
16021 | 2022-05-19 15:42 | 27.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 266.0196 | μmol/L | 18.2873 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.052 | 129374.9434 | 288324.8955 | 59.9307 | 49.4
16031 | 2022-05-19 15:42 | 27.6601 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 265.9573 | μmol/L | 18.2811 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.057 | 129433.8708 | 288344.1152 | 59.9307 | 49.4
16041 | 2022-05-19 15:43 | 27.9934 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 265.8214 | μmol/L | 18.2811 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.063 | 129461.7735 | 288328.1242 | 59.9307 | 49.4
16051 | 2022-05-19 15:43 | 28.3265 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 265.6121 | μmol/L | 18.2873 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.07 | 129505.3716 | 288328.0806 | 59.9307 | 49.4
16061 | 2022-05-19 15:43 | 28.66 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 265.4369 | μmol/L | 18.2811 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.08 | 129549.0901 | 288314.4156 | 59.9307 | 49.4
16071 | 2022-05-19 15:44 | 28.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 265.2957 | μmol/L | 18.2873 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.084 | 129596.4801 | 288330.2169 | 59.9307 | 49.4
16081 | 2022-05-19 15:44 | 29.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 265.0925 | μmol/L | 18.2873 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.093 | 129646.9636 | 288340.4992 | 59.9307 | 49.4
16091 | 2022-05-19 15:44 | 29.6603 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 264.9403 | μmol/L | 18.2811 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.102 | 129700.7045 | 288327.0892 | 59.9307 | 49.4
16101 | 2022-05-19 15:45 | 29.9938 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 264.8276 | μmol/L | 18.2811 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.107 | 129739.8479 | 288333.1874 | 59.9307 | 49.4
16111 | 2022-05-19 15:45 | 30.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 264.5742 | μmol/L | 18.2873 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.116 | 129778.5469 | 288330.9983 | 59.9307 | 49.4
16121 | 2022-05-19 15:45 | 30.6605 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 264.4448 | μmol/L | 18.2811 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.124 | 129837.7508 | 288335.785 | 59.9307 | 49.4
16131 | 2022-05-19 15:46 | 30.9932 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 264.2368 | μmol/L | 18.2873 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.131 | 129883.5328 | 288325.9018 | 59.9307 | 49.4
16141 | 2022-05-19 15:46 | 31.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 264.2199 | μmol/L | 18.2811 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.134 | 129911.1639 | 288314.4374 | 59.9307 | 49.4
16151 | 2022-05-19 15:46 | 31.6601 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 264.0627 | μmol/L | 18.2811 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.141 | 129936.5687 | 288284.6284 | 59.9307 | 49.4
16161 | 2022-05-19 15:47 | 31.9935 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.928 | μmol/L | 18.2811 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.147 | 129973.196 | 288319.7425 | 59.9307 | 49.4
16171 | 2022-05-19 15:47 | 32.3268 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.8888 | μmol/L | 18.2749 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.151 | 130002.0392 | 288305.1982 | 59.9307 | 49.4
16181 | 2022-05-19 15:47 | 32.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.8047 | μmol/L | 18.2688 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.157 | 130024.2708 | 288298.4621 | 59.9307 | 49.4
16191 | 2022-05-19 15:48 | 32.9933 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.5748 | μmol/L | 18.2749 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.165 | 130072.6039 | 288305.4467 | 59.9307 | 49.4
16201 | 2022-05-19 15:48 | 33.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.4404 | μmol/L | 18.2749 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.171 | 130111.4872 | 288299.8378 | 59.9307 | 49.4
16211 | 2022-05-19 15:48 | 33.66 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.3342 | μmol/L | 18.2688 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.178 | 130175.433 | 288305.8778 | 59.9307 | 49.4
16221 | 2022-05-19 15:49 | 33.9932 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.2504 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.184 | 130192.8669 | 288310.7933 | 59.9307 | 49.4
16231 | 2022-05-19 15:49 | 34.3268 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.0825 | μmol/L | 18.2749 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.187 | 130212.0217 | 288309.4538 | 59.9307 | 49.4
16241 | 2022-05-19 15:49 | 34.6603 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.1162 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.19 | 130238.9275 | 288300.8223 | 59.9307 | 49.4
16251 | 2022-05-19 15:50 | 34.9938 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 263.0548 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.195 | 130270.6818 | 288321.9422 | 59.9307 | 49.4
16261 | 2022-05-19 15:50 | 35.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.8927 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.2 | 130302.1426 | 288316.6465 | 59.9307 | 49.4
16271 | 2022-05-19 15:50 | 35.6598 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.6804 | μmol/L | 18.2749 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.205 | 130333.2118 | 288295.9581 | 59.9307 | 49.4
16281 | 2022-05-19 15:51 | 35.9938 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.7141 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.208 | 130362.354 | 288320.213 | 59.9307 | 49.4
16291 | 2022-05-19 15:51 | 36.3265 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.5912 | μmol/L | 18.2749 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.209 | 130375.5145 | 288313.6502 | 59.9307 | 49.4
16301 | 2022-05-19 15:51 | 36.66 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.4797 | μmol/L | 18.2749 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.214 | 130408.4926 | 288314.4386 | 59.9307 | 49.4
16311 | 2022-05-19 15:52 | 36.9933 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.3071 | μmol/L | 18.2688 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.224 | 130439.1814 | 288321.0901 | 59.9307 | 49.4
16321 | 2022-05-19 15:52 | 37.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.246 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.229 | 130481.2475 | 288313.1379 | 59.9307 | 49.4
16331 | 2022-05-19 15:52 | 37.6603 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.0902 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.236 | 130522.2934 | 288332.6752 | 59.9307 | 49.4
16341 | 2022-05-19 15:53 | 37.9931 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.0736 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.239 | 130546.3972 | 288319.4932 | 59.9307 | 49.4
16351 | 2022-05-19 15:53 | 38.3265 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 262.0012 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.24 | 130572.1134 | 288311.7011 | 59.9307 | 49.4
16361 | 2022-05-19 15:53 | 38.6601 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 261.8233 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.248 | 130616.82 | 288312.8222 | 59.9307 | 49.4
16371 | 2022-05-19 15:54 | 38.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 261.5511 | μmol/L | 18.2688 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.258 | 130677.6176 | 288311.4382 | 59.9307 | 49.4
16381 | 2022-05-19 15:54 | 39.3272 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 261.5181 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.264 | 130697.74 | 288316.8668 | 59.9307 | 49.4
16391 | 2022-05-19 15:54 | 39.6606 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 261.2848 | μmol/L | 18.2688 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.27 | 130753.0292 | 288312.8926 | 59.9307 | 49.4
16401 | 2022-05-19 15:55 | 39.9933 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 261.1576 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.278 | 130786.2684 | 288320.6015 | 59.9307 | 49.4
16411 | 2022-05-19 15:55 | 40.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 261.0025 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.285 | 130832.3527 | 288313.9578 | 59.9307 | 49.4
16421 | 2022-05-19 15:55 | 40.6598 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 260.9861 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.288 | 130870.4308 | 288327.6821 | 59.9307 | 49.4
16431 | 2022-05-19 15:56 | 40.9937 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 260.8533 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.294 | 130908.0343 | 288308.2263 | 59.9307 | 49.4
16441 | 2022-05-19 15:56 | 41.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 260.7313 | μmol/L | 18.2688 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.295 | 130908.6879 | 288318.7006 | 59.9307 | 49.4
16451 | 2022-05-19 15:56 | 41.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 260.6928 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.299 | 130928.3893 | 288333.8367 | 59.9307 | 49.4
16461 | 2022-05-19 15:57 | 41.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 260.787 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.297 | 130931.6703 | 288311.7027 | 59.9307 | 49.4
16471 | 2022-05-19 15:57 | 42.3273 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 260.6985 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.301 | 130937.3747 | 288320.8998 | 59.9307 | 49.4
16481 | 2022-05-19 15:57 | 42.6605 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 260.6265 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.302 | 130951.1563 | 288304.0258 | 59.9307 | 49.4
16491 | 2022-05-19 15:58 | 42.9937 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 260.5986 | μmol/L | 18.2688 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.301 | 130955.6484 | 288314.3086 | 59.9307 | 49.4
16501 | 2022-05-19 15:58 | 43.327 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 260.6044 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.303 | 130961.5742 | 288317.0712 | 59.9307 | 49.4
16511 | 2022-05-19 15:58 | 43.6603 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 260.6543 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.303 | 130961.9393 | 288318.9974 | 59.9307 | 49.4
16521 | 2022-05-19 15:59 | 43.9937 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 260.6322 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.304 | 130969.9505 | 288332.8746 | 59.9307 | 49.4
16531 | 2022-05-19 15:59 | 44.3272 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 260.4056 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.312 | 131012.5261 | 288318.6666 | 59.9307 | 49.4
16541 | 2022-05-19 15:59 | 44.6598 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 260.2568 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.321 | 131087.073 | 288309.2013 | 59.9307 | 49.4
16551 | 2022-05-19 16:00 | 44.9932 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 259.9864 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.331 | 131136.3513 | 288305.7784 | 59.9307 | 49.4
16561 | 2022-05-19 16:00 | 45.3272 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 259.8322 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.338 | 131166.6308 | 288306.3527 | 59.9307 | 49.4
16571 | 2022-05-19 16:00 | 45.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 259.8102 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.339 | 131201.3919 | 288307.7525 | 59.9307 | 49.4
16581 | 2022-05-19 16:01 | 45.9937 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 259.6839 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.347 | 131232.9024 | 288315.0661 | 59.9307 | 49.4
16591 | 2022-05-19 16:01 | 46.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 259.5519 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.353 | 131254.6597 | 288325.1329 | 59.9307 | 49.4
16601 | 2022-05-19 16:01 | 46.6606 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 259.5519 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.353 | 131283.8115 | 288314.7644 | 59.9307 | 49.4
16611 | 2022-05-19 16:02 | 46.9932 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 259.42 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.359 | 131320.0424 | 288316.3297 | 59.9307 | 49.4
16621 | 2022-05-19 16:02 | 47.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 259.2442 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.367 | 131345.5855 | 288297.9431 | 59.9307 | 49.4
16631 | 2022-05-19 16:02 | 47.66 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 259.1182 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.375 | 131406.6278 | 288300.2633 | 59.9307 | 49.4
16641 | 2022-05-19 16:03 | 47.9934 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 258.6901 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.39 | 131500.9361 | 288291.6 | 59.9307 | 49.4
16651 | 2022-05-19 16:03 | 48.3269 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 258.2743 | μmol/L | 18.2626 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.409 | 131627.4164 | 288299.1122 | 59.9307 | 49.4
16661 | 2022-05-19 16:03 | 48.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 258.0398 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.422 | 131703.6158 | 288300.1822 | 59.9307 | 49.4
16671 | 2022-05-19 16:04 | 48.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 258.0674 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.423 | 131725.5798 | 288311.4111 | 59.9307 | 49.4
16681 | 2022-05-19 16:04 | 49.3272 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 257.9088 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.428 | 131748.8928 | 288311.0843 | 59.9307 | 49.4
16691 | 2022-05-19 16:04 | 49.6606 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 257.74 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.438 | 131794.648 | 288301.8028 | 59.9307 | 49.4
16701 | 2022-05-19 16:05 | 49.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 257.631 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.443 | 131831.2776 | 288312.7031 | 59.9307 | 49.4
16711 | 2022-05-19 16:05 | 50.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 257.631 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.443 | 131812.2641 | 288320.5527 | 59.9307 | 49.4
16721 | 2022-05-19 16:05 | 50.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 257.7124 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.437 | 131783.8123 | 288297.6489 | 59.9307 | 49.4
16731 | 2022-05-19 16:06 | 50.9938 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 257.74 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.438 | 131806.9329 | 288308.1326 | 59.9307 | 49.4
16741 | 2022-05-19 16:06 | 51.3266 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 257.5656 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.446 | 131852.528 | 288311.6507 | 59.9307 | 49.4
16751 | 2022-05-19 16:06 | 51.6601 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 257.631 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.443 | 131843.7266 | 288288.6279 | 59.9307 | 49.4
16761 | 2022-05-19 16:07 | 51.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 257.5163 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.446 | 131852.6895 | 288303.5595 | 59.9307 | 49.4
16771 | 2022-05-19 16:07 | 52.3269 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 257.4292 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.45 | 131869.3922 | 288295.7161 | 59.9307 | 49.4
16781 | 2022-05-19 16:07 | 52.6603 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 257.3914 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.454 | 131907.1011 | 288286.9078 | 59.9307 | 49.4
16791 | 2022-05-19 16:08 | 52.9938 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 257.3043 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.458 | 131930.5305 | 288283.2692 | 59.9307 | 49.4
16801 | 2022-05-19 16:08 | 53.3272 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 257.2115 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.46 | 131952.1951 | 288289.0266 | 59.9307 | 49.4
16811 | 2022-05-19 16:08 | 53.6601 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 257.1085 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.467 | 131972.7455 | 288280.8513 | 59.9307 | 49.4
16821 | 2022-05-19 16:09 | 53.9935 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 257.0274 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.473 | 132003.2536 | 288294.7691 | 59.9307 | 49.4
16831 | 2022-05-19 16:09 | 54.3269 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 256.8695 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.478 | 132069.334 | 288291.4003 | 59.9307 | 49.4
16841 | 2022-05-19 16:09 | 54.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 256.5599 | μmol/L | 18.2564 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.49 | 132124.3957 | 288296.5222 | 59.9307 | 49.4
16851 | 2022-05-19 16:10 | 54.9938 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 256.4847 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.498 | 132187.1553 | 288306.4945 | 59.9307 | 49.4
16861 | 2022-05-19 16:10 | 55.3272 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 256.333 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.505 | 132219.1665 | 288301.4029 | 59.9307 | 49.4
16871 | 2022-05-19 16:10 | 55.6598 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 256.154 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.511 | 132243.4444 | 288289.9937 | 59.9307 | 49.4
16881 | 2022-05-19 16:11 | 55.9932 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 256.0949 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.516 | 132277.1578 | 288258.648 | 59.9307 | 49.4
16891 | 2022-05-19 16:11 | 56.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 256.0516 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.518 | 132302.5746 | 288280.0008 | 59.9307 | 49.4
16901 | 2022-05-19 16:11 | 56.6605 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 255.916 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.522 | 132330.9271 | 288292.0178 | 59.9307 | 49.4
16911 | 2022-05-19 16:12 | 56.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 255.8786 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.526 | 132350.4729 | 288280.8258 | 59.9307 | 49.4
16921 | 2022-05-19 16:12 | 57.3272 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 255.7647 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.529 | 132368.254 | 288272.1051 | 59.9307 | 49.4
16931 | 2022-05-19 16:12 | 57.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 255.8196 | μmol/L | 18.2379 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.531 | 132393.5516 | 288269.6124 | 59.9307 | 49.4
16941 | 2022-05-19 16:13 | 57.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 255.5919 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.537 | 132421.3236 | 288287.9033 | 59.9307 | 49.4
16951 | 2022-05-19 16:13 | 58.3265 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 255.5546 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.541 | 132445.278 | 288275.53 | 59.9307 | 49.4
16961 | 2022-05-19 16:13 | 58.6598 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 255.5114 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.543 | 132463.9177 | 288274.8668 | 59.9307 | 49.4
16971 | 2022-05-19 16:14 | 58.9933 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 255.333 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.549 | 132494.9571 | 288276.633 | 59.9307 | 49.4
16981 | 2022-05-19 16:14 | 59.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 255.382 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.549 | 132511.4932 | 288269.5588 | 59.9307 | 49.4
16991 | 2022-05-19 16:14 | 59.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 255.188 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.558 | 132561.5112 | 288272.105 | 59.9307 | 49.4
17001 | 2022-05-19 16:15 | 59.9935 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 254.9941 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.567 | 132629.5576 | 288282.1834 | 59.9307 | 49.4
17011 | 2022-05-19 16:15 | 60.3269 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 254.7203 | μmol/L | 18.2379 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.582 | 132678.9903 | 288267.0929 | 59.9307 | 49.4
17021 | 2022-05-19 16:15 | 60.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 254.5582 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.585 | 132716.7707 | 288269.9927 | 59.9307 | 49.4
17031 | 2022-05-19 16:16 | 60.9937 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 254.4566 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.592 | 132753.7076 | 288274.7929 | 59.9307 | 49.4
17041 | 2022-05-19 16:16 | 61.3271 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 254.3922 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.595 | 132782.7439 | 288276.076 | 59.9307 | 49.4
17051 | 2022-05-19 16:16 | 61.6605 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 254.3336 | μmol/L | 18.2379 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.6 | 132812.9219 | 288279.4419 | 59.9307 | 49.4
17061 | 2022-05-19 16:17 | 61.9932 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 254.1776 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.605 | 132832.4077 | 288279.7921 | 59.9307 | 49.4
17071 | 2022-05-19 16:17 | 62.3265 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 254.086 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.607 | 132844.7982 | 288276.8742 | 59.9307 | 49.4
17081 | 2022-05-19 16:17 | 62.6606 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 254.0704 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.61 | 132876.1664 | 288282.4651 | 59.9307 | 49.4
17091 | 2022-05-19 16:18 | 62.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 253.9263 | μmol/L | 18.2379 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.619 | 132912.276 | 288268.4096 | 59.9307 | 49.4
17101 | 2022-05-19 16:18 | 63.3268 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 253.7706 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.624 | 132950.8542 | 288282.1561 | 59.9307 | 49.4
17111 | 2022-05-19 16:18 | 63.66 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 253.7278 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.626 | 132978.1025 | 288267.9984 | 59.9307 | 49.4
17121 | 2022-05-19 16:19 | 63.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 253.578 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.633 | 133007.3218 | 288285.2031 | 59.9307 | 49.4
17131 | 2022-05-19 16:19 | 64.327 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 253.5139 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.636 | 133029.5791 | 288283.6168 | 59.9307 | 49.4
17141 | 2022-05-19 16:19 | 64.6605 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 253.407 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.641 | 133056.6909 | 288275.0304 | 59.9307 | 49.4
17151 | 2022-05-19 16:20 | 64.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 253.3215 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.645 | 133081.8657 | 288264.8289 | 59.9307 | 49.4
17161 | 2022-05-19 16:20 | 65.3273 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 253.3429 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.644 | 133102.3039 | 288263.9756 | 59.9307 | 49.4
17171 | 2022-05-19 16:20 | 65.6606 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 253.2847 | μmol/L | 18.2379 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.649 | 133121.5605 | 288266.797 | 59.9307 | 49.4
17181 | 2022-05-19 16:21 | 65.9934 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 253.0382 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.656 | 133137.6519 | 288268.6925 | 59.9307 | 49.4
17191 | 2022-05-19 16:21 | 66.3269 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.9956 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.658 | 133173.6587 | 288260.753 | 59.9307 | 49.4
17201 | 2022-05-19 16:21 | 66.6604 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.8735 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.666 | 133206.9127 | 288261.2668 | 59.9307 | 49.4
17211 | 2022-05-19 16:22 | 66.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.8096 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.669 | 133256.9441 | 288269.8807 | 59.9307 | 49.4
17221 | 2022-05-19 16:22 | 67.3266 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.6818 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.675 | 133272.4716 | 288254.3912 | 59.9307 | 49.4
17231 | 2022-05-19 16:22 | 67.6601 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.6663 | μmol/L | 18.2379 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.678 | 133312.7109 | 288265.0614 | 59.9307 | 49.4
17241 | 2022-05-19 16:23 | 67.9936 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.4205 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.685 | 133339.682 | 288256.7139 | 59.9307 | 49.4
17251 | 2022-05-19 16:23 | 68.3272 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.293 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.691 | 133383.8681 | 288263.5095 | 59.9307 | 49.4
17261 | 2022-05-19 16:23 | 68.6606 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 252.2409 | μmol/L | 18.2379 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.698 | 133424.9937 | 288259.8066 | 59.9307 | 49.4
17271 | 2022-05-19 16:24 | 68.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.9744 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.706 | 133466.941 | 288250.8935 | 59.9307 | 49.4
17281 | 2022-05-19 16:24 | 69.3272 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.9802 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.708 | 133484.3948 | 288257.8269 | 59.9307 | 49.4
17291 | 2022-05-19 16:24 | 69.66 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.9165 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.711 | 133495.9208 | 288249.2557 | 59.9307 | 49.4
17301 | 2022-05-19 16:25 | 69.9932 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.8588 | μmol/L | 18.2379 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.716 | 133534.9226 | 288259.0266 | 59.9307 | 49.4
17311 | 2022-05-19 16:25 | 70.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.7257 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.72 | 133579.0664 | 288258.0735 | 59.9307 | 49.4
17321 | 2022-05-19 16:25 | 70.66 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.562 | μmol/L | 18.2379 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.73 | 133612.2592 | 288258.9002 | 59.9307 | 49.4
17331 | 2022-05-19 16:26 | 70.9933 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.4079 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.735 | 133640.824 | 288257.5516 | 59.9307 | 49.4
17341 | 2022-05-19 16:26 | 71.3266 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.4561 | μmol/L | 18.2379 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.735 | 133674.9723 | 288252.0676 | 59.9307 | 49.4
17351 | 2022-05-19 16:26 | 71.66 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.3021 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.74 | 133697.204 | 288271.9172 | 59.9307 | 49.4
17361 | 2022-05-19 16:27 | 71.9933 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 251.1964 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.745 | 133712.4045 | 288258.6482 | 59.9307 | 49.4
17371 | 2022-05-19 16:27 | 72.3267 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 250.9792 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.753 | 133781.8715 | 288252.2116 | 59.9307 | 49.4
17381 | 2022-05-19 16:27 | 72.6602 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 250.9639 | μmol/L | 18.2441 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.756 | 133837.1884 | 288262.802 | 59.9307 | 49.4
17391 | 2022-05-19 16:28 | 72.9939 | oxy_ch_7 (PSt7-10) | 2022-05-17 09:57 | default | 250.8736 | μmol/L | 18.2503 | °C | 1025 | hPa | Humid | 0 | 1 | 0 | 23.758 | 133861.2391 | 288254.6921 | 59.9307 | 49.4