## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_10 | O2 | 200465988 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 10:01

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-19 16:30

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
15204 | 2022-05-19 15:15 | 0 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.7074 | μmol/L | 18.4711 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.506 | 104901.7057 | 266673.1011 | 32.55 | 27.7
15214 | 2022-05-19 15:15 | 0.33838 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.6124 | μmol/L | 18.4711 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.51 | 104941.3402 | 266656.5361 | 32.55 | 27.7
15225 | 2022-05-19 15:15 | 0.67158 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.4936 | μmol/L | 18.4711 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.515 | 104964.1706 | 266630.9352 | 32.55 | 27.7
15235 | 2022-05-19 15:16 | 1.0048 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.3038 | μmol/L | 18.4711 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.523 | 104981.325 | 266615.5307 | 32.55 | 27.7
15245 | 2022-05-19 15:16 | 1.3379 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.2036 | μmol/L | 18.4772 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.525 | 105002.9479 | 266589.4748 | 32.55 | 27.7
15255 | 2022-05-19 15:16 | 1.6714 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.1088 | μmol/L | 18.4772 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.529 | 105019.7848 | 266589.3719 | 32.55 | 27.7
15265 | 2022-05-19 15:17 | 2.0048 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 278.0193 | μmol/L | 18.4711 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.535 | 105044.7292 | 266579.044 | 32.55 | 27.7
15274 | 2022-05-19 15:17 | 2.3383 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.8535 | μmol/L | 18.4711 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.542 | 105073.7107 | 266560.2847 | 32.55 | 27.7
15285 | 2022-05-19 15:17 | 2.6711 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.7588 | μmol/L | 18.4711 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.546 | 105092.7081 | 266538.6189 | 32.55 | 27.7
15295 | 2022-05-19 15:18 | 3.0047 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.6878 | μmol/L | 18.4711 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.549 | 105121.8099 | 266537.6569 | 32.55 | 27.7
15305 | 2022-05-19 15:18 | 3.3381 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.5985 | μmol/L | 18.465 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.555 | 105139.916 | 266520.5817 | 32.55 | 27.7
15315 | 2022-05-19 15:18 | 3.6714 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.5802 | μmol/L | 18.4588 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.558 | 105165.8411 | 266518.2943 | 32.55 | 27.7
15325 | 2022-05-19 15:19 | 4.0047 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.4384 | μmol/L | 18.4588 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.564 | 105174.7006 | 266492.149 | 32.55 | 27.7
15334 | 2022-05-19 15:19 | 4.3382 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.4856 | μmol/L | 18.4588 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.562 | 105184.5446 | 266496.5226 | 32.55 | 27.7
15344 | 2022-05-19 15:19 | 4.6712 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.2677 | μmol/L | 18.465 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.569 | 105199.3489 | 266493.1021 | 32.55 | 27.7
15354 | 2022-05-19 15:20 | 5.0046 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.3439 | μmol/L | 18.4588 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.568 | 105207.5998 | 266485.9084 | 32.55 | 27.7
15365 | 2022-05-19 15:20 | 5.3383 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.2441 | μmol/L | 18.465 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.57 | 105221.5793 | 266490.0192 | 32.55 | 27.7
15374 | 2022-05-19 15:20 | 5.6717 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.302 | μmol/L | 18.4527 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.572 | 105239.6713 | 266465.0376 | 32.55 | 27.7
15385 | 2022-05-19 15:21 | 6.0044 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.0553 | μmol/L | 18.465 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.578 | 105249.0715 | 266474.9921 | 32.55 | 27.7
15394 | 2022-05-19 15:21 | 6.3377 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.0842 | μmol/L | 18.4588 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.579 | 105258.0168 | 266470.6307 | 32.55 | 27.7
15404 | 2022-05-19 15:21 | 6.6711 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.066 | μmol/L | 18.4527 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.582 | 105266.8515 | 266456.8727 | 32.55 | 27.7
15415 | 2022-05-19 15:22 | 7.0043 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.0713 | μmol/L | 18.4466 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.584 | 105282.9706 | 266451.0228 | 32.55 | 27.7
15425 | 2022-05-19 15:22 | 7.338 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.0713 | μmol/L | 18.4466 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.584 | 105290.9572 | 266442.264 | 32.55 | 27.7
15435 | 2022-05-19 15:22 | 7.6717 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 277.0713 | μmol/L | 18.4466 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.584 | 105304.174 | 266447.1023 | 32.55 | 27.7
15445 | 2022-05-19 15:23 | 8.0043 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.8302 | μmol/L | 18.4527 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.592 | 105305.1956 | 266430.4551 | 32.55 | 27.7
15455 | 2022-05-19 15:23 | 8.3382 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.9116 | μmol/L | 18.4405 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.593 | 105312.9774 | 266436.1382 | 32.55 | 27.7
15464 | 2022-05-19 15:23 | 8.6715 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.9352 | μmol/L | 18.4405 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.592 | 105316.7256 | 266425.7572 | 32.55 | 27.7
15474 | 2022-05-19 15:24 | 9.0047 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.9588 | μmol/L | 18.4405 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.591 | 105325.3893 | 266420.9741 | 32.55 | 27.7
15485 | 2022-05-19 15:24 | 9.3383 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.7938 | μmol/L | 18.4405 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.598 | 105334.9181 | 266408.782 | 32.55 | 27.7
15494 | 2022-05-19 15:24 | 9.6712 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.8463 | μmol/L | 18.4344 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.598 | 105333.7804 | 266398.5536 | 32.55 | 27.7
15505 | 2022-05-19 15:25 | 10.0046 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.781 | μmol/L | 18.4283 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.603 | 105346.7877 | 266400.8131 | 32.55 | 27.7
15515 | 2022-05-19 15:25 | 10.3381 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.8227 | μmol/L | 18.4344 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.599 | 105346.6399 | 266396.8704 | 32.55 | 27.7
15525 | 2022-05-19 15:25 | 10.6714 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.8046 | μmol/L | 18.4283 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.602 | 105349.8804 | 266396.514 | 32.55 | 27.7
15534 | 2022-05-19 15:26 | 11.0048 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.7339 | μmol/L | 18.4283 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.605 | 105351.7884 | 266395.4261 | 32.55 | 27.7
15544 | 2022-05-19 15:26 | 11.3381 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.6633 | μmol/L | 18.4283 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.608 | 105346.6373 | 266388.6586 | 32.55 | 27.7
15555 | 2022-05-19 15:26 | 11.6716 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.6216 | μmol/L | 18.4221 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.612 | 105361.2538 | 266382.3914 | 32.55 | 27.7
15564 | 2022-05-19 15:27 | 12.0043 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.7104 | μmol/L | 18.4283 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.606 | 105367.7347 | 266389.555 | 32.55 | 27.7
15575 | 2022-05-19 15:27 | 12.3384 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.6868 | μmol/L | 18.4283 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.607 | 105370.7129 | 266389.8802 | 32.55 | 27.7
15584 | 2022-05-19 15:27 | 12.6714 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5745 | μmol/L | 18.4221 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.614 | 105364.7866 | 266386.2519 | 32.55 | 27.7
15595 | 2022-05-19 15:28 | 13.0047 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.7157 | μmol/L | 18.4221 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.608 | 105366.1302 | 266372.3509 | 32.55 | 27.7
15604 | 2022-05-19 15:28 | 13.338 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.6451 | μmol/L | 18.4221 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.611 | 105377.5925 | 266373.8835 | 32.55 | 27.7
15615 | 2022-05-19 15:28 | 13.6714 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.6035 | μmol/L | 18.416 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.615 | 105380.9472 | 266370.4592 | 32.55 | 27.7
15625 | 2022-05-19 15:29 | 14.005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.6741 | μmol/L | 18.416 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.612 | 105387.3041 | 266385.502 | 32.55 | 27.7
15635 | 2022-05-19 15:29 | 14.3383 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5745 | μmol/L | 18.4221 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.614 | 105386.4384 | 266384.2632 | 32.55 | 27.7
15645 | 2022-05-19 15:29 | 14.6716 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5275 | μmol/L | 18.4221 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.616 | 105388.3368 | 266372.2529 | 32.55 | 27.7
15654 | 2022-05-19 15:30 | 15.0043 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5039 | μmol/L | 18.4221 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.617 | 105397.2795 | 266380.0221 | 32.55 | 27.7
15664 | 2022-05-19 15:30 | 15.3376 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.4804 | μmol/L | 18.4221 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.618 | 105399.8691 | 266359.1408 | 32.55 | 27.7
15674 | 2022-05-19 15:30 | 15.6712 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.4858 | μmol/L | 18.416 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.62 | 105403.4171 | 266371.0694 | 32.55 | 27.7
15685 | 2022-05-19 15:31 | 16.005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5799 | μmol/L | 18.416 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.616 | 105404.0016 | 266354.5123 | 32.55 | 27.7
15695 | 2022-05-19 15:31 | 16.3378 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.4623 | μmol/L | 18.416 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.621 | 105403.629 | 266359.5845 | 32.55 | 27.7
15705 | 2022-05-19 15:31 | 16.6713 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5618 | μmol/L | 18.4099 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.619 | 105405.4687 | 266337.8773 | 32.55 | 27.7
15714 | 2022-05-19 15:32 | 17.0048 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5148 | μmol/L | 18.4099 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.621 | 105418.7424 | 266356.637 | 32.55 | 27.7
15724 | 2022-05-19 15:32 | 17.3384 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.3972 | μmol/L | 18.4099 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.626 | 105411.8178 | 266347.0786 | 32.55 | 27.7
15734 | 2022-05-19 15:32 | 17.6717 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.4912 | μmol/L | 18.4099 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.622 | 105414.213 | 266348.2392 | 32.55 | 27.7
15745 | 2022-05-19 15:33 | 18.0044 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.4966 | μmol/L | 18.4038 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.624 | 105411.507 | 266338.0838 | 32.55 | 27.7
15755 | 2022-05-19 15:33 | 18.338 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5907 | μmol/L | 18.4038 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.62 | 105411.134 | 266332.2486 | 32.55 | 27.7
15765 | 2022-05-19 15:33 | 18.6715 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.4026 | μmol/L | 18.4038 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.628 | 105414.7519 | 266321.8353 | 32.55 | 27.7
15774 | 2022-05-19 15:34 | 19.0049 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5075 | μmol/L | 18.3916 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.628 | 105413.0478 | 266323.4503 | 32.55 | 27.7
15785 | 2022-05-19 15:34 | 19.3382 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.3972 | μmol/L | 18.4099 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.626 | 105412.6474 | 266314.6853 | 32.55 | 27.7
15794 | 2022-05-19 15:34 | 19.6711 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.455 | μmol/L | 18.3977 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.628 | 105422.1243 | 266323.9197 | 32.55 | 27.7
15805 | 2022-05-19 15:35 | 20.005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.3321 | μmol/L | 18.4038 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.631 | 105412.2755 | 266313.4446 | 32.55 | 27.7
15815 | 2022-05-19 15:35 | 20.3376 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.3267 | μmol/L | 18.4099 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.629 | 105413.7903 | 266315.6895 | 32.55 | 27.7
15824 | 2022-05-19 15:35 | 20.6711 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.4315 | μmol/L | 18.3977 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.629 | 105422.1418 | 266302.8486 | 32.55 | 27.7
15834 | 2022-05-19 15:36 | 21.0047 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.4315 | μmol/L | 18.3977 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.629 | 105418.768 | 266297.7359 | 32.55 | 27.7
15845 | 2022-05-19 15:36 | 21.3381 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.2327 | μmol/L | 18.4099 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.633 | 105417.4941 | 266300.8724 | 32.55 | 27.7
15855 | 2022-05-19 15:36 | 21.6715 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.5075 | μmol/L | 18.3916 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.628 | 105419.9824 | 266305.7668 | 32.55 | 27.7
15864 | 2022-05-19 15:37 | 22.0051 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.3321 | μmol/L | 18.4038 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.631 | 105418.1185 | 266292.7485 | 32.55 | 27.7
15875 | 2022-05-19 15:37 | 22.3378 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.4315 | μmol/L | 18.3977 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.629 | 105419.4512 | 266301.5765 | 32.55 | 27.7
15885 | 2022-05-19 15:37 | 22.6714 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.314 | μmol/L | 18.3977 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.634 | 105424.7597 | 266295.8811 | 32.55 | 27.7
15895 | 2022-05-19 15:38 | 23.0048 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.3194 | μmol/L | 18.3916 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.636 | 105427.7131 | 266292.1814 | 32.55 | 27.7
15905 | 2022-05-19 15:38 | 23.3382 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.3194 | μmol/L | 18.3916 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.636 | 105411.4297 | 266284.0257 | 32.55 | 27.7
15914 | 2022-05-19 15:38 | 23.6717 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.437 | μmol/L | 18.3916 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.631 | 105421.1965 | 266290.9289 | 32.55 | 27.7
15925 | 2022-05-19 15:39 | 24.0051 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.2905 | μmol/L | 18.3977 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.635 | 105423.4013 | 266277.877 | 32.55 | 27.7
15934 | 2022-05-19 15:39 | 24.3378 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.2959 | μmol/L | 18.3916 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.637 | 105421.8687 | 266279.6223 | 32.55 | 27.7
15945 | 2022-05-19 15:39 | 24.6711 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.2959 | μmol/L | 18.3916 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.637 | 105424.8421 | 266287.3855 | 32.55 | 27.7
15954 | 2022-05-19 15:40 | 25.0046 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.2959 | μmol/L | 18.3916 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.637 | 105423.5217 | 266284.8796 | 32.55 | 27.7
15964 | 2022-05-19 15:40 | 25.3379 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.1081 | μmol/L | 18.3916 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.645 | 105426.3056 | 266268.1454 | 32.55 | 27.7
15974 | 2022-05-19 15:40 | 25.6714 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.2309 | μmol/L | 18.3855 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.642 | 105423.459 | 266271.2726 | 32.55 | 27.7
15985 | 2022-05-19 15:41 | 26.005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.3014 | μmol/L | 18.3855 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.639 | 105427.9075 | 266267.2229 | 32.55 | 27.7
15994 | 2022-05-19 15:41 | 26.3378 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.2074 | μmol/L | 18.3855 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.643 | 105428.6133 | 266263.5566 | 32.55 | 27.7
16004 | 2022-05-19 15:41 | 26.6712 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.2599 | μmol/L | 18.3793 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.643 | 105433.1365 | 266260.3503 | 32.55 | 27.7
16014 | 2022-05-19 15:42 | 27.0048 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.3538 | μmol/L | 18.3793 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.639 | 105425.6157 | 266253.6237 | 32.55 | 27.7
16025 | 2022-05-19 15:42 | 27.3381 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.3014 | μmol/L | 18.3855 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.639 | 105430.3008 | 266250.2957 | 32.55 | 27.7
16034 | 2022-05-19 15:42 | 27.6715 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.137 | μmol/L | 18.3855 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.646 | 105439.0411 | 266253.0116 | 32.55 | 27.7
16045 | 2022-05-19 15:43 | 28.005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.09 | μmol/L | 18.3855 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.648 | 105435.4485 | 266256.2942 | 32.55 | 27.7
16054 | 2022-05-19 15:43 | 28.3384 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.2129 | μmol/L | 18.3793 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.645 | 105438.6104 | 266254.6312 | 32.55 | 27.7
16065 | 2022-05-19 15:43 | 28.6713 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.1424 | μmol/L | 18.3793 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.648 | 105447.5668 | 266260.3898 | 32.55 | 27.7
16075 | 2022-05-19 15:44 | 29.005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.2129 | μmol/L | 18.3793 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.645 | 105440.5476 | 266251.9201 | 32.55 | 27.7
16085 | 2022-05-19 15:44 | 29.3384 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.1894 | μmol/L | 18.3793 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.646 | 105454.8206 | 266262.2292 | 32.55 | 27.7
16094 | 2022-05-19 15:44 | 29.671 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.2129 | μmol/L | 18.3793 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.645 | 105451.291 | 266257.8415 | 32.55 | 27.7
16105 | 2022-05-19 15:45 | 30.0047 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.1135 | μmol/L | 18.3855 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.647 | 105451.807 | 266250.1879 | 32.55 | 27.7
16114 | 2022-05-19 15:45 | 30.338 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.1479 | μmol/L | 18.3732 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.65 | 105450.3607 | 266255.0949 | 32.55 | 27.7
16125 | 2022-05-19 15:45 | 30.6713 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.0196 | μmol/L | 18.3855 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.651 | 105451.6849 | 266257.9778 | 32.55 | 27.7
16135 | 2022-05-19 15:46 | 31.005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.119 | μmol/L | 18.3793 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.649 | 105457.8224 | 266249.3889 | 32.55 | 27.7
16144 | 2022-05-19 15:46 | 31.3384 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.1714 | μmol/L | 18.3732 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.649 | 105462.0303 | 266252.727 | 32.55 | 27.7
16154 | 2022-05-19 15:46 | 31.6709 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.2708 | μmol/L | 18.3671 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.647 | 105464.9502 | 266256.7127 | 32.55 | 27.7
16165 | 2022-05-19 15:47 | 32.0045 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.101 | μmol/L | 18.3732 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.652 | 105463.7548 | 266242.3147 | 32.55 | 27.7
16174 | 2022-05-19 15:47 | 32.3378 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.2183 | μmol/L | 18.3732 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.647 | 105452.9727 | 266235.9517 | 32.55 | 27.7
16184 | 2022-05-19 15:47 | 32.6712 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.0306 | μmol/L | 18.3732 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.655 | 105464.9922 | 266244.3385 | 32.55 | 27.7
16194 | 2022-05-19 15:48 | 33.0045 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.1299 | μmol/L | 18.3671 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.653 | 105468.1636 | 266243.2415 | 32.55 | 27.7
16205 | 2022-05-19 15:48 | 33.338 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.1769 | μmol/L | 18.3671 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.651 | 105466.0686 | 266236.1837 | 32.55 | 27.7
16215 | 2022-05-19 15:48 | 33.6714 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.0775 | μmol/L | 18.3732 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.653 | 105470.2047 | 266241.4899 | 32.55 | 27.7
16225 | 2022-05-19 15:49 | 34.005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.0126 | μmol/L | 18.3671 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.658 | 105472.2026 | 266243.8143 | 32.55 | 27.7
16234 | 2022-05-19 15:49 | 34.3376 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.1823 | μmol/L | 18.361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.653 | 105464.2105 | 266229.1772 | 32.55 | 27.7
16244 | 2022-05-19 15:49 | 34.671 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.083 | μmol/L | 18.3671 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.655 | 105470.4486 | 266234.8854 | 32.55 | 27.7
16254 | 2022-05-19 15:50 | 35.0045 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.1409 | μmol/L | 18.3549 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.657 | 105481.1276 | 266236.7737 | 32.55 | 27.7
16264 | 2022-05-19 15:50 | 35.338 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.036 | μmol/L | 18.3671 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.657 | 105478.7963 | 266246.5494 | 32.55 | 27.7
16275 | 2022-05-19 15:50 | 35.6714 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9836 | μmol/L | 18.3732 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.657 | 105475.3091 | 266239.8405 | 32.55 | 27.7
16285 | 2022-05-19 15:51 | 36.0051 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.018 | μmol/L | 18.361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.66 | 105480.9556 | 266260.1692 | 32.55 | 27.7
16294 | 2022-05-19 15:51 | 36.3378 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.1119 | μmol/L | 18.361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.656 | 105484.184 | 266246.63 | 32.55 | 27.7
16304 | 2022-05-19 15:51 | 36.6714 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9422 | μmol/L | 18.3671 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.661 | 105498.0597 | 266240.4931 | 32.55 | 27.7
16315 | 2022-05-19 15:52 | 37.0049 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9367 | μmol/L | 18.3732 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.659 | 105488.3273 | 266251.0906 | 32.55 | 27.7
16324 | 2022-05-19 15:52 | 37.3378 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9422 | μmol/L | 18.3671 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.661 | 105499.6557 | 266251.4082 | 32.55 | 27.7
16335 | 2022-05-19 15:52 | 37.6714 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9477 | μmol/L | 18.361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.663 | 105496.2339 | 266244.4719 | 32.55 | 27.7
16345 | 2022-05-19 15:53 | 38.0048 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9711 | μmol/L | 18.361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.662 | 105507.7341 | 266256.5893 | 32.55 | 27.7
16355 | 2022-05-19 15:53 | 38.3383 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9477 | μmol/L | 18.361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.663 | 105510.027 | 266240.6713 | 32.55 | 27.7
16364 | 2022-05-19 15:53 | 38.671 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.0939 | μmol/L | 18.3549 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.659 | 105511.1854 | 266235.7867 | 32.55 | 27.7
16375 | 2022-05-19 15:54 | 39.0044 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.047 | μmol/L | 18.3549 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.661 | 105508.6918 | 266245.4494 | 32.55 | 27.7
16385 | 2022-05-19 15:54 | 39.338 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9008 | μmol/L | 18.361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.665 | 105511.8924 | 266240.6367 | 32.55 | 27.7
16394 | 2022-05-19 15:54 | 39.6715 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9008 | μmol/L | 18.361 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.665 | 105523.2427 | 266248.2155 | 32.55 | 27.7
16405 | 2022-05-19 15:55 | 40.0049 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9532 | μmol/L | 18.3549 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.665 | 105521.8573 | 266255.0651 | 32.55 | 27.7
16415 | 2022-05-19 15:55 | 40.3382 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.0001 | μmol/L | 18.3549 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.663 | 105521.7208 | 266240.8399 | 32.55 | 27.7
16425 | 2022-05-19 15:55 | 40.6711 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9766 | μmol/L | 18.3549 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.664 | 105521.1446 | 266237.846 | 32.55 | 27.7
16435 | 2022-05-19 15:56 | 41.0047 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9297 | μmol/L | 18.3549 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.666 | 105525.492 | 266242.0584 | 32.55 | 27.7
16444 | 2022-05-19 15:56 | 41.3379 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.0235 | μmol/L | 18.3549 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.662 | 105523.5427 | 266242.934 | 32.55 | 27.7
16455 | 2022-05-19 15:56 | 41.6715 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9821 | μmol/L | 18.3488 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.666 | 105529.8112 | 266240.8849 | 32.55 | 27.7
16465 | 2022-05-19 15:57 | 42.0043 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9297 | μmol/L | 18.3549 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.666 | 105527.795 | 266257.6837 | 32.55 | 27.7
16474 | 2022-05-19 15:57 | 42.3377 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9766 | μmol/L | 18.3549 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.664 | 105532.6258 | 266249.1265 | 32.55 | 27.7
16484 | 2022-05-19 15:57 | 42.671 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9532 | μmol/L | 18.3549 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.665 | 105521.0652 | 266231.5668 | 32.55 | 27.7
16494 | 2022-05-19 15:58 | 43.0044 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9532 | μmol/L | 18.3549 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.665 | 105512.9937 | 266247.0694 | 32.55 | 27.7
16504 | 2022-05-19 15:58 | 43.3377 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.0056 | μmol/L | 18.3488 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.665 | 105525.8358 | 266237.8281 | 32.55 | 27.7
16514 | 2022-05-19 15:58 | 43.6711 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9532 | μmol/L | 18.3549 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.665 | 105521.2547 | 266239.8608 | 32.55 | 27.7
16525 | 2022-05-19 15:59 | 44.0045 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.029 | μmol/L | 18.3488 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.664 | 105525.7135 | 266233.5344 | 32.55 | 27.7
16534 | 2022-05-19 15:59 | 44.3379 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.058 | μmol/L | 18.3427 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.665 | 105530.2155 | 266245.0521 | 32.55 | 27.7
16544 | 2022-05-19 15:59 | 44.6713 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9821 | μmol/L | 18.3488 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.666 | 105532.1678 | 266242.5877 | 32.55 | 27.7
16555 | 2022-05-19 16:00 | 45.0045 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9766 | μmol/L | 18.3549 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.664 | 105534.5809 | 266228.1269 | 32.55 | 27.7
16565 | 2022-05-19 16:00 | 45.3382 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9587 | μmol/L | 18.3488 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.667 | 105537.2509 | 266239.4478 | 32.55 | 27.7
16575 | 2022-05-19 16:00 | 45.6716 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.1284 | μmol/L | 18.3427 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.662 | 105539.8042 | 266234.5843 | 32.55 | 27.7
16585 | 2022-05-19 16:01 | 46.0049 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.0111 | μmol/L | 18.3427 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.667 | 105528.5917 | 266227.6149 | 32.55 | 27.7
16595 | 2022-05-19 16:01 | 46.3384 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.0345 | μmol/L | 18.3427 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.666 | 105529.0688 | 266235.5017 | 32.55 | 27.7
16604 | 2022-05-19 16:01 | 46.671 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9587 | μmol/L | 18.3488 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.667 | 105527.4219 | 266220.8854 | 32.55 | 27.7
16614 | 2022-05-19 16:02 | 47.0045 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9173 | μmol/L | 18.3427 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.671 | 105528.5028 | 266220.2988 | 32.55 | 27.7
16624 | 2022-05-19 16:02 | 47.338 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9876 | μmol/L | 18.3427 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.668 | 105528.4657 | 266220.0108 | 32.55 | 27.7
16635 | 2022-05-19 16:02 | 47.6717 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.0345 | μmol/L | 18.3427 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.666 | 105522.7477 | 266225.8721 | 32.55 | 27.7
16645 | 2022-05-19 16:03 | 48.0043 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.1284 | μmol/L | 18.3427 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.662 | 105527.1624 | 266218.0199 | 32.55 | 27.7
16655 | 2022-05-19 16:03 | 48.3376 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.0345 | μmol/L | 18.3427 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.666 | 105518.999 | 266199.1878 | 32.55 | 27.7
16664 | 2022-05-19 16:03 | 48.671 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.0111 | μmol/L | 18.3427 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.667 | 105523.6015 | 266212.5625 | 32.55 | 27.7
16674 | 2022-05-19 16:04 | 49.0045 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.0345 | μmol/L | 18.3427 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.666 | 105525.269 | 266207.3581 | 32.55 | 27.7
16684 | 2022-05-19 16:04 | 49.338 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9876 | μmol/L | 18.3427 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.668 | 105522.5578 | 266204.6464 | 32.55 | 27.7
16695 | 2022-05-19 16:04 | 49.6714 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 276.0635 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.667 | 105532.7635 | 266216.3901 | 32.55 | 27.7
16704 | 2022-05-19 16:05 | 50.0046 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9642 | μmol/L | 18.3427 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.669 | 105544.2284 | 266218.0791 | 32.55 | 27.7
16714 | 2022-05-19 16:05 | 50.3383 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9118 | μmol/L | 18.3488 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.669 | 105548.383 | 266224.7331 | 32.55 | 27.7
16724 | 2022-05-19 16:05 | 50.671 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.8883 | μmol/L | 18.3488 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.67 | 105548.4013 | 266216.0364 | 32.55 | 27.7
16734 | 2022-05-19 16:06 | 51.0045 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.8469 | μmol/L | 18.3427 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.674 | 105558.8921 | 266216.414 | 32.55 | 27.7
16744 | 2022-05-19 16:06 | 51.3379 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9228 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.673 | 105560.4659 | 266216.2801 | 32.55 | 27.7
16755 | 2022-05-19 16:06 | 51.6716 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.8704 | μmol/L | 18.3427 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.673 | 105573.7136 | 266229.7074 | 32.55 | 27.7
16765 | 2022-05-19 16:07 | 52.005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.9173 | μmol/L | 18.3427 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.671 | 105577.6157 | 266214.8802 | 32.55 | 27.7
16775 | 2022-05-19 16:07 | 52.3384 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.8525 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.676 | 105575.5441 | 266215.8543 | 32.55 | 27.7
16784 | 2022-05-19 16:07 | 52.671 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.7587 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.68 | 105583.1725 | 266213.3853 | 32.55 | 27.7
16795 | 2022-05-19 16:08 | 53.0049 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.8001 | μmol/L | 18.3427 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.676 | 105580.3506 | 266204.7896 | 32.55 | 27.7
16805 | 2022-05-19 16:08 | 53.3383 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.7532 | μmol/L | 18.3427 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.678 | 105577.644 | 266209.194 | 32.55 | 27.7
16815 | 2022-05-19 16:08 | 53.6717 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.8056 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.678 | 105585.5927 | 266203.9106 | 32.55 | 27.7
16824 | 2022-05-19 16:09 | 54.0043 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.7587 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.68 | 105585.634 | 266193.3922 | 32.55 | 27.7
16834 | 2022-05-19 16:09 | 54.3378 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.8056 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.678 | 105587.8032 | 266207.9823 | 32.55 | 27.7
16845 | 2022-05-19 16:09 | 54.6713 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.7408 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.683 | 105591.4768 | 266196.9956 | 32.55 | 27.7
16855 | 2022-05-19 16:10 | 55.0051 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.7353 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.681 | 105603.7677 | 266219.1234 | 32.55 | 27.7
16864 | 2022-05-19 16:10 | 55.3379 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.5893 | μmol/L | 18.3427 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.685 | 105602.6636 | 266205.8667 | 32.55 | 27.7
16875 | 2022-05-19 16:10 | 55.6714 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.5893 | μmol/L | 18.3427 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.685 | 105605.8702 | 266212.4568 | 32.55 | 27.7
16885 | 2022-05-19 16:11 | 56.0048 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.6885 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.683 | 105610.4708 | 266210.2272 | 32.55 | 27.7
16894 | 2022-05-19 16:11 | 56.3376 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.5246 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.69 | 105628.1816 | 266203.5012 | 32.55 | 27.7
16904 | 2022-05-19 16:11 | 56.6711 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.5769 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.69 | 105628.4691 | 266194.3099 | 32.55 | 27.7
16915 | 2022-05-19 16:12 | 57.0044 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.5012 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.691 | 105627.6318 | 266196.7491 | 32.55 | 27.7
16925 | 2022-05-19 16:12 | 57.3379 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.5769 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.69 | 105631.2971 | 266189.3695 | 32.55 | 27.7
16934 | 2022-05-19 16:12 | 57.6713 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.5246 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.69 | 105649.2825 | 266194.8389 | 32.55 | 27.7
16944 | 2022-05-19 16:13 | 58.0046 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.3842 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.696 | 105639.9018 | 266191.2548 | 32.55 | 27.7
16954 | 2022-05-19 16:13 | 58.3378 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.5012 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.691 | 105653.7003 | 266185.3925 | 32.55 | 27.7
16964 | 2022-05-19 16:13 | 58.6716 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.5301 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.692 | 105653.0273 | 266192.2194 | 32.55 | 27.7
16975 | 2022-05-19 16:14 | 59.0048 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.4544 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.693 | 105652.2237 | 266189.2113 | 32.55 | 27.7
16985 | 2022-05-19 16:14 | 59.3382 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.5535 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.691 | 105659.795 | 266193.4569 | 32.55 | 27.7
16994 | 2022-05-19 16:14 | 59.6717 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.3608 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.697 | 105663.5724 | 266183.5662 | 32.55 | 27.7
17005 | 2022-05-19 16:15 | 60.0049 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.3374 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.698 | 105666.6378 | 266200.334 | 32.55 | 27.7
17015 | 2022-05-19 16:15 | 60.3383 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.442 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.698 | 105674.0326 | 266188.4527 | 32.55 | 27.7
17024 | 2022-05-19 16:15 | 60.6709 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.4131 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.697 | 105687.4402 | 266205.4615 | 32.55 | 27.7
17034 | 2022-05-19 16:16 | 61.0045 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.2962 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.702 | 105689.0717 | 266190.2865 | 32.55 | 27.7
17045 | 2022-05-19 16:16 | 61.338 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.3719 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.701 | 105690.204 | 266185.4373 | 32.55 | 27.7
17055 | 2022-05-19 16:16 | 61.6716 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.2673 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.701 | 105697.3655 | 266194.9466 | 32.55 | 27.7
17064 | 2022-05-19 16:17 | 62.0045 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.2495 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.704 | 105698.7447 | 266186.9055 | 32.55 | 27.7
17074 | 2022-05-19 16:17 | 62.338 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.2728 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.703 | 105700.9925 | 266198.0128 | 32.55 | 27.7
17084 | 2022-05-19 16:17 | 62.6714 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.1271 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.707 | 105698.217 | 266186.2925 | 32.55 | 27.7
17095 | 2022-05-19 16:18 | 63.0048 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.1849 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.709 | 105706.442 | 266189.0112 | 32.55 | 27.7
17104 | 2022-05-19 16:18 | 63.3382 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.156 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.708 | 105709.852 | 266185.2155 | 32.55 | 27.7
17114 | 2022-05-19 16:18 | 63.6717 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.2261 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.705 | 105715.9215 | 266196.7841 | 32.55 | 27.7
17125 | 2022-05-19 16:19 | 64.0044 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.156 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.708 | 105719.4582 | 266196.2584 | 32.55 | 27.7
17134 | 2022-05-19 16:19 | 64.3379 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.1093 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.71 | 105729.8002 | 266181.8885 | 32.55 | 27.7
17144 | 2022-05-19 16:19 | 64.6711 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.0626 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.712 | 105731.7651 | 266178.1064 | 32.55 | 27.7
17155 | 2022-05-19 16:20 | 65.0047 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.0392 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.713 | 105736.0767 | 266172.7481 | 32.55 | 27.7
17165 | 2022-05-19 16:20 | 65.3381 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.156 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.708 | 105742.7999 | 266172.2368 | 32.55 | 27.7
17174 | 2022-05-19 16:20 | 65.6715 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.0159 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.714 | 105745.409 | 266171.858 | 32.55 | 27.7
17185 | 2022-05-19 16:21 | 66.0049 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.0214 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.716 | 105756.395 | 266176.4616 | 32.55 | 27.7
17195 | 2022-05-19 16:21 | 66.3383 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.9458 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.717 | 105757.9006 | 266175.5939 | 32.55 | 27.7
17204 | 2022-05-19 16:21 | 66.6709 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.1382 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.711 | 105744.4761 | 266164.9931 | 32.55 | 27.7
17215 | 2022-05-19 16:22 | 67.0051 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.9458 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.717 | 105751.391 | 266179.4605 | 32.55 | 27.7
17224 | 2022-05-19 16:22 | 67.3384 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.9636 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.714 | 105741.442 | 266173.0457 | 32.55 | 27.7
17234 | 2022-05-19 16:22 | 67.6711 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 275.0626 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.712 | 105757.2251 | 266177.7344 | 32.55 | 27.7
17244 | 2022-05-19 16:23 | 68.0045 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.9458 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.717 | 105758.5199 | 266174.6024 | 32.55 | 27.7
17254 | 2022-05-19 16:23 | 68.3379 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.9458 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.717 | 105773.0665 | 266169.4143 | 32.55 | 27.7
17265 | 2022-05-19 16:23 | 68.6714 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.9403 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.715 | 105772.1963 | 266162.7376 | 32.55 | 27.7
17275 | 2022-05-19 16:24 | 69.0047 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.9047 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.721 | 105771.1431 | 266162.4396 | 32.55 | 27.7
17284 | 2022-05-19 16:24 | 69.3382 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.8292 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.722 | 105780.5156 | 266171.5573 | 32.55 | 27.7
17295 | 2022-05-19 16:24 | 69.6716 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.9514 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.719 | 105776.9223 | 266173.2032 | 32.55 | 27.7
17305 | 2022-05-19 16:25 | 70.005 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.9225 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.718 | 105793.0551 | 266174.062 | 32.55 | 27.7
17314 | 2022-05-19 16:25 | 70.3376 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.847 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.719 | 105790.9176 | 266162.5814 | 32.55 | 27.7
17324 | 2022-05-19 16:25 | 70.6711 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.928 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.72 | 105798.2482 | 266169.6979 | 32.55 | 27.7
17334 | 2022-05-19 16:26 | 71.0044 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.7537 | μmol/L | 18.3365 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.723 | 105805.934 | 266173.723 | 32.55 | 27.7
17344 | 2022-05-19 16:26 | 71.3379 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.7414 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.728 | 105813.8028 | 266164.6889 | 32.55 | 27.7
17355 | 2022-05-19 16:26 | 71.6713 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.7126 | μmol/L | 18.3304 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.727 | 105822.4075 | 266160.9666 | 32.55 | 27.7
17364 | 2022-05-19 16:27 | 72.0047 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.6948 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.73 | 105812.3249 | 266165.4055 | 32.55 | 27.7
17375 | 2022-05-19 16:27 | 72.338 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.6715 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.731 | 106583.8568 | 266149.2322 | 32.55 | 27.7
17385 | 2022-05-19 16:27 | 72.6714 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.6482 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.732 | 106607.8202 | 266163.4565 | 32.55 | 27.7
17395 | 2022-05-19 16:28 | 73.0044 | oxy_ch_10 (PSt7-10) | 2022-05-17 10:01 | default | 274.5084 | μmol/L | 18.3243 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.738 | 106619.1544 | 266162.9949 | 32.55 | 27.7