## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_5 | O2 | 386281131 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:52

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 12:35

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
19137 | 2022-05-20 11:17 | 0 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.056 | μmol/L | 18.9035 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.671 | 115090.5042 | 269841.2156 | 36.4 | 83.1
19147 | 2022-05-20 11:18 | 0.33311 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.7393 | μmol/L | 18.8974 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.685 | 115138.0305 | 269854.8266 | 36.4 | 83.1
19157 | 2022-05-20 11:18 | 0.66691 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 310.6721 | μmol/L | 18.8913 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.727 | 115373.1776 | 269836.8056 | 36.4 | 83.1
19167 | 2022-05-20 11:18 | 0.99969 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 309.5627 | μmol/L | 18.879 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.773 | 115623.2881 | 269839.6588 | 36.4 | 83.1
19177 | 2022-05-20 11:19 | 1.3334 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 308.6846 | μmol/L | 18.879 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.806 | 115828.7842 | 269815.9562 | 36.4 | 83.1
19187 | 2022-05-20 11:19 | 1.6662 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 307.7961 | μmol/L | 18.8668 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.844 | 116044.0477 | 269802.9851 | 36.4 | 83.1
19197 | 2022-05-20 11:19 | 2.0001 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.115 | μmol/L | 18.8606 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.91 | 116405.9096 | 269797.758 | 36.4 | 83.1
19207 | 2022-05-20 11:20 | 2.3332 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.5305 | μmol/L | 18.8484 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 21.975 | 116783.21 | 269792.6212 | 36.4 | 83.1
19217 | 2022-05-20 11:20 | 2.6668 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.3652 | μmol/L | 18.8423 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.022 | 117037.5801 | 269779.5793 | 36.4 | 83.1
19227 | 2022-05-20 11:20 | 2.9997 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.4319 | μmol/L | 18.8423 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.058 | 117245.8843 | 269771.3518 | 36.4 | 83.1
19237 | 2022-05-20 11:21 | 3.3333 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.3451 | μmol/L | 18.8423 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.139 | 117692.3056 | 269745.6507 | 36.4 | 83.1
19247 | 2022-05-20 11:21 | 3.6667 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.807 | μmol/L | 18.83 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.243 | 118309.503 | 269753.0339 | 36.4 | 83.1
19257 | 2022-05-20 11:21 | 4.0002 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.012 | μmol/L | 18.83 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.314 | 118736.991 | 269737.967 | 36.4 | 83.1
19267 | 2022-05-20 11:22 | 4.3337 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.1138 | μmol/L | 18.8239 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.352 | 118942.104 | 269740.7273 | 36.4 | 83.1
19277 | 2022-05-20 11:22 | 4.6667 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.7013 | μmol/L | 18.8116 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.373 | 119054.6274 | 269724.0068 | 36.4 | 83.1
19287 | 2022-05-20 11:22 | 4.9996 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.5329 | μmol/L | 18.8055 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.382 | 119069.2352 | 269714.5497 | 36.4 | 83.1
19297 | 2022-05-20 11:23 | 5.333 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.6148 | μmol/L | 18.7994 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.381 | 119056.5358 | 269714.6084 | 36.4 | 83.1
19307 | 2022-05-20 11:23 | 5.6664 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.6148 | μmol/L | 18.7994 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.381 | 119048.8881 | 269708.2711 | 36.4 | 83.1
19317 | 2022-05-20 11:23 | 6.0002 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.5216 | μmol/L | 18.7933 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.387 | 119056.4014 | 269698.1716 | 36.4 | 83.1
19327 | 2022-05-20 11:24 | 6.3331 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.6604 | μmol/L | 18.781 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.386 | 119054.0687 | 269704.7911 | 36.4 | 83.1
19337 | 2022-05-20 11:24 | 6.667 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.7355 | μmol/L | 18.781 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.383 | 119049.4665 | 269680.8027 | 36.4 | 83.1
19347 | 2022-05-20 11:24 | 6.9998 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.9929 | μmol/L | 18.7749 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.375 | 119005.9223 | 269681.0793 | 36.4 | 83.1
19357 | 2022-05-20 11:25 | 7.3335 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.4583 | μmol/L | 18.7626 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.361 | 118900.6596 | 269662.069 | 36.4 | 83.1
19367 | 2022-05-20 11:25 | 7.6671 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.763 | μmol/L | 18.7565 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.391 | 119054.1021 | 269654.9009 | 36.4 | 83.1
19377 | 2022-05-20 11:25 | 7.9998 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.4895 | μmol/L | 18.7565 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.442 | 119315.4225 | 269651.4427 | 36.4 | 83.1
19387 | 2022-05-20 11:26 | 8.3337 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.347 | μmol/L | 18.7504 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.45 | 119360.302 | 269654.1369 | 36.4 | 83.1
19397 | 2022-05-20 11:26 | 8.6665 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.8273 | μmol/L | 18.7443 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.433 | 119262.804 | 269641.6648 | 36.4 | 83.1
19407 | 2022-05-20 11:26 | 9 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.5404 | μmol/L | 18.732 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.409 | 119115.7356 | 269638.902 | 36.4 | 83.1
19417 | 2022-05-20 11:27 | 9.3336 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.3352 | μmol/L | 18.7381 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.375 | 118897.5529 | 269630.7208 | 36.4 | 83.1
19427 | 2022-05-20 11:27 | 9.6664 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.8948 | μmol/L | 18.732 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.355 | 118765.4003 | 269622.1231 | 36.4 | 83.1
19437 | 2022-05-20 11:27 | 10.0002 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.1282 | μmol/L | 18.7259 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.348 | 118732.2894 | 269598.5948 | 36.4 | 83.1
19447 | 2022-05-20 11:28 | 10.333 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.0413 | μmol/L | 18.7136 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.356 | 118763.6814 | 269610.8205 | 36.4 | 83.1
19457 | 2022-05-20 11:28 | 10.6668 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.0552 | μmol/L | 18.7014 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.36 | 118769.5301 | 269600.0673 | 36.4 | 83.1
19467 | 2022-05-20 11:28 | 10.9997 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.0665 | μmol/L | 18.7136 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.355 | 118726.0883 | 269599.6542 | 36.4 | 83.1
19477 | 2022-05-20 11:29 | 11.3329 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.2566 | μmol/L | 18.7014 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.352 | 118697.9343 | 269602.6027 | 36.4 | 83.1
19487 | 2022-05-20 11:29 | 11.6664 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.3573 | μmol/L | 18.7014 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.348 | 118652.8132 | 269588.5667 | 36.4 | 83.1
19497 | 2022-05-20 11:29 | 12.0001 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.4834 | μmol/L | 18.7014 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.343 | 118636.1423 | 269584.8816 | 36.4 | 83.1
19507 | 2022-05-20 11:30 | 12.3329 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.5224 | μmol/L | 18.6891 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.346 | 118633.5728 | 269581.2979 | 36.4 | 83.1
19517 | 2022-05-20 11:30 | 12.6666 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.6302 | μmol/L | 18.683 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.344 | 118617.663 | 269571.6501 | 36.4 | 83.1
19527 | 2022-05-20 11:30 | 12.9996 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.7633 | μmol/L | 18.6769 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.341 | 118567.8219 | 269562.3737 | 36.4 | 83.1
19537 | 2022-05-20 11:31 | 13.3331 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.7886 | μmol/L | 18.6769 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.34 | 118558.7919 | 269563.42 | 36.4 | 83.1
19547 | 2022-05-20 11:31 | 13.6667 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.6006 | μmol/L | 18.6646 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.352 | 118622.4143 | 269559.629 | 36.4 | 83.1
19557 | 2022-05-20 11:31 | 14.0003 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.1039 | μmol/L | 18.6585 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.374 | 118765.0763 | 269557.4914 | 36.4 | 83.1
19567 | 2022-05-20 11:32 | 14.3332 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.2569 | μmol/L | 18.6524 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.41 | 118938.2274 | 269544.7354 | 36.4 | 83.1
19577 | 2022-05-20 11:32 | 14.6669 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.638 | μmol/L | 18.6463 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.437 | 119115.8186 | 269538.2839 | 36.4 | 83.1
19587 | 2022-05-20 11:32 | 14.9996 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.8463 | μmol/L | 18.6401 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.471 | 119302.534 | 269532.2641 | 36.4 | 83.1
19597 | 2022-05-20 11:33 | 15.3332 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.9262 | μmol/L | 18.6401 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.508 | 119494.9038 | 269525.5487 | 36.4 | 83.1
19607 | 2022-05-20 11:33 | 15.6669 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.2322 | μmol/L | 18.6401 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.536 | 119645.031 | 269528.9331 | 36.4 | 83.1
19617 | 2022-05-20 11:33 | 16.0003 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.0908 | μmol/L | 18.634 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.544 | 119686.5778 | 269522.8529 | 36.4 | 83.1
19627 | 2022-05-20 11:34 | 16.3333 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.717 | μmol/L | 18.6279 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.521 | 119573.8771 | 269512.6567 | 36.4 | 83.1
19637 | 2022-05-20 11:34 | 16.667 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.5438 | μmol/L | 18.6218 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.49 | 119389.9257 | 269505.6809 | 36.4 | 83.1
19647 | 2022-05-20 11:34 | 16.9997 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.4093 | μmol/L | 18.6279 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.453 | 119139.937 | 269503.6875 | 36.4 | 83.1
19657 | 2022-05-20 11:35 | 17.3333 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.801 | μmol/L | 18.6156 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.402 | 118831.1179 | 269493.9836 | 36.4 | 83.1
19667 | 2022-05-20 11:35 | 17.6668 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.1614 | μmol/L | 18.6156 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.348 | 118512.0418 | 269483.0423 | 36.4 | 83.1
19677 | 2022-05-20 11:35 | 18.0003 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.2756 | μmol/L | 18.6156 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.304 | 118228.9811 | 269477.3492 | 36.4 | 83.1
19687 | 2022-05-20 11:36 | 18.3332 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.1726 | μmol/L | 18.6095 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.271 | 118022.144 | 269478.9981 | 36.4 | 83.1
19697 | 2022-05-20 11:36 | 18.6669 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.6386 | μmol/L | 18.6034 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.255 | 117931.5042 | 269486.078 | 36.4 | 83.1
19707 | 2022-05-20 11:36 | 18.9999 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.8569 | μmol/L | 18.5911 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.251 | 117917.6267 | 269469.4434 | 36.4 | 83.1
19717 | 2022-05-20 11:37 | 19.3335 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.3096 | μmol/L | 18.5789 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.277 | 118041.5958 | 269448.9372 | 36.4 | 83.1
19727 | 2022-05-20 11:37 | 19.667 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.7529 | μmol/L | 18.585 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.336 | 118386.2965 | 269455.0426 | 36.4 | 83.1
19737 | 2022-05-20 11:37 | 20.0004 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.3462 | μmol/L | 18.5789 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.394 | 118693.5269 | 269433.9471 | 36.4 | 83.1
19747 | 2022-05-20 11:38 | 20.3329 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.0589 | μmol/L | 18.585 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.443 | 118983.727 | 269438.5477 | 36.4 | 83.1
19757 | 2022-05-20 11:38 | 20.6662 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.9742 | μmol/L | 18.5728 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.491 | 119256.6796 | 269426.275 | 36.4 | 83.1
19767 | 2022-05-20 11:38 | 20.9997 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.1036 | μmol/L | 18.5728 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.526 | 119468.2162 | 269429.0493 | 36.4 | 83.1
19777 | 2022-05-20 11:39 | 21.3329 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.5333 | μmol/L | 18.5728 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.549 | 119584.4902 | 269409.1295 | 36.4 | 83.1
19787 | 2022-05-20 11:39 | 21.6663 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.4734 | μmol/L | 18.5605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.556 | 119618.1518 | 269407.774 | 36.4 | 83.1
19797 | 2022-05-20 11:39 | 21.9996 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.4734 | μmol/L | 18.5605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.556 | 119596.3424 | 269399.9913 | 36.4 | 83.1
19807 | 2022-05-20 11:40 | 22.3333 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.4981 | μmol/L | 18.5605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.555 | 119593.9413 | 269400.7546 | 36.4 | 83.1
19817 | 2022-05-20 11:40 | 22.6666 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.4734 | μmol/L | 18.5605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.556 | 119602.6529 | 269395.2438 | 36.4 | 83.1
19827 | 2022-05-20 11:40 | 23 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.2259 | μmol/L | 18.5605 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.566 | 119654.6345 | 269382.7347 | 36.4 | 83.1
19837 | 2022-05-20 11:41 | 23.3337 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.6054 | μmol/L | 18.5422 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.598 | 119806.3849 | 269368.859 | 36.4 | 83.1
19847 | 2022-05-20 11:41 | 23.6663 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.6209 | μmol/L | 18.5422 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.638 | 120051.3078 | 269370.819 | 36.4 | 83.1
19857 | 2022-05-20 11:41 | 23.9997 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.3573 | μmol/L | 18.5544 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.685 | 120328.0147 | 269366.6159 | 36.4 | 83.1
19867 | 2022-05-20 11:42 | 24.3331 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.2022 | μmol/L | 18.5422 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.737 | 120586.43 | 269345.258 | 36.4 | 83.1
19877 | 2022-05-20 11:42 | 24.6665 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 287.2635 | μmol/L | 18.536 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.778 | 120836.4346 | 269336.1903 | 36.4 | 83.1
19887 | 2022-05-20 11:42 | 24.9997 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.401 | μmol/L | 18.5299 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.816 | 121054.3462 | 269338.4424 | 36.4 | 83.1
19897 | 2022-05-20 11:43 | 25.333 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 285.8784 | μmol/L | 18.5238 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.84 | 121182.3715 | 269318.1218 | 36.4 | 83.1
19907 | 2022-05-20 11:43 | 25.6663 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 285.7581 | μmol/L | 18.5238 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.845 | 121220.787 | 269313.5697 | 36.4 | 83.1
19917 | 2022-05-20 11:43 | 25.9996 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 285.5491 | μmol/L | 18.5177 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.856 | 121275.9536 | 269306.8219 | 36.4 | 83.1
19927 | 2022-05-20 11:44 | 26.3336 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 285.1651 | μmol/L | 18.5177 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.872 | 121358.763 | 269296.0184 | 36.4 | 83.1
19937 | 2022-05-20 11:44 | 26.6669 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 284.8608 | μmol/L | 18.5115 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.887 | 121422.0357 | 269292.8372 | 36.4 | 83.1
19947 | 2022-05-20 11:44 | 27 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 284.6122 | μmol/L | 18.4993 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.902 | 121500.105 | 269270.5701 | 36.4 | 83.1
19957 | 2022-05-20 11:45 | 27.3335 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 284.0956 | μmol/L | 18.5115 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.919 | 121589.4431 | 269276.0444 | 36.4 | 83.1
19967 | 2022-05-20 11:45 | 27.667 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 283.6663 | μmol/L | 18.5115 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.937 | 121694.3078 | 269249.9166 | 36.4 | 83.1
19977 | 2022-05-20 11:45 | 27.9998 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 283.1665 | μmol/L | 18.5115 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.958 | 121811.7172 | 269251.6537 | 36.4 | 83.1
19987 | 2022-05-20 11:46 | 28.3337 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 282.7537 | μmol/L | 18.4993 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.98 | 121927.3004 | 269242.5781 | 36.4 | 83.1
19997 | 2022-05-20 11:46 | 28.6667 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 282.2248 | μmol/L | 18.5054 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23 | 122025.2589 | 269235.375 | 36.4 | 83.1
20007 | 2022-05-20 11:46 | 28.9998 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 281.9084 | μmol/L | 18.4932 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.018 | 122117.4734 | 269227.3338 | 36.4 | 83.1
20017 | 2022-05-20 11:47 | 29.3335 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 281.5777 | μmol/L | 18.4932 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.032 | 122201.0334 | 269222.5755 | 36.4 | 83.1
20027 | 2022-05-20 11:47 | 29.6666 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 281.5143 | μmol/L | 18.487 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.037 | 122236.0882 | 269218.6657 | 36.4 | 83.1
20037 | 2022-05-20 11:47 | 29.9997 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 281.5689 | μmol/L | 18.4809 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.037 | 122237.4668 | 269203.1486 | 36.4 | 83.1
20047 | 2022-05-20 11:48 | 30.3336 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 281.6162 | μmol/L | 18.4809 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.035 | 122223.9502 | 269199.6558 | 36.4 | 83.1
20057 | 2022-05-20 11:48 | 30.6664 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 281.5689 | μmol/L | 18.4809 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.037 | 122217.8713 | 269199.1389 | 36.4 | 83.1
20067 | 2022-05-20 11:48 | 30.9998 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 281.5689 | μmol/L | 18.4809 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.037 | 122200.0304 | 269174.1612 | 36.4 | 83.1
20077 | 2022-05-20 11:49 | 31.3333 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 281.5453 | μmol/L | 18.4809 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.038 | 122201.7033 | 269174.4905 | 36.4 | 83.1
20087 | 2022-05-20 11:49 | 31.6667 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 281.4584 | μmol/L | 18.4748 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.044 | 122232.5611 | 269159.1858 | 36.4 | 83.1
20097 | 2022-05-20 11:49 | 32 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 281.2065 | μmol/L | 18.4687 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.057 | 122295.5263 | 269152.2914 | 36.4 | 83.1
20107 | 2022-05-20 11:50 | 32.3334 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 281.018 | μmol/L | 18.4687 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.065 | 122355.3588 | 269145.4022 | 36.4 | 83.1
20117 | 2022-05-20 11:50 | 32.6667 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 280.8137 | μmol/L | 18.4625 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.076 | 122393.6369 | 269134.1915 | 36.4 | 83.1
20127 | 2022-05-20 11:50 | 33.0004 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 280.6256 | μmol/L | 18.4625 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.084 | 122420.2053 | 269130.2765 | 36.4 | 83.1
20137 | 2022-05-20 11:51 | 33.3329 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 280.6726 | μmol/L | 18.4625 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.082 | 122416.7864 | 269127.7687 | 36.4 | 83.1
20147 | 2022-05-20 11:51 | 33.6665 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 280.9624 | μmol/L | 18.4564 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.072 | 122327.0391 | 269112.5916 | 36.4 | 83.1
20157 | 2022-05-20 11:51 | 33.9999 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 281.9767 | μmol/L | 18.4564 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.029 | 122092.3826 | 269114.8807 | 36.4 | 83.1
20167 | 2022-05-20 11:52 | 34.3329 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 283.5663 | μmol/L | 18.4564 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.962 | 121664.1788 | 269109.0208 | 36.4 | 83.1
20177 | 2022-05-20 11:52 | 34.6663 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 285.1835 | μmol/L | 18.4625 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.892 | 121251.7377 | 269103.5139 | 36.4 | 83.1
20187 | 2022-05-20 11:52 | 34.9998 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.4577 | μmol/L | 18.4625 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.839 | 120940.9574 | 269108.5446 | 36.4 | 83.1
20197 | 2022-05-20 11:53 | 35.3337 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 287.3831 | μmol/L | 18.4564 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.803 | 120713.4932 | 269082.9867 | 36.4 | 83.1
20207 | 2022-05-20 11:53 | 35.6665 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.086 | μmol/L | 18.4564 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.774 | 120546.5049 | 269071.8598 | 36.4 | 83.1
20217 | 2022-05-20 11:53 | 35.9998 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.6525 | μmol/L | 18.4503 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.753 | 120425.5117 | 269069.0283 | 36.4 | 83.1
20227 | 2022-05-20 11:54 | 36.3333 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.8472 | μmol/L | 18.4503 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.745 | 120338.1461 | 269061.8212 | 36.4 | 83.1
20237 | 2022-05-20 11:54 | 36.6666 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.269 | μmol/L | 18.4442 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.73 | 120243.7484 | 269057.2907 | 36.4 | 83.1
20247 | 2022-05-20 11:54 | 36.9999 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.5693 | μmol/L | 18.438 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.72 | 120187.4323 | 269051.7588 | 36.4 | 83.1
20257 | 2022-05-20 11:55 | 37.3335 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.1618 | μmol/L | 18.4319 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.739 | 120294.2757 | 269042.6166 | 36.4 | 83.1
20267 | 2022-05-20 11:55 | 37.6664 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 287.8972 | μmol/L | 18.4319 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.791 | 120600.3856 | 269036.0087 | 36.4 | 83.1
20277 | 2022-05-20 11:55 | 38 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.5579 | μmol/L | 18.4197 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.851 | 120935.4945 | 269044.5411 | 36.4 | 83.1
20287 | 2022-05-20 11:56 | 38.3336 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.165 | μmol/L | 18.4258 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.865 | 120993.6397 | 269024.4834 | 36.4 | 83.1
20297 | 2022-05-20 11:56 | 38.6663 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.1724 | μmol/L | 18.4197 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.867 | 121020.7373 | 269022.5854 | 36.4 | 83.1
20307 | 2022-05-20 11:56 | 38.9997 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 284.3816 | μmol/L | 18.4135 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.944 | 121449.6547 | 269007.131 | 36.4 | 83.1
20317 | 2022-05-20 11:57 | 39.3332 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 281.8562 | μmol/L | 18.4197 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.048 | 122054.0906 | 269005.5535 | 36.4 | 83.1
20327 | 2022-05-20 11:57 | 39.6667 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 280.3644 | μmol/L | 18.4074 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.116 | 122437.8433 | 268988.9052 | 36.4 | 83.1
20337 | 2022-05-20 11:57 | 40.0001 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 278.7666 | μmol/L | 18.4135 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.182 | 122813.0372 | 268985.8939 | 36.4 | 83.1
20347 | 2022-05-20 11:58 | 40.3335 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 277.9135 | μmol/L | 18.4074 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.221 | 123037.6078 | 268980.7705 | 36.4 | 83.1
20357 | 2022-05-20 11:58 | 40.6663 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 277.1024 | μmol/L | 18.4074 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.256 | 123256.3361 | 268972.7717 | 36.4 | 83.1
20367 | 2022-05-20 11:58 | 40.9996 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 276.3788 | μmol/L | 18.4135 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.285 | 123408.7743 | 268949.1827 | 36.4 | 83.1
20377 | 2022-05-20 11:59 | 41.3331 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 276.2096 | μmol/L | 18.4013 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.297 | 123457.4889 | 268963.9514 | 36.4 | 83.1
20387 | 2022-05-20 11:59 | 41.6669 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 275.805 | μmol/L | 18.4074 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.312 | 123527.0498 | 268954.7482 | 36.4 | 83.1
20397 | 2022-05-20 11:59 | 41.9997 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 275.4659 | μmol/L | 18.4074 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.327 | 123618.2237 | 268948.7677 | 36.4 | 83.1
20407 | 2022-05-20 12:00 | 42.3335 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 275.0223 | μmol/L | 18.4135 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.344 | 123710.6257 | 268947.7714 | 36.4 | 83.1
20417 | 2022-05-20 12:00 | 42.6665 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 274.6807 | μmol/L | 18.4074 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.361 | 123798.2639 | 268951.1366 | 36.4 | 83.1
20427 | 2022-05-20 12:00 | 42.9996 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 274.3281 | μmol/L | 18.4013 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.379 | 123875.7255 | 268944.0007 | 36.4 | 83.1
20437 | 2022-05-20 12:01 | 43.3333 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 274.3434 | μmol/L | 18.389 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.383 | 123925.4512 | 268945.5545 | 36.4 | 83.1
20447 | 2022-05-20 12:01 | 43.6664 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 273.6665 | μmol/L | 18.4013 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.408 | 124021.4691 | 268929.6157 | 36.4 | 83.1
20457 | 2022-05-20 12:01 | 44.0001 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 273.2665 | μmol/L | 18.389 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.43 | 124155.8687 | 268941.6582 | 36.4 | 83.1
20467 | 2022-05-20 12:02 | 44.333 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 273.0014 | μmol/L | 18.3829 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.444 | 124232.4231 | 268940.6497 | 36.4 | 83.1
20477 | 2022-05-20 12:02 | 44.6666 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 272.7441 | μmol/L | 18.389 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.453 | 124277.1372 | 268942.0616 | 36.4 | 83.1
20487 | 2022-05-20 12:02 | 44.9998 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 272.5627 | μmol/L | 18.389 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.461 | 124320.1922 | 268936.6847 | 36.4 | 83.1
20497 | 2022-05-20 12:03 | 45.3334 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 272.3208 | μmol/L | 18.4013 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.467 | 124372.1507 | 268933.1171 | 36.4 | 83.1
20507 | 2022-05-20 12:03 | 45.667 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 272.2306 | μmol/L | 18.3829 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.478 | 124451.1516 | 268921.497 | 36.4 | 83.1
20517 | 2022-05-20 12:03 | 45.9996 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 271.8837 | μmol/L | 18.389 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.491 | 124498.896 | 268924.7319 | 36.4 | 83.1
20527 | 2022-05-20 12:04 | 46.3333 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 271.801 | μmol/L | 18.3829 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.497 | 124511.9848 | 268914.6766 | 36.4 | 83.1
20537 | 2022-05-20 12:04 | 46.6667 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 271.7933 | μmol/L | 18.389 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.495 | 124509.6009 | 268914.7304 | 36.4 | 83.1
20547 | 2022-05-20 12:04 | 47.0003 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 271.8837 | μmol/L | 18.389 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.491 | 124499.0776 | 268899.9797 | 36.4 | 83.1
20557 | 2022-05-20 12:05 | 47.333 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 271.7332 | μmol/L | 18.3829 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.5 | 124504.809 | 268906.2708 | 36.4 | 83.1
20567 | 2022-05-20 12:05 | 47.6666 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 271.7635 | μmol/L | 18.3768 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.501 | 124532.8365 | 268908.1313 | 36.4 | 83.1
20577 | 2022-05-20 12:05 | 48.0001 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 271.7711 | μmol/L | 18.3707 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.503 | 124543.4824 | 268895.4395 | 36.4 | 83.1
20587 | 2022-05-20 12:06 | 48.3335 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 271.9293 | μmol/L | 18.3707 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.496 | 124519.9411 | 268900.6888 | 36.4 | 83.1
20597 | 2022-05-20 12:06 | 48.6663 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 271.8615 | μmol/L | 18.3707 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.499 | 124515.4833 | 268891.4824 | 36.4 | 83.1
20607 | 2022-05-20 12:06 | 48.9996 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 271.6506 | μmol/L | 18.3768 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.506 | 124532.7125 | 268889.61 | 36.4 | 83.1
20617 | 2022-05-20 12:07 | 49.3333 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 272.1631 | μmol/L | 18.3646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.488 | 124425.0798 | 268888.8933 | 36.4 | 83.1
20627 | 2022-05-20 12:07 | 49.6663 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 273.464 | μmol/L | 18.3584 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.433 | 124098.5093 | 268891.6075 | 36.4 | 83.1
20637 | 2022-05-20 12:07 | 49.9996 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 274.9173 | μmol/L | 18.3646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.367 | 123699.6235 | 268889.9797 | 36.4 | 83.1
20647 | 2022-05-20 12:08 | 50.3331 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 276.0961 | μmol/L | 18.3584 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.318 | 123430.4767 | 268898.2684 | 36.4 | 83.1
20657 | 2022-05-20 12:08 | 50.6667 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 276.6647 | μmol/L | 18.3646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.291 | 123266.6953 | 268889.1737 | 36.4 | 83.1
20667 | 2022-05-20 12:08 | 51.0002 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 277.0806 | μmol/L | 18.3646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.273 | 123158.8917 | 268895.6778 | 36.4 | 83.1
20677 | 2022-05-20 12:09 | 51.333 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 277.3814 | μmol/L | 18.3646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.26 | 123088.5682 | 268891.1758 | 36.4 | 83.1
20687 | 2022-05-20 12:09 | 51.6666 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 277.5511 | μmol/L | 18.3584 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.255 | 123052.4843 | 268881.7025 | 36.4 | 83.1
20697 | 2022-05-20 12:09 | 52.0003 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 277.3351 | μmol/L | 18.3646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.262 | 123064.1418 | 268859.5225 | 36.4 | 83.1
20707 | 2022-05-20 12:10 | 52.333 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 276.9957 | μmol/L | 18.3584 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.279 | 123178.9762 | 268865.6792 | 36.4 | 83.1
20717 | 2022-05-20 12:10 | 52.6665 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 276.3725 | μmol/L | 18.3584 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.306 | 123336.8263 | 268870.9784 | 36.4 | 83.1
20727 | 2022-05-20 12:10 | 53 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 275.6821 | μmol/L | 18.3584 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.336 | 123510.6152 | 268851.7267 | 36.4 | 83.1
20737 | 2022-05-20 12:11 | 53.3336 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 275.2535 | μmol/L | 18.3523 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.357 | 123633.1882 | 268863.4749 | 36.4 | 83.1
20747 | 2022-05-20 12:11 | 53.6671 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 274.8945 | μmol/L | 18.3462 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.375 | 123736.6722 | 268847.9943 | 36.4 | 83.1
20757 | 2022-05-20 12:11 | 53.9999 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 274.4142 | μmol/L | 18.3462 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.396 | 123838.4357 | 268840.7291 | 36.4 | 83.1
20767 | 2022-05-20 12:12 | 54.3334 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 273.9577 | μmol/L | 18.3462 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.416 | 123944.0697 | 268831.9327 | 36.4 | 83.1