## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_8 | O2 | 190713773 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:58

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 14:24

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
20773 | 2022-05-20 12:33 | 0 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.7391 | μmol/L | 18.6398 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.243 | 166156.5911 | 305251.962 | 33.25 | 68.6
20783 | 2022-05-20 12:33 | 0.32957 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.7159 | μmol/L | 18.6398 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.244 | 166145.7931 | 305255.0485 | 33.25 | 68.6
20793 | 2022-05-20 12:34 | 0.66307 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.5999 | μmol/L | 18.6398 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.249 | 166149.4308 | 305268.7871 | 33.25 | 68.6
20803 | 2022-05-20 12:34 | 0.99616 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.5376 | μmol/L | 18.6337 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.254 | 166130.3544 | 305257.8441 | 33.25 | 68.6
20813 | 2022-05-20 12:34 | 1.3294 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.384 | μmol/L | 18.6459 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.256 | 166118.5977 | 305250.2063 | 33.25 | 68.6
20823 | 2022-05-20 12:35 | 1.6629 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.4449 | μmol/L | 18.6337 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.258 | 166112.1309 | 305256.947 | 33.25 | 68.6
20833 | 2022-05-20 12:35 | 1.9966 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.3753 | μmol/L | 18.6337 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.261 | 166097.3542 | 305244.6898 | 33.25 | 68.6
20843 | 2022-05-20 12:35 | 2.3296 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.4058 | μmol/L | 18.6277 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.262 | 166078.462 | 305238.7417 | 33.25 | 68.6
20853 | 2022-05-20 12:36 | 2.663 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.3131 | μmol/L | 18.6277 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.266 | 166054.4602 | 305221.7967 | 33.25 | 68.6
20863 | 2022-05-20 12:36 | 2.9966 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.2668 | μmol/L | 18.6277 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.268 | 165949.775 | 305223.2939 | 33.25 | 68.6
20873 | 2022-05-20 12:36 | 3.3301 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.2972 | μmol/L | 18.6216 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.269 | 165898.5798 | 305212.5967 | 33.25 | 68.6
20883 | 2022-05-20 12:37 | 3.6635 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.2813 | μmol/L | 18.6155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.272 | 165882.6447 | 305208.7409 | 33.25 | 68.6
20893 | 2022-05-20 12:37 | 3.9962 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.3044 | μmol/L | 18.6155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.271 | 165870.1575 | 305202.3767 | 33.25 | 68.6
20903 | 2022-05-20 12:37 | 4.3299 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.2581 | μmol/L | 18.6155 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.273 | 165852.3022 | 305185.8888 | 33.25 | 68.6
20913 | 2022-05-20 12:38 | 4.6629 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.1959 | μmol/L | 18.6094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.278 | 165836.3738 | 305160.2837 | 33.25 | 68.6
20923 | 2022-05-20 12:38 | 4.9966 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.0802 | μmol/L | 18.6094 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.283 | 165837.3762 | 305153.2344 | 33.25 | 68.6
20933 | 2022-05-20 12:38 | 5.3302 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 277.1353 | μmol/L | 18.5972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.285 | 165840.9615 | 305158.3801 | 33.25 | 68.6
20943 | 2022-05-20 12:39 | 5.6631 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 276.9792 | μmol/L | 18.5972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.292 | 165861.7975 | 305143.0382 | 33.25 | 68.6
20953 | 2022-05-20 12:39 | 5.9967 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 276.6557 | μmol/L | 18.5972 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.306 | 165922.9954 | 305124.0284 | 33.25 | 68.6
20963 | 2022-05-20 12:39 | 6.3302 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 276.3399 | μmol/L | 18.5912 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.322 | 166039.693 | 305119.1362 | 33.25 | 68.6
20973 | 2022-05-20 12:40 | 6.6629 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.8406 | μmol/L | 18.5851 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.346 | 166216.2095 | 305116.6014 | 33.25 | 68.6
20983 | 2022-05-20 12:40 | 6.9965 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 275.1056 | μmol/L | 18.5851 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.378 | 166461.8995 | 305126.1151 | 33.25 | 68.6
20993 | 2022-05-20 12:40 | 7.33 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 274.3044 | μmol/L | 18.5851 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.413 | 166733.1174 | 305126.9566 | 33.25 | 68.6
21003 | 2022-05-20 12:41 | 7.6635 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 273.3241 | μmol/L | 18.5851 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.456 | 167018.4398 | 305113.0595 | 33.25 | 68.6
21013 | 2022-05-20 12:41 | 7.9961 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 272.514 | μmol/L | 18.579 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.494 | 167319.6851 | 305102.6135 | 33.25 | 68.6
21023 | 2022-05-20 12:41 | 8.3302 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.7746 | μmol/L | 18.5729 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.529 | 167586.5176 | 305101.0566 | 33.25 | 68.6
21033 | 2022-05-20 12:42 | 8.6632 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 271.0304 | μmol/L | 18.5729 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.562 | 167833.4355 | 305101.9544 | 33.25 | 68.6
21043 | 2022-05-20 12:42 | 8.9967 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.4008 | μmol/L | 18.5729 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.59 | 168044.6074 | 305088.0677 | 33.25 | 68.6
21053 | 2022-05-20 12:42 | 9.3294 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.6388 | μmol/L | 18.5729 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.624 | 168261.3252 | 305089.882 | 33.25 | 68.6
21063 | 2022-05-20 12:43 | 9.6629 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.1322 | μmol/L | 18.5668 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.649 | 168470.6216 | 305081.2307 | 33.25 | 68.6
21073 | 2022-05-20 12:43 | 9.9968 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.5303 | μmol/L | 18.5668 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.676 | 168685.4139 | 305091.4255 | 33.25 | 68.6
21083 | 2022-05-20 12:43 | 10.3294 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 267.9023 | μmol/L | 18.5668 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.704 | 168908.798 | 305066.2655 | 33.25 | 68.6
21093 | 2022-05-20 12:44 | 10.663 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 267.2724 | μmol/L | 18.5607 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.735 | 169120.4052 | 305068.9628 | 33.25 | 68.6
21103 | 2022-05-20 12:44 | 10.9967 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.6903 | μmol/L | 18.5668 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.759 | 169313.2363 | 305067.4342 | 33.25 | 68.6
21113 | 2022-05-20 12:44 | 11.3295 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.3522 | μmol/L | 18.5546 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.779 | 169464.9588 | 305075.8746 | 33.25 | 68.6
21123 | 2022-05-20 12:45 | 11.6632 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.0218 | μmol/L | 18.5546 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.794 | 169553.7542 | 305052.7241 | 33.25 | 68.6
21133 | 2022-05-20 12:45 | 11.9967 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.8019 | μmol/L | 18.5546 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.804 | 169605.4938 | 305042.2489 | 33.25 | 68.6
21143 | 2022-05-20 12:45 | 12.3301 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.648 | μmol/L | 18.5546 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.811 | 169632.2347 | 305029.5881 | 33.25 | 68.6
21153 | 2022-05-20 12:46 | 12.6629 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.5676 | μmol/L | 18.5486 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.817 | 169646.44 | 305031.9019 | 33.25 | 68.6
21163 | 2022-05-20 12:46 | 12.9967 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.6045 | μmol/L | 18.5364 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.82 | 169675.4874 | 305023.9238 | 33.25 | 68.6
21173 | 2022-05-20 12:46 | 13.3295 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.2459 | μmol/L | 18.5425 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.834 | 169749.9798 | 305021.8408 | 33.25 | 68.6
21183 | 2022-05-20 12:47 | 13.6634 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.0705 | μmol/L | 18.5425 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.842 | 169822.5763 | 305025.0322 | 33.25 | 68.6
21193 | 2022-05-20 12:47 | 13.9962 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 264.859 | μmol/L | 18.5364 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.854 | 169891.1878 | 305030.8358 | 33.25 | 68.6
21203 | 2022-05-20 12:47 | 14.3297 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 264.6477 | μmol/L | 18.5303 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.866 | 169977.6138 | 305008.3577 | 33.25 | 68.6
21213 | 2022-05-20 12:48 | 14.6634 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 264.247 | μmol/L | 18.5364 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.882 | 170057.7839 | 305017.2299 | 33.25 | 68.6
21223 | 2022-05-20 12:48 | 14.9961 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 264.1092 | μmol/L | 18.5242 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.893 | 170150.4389 | 305030.4611 | 33.25 | 68.6
21233 | 2022-05-20 12:48 | 15.3296 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.8987 | μmol/L | 18.5181 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.905 | 170228.1933 | 305012.9654 | 33.25 | 68.6
21243 | 2022-05-20 12:49 | 15.6631 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.5863 | μmol/L | 18.5242 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.917 | 170306.5079 | 305001.9916 | 33.25 | 68.6
21253 | 2022-05-20 12:49 | 15.9966 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.3036 | μmol/L | 18.5242 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.93 | 170405.0567 | 305001.3536 | 33.25 | 68.6
21263 | 2022-05-20 12:49 | 16.3299 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.8336 | μmol/L | 18.5181 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.954 | 170547.0436 | 304997.375 | 33.25 | 68.6
21273 | 2022-05-20 12:50 | 16.6634 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.4511 | μmol/L | 18.5121 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.974 | 170696.1905 | 304973.8609 | 33.25 | 68.6
21283 | 2022-05-20 12:50 | 16.9961 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.0111 | μmol/L | 18.5181 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.992 | 170849.6212 | 304987.5796 | 33.25 | 68.6
21293 | 2022-05-20 12:50 | 17.3295 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.8027 | μmol/L | 18.5121 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 24.004 | 170915.9382 | 304975.9934 | 33.25 | 68.6
21303 | 2022-05-20 12:51 | 17.663 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.8459 | μmol/L | 18.5121 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 24.002 | 170900.8708 | 304956.2964 | 33.25 | 68.6
21313 | 2022-05-20 12:51 | 17.9965 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.8966 | μmol/L | 18.506 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 24.002 | 170855.0365 | 304966.5616 | 33.25 | 68.6
21323 | 2022-05-20 12:51 | 18.33 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.0046 | μmol/L | 18.506 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.997 | 170812.0256 | 304967.8652 | 33.25 | 68.6
21333 | 2022-05-20 12:52 | 18.6634 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.0337 | μmol/L | 18.4999 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.998 | 170773.5809 | 304964.8468 | 33.25 | 68.6
21343 | 2022-05-20 12:52 | 18.9964 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.9614 | μmol/L | 18.506 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.999 | 170756.2396 | 304968.3668 | 33.25 | 68.6
21353 | 2022-05-20 12:52 | 19.33 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.9041 | μmol/L | 18.4999 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 24.004 | 170762.5793 | 304965.2207 | 33.25 | 68.6
21363 | 2022-05-20 12:53 | 19.6634 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.9548 | μmol/L | 18.4938 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 24.004 | 170759.2086 | 304958.7709 | 33.25 | 68.6
21373 | 2022-05-20 12:53 | 19.9961 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.9764 | μmol/L | 18.4938 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 24.003 | 170741.5525 | 304957.4405 | 33.25 | 68.6
21383 | 2022-05-20 12:53 | 20.3298 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.0628 | μmol/L | 18.4938 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.999 | 170665.8293 | 304944.2355 | 33.25 | 68.6
21393 | 2022-05-20 12:54 | 20.6633 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.2141 | μmol/L | 18.4938 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.992 | 170591.6819 | 304948.0825 | 33.25 | 68.6
21403 | 2022-05-20 12:54 | 20.9968 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.5895 | μmol/L | 18.4877 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.977 | 170472.2594 | 304930.2894 | 33.25 | 68.6
21413 | 2022-05-20 12:54 | 21.3294 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.8441 | μmol/L | 18.4877 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.965 | 170339.5611 | 304928.8947 | 33.25 | 68.6
21423 | 2022-05-20 12:55 | 21.6629 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.2694 | μmol/L | 18.4816 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.948 | 170220.3235 | 304922.728 | 33.25 | 68.6
21433 | 2022-05-20 12:55 | 21.9965 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.5085 | μmol/L | 18.4816 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.937 | 170073.0408 | 304924.0367 | 33.25 | 68.6
21443 | 2022-05-20 12:55 | 22.3299 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.7696 | μmol/L | 18.4816 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.925 | 169948.2409 | 304912.7967 | 33.25 | 68.6
21453 | 2022-05-20 12:56 | 22.6634 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 264.0528 | μmol/L | 18.4816 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.912 | 169818.7702 | 304914.894 | 33.25 | 68.6
21463 | 2022-05-20 12:56 | 22.9963 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 264.5262 | μmol/L | 18.4695 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.895 | 169695.0015 | 304905.1425 | 33.25 | 68.6
21473 | 2022-05-20 12:56 | 23.3296 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 264.7154 | μmol/L | 18.4756 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.884 | 169567.3621 | 304901.496 | 33.25 | 68.6
21483 | 2022-05-20 12:57 | 23.663 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.0731 | μmol/L | 18.4695 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.87 | 169459.2427 | 304908.5464 | 33.25 | 68.6
21493 | 2022-05-20 12:57 | 23.9966 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.2408 | μmol/L | 18.4756 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.86 | 169360.4104 | 304899.2532 | 33.25 | 68.6
21503 | 2022-05-20 12:57 | 24.33 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.3963 | μmol/L | 18.4695 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.855 | 169293.0518 | 304896.1019 | 33.25 | 68.6
21513 | 2022-05-20 12:58 | 24.6636 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.6432 | μmol/L | 18.4695 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.844 | 169235.6499 | 304896.8811 | 33.25 | 68.6
21523 | 2022-05-20 12:58 | 24.9963 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.0313 | μmol/L | 18.4756 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.824 | 169022.5332 | 304895.7687 | 33.25 | 68.6
21533 | 2022-05-20 12:58 | 25.3299 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.788 | μmol/L | 18.4695 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.792 | 168750.9573 | 304883.0776 | 33.25 | 68.6
21543 | 2022-05-20 12:59 | 25.6635 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 267.4531 | μmol/L | 18.4634 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.764 | 168484.4303 | 304878.4062 | 33.25 | 68.6
21553 | 2022-05-20 12:59 | 25.996 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.1758 | μmol/L | 18.4573 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.734 | 168252.2888 | 304867.948 | 33.25 | 68.6
21563 | 2022-05-20 12:59 | 26.3294 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.4814 | μmol/L | 18.4573 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.72 | 168093.232 | 304857.2697 | 33.25 | 68.6
21573 | 2022-05-20 13:00 | 26.6628 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.7186 | μmol/L | 18.4634 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.707 | 167969.2904 | 304843.5251 | 33.25 | 68.6
21583 | 2022-05-20 13:00 | 26.9963 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.9935 | μmol/L | 18.4573 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.697 | 167869.0024 | 304844.9322 | 33.25 | 68.6
21593 | 2022-05-20 13:00 | 27.3301 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.2165 | μmol/L | 18.4573 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.687 | 167783.2575 | 304826.0071 | 33.25 | 68.6
21603 | 2022-05-20 13:01 | 27.6635 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.4026 | μmol/L | 18.4512 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.681 | 167689.5328 | 304821.3627 | 33.25 | 68.6
21613 | 2022-05-20 13:01 | 27.9963 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.5068 | μmol/L | 18.4573 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.674 | 167605.0904 | 304807.4017 | 33.25 | 68.6
21623 | 2022-05-20 13:01 | 28.3299 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.7155 | μmol/L | 18.4512 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.667 | 167541.3175 | 304815.4665 | 33.25 | 68.6
21633 | 2022-05-20 13:02 | 28.6635 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.803 | μmol/L | 18.4573 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.661 | 167488.7951 | 304800.9009 | 33.25 | 68.6
21643 | 2022-05-20 13:02 | 28.9962 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.9076 | μmol/L | 18.4451 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.661 | 167453.5675 | 304799.9938 | 33.25 | 68.6
21653 | 2022-05-20 13:02 | 29.3296 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.902 | μmol/L | 18.4451 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.661 | 167437.9961 | 304798.024 | 33.25 | 68.6
21663 | 2022-05-20 13:03 | 29.6631 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.9095 | μmol/L | 18.439 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.663 | 167457.1634 | 304784.2711 | 33.25 | 68.6
21673 | 2022-05-20 13:03 | 29.9968 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.6783 | μmol/L | 18.4451 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.671 | 167466.6381 | 304770.9764 | 33.25 | 68.6
21683 | 2022-05-20 13:03 | 30.3295 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.559 | μmol/L | 18.4512 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.674 | 167492.5612 | 304774.2119 | 33.25 | 68.6
21693 | 2022-05-20 13:04 | 30.6629 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.5143 | μmol/L | 18.4512 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.676 | 167495.1649 | 304760.1313 | 33.25 | 68.6
21703 | 2022-05-20 13:04 | 30.9966 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.5964 | μmol/L | 18.439 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.677 | 167481.6289 | 304758.9795 | 33.25 | 68.6
21713 | 2022-05-20 13:04 | 31.3299 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.4548 | μmol/L | 18.4451 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.681 | 167507.2665 | 304759.1203 | 33.25 | 68.6
21723 | 2022-05-20 13:05 | 31.6634 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.4325 | μmol/L | 18.4451 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.682 | 167484.3864 | 304752.3112 | 33.25 | 68.6
21733 | 2022-05-20 13:05 | 31.9969 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.4827 | μmol/L | 18.4451 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.68 | 167475.9102 | 304738.6442 | 33.25 | 68.6
21743 | 2022-05-20 13:05 | 32.3301 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.5741 | μmol/L | 18.439 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.678 | 167417.0605 | 304729.5022 | 33.25 | 68.6
21753 | 2022-05-20 13:06 | 32.663 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.7808 | μmol/L | 18.439 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.669 | 167316.5471 | 304724.7544 | 33.25 | 68.6
21763 | 2022-05-20 13:06 | 32.9966 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.6934 | μmol/L | 18.433 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.675 | 167333.9816 | 304718.3945 | 33.25 | 68.6
21773 | 2022-05-20 13:06 | 33.3301 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.6766 | μmol/L | 18.433 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.676 | 167312.3644 | 304713.9591 | 33.25 | 68.6
21783 | 2022-05-20 13:07 | 33.6635 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.8799 | μmol/L | 18.4269 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.669 | 167254.8049 | 304696.9777 | 33.25 | 68.6
21793 | 2022-05-20 13:07 | 33.9961 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.0066 | μmol/L | 18.433 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.661 | 167166.9876 | 304690.3128 | 33.25 | 68.6
21803 | 2022-05-20 13:07 | 34.3298 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.2382 | μmol/L | 18.4269 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.653 | 167074.4585 | 304681.1256 | 33.25 | 68.6
21813 | 2022-05-20 13:08 | 34.6632 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.3802 | μmol/L | 18.4208 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.649 | 167025.6886 | 304688.9183 | 33.25 | 68.6
21823 | 2022-05-20 13:08 | 34.9967 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.2961 | μmol/L | 18.4208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.653 | 167044.9724 | 304678.1503 | 33.25 | 68.6
21833 | 2022-05-20 13:08 | 35.3302 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 270.1393 | μmol/L | 18.4208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.66 | 167079.039 | 304667.1406 | 33.25 | 68.6
21843 | 2022-05-20 13:09 | 35.6631 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.8575 | μmol/L | 18.4269 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.67 | 167118.5754 | 304661.1184 | 33.25 | 68.6
21853 | 2022-05-20 13:09 | 35.9967 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.8351 | μmol/L | 18.4269 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.671 | 167146.4628 | 304668.9164 | 33.25 | 68.6
21863 | 2022-05-20 13:09 | 36.3294 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.7009 | μmol/L | 18.4269 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.677 | 167183.6701 | 304657.8853 | 33.25 | 68.6
21873 | 2022-05-20 13:10 | 36.6629 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.6414 | μmol/L | 18.4208 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.682 | 167213.64 | 304647.7827 | 33.25 | 68.6
21883 | 2022-05-20 13:10 | 36.9964 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.5521 | μmol/L | 18.4208 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.686 | 167244.7402 | 304629.261 | 33.25 | 68.6
21893 | 2022-05-20 13:10 | 37.3299 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.4033 | μmol/L | 18.4147 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.695 | 167284.5161 | 304617.5413 | 33.25 | 68.6
21903 | 2022-05-20 13:11 | 37.6633 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.2096 | μmol/L | 18.4269 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.699 | 167333.0886 | 304616.948 | 33.25 | 68.6
21913 | 2022-05-20 13:11 | 37.9961 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 269.0535 | μmol/L | 18.4269 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.706 | 167350.4882 | 304595.2954 | 33.25 | 68.6
21923 | 2022-05-20 13:11 | 38.3297 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.9775 | μmol/L | 18.4208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.712 | 167360.321 | 304584.9197 | 33.25 | 68.6
21933 | 2022-05-20 13:12 | 38.663 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.9719 | μmol/L | 18.4208 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.712 | 167376.4144 | 304580.8721 | 33.25 | 68.6
21943 | 2022-05-20 13:12 | 38.9969 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.9051 | μmol/L | 18.4208 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.715 | 167378.4366 | 304579.4121 | 33.25 | 68.6
21953 | 2022-05-20 13:12 | 39.3297 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.8362 | μmol/L | 18.4269 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 23.716 | 167371.7304 | 304579.4516 | 33.25 | 68.6
21963 | 2022-05-20 13:13 | 39.6633 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.8089 | μmol/L | 18.4086 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.724 | 167411.7487 | 304560.813 | 33.25 | 68.6
21973 | 2022-05-20 13:13 | 39.9962 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.5419 | μmol/L | 18.4086 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.736 | 167509.2223 | 304565.1047 | 33.25 | 68.6
21983 | 2022-05-20 13:13 | 40.3296 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 268.0088 | μmol/L | 18.4086 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.76 | 167659.2167 | 304544.2392 | 33.25 | 68.6
21993 | 2022-05-20 13:14 | 40.6633 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 267.4915 | μmol/L | 18.4147 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.781 | 167850.1653 | 304549.9833 | 33.25 | 68.6
22003 | 2022-05-20 13:14 | 40.9961 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 267.1895 | μmol/L | 18.4086 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.797 | 167967.8369 | 304533.2114 | 33.25 | 68.6
22013 | 2022-05-20 13:14 | 41.3296 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.8582 | μmol/L | 18.4086 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.812 | 168052.6999 | 304529.6612 | 33.25 | 68.6
22023 | 2022-05-20 13:15 | 41.6632 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.7037 | μmol/L | 18.4086 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.819 | 168087.6918 | 304521.7571 | 33.25 | 68.6
22033 | 2022-05-20 13:15 | 41.9968 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.5715 | μmol/L | 18.4086 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.825 | 167846.2018 | 304510.6321 | 33.25 | 68.6
22043 | 2022-05-20 13:15 | 42.3294 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.3732 | μmol/L | 18.4086 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.834 | 167911.5882 | 304504.0597 | 33.25 | 68.6
22053 | 2022-05-20 13:16 | 42.663 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.1015 | μmol/L | 18.4147 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.844 | 167971.5934 | 304487.1102 | 33.25 | 68.6
22063 | 2022-05-20 13:16 | 42.9965 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.8233 | μmol/L | 18.4086 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.859 | 168067.8416 | 304480.4585 | 33.25 | 68.6
22073 | 2022-05-20 13:16 | 43.33 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.5599 | μmol/L | 18.4086 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.871 | 168122.5857 | 304469.1224 | 33.25 | 68.6
22083 | 2022-05-20 13:17 | 43.6634 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.4502 | μmol/L | 18.4086 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.876 | 168160.0021 | 304472.7994 | 33.25 | 68.6
22093 | 2022-05-20 13:17 | 43.9967 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.5675 | μmol/L | 18.4025 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.873 | 168094.8554 | 304453.5678 | 33.25 | 68.6
22103 | 2022-05-20 13:17 | 44.3302 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.8749 | μmol/L | 18.4025 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.859 | 167962.4328 | 304442.8412 | 33.25 | 68.6
22113 | 2022-05-20 13:18 | 44.6628 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.286 | μmol/L | 18.3904 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.845 | 167806.2379 | 304429.8434 | 33.25 | 68.6
22123 | 2022-05-20 13:18 | 44.9962 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.6893 | μmol/L | 18.4025 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.822 | 167642.3633 | 304429.3261 | 33.25 | 68.6
22133 | 2022-05-20 13:18 | 45.3296 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.9982 | μmol/L | 18.4025 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.808 | 167486.854 | 304415.319 | 33.25 | 68.6
22143 | 2022-05-20 13:19 | 45.6632 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 267.4479 | μmol/L | 18.3965 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.79 | 167331.2449 | 304405.8332 | 33.25 | 68.6
22153 | 2022-05-20 13:19 | 45.9968 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 267.6769 | μmol/L | 18.3904 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.782 | 167223.5233 | 304392.5873 | 33.25 | 68.6
22163 | 2022-05-20 13:19 | 46.3295 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 267.7801 | μmol/L | 18.3965 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.775 | 167167.5601 | 304399.3434 | 33.25 | 68.6
22173 | 2022-05-20 13:20 | 46.6632 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 267.7877 | μmol/L | 18.3904 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.777 | 167169.5812 | 304386.4427 | 33.25 | 68.6
22183 | 2022-05-20 13:20 | 46.996 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 267.6991 | μmol/L | 18.3904 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.781 | 167195.566 | 304361.8118 | 33.25 | 68.6
22193 | 2022-05-20 13:20 | 47.3297 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 267.6403 | μmol/L | 18.3843 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.786 | 167222.7043 | 304361.4567 | 33.25 | 68.6
22203 | 2022-05-20 13:21 | 47.6635 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 267.4998 | μmol/L | 18.3904 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.79 | 167255.8694 | 304357.457 | 33.25 | 68.6
22213 | 2022-05-20 13:21 | 47.9962 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 267.3671 | μmol/L | 18.3904 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.796 | 167260.3108 | 304336.5057 | 33.25 | 68.6
22223 | 2022-05-20 13:21 | 48.3298 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 267.345 | μmol/L | 18.3904 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.797 | 167271.1899 | 304336.1856 | 33.25 | 68.6
22233 | 2022-05-20 13:22 | 48.6632 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 267.3671 | μmol/L | 18.3904 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.796 | 167244.4209 | 304333.5053 | 33.25 | 68.6
22243 | 2022-05-20 13:22 | 48.9968 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 267.0432 | μmol/L | 18.3843 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.813 | 167369.5428 | 304335.5664 | 33.25 | 68.6
22253 | 2022-05-20 13:22 | 49.3301 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 266.1979 | μmol/L | 18.3904 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.849 | 167643.2651 | 304326.2171 | 33.25 | 68.6
22263 | 2022-05-20 13:23 | 49.6629 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.744 | μmol/L | 18.3843 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.872 | 167816.1045 | 304318.4561 | 33.25 | 68.6
22273 | 2022-05-20 13:23 | 49.9968 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.5027 | μmol/L | 18.3843 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.883 | 167907.2281 | 304302.5536 | 33.25 | 68.6
22283 | 2022-05-20 13:23 | 50.3297 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.3196 | μmol/L | 18.3904 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.889 | 167940.348 | 304328.0678 | 33.25 | 68.6
22293 | 2022-05-20 13:24 | 50.663 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.3492 | μmol/L | 18.3843 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.89 | 167935.674 | 304287.1008 | 33.25 | 68.6
22303 | 2022-05-20 13:24 | 50.9965 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.3788 | μmol/L | 18.3782 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.891 | 167914.5881 | 304294.5847 | 33.25 | 68.6
22313 | 2022-05-20 13:24 | 51.3295 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 265.0645 | μmol/L | 18.3843 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.903 | 168008.6804 | 304280.7399 | 33.25 | 68.6
22323 | 2022-05-20 13:25 | 51.663 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 264.169 | μmol/L | 18.3843 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.944 | 168361.0141 | 304276.945 | 33.25 | 68.6
22333 | 2022-05-20 13:25 | 51.9966 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.1252 | μmol/L | 18.3843 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.992 | 168711.6203 | 304268.4198 | 33.25 | 68.6
22343 | 2022-05-20 13:25 | 52.3301 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.3456 | μmol/L | 18.3843 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.028 | 169005.2995 | 304268.9101 | 33.25 | 68.6
22353 | 2022-05-20 13:26 | 52.6631 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.9861 | μmol/L | 18.3782 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.047 | 169159.3305 | 304248.1824 | 33.25 | 68.6
22363 | 2022-05-20 13:26 | 52.9968 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.6765 | μmol/L | 18.3843 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.059 | 169243.5824 | 304252.6519 | 33.25 | 68.6
22373 | 2022-05-20 13:26 | 53.3301 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.6334 | μmol/L | 18.3843 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.061 | 169257.2182 | 304236.8494 | 33.25 | 68.6
22383 | 2022-05-20 13:27 | 53.6635 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.7488 | μmol/L | 18.3782 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.058 | 169184.6773 | 304240.3545 | 33.25 | 68.6
22393 | 2022-05-20 13:27 | 53.9961 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.2884 | μmol/L | 18.3782 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.033 | 169018.8114 | 304235.5679 | 33.25 | 68.6
22403 | 2022-05-20 13:27 | 54.3297 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.735 | μmol/L | 18.3843 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.01 | 168776.5524 | 304217.314 | 33.25 | 68.6
22413 | 2022-05-20 13:28 | 54.6632 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.3281 | μmol/L | 18.3782 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.985 | 168581.8198 | 304205.7833 | 33.25 | 68.6
22423 | 2022-05-20 13:28 | 54.9965 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.9887 | μmol/L | 18.3721 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.003 | 168708.2682 | 304211.7768 | 33.25 | 68.6
22433 | 2022-05-20 13:28 | 55.3301 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.823 | μmol/L | 18.366 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.013 | 168792.6983 | 304189.7265 | 33.25 | 68.6
22443 | 2022-05-20 13:29 | 55.6629 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.1188 | μmol/L | 18.3721 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.997 | 168650.0397 | 304175.0981 | 33.25 | 68.6
22453 | 2022-05-20 13:29 | 55.9964 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.4227 | μmol/L | 18.3721 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.983 | 168514.9037 | 304193.8904 | 33.25 | 68.6
22463 | 2022-05-20 13:29 | 56.3298 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.4444 | μmol/L | 18.3721 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.982 | 168469.9143 | 304172.4757 | 33.25 | 68.6
22473 | 2022-05-20 13:30 | 56.6627 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.4444 | μmol/L | 18.3721 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.982 | 168470.1868 | 304177.0824 | 33.25 | 68.6
22483 | 2022-05-20 13:30 | 56.9962 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.2707 | μmol/L | 18.3721 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.99 | 168510.4405 | 304159.3578 | 33.25 | 68.6
22493 | 2022-05-20 13:30 | 57.3297 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.953 | μmol/L | 18.366 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.007 | 168643.7877 | 304163.3551 | 33.25 | 68.6
22503 | 2022-05-20 13:31 | 57.6633 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.4767 | μmol/L | 18.366 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.029 | 168804.8454 | 304164.0669 | 33.25 | 68.6
22513 | 2022-05-20 13:31 | 57.9968 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.225 | μmol/L | 18.36 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.043 | 168924.1966 | 304155.4591 | 33.25 | 68.6
22523 | 2022-05-20 13:31 | 58.33 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.0446 | μmol/L | 18.366 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.049 | 168960.5781 | 304151.8689 | 33.25 | 68.6
22533 | 2022-05-20 13:32 | 58.6627 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.8288 | μmol/L | 18.366 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.059 | 169005.8322 | 304141.8739 | 33.25 | 68.6
22543 | 2022-05-20 13:32 | 58.9964 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.5487 | μmol/L | 18.366 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.072 | 169115.7765 | 304142.4234 | 33.25 | 68.6
22553 | 2022-05-20 13:32 | 59.3299 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.541 | μmol/L | 18.3721 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.07 | 169113.9277 | 304132.9989 | 33.25 | 68.6
22563 | 2022-05-20 13:33 | 59.6633 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.4195 | μmol/L | 18.366 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.078 | 169137.5243 | 304119.539 | 33.25 | 68.6
22573 | 2022-05-20 13:33 | 59.9967 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.5056 | μmol/L | 18.366 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.074 | 169126.6291 | 304109.9001 | 33.25 | 68.6
22583 | 2022-05-20 13:33 | 60.3296 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.2336 | μmol/L | 18.36 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.089 | 169233.3185 | 304088.4639 | 33.25 | 68.6
22593 | 2022-05-20 13:34 | 60.6634 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.8254 | μmol/L | 18.36 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.108 | 169381.9509 | 304090.8288 | 33.25 | 68.6
22603 | 2022-05-20 13:34 | 60.9963 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.4395 | μmol/L | 18.36 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.126 | 169574.9896 | 304080.863 | 33.25 | 68.6
22613 | 2022-05-20 13:34 | 61.3297 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.311 | μmol/L | 18.36 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.132 | 169840.1944 | 304097.2241 | 33.25 | 68.6
22623 | 2022-05-20 13:35 | 61.6631 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.2253 | μmol/L | 18.36 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.136 | 169774.9662 | 304077.5523 | 33.25 | 68.6
22633 | 2022-05-20 13:35 | 61.9965 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.3478 | μmol/L | 18.3478 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.135 | 169790.0864 | 304079.656 | 33.25 | 68.6
22643 | 2022-05-20 13:35 | 62.3302 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.3538 | μmol/L | 18.36 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.13 | 169738.0601 | 304069.2218 | 33.25 | 68.6
22653 | 2022-05-20 13:36 | 62.6635 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.5329 | μmol/L | 18.3539 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.124 | 169701.7876 | 304050.4237 | 33.25 | 68.6
22663 | 2022-05-20 13:36 | 62.996 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.6186 | μmol/L | 18.3539 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.12 | 169649.4361 | 304040.0101 | 33.25 | 68.6
22673 | 2022-05-20 13:36 | 63.3295 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.7688 | μmol/L | 18.3539 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.113 | 169587.0229 | 304034.9512 | 33.25 | 68.6
22683 | 2022-05-20 13:37 | 63.6629 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.8975 | μmol/L | 18.3539 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.107 | 169527.5528 | 304039.6264 | 33.25 | 68.6
22693 | 2022-05-20 13:37 | 63.9964 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.0479 | μmol/L | 18.3539 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.1 | 169454.8084 | 304027.1192 | 33.25 | 68.6
22703 | 2022-05-20 13:37 | 64.3301 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.3488 | μmol/L | 18.3539 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.086 | 169345.0572 | 304024.087 | 33.25 | 68.6
22713 | 2022-05-20 13:38 | 64.6628 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.7795 | μmol/L | 18.3539 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.066 | 169155.6563 | 304030.2158 | 33.25 | 68.6
22723 | 2022-05-20 13:38 | 64.9963 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.1895 | μmol/L | 18.3539 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.047 | 169004.7568 | 304013.4591 | 33.25 | 68.6
22733 | 2022-05-20 13:38 | 65.3302 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.3839 | μmol/L | 18.3539 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.038 | 168903.8973 | 303986.9301 | 33.25 | 68.6
22743 | 2022-05-20 13:39 | 65.6628 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.5786 | μmol/L | 18.3539 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.029 | 168829.8471 | 303999.0297 | 33.25 | 68.6
22753 | 2022-05-20 13:39 | 65.9963 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.7084 | μmol/L | 18.3539 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.023 | 168773.3612 | 303984.7379 | 33.25 | 68.6
22763 | 2022-05-20 13:39 | 66.33 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.7734 | μmol/L | 18.3539 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.02 | 168740.6316 | 303984.0134 | 33.25 | 68.6
22773 | 2022-05-20 13:40 | 66.6628 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.8677 | μmol/L | 18.3478 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.018 | 168706.9637 | 303973.2165 | 33.25 | 68.6
22783 | 2022-05-20 13:40 | 66.9962 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.9033 | μmol/L | 18.3539 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.014 | 168666.9551 | 303950.3286 | 33.25 | 68.6
22793 | 2022-05-20 13:40 | 67.3297 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.9684 | μmol/L | 18.3539 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.011 | 168614.9983 | 303949.8655 | 33.25 | 68.6
22803 | 2022-05-20 13:41 | 67.6632 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.1201 | μmol/L | 18.3539 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.004 | 168565.1725 | 303950.1251 | 33.25 | 68.6
22813 | 2022-05-20 13:41 | 67.9965 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.2797 | μmol/L | 18.3478 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.999 | 168526.016 | 303944.5903 | 33.25 | 68.6
22823 | 2022-05-20 13:41 | 68.3294 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.3014 | μmol/L | 18.3478 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.998 | 168490.6261 | 303914.0665 | 33.25 | 68.6
22833 | 2022-05-20 13:42 | 68.663 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.258 | μmol/L | 18.3478 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24 | 168520.1281 | 303916.2412 | 33.25 | 68.6
22843 | 2022-05-20 13:42 | 68.9962 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.0844 | μmol/L | 18.3478 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.008 | 168553.2126 | 303901.254 | 33.25 | 68.6
22853 | 2022-05-20 13:42 | 69.3299 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.9544 | μmol/L | 18.3478 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.014 | 168595.7102 | 303901.5384 | 33.25 | 68.6
22863 | 2022-05-20 13:43 | 69.6635 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.7301 | μmol/L | 18.3539 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.022 | 168629.1489 | 303904.1679 | 33.25 | 68.6
22873 | 2022-05-20 13:43 | 69.9962 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.911 | μmol/L | 18.3478 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.016 | 168598.7094 | 303888.8366 | 33.25 | 68.6
22883 | 2022-05-20 13:43 | 70.3296 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.0984 | μmol/L | 18.3539 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.005 | 168494.9363 | 303885.929 | 33.25 | 68.6
22893 | 2022-05-20 13:44 | 70.663 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 263.244 | μmol/L | 18.3417 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.003 | 168463.7842 | 303872.9132 | 33.25 | 68.6
22903 | 2022-05-20 13:44 | 70.9964 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 262.421 | μmol/L | 18.3417 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.041 | 168786.4543 | 303874.2516 | 33.25 | 68.6
22913 | 2022-05-20 13:44 | 71.3301 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.4073 | μmol/L | 18.3417 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.088 | 169174.1836 | 303858.6171 | 33.25 | 68.6
22923 | 2022-05-20 13:45 | 71.663 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.8486 | μmol/L | 18.3417 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.114 | 169351.0198 | 303867.1757 | 33.25 | 68.6
22933 | 2022-05-20 13:45 | 71.9965 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.9636 | μmol/L | 18.3356 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.111 | 169325.3783 | 303840.2284 | 33.25 | 68.6
22943 | 2022-05-20 13:45 | 72.33 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.2429 | μmol/L | 18.3356 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.098 | 169225.9961 | 303836.9604 | 33.25 | 68.6
22953 | 2022-05-20 13:46 | 72.6629 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.5657 | μmol/L | 18.3356 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.083 | 169101.9489 | 303825.352 | 33.25 | 68.6
22963 | 2022-05-20 13:46 | 72.9964 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.5149 | μmol/L | 18.3417 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.083 | 169069.7813 | 303818.9507 | 33.25 | 68.6
22973 | 2022-05-20 13:46 | 73.3301 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.4796 | μmol/L | 18.3356 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.087 | 169080.0677 | 303811.0994 | 33.25 | 68.6
22983 | 2022-05-20 13:47 | 73.6629 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.3858 | μmol/L | 18.3417 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.089 | 169098.2387 | 303794.0112 | 33.25 | 68.6
22993 | 2022-05-20 13:47 | 73.9966 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.2997 | μmol/L | 18.3417 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.093 | 169108.9955 | 303800.226 | 33.25 | 68.6
23003 | 2022-05-20 13:47 | 74.3302 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.2782 | μmol/L | 18.3417 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.094 | 169133.0027 | 303779.3396 | 33.25 | 68.6
23013 | 2022-05-20 13:48 | 74.6629 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.0556 | μmol/L | 18.3478 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.102 | 169171.1466 | 303779.2128 | 33.25 | 68.6
23023 | 2022-05-20 13:48 | 74.9966 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.8838 | μmol/L | 18.3478 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.11 | 169223.5261 | 303772.1409 | 33.25 | 68.6
23033 | 2022-05-20 13:48 | 75.33 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.6984 | μmol/L | 18.3417 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.121 | 169301.4982 | 303750.4628 | 33.25 | 68.6
23043 | 2022-05-20 13:49 | 75.6635 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.4626 | μmol/L | 18.3417 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.132 | 169383.4282 | 303766.0422 | 33.25 | 68.6
23053 | 2022-05-20 13:49 | 75.9961 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.3127 | μmol/L | 18.3417 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.139 | 169425.1316 | 303751.6076 | 33.25 | 68.6
23063 | 2022-05-20 13:49 | 76.3298 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.227 | μmol/L | 18.3417 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.143 | 169452.6298 | 303740.5748 | 33.25 | 68.6
23073 | 2022-05-20 13:50 | 76.6632 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.2776 | μmol/L | 18.3356 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.143 | 169441.9426 | 303738.0583 | 33.25 | 68.6
23083 | 2022-05-20 13:50 | 76.9967 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.2639 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.146 | 169453.4278 | 303716.0145 | 33.25 | 68.6
23093 | 2022-05-20 13:50 | 77.3294 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.0927 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.154 | 169509.5455 | 303723.8275 | 33.25 | 68.6
23103 | 2022-05-20 13:51 | 77.6629 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.879 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.164 | 169613.2235 | 303717.9125 | 33.25 | 68.6
23113 | 2022-05-20 13:51 | 77.9964 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.487 | μmol/L | 18.3356 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.18 | 169717.7077 | 303708.0868 | 33.25 | 68.6
23123 | 2022-05-20 13:51 | 78.3299 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.3165 | μmol/L | 18.3356 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.188 | 169775.0963 | 303705.381 | 33.25 | 68.6
23133 | 2022-05-20 13:52 | 78.6627 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.1383 | μmol/L | 18.3417 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.194 | 169795.5932 | 303692.8113 | 33.25 | 68.6
23143 | 2022-05-20 13:52 | 78.9963 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.1887 | μmol/L | 18.3356 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.194 | 169789.8923 | 303688.0949 | 33.25 | 68.6
23153 | 2022-05-20 13:52 | 79.3298 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.117 | μmol/L | 18.3417 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.195 | 169783.5963 | 303705.4558 | 33.25 | 68.6
23163 | 2022-05-20 13:53 | 79.6633 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.0958 | μmol/L | 18.3417 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.196 | 169761.1775 | 303686.1855 | 33.25 | 68.6
23173 | 2022-05-20 13:53 | 79.9968 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.2448 | μmol/L | 18.3417 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.189 | 169751.8916 | 303683.2648 | 33.25 | 68.6
23183 | 2022-05-20 13:53 | 80.3295 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.2235 | μmol/L | 18.3417 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.19 | 169727.3658 | 303666.265 | 33.25 | 68.6
23193 | 2022-05-20 13:54 | 80.6633 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.1248 | μmol/L | 18.3356 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.197 | 169740.5002 | 303656.4182 | 33.25 | 68.6
23203 | 2022-05-20 13:54 | 80.9966 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.1112 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.2 | 169772.0432 | 303657.0163 | 33.25 | 68.6
23213 | 2022-05-20 13:54 | 81.3301 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.1887 | μmol/L | 18.3356 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.194 | 169708.1373 | 303653.5585 | 33.25 | 68.6
23223 | 2022-05-20 13:55 | 81.6635 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.4657 | μmol/L | 18.3356 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.181 | 169634.1646 | 303650.3231 | 33.25 | 68.6
23233 | 2022-05-20 13:55 | 81.9961 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.551 | μmol/L | 18.3356 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.177 | 169552.81 | 303648.1479 | 33.25 | 68.6
23243 | 2022-05-20 13:55 | 82.3298 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.7217 | μmol/L | 18.3356 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.169 | 169494.5551 | 303622.8461 | 33.25 | 68.6
23253 | 2022-05-20 13:56 | 82.6635 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.7217 | μmol/L | 18.3356 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.169 | 169466.1623 | 303631.459 | 33.25 | 68.6
23263 | 2022-05-20 13:56 | 82.9965 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.8149 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.167 | 169482.6257 | 303616.4122 | 33.25 | 68.6
23273 | 2022-05-20 13:56 | 83.3301 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.9217 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.162 | 169414.6386 | 303606.0064 | 33.25 | 68.6
23283 | 2022-05-20 13:57 | 83.6629 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.2211 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.148 | 169307.452 | 303608.9736 | 33.25 | 68.6
23293 | 2022-05-20 13:57 | 83.9963 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.1492 | μmol/L | 18.3356 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.149 | 169253.5531 | 303594.6712 | 33.25 | 68.6
23303 | 2022-05-20 13:57 | 84.3301 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.8149 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.167 | 169401.6057 | 303597.4062 | 33.25 | 68.6
23313 | 2022-05-20 13:58 | 84.663 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.5297 | μmol/L | 18.3356 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.178 | 169508.6312 | 303585.1 | 33.25 | 68.6
23323 | 2022-05-20 13:58 | 84.9966 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.3242 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.19 | 169596.9741 | 303595.3416 | 33.25 | 68.6
23333 | 2022-05-20 13:58 | 85.3301 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.1461 | μmol/L | 18.3356 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.196 | 169679.5849 | 303591.99 | 33.25 | 68.6
23343 | 2022-05-20 13:59 | 85.6634 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 258.941 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.208 | 169722.0815 | 303595.7908 | 33.25 | 68.6
23353 | 2022-05-20 13:59 | 85.9962 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 258.8559 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.212 | 169761.7764 | 303585.5743 | 33.25 | 68.6
23363 | 2022-05-20 13:59 | 86.3297 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 258.7283 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.218 | 169792.7032 | 303575.3883 | 33.25 | 68.6
23373 | 2022-05-20 14:00 | 86.6631 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 258.6858 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.22 | 169820.2837 | 303577.9985 | 33.25 | 68.6
23383 | 2022-05-20 14:00 | 86.9966 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 258.6434 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.222 | 169803.6352 | 303553.4865 | 33.25 | 68.6
23393 | 2022-05-20 14:00 | 87.3301 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 258.9062 | μmol/L | 18.3235 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.212 | 169718.2288 | 303553.8566 | 33.25 | 68.6
23403 | 2022-05-20 14:01 | 87.6627 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 258.9835 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.206 | 169637.542 | 303563.3164 | 33.25 | 68.6
23413 | 2022-05-20 14:01 | 87.9962 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.1325 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.199 | 169552.0993 | 303555.1441 | 33.25 | 68.6
23423 | 2022-05-20 14:01 | 88.3298 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.5587 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.179 | 169412.3648 | 303533.0738 | 33.25 | 68.6
23433 | 2022-05-20 14:02 | 88.6631 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 259.9431 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.161 | 169254.2276 | 303544.089 | 33.25 | 68.6
23443 | 2022-05-20 14:02 | 88.9966 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.05 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.156 | 169177.1321 | 303538.7528 | 33.25 | 68.6
23453 | 2022-05-20 14:02 | 89.3295 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.1997 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.149 | 169113.0518 | 303529.6473 | 33.25 | 68.6
23463 | 2022-05-20 14:03 | 89.6634 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.3067 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.144 | 169078.6326 | 303522.2429 | 33.25 | 68.6
23473 | 2022-05-20 14:03 | 89.9961 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.6143 | μmol/L | 18.3235 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.132 | 168985.5001 | 303514.1435 | 33.25 | 68.6
23483 | 2022-05-20 14:03 | 90.3298 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 260.8425 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.119 | 168840.7446 | 303512.1105 | 33.25 | 68.6
23493 | 2022-05-20 14:04 | 90.6632 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.1647 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.104 | 168742.4898 | 303512.6561 | 33.25 | 68.6
23503 | 2022-05-20 14:04 | 90.9963 | oxy_ch_8 (PSt7-10) | 2022-05-17 09:58 | default | 261.2937 | μmol/L | 18.3295 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 24.098 | 168670.0242 | 303517.4697 | 33.25 | 68.6