## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_5 | O2 | 386281131 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:52

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 14:24

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
20776 | 2022-05-20 12:33 | 0 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.0076 | μmol/L | 18.6156 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.004 | 114719.714 | 268683.7049 | 36.4 | 83.1
20786 | 2022-05-20 12:33 | 0.3412 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.8378 | μmol/L | 18.6034 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.015 | 114739.9098 | 268690.1295 | 36.4 | 83.1
20796 | 2022-05-20 12:34 | 0.67448 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.7001 | μmol/L | 18.6095 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.018 | 114766.4675 | 268681.6142 | 36.4 | 83.1
20806 | 2022-05-20 12:34 | 1.0079 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.5692 | μmol/L | 18.6095 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.023 | 114775.4571 | 268663.5026 | 36.4 | 83.1
20816 | 2022-05-20 12:34 | 1.3412 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.6091 | μmol/L | 18.5973 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.026 | 114792.0186 | 268661.2424 | 36.4 | 83.1
20826 | 2022-05-20 12:35 | 1.6743 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.4783 | μmol/L | 18.5973 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.031 | 114799.0198 | 268660.4688 | 36.4 | 83.1
20836 | 2022-05-20 12:35 | 2.0072 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.2362 | μmol/L | 18.6034 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.038 | 114816.3615 | 268660.4796 | 36.4 | 83.1
20846 | 2022-05-20 12:35 | 2.3409 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.3613 | μmol/L | 18.585 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.04 | 114823.0651 | 268654.6248 | 36.4 | 83.1
20856 | 2022-05-20 12:36 | 2.6739 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.3613 | μmol/L | 18.585 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.04 | 114843.6016 | 268643.3451 | 36.4 | 83.1
20866 | 2022-05-20 12:36 | 3.0075 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.2307 | μmol/L | 18.585 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.045 | 114853.9833 | 268633.4835 | 36.4 | 83.1
20876 | 2022-05-20 12:36 | 3.3411 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.1592 | μmol/L | 18.5789 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.05 | 114866.3024 | 268625.5299 | 36.4 | 83.1
20886 | 2022-05-20 12:37 | 3.6746 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.1661 | μmol/L | 18.5728 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.052 | 114862.2126 | 268629.7297 | 36.4 | 83.1
20896 | 2022-05-20 12:37 | 4.0073 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.0287 | μmol/L | 18.5789 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.055 | 114877.5944 | 268612.6379 | 36.4 | 83.1
20906 | 2022-05-20 12:37 | 4.3409 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.9312 | μmol/L | 18.5728 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.061 | 114879.2073 | 268612.744 | 36.4 | 83.1
20916 | 2022-05-20 12:38 | 4.6746 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.0425 | μmol/L | 18.5667 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.059 | 114892.7354 | 268605.6539 | 36.4 | 83.1
20926 | 2022-05-20 12:38 | 5.0074 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.9903 | μmol/L | 18.5667 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.061 | 114900.1428 | 268594.153 | 36.4 | 83.1
20936 | 2022-05-20 12:38 | 5.341 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.8668 | μmol/L | 18.5605 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.068 | 114903.602 | 268592.3607 | 36.4 | 83.1
20946 | 2022-05-20 12:39 | 5.6744 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.8216 | μmol/L | 18.5544 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.072 | 114909.5853 | 268585.2776 | 36.4 | 83.1
20956 | 2022-05-20 12:39 | 6.0075 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.7694 | μmol/L | 18.5544 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.074 | 114928.9899 | 268579.0658 | 36.4 | 83.1
20966 | 2022-05-20 12:39 | 6.3411 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.6913 | μmol/L | 18.5544 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.077 | 114946.4752 | 268578.7834 | 36.4 | 83.1
20976 | 2022-05-20 12:40 | 6.6739 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.7051 | μmol/L | 18.5422 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.081 | 114959.8181 | 268580.3296 | 36.4 | 83.1
20986 | 2022-05-20 12:40 | 7.0076 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.5679 | μmol/L | 18.5483 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.084 | 114964.7154 | 268555.5289 | 36.4 | 83.1
20996 | 2022-05-20 12:40 | 7.3412 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.2817 | μmol/L | 18.5483 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.095 | 114992.827 | 268553.9709 | 36.4 | 83.1
21006 | 2022-05-20 12:41 | 7.674 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.2886 | μmol/L | 18.5422 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.097 | 115021.0649 | 268544.2642 | 36.4 | 83.1
21016 | 2022-05-20 12:41 | 8.0076 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.1066 | μmol/L | 18.5422 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.104 | 115042.0859 | 268557.0836 | 36.4 | 83.1
21026 | 2022-05-20 12:41 | 8.341 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.0096 | μmol/L | 18.536 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.11 | 115084.3884 | 268540.5504 | 36.4 | 83.1
21036 | 2022-05-20 12:42 | 8.674 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.9647 | μmol/L | 18.5299 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.114 | 115101.1328 | 268528.5041 | 36.4 | 83.1
21046 | 2022-05-20 12:42 | 9.0077 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.8937 | μmol/L | 18.5238 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.119 | 115143.7024 | 268524.1123 | 36.4 | 83.1
21056 | 2022-05-20 12:42 | 9.3407 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.738 | μmol/L | 18.5238 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.125 | 115166.479 | 268521.9958 | 36.4 | 83.1
21066 | 2022-05-20 12:43 | 9.6742 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.5046 | μmol/L | 18.5238 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.134 | 115194.5977 | 268521.7966 | 36.4 | 83.1
21076 | 2022-05-20 12:43 | 10.0078 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.3491 | μmol/L | 18.5238 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.14 | 115232.4701 | 268516.6989 | 36.4 | 83.1
21086 | 2022-05-20 12:43 | 10.3405 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.2336 | μmol/L | 18.5115 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.149 | 115269.1128 | 268512.7167 | 36.4 | 83.1
21096 | 2022-05-20 12:44 | 10.6742 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.0783 | μmol/L | 18.5115 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.155 | 115328.8817 | 268510.3477 | 36.4 | 83.1
21106 | 2022-05-20 12:44 | 11.0076 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.761 | μmol/L | 18.5177 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.165 | 115373.3554 | 268501.6094 | 36.4 | 83.1
21116 | 2022-05-20 12:44 | 11.3412 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.4769 | μmol/L | 18.5177 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.176 | 115436.7921 | 268501.1937 | 36.4 | 83.1
21126 | 2022-05-20 12:45 | 11.6743 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.226 | μmol/L | 18.5115 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.188 | 115495.7339 | 268492.2632 | 36.4 | 83.1
21136 | 2022-05-20 12:45 | 12.0079 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.0855 | μmol/L | 18.4993 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.198 | 115560.3367 | 268485.2654 | 36.4 | 83.1
21146 | 2022-05-20 12:45 | 12.3409 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.5893 | μmol/L | 18.5054 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.215 | 115637.0713 | 268484.9317 | 36.4 | 83.1
21156 | 2022-05-20 12:46 | 12.6738 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.3651 | μmol/L | 18.4993 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.226 | 115724.4206 | 268476.0814 | 36.4 | 83.1
21166 | 2022-05-20 12:46 | 13.0075 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.9032 | μmol/L | 18.4993 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.244 | 115810.9341 | 268473.201 | 36.4 | 83.1
21176 | 2022-05-20 12:46 | 13.3412 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.5516 | μmol/L | 18.4932 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.26 | 115898.929 | 268476.023 | 36.4 | 83.1
21186 | 2022-05-20 12:47 | 13.6741 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.0912 | μmol/L | 18.4932 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.278 | 115996.293 | 268477.116 | 36.4 | 83.1
21196 | 2022-05-20 12:47 | 14.0078 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.8174 | μmol/L | 18.487 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.291 | 116091.5692 | 268459.2772 | 36.4 | 83.1
21206 | 2022-05-20 12:47 | 14.3413 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.2821 | μmol/L | 18.487 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.312 | 116195.7325 | 268467.7093 | 36.4 | 83.1
21216 | 2022-05-20 12:48 | 14.6742 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.9076 | μmol/L | 18.4809 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.329 | 116302.6954 | 268460.4892 | 36.4 | 83.1
21226 | 2022-05-20 12:48 | 15.0077 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.3418 | μmol/L | 18.487 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.349 | 116382.5976 | 268459.111 | 36.4 | 83.1
21236 | 2022-05-20 12:48 | 15.3412 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.9798 | μmol/L | 18.4932 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.361 | 116473.623 | 268458.8766 | 36.4 | 83.1
21246 | 2022-05-20 12:49 | 15.6742 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.7157 | μmol/L | 18.4809 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.376 | 116544.8136 | 268455.1258 | 36.4 | 83.1
21256 | 2022-05-20 12:49 | 16.0078 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.3366 | μmol/L | 18.4809 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.391 | 116610.8249 | 268450.5119 | 36.4 | 83.1
21266 | 2022-05-20 12:49 | 16.3407 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.2247 | μmol/L | 18.4687 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.4 | 116673.5443 | 268444.8933 | 36.4 | 83.1
21276 | 2022-05-20 12:50 | 16.6743 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.94 | μmol/L | 18.4748 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.409 | 116730.824 | 268426.3386 | 36.4 | 83.1
21286 | 2022-05-20 12:50 | 17.0072 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.7204 | μmol/L | 18.4687 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.42 | 116796.1993 | 268434.6941 | 36.4 | 83.1
21296 | 2022-05-20 12:50 | 17.3408 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.4759 | μmol/L | 18.4625 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.432 | 116851.3194 | 268428.8854 | 36.4 | 83.1
21306 | 2022-05-20 12:51 | 17.6741 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.21 | μmol/L | 18.4748 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.438 | 116903.3834 | 268420.3471 | 36.4 | 83.1
21316 | 2022-05-20 12:51 | 18.0076 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.9409 | μmol/L | 18.4687 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.451 | 116955.0638 | 268418.5787 | 36.4 | 83.1
21326 | 2022-05-20 12:51 | 18.3411 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.7725 | μmol/L | 18.4625 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.46 | 117020.0183 | 268406.7979 | 36.4 | 83.1
21336 | 2022-05-20 12:52 | 18.6741 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.3714 | μmol/L | 18.4625 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.476 | 117082.3251 | 268398.7509 | 36.4 | 83.1
21346 | 2022-05-20 12:52 | 19.0076 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.1033 | μmol/L | 18.4564 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.489 | 117155.7657 | 268399.3746 | 36.4 | 83.1
21356 | 2022-05-20 12:52 | 19.3412 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.8533 | μmol/L | 18.4564 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.499 | 117208.6274 | 268391.6454 | 36.4 | 83.1
21366 | 2022-05-20 12:53 | 19.6741 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.511 | μmol/L | 18.4503 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.515 | 117294.0665 | 268391.0066 | 36.4 | 83.1
21376 | 2022-05-20 12:53 | 20.0078 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.08 | μmol/L | 18.4564 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.53 | 117381.3472 | 268396.5783 | 36.4 | 83.1
21386 | 2022-05-20 12:53 | 20.3407 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.7315 | μmol/L | 18.4564 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.544 | 117468.036 | 268402.1307 | 36.4 | 83.1
21396 | 2022-05-20 12:54 | 20.6742 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.3164 | μmol/L | 18.4503 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.563 | 117563.8218 | 268395.4153 | 36.4 | 83.1
21406 | 2022-05-20 12:54 | 21.0071 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.8875 | μmol/L | 18.4564 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.578 | 117662.3629 | 268380.7637 | 36.4 | 83.1
21416 | 2022-05-20 12:54 | 21.341 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.4419 | μmol/L | 18.4564 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.596 | 117759.9144 | 268389.1948 | 36.4 | 83.1
21426 | 2022-05-20 12:55 | 21.6746 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.0785 | μmol/L | 18.4503 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.613 | 117842.4143 | 268380.5212 | 36.4 | 83.1
21436 | 2022-05-20 12:55 | 22.0072 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.765 | μmol/L | 18.4442 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.628 | 117938.8233 | 268375.3628 | 36.4 | 83.1
21446 | 2022-05-20 12:55 | 22.3406 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.3954 | μmol/L | 18.4442 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.643 | 118026.1628 | 268363.6764 | 36.4 | 83.1
21456 | 2022-05-20 12:56 | 22.6743 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.1074 | μmol/L | 18.438 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.657 | 118107.9267 | 268364.7429 | 36.4 | 83.1
21466 | 2022-05-20 12:56 | 23.0072 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.7217 | μmol/L | 18.4319 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.675 | 118187.2437 | 268356.4299 | 36.4 | 83.1
21476 | 2022-05-20 12:56 | 23.3409 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.4518 | μmol/L | 18.4319 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.686 | 118261.8636 | 268357.5137 | 36.4 | 83.1
21486 | 2022-05-20 12:57 | 23.6744 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.0353 | μmol/L | 18.4319 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.703 | 118336.7888 | 268345.3242 | 36.4 | 83.1
21496 | 2022-05-20 12:57 | 24.0079 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.7663 | μmol/L | 18.4319 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.714 | 118408.9195 | 268344.2984 | 36.4 | 83.1
21506 | 2022-05-20 12:57 | 24.3407 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.4975 | μmol/L | 18.4319 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.725 | 118482.0452 | 268343.1959 | 36.4 | 83.1
21516 | 2022-05-20 12:58 | 24.6743 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.0827 | μmol/L | 18.4319 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.742 | 118556.4379 | 268346.2447 | 36.4 | 83.1
21526 | 2022-05-20 12:58 | 25.0079 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.9682 | μmol/L | 18.4258 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.749 | 118619.0933 | 268336.8555 | 36.4 | 83.1
21536 | 2022-05-20 12:58 | 25.3407 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.5544 | μmol/L | 18.4258 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.766 | 118672.5249 | 268347.9038 | 36.4 | 83.1
21546 | 2022-05-20 12:59 | 25.6742 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.4646 | μmol/L | 18.4197 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.772 | 118738.1518 | 268327.9855 | 36.4 | 83.1
21556 | 2022-05-20 12:59 | 26.0076 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.0685 | μmol/L | 18.4258 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.786 | 118799.7882 | 268311.4231 | 36.4 | 83.1
21566 | 2022-05-20 12:59 | 26.341 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 287.9061 | μmol/L | 18.4197 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.795 | 118856.5037 | 268312.5721 | 36.4 | 83.1
21576 | 2022-05-20 13:00 | 26.6746 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 287.8166 | μmol/L | 18.4135 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.801 | 118899.4047 | 268317.9218 | 36.4 | 83.1
21586 | 2022-05-20 13:00 | 27.0073 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 287.47 | μmol/L | 18.4197 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.813 | 118968.2376 | 268307.2571 | 36.4 | 83.1
21596 | 2022-05-20 13:00 | 27.3408 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 287.2839 | μmol/L | 18.4135 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.823 | 119023.574 | 268290.1046 | 36.4 | 83.1
21606 | 2022-05-20 13:01 | 27.6743 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.9938 | μmol/L | 18.4135 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.835 | 119088.0979 | 268296.3919 | 36.4 | 83.1
21616 | 2022-05-20 13:01 | 28.0072 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.68 | μmol/L | 18.4135 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.848 | 119142.0601 | 268272.2932 | 36.4 | 83.1
21626 | 2022-05-20 13:01 | 28.341 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.4223 | μmol/L | 18.4074 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.861 | 119198.9077 | 268269.1676 | 36.4 | 83.1
21636 | 2022-05-20 13:02 | 28.6739 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.1815 | μmol/L | 18.4074 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.871 | 119263.315 | 268278.1796 | 36.4 | 83.1
21646 | 2022-05-20 13:02 | 29.0075 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 285.8613 | μmol/L | 18.4135 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.882 | 119319.4117 | 268264.448 | 36.4 | 83.1
21656 | 2022-05-20 13:02 | 29.341 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 285.6691 | μmol/L | 18.4135 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.89 | 119378.3811 | 268263.3976 | 36.4 | 83.1
21666 | 2022-05-20 13:03 | 29.6739 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 285.5085 | μmol/L | 18.4074 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.899 | 119435.0941 | 268246.5904 | 36.4 | 83.1
21676 | 2022-05-20 13:03 | 30.0075 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 285.2686 | μmol/L | 18.4074 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.909 | 119466.2753 | 268245.8599 | 36.4 | 83.1
21686 | 2022-05-20 13:03 | 30.341 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 285.2836 | μmol/L | 18.3952 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.913 | 119481.3221 | 268234.321 | 36.4 | 83.1
21696 | 2022-05-20 13:04 | 30.6739 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 285.2281 | μmol/L | 18.4013 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.913 | 119458.5307 | 268214.4363 | 36.4 | 83.1
21706 | 2022-05-20 13:04 | 31.0075 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 285.2207 | μmol/L | 18.4074 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.911 | 119443.8132 | 268209.3906 | 36.4 | 83.1
21716 | 2022-05-20 13:04 | 31.3412 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 285.444 | μmol/L | 18.4013 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.904 | 119402.2452 | 268209.8493 | 36.4 | 83.1
21726 | 2022-05-20 13:05 | 31.6739 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 285.564 | μmol/L | 18.4013 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.899 | 119358.4115 | 268215.096 | 36.4 | 83.1
21736 | 2022-05-20 13:05 | 32.0077 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 285.8837 | μmol/L | 18.3952 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.888 | 119293.6638 | 268198.778 | 36.4 | 83.1
21746 | 2022-05-20 13:05 | 32.3409 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.1001 | μmol/L | 18.3952 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.879 | 119244.6071 | 268199.3351 | 36.4 | 83.1
21756 | 2022-05-20 13:06 | 32.6746 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.2445 | μmol/L | 18.3952 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.873 | 119194.0283 | 268192.002 | 36.4 | 83.1
21766 | 2022-05-20 13:06 | 33.0075 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.4372 | μmol/L | 18.3952 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.865 | 119147.5232 | 268185.1735 | 36.4 | 83.1
21776 | 2022-05-20 13:06 | 33.3412 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.5577 | μmol/L | 18.3952 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.86 | 119099.14 | 268176.3387 | 36.4 | 83.1
21786 | 2022-05-20 13:07 | 33.6741 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.6542 | μmol/L | 18.3952 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.856 | 119078.6271 | 268173.4751 | 36.4 | 83.1
21796 | 2022-05-20 13:07 | 34.0077 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.8621 | μmol/L | 18.3829 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.852 | 119049.61 | 268165.8881 | 36.4 | 83.1
21806 | 2022-05-20 13:07 | 34.3407 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.9828 | μmol/L | 18.3829 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.847 | 119040.4179 | 268156.5011 | 36.4 | 83.1
21816 | 2022-05-20 13:08 | 34.6743 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.9271 | μmol/L | 18.389 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.847 | 119016.898 | 268142.125 | 36.4 | 83.1
21826 | 2022-05-20 13:08 | 35.0079 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.9754 | μmol/L | 18.389 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.845 | 119019.9253 | 268148.9313 | 36.4 | 83.1
21836 | 2022-05-20 13:08 | 35.3409 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.9754 | μmol/L | 18.389 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.845 | 119004.729 | 268135.9943 | 36.4 | 83.1
21846 | 2022-05-20 13:09 | 35.6739 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.9587 | μmol/L | 18.3829 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.848 | 119019.4833 | 268128.9621 | 36.4 | 83.1
21856 | 2022-05-20 13:09 | 36.0076 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 287.007 | μmol/L | 18.3829 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.846 | 119006.4588 | 268130.8968 | 36.4 | 83.1
21866 | 2022-05-20 13:09 | 36.3411 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.8621 | μmol/L | 18.3829 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.852 | 119011.7145 | 268143.7974 | 36.4 | 83.1
21876 | 2022-05-20 13:10 | 36.6746 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.8305 | μmol/L | 18.389 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.851 | 119021.4395 | 268127.6343 | 36.4 | 83.1
21886 | 2022-05-20 13:10 | 37.0076 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.9179 | μmol/L | 18.3768 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.852 | 119014.2826 | 268126.074 | 36.4 | 83.1
21896 | 2022-05-20 13:10 | 37.3407 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.8863 | μmol/L | 18.3829 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.851 | 119014.3161 | 268110.7559 | 36.4 | 83.1
21906 | 2022-05-20 13:11 | 37.6742 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.9903 | μmol/L | 18.3768 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.849 | 119015.0067 | 268101.0662 | 36.4 | 83.1
21916 | 2022-05-20 13:11 | 38.0079 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.9179 | μmol/L | 18.3768 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.852 | 119002.4778 | 268092.8587 | 36.4 | 83.1
21926 | 2022-05-20 13:11 | 38.3406 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 286.9978 | μmol/L | 18.3707 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.851 | 118997.5985 | 268107.5316 | 36.4 | 83.1
21936 | 2022-05-20 13:12 | 38.6742 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 287.0778 | μmol/L | 18.3646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.85 | 118980.0999 | 268079.7023 | 36.4 | 83.1
21946 | 2022-05-20 13:12 | 39.0078 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 287.0944 | μmol/L | 18.3707 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.847 | 118964.3512 | 268072.7428 | 36.4 | 83.1
21956 | 2022-05-20 13:12 | 39.3406 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 287.2227 | μmol/L | 18.3646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.844 | 118944.5008 | 268074.7284 | 36.4 | 83.1
21966 | 2022-05-20 13:13 | 39.6742 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 287.1353 | μmol/L | 18.3768 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.843 | 118928.5047 | 268067.886 | 36.4 | 83.1
21976 | 2022-05-20 13:13 | 40.0078 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 287.2636 | μmol/L | 18.3707 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.84 | 118909.6989 | 268075.4327 | 36.4 | 83.1
21986 | 2022-05-20 13:13 | 40.3407 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 287.3119 | μmol/L | 18.3707 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.838 | 118886.5062 | 268061.1934 | 36.4 | 83.1
21996 | 2022-05-20 13:14 | 40.6741 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 287.3603 | μmol/L | 18.3707 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.836 | 118870.3793 | 268042.9248 | 36.4 | 83.1
22006 | 2022-05-20 13:14 | 41.0078 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 287.6098 | μmol/L | 18.3646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.828 | 118839.5794 | 268023.8592 | 36.4 | 83.1
22016 | 2022-05-20 13:14 | 41.3407 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 287.5856 | μmol/L | 18.3646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.829 | 118813.8084 | 268021.2685 | 36.4 | 83.1
22026 | 2022-05-20 13:15 | 41.6743 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 287.7066 | μmol/L | 18.3646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.824 | 118787.1723 | 268016.9125 | 36.4 | 83.1
22036 | 2022-05-20 13:15 | 42.0078 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 287.7626 | μmol/L | 18.3584 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.824 | 118759.3475 | 268016.996 | 36.4 | 83.1
22046 | 2022-05-20 13:15 | 42.3406 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 287.8278 | μmol/L | 18.3646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.819 | 118737.7057 | 268004.4841 | 36.4 | 83.1
22056 | 2022-05-20 13:16 | 42.6743 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 287.949 | μmol/L | 18.3646 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.814 | 118713.1611 | 267998.6401 | 36.4 | 83.1
22066 | 2022-05-20 13:16 | 43.0077 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.1823 | μmol/L | 18.3523 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.809 | 118686.3152 | 267989.4561 | 36.4 | 83.1
22076 | 2022-05-20 13:16 | 43.3412 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.102 | μmol/L | 18.3584 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.81 | 118666.0193 | 267981.9135 | 36.4 | 83.1
22086 | 2022-05-20 13:17 | 43.6739 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.1748 | μmol/L | 18.3584 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.807 | 118650.2314 | 267980.2412 | 36.4 | 83.1
22096 | 2022-05-20 13:17 | 44.0077 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.3765 | μmol/L | 18.3523 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.801 | 118633.2705 | 267970.34 | 36.4 | 83.1
22106 | 2022-05-20 13:17 | 44.3413 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.3036 | μmol/L | 18.3523 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.804 | 118602.6487 | 267965.6304 | 36.4 | 83.1
22116 | 2022-05-20 13:18 | 44.6739 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.369 | μmol/L | 18.3584 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.799 | 118551.6854 | 267966.761 | 36.4 | 83.1
22126 | 2022-05-20 13:18 | 45.0074 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.4251 | μmol/L | 18.3523 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.799 | 118521.3224 | 267944.8289 | 36.4 | 83.1
22136 | 2022-05-20 13:18 | 45.3405 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.5709 | μmol/L | 18.3523 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.793 | 118488.5683 | 267934.8005 | 36.4 | 83.1
22146 | 2022-05-20 13:19 | 45.6741 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.5466 | μmol/L | 18.3523 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.794 | 118461.8171 | 267932.4325 | 36.4 | 83.1
22156 | 2022-05-20 13:19 | 46.0076 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.7486 | μmol/L | 18.3462 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.788 | 118443.6315 | 267911.7538 | 36.4 | 83.1
22166 | 2022-05-20 13:19 | 46.3413 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.6438 | μmol/L | 18.3523 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.79 | 118433.8653 | 267914.9132 | 36.4 | 83.1
22176 | 2022-05-20 13:20 | 46.6742 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.8459 | μmol/L | 18.3462 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.784 | 118413.3446 | 267903.3995 | 36.4 | 83.1
22186 | 2022-05-20 13:20 | 47.0079 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.8459 | μmol/L | 18.3462 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.784 | 118402.2902 | 267903.2824 | 36.4 | 83.1
22196 | 2022-05-20 13:20 | 47.3406 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.8384 | μmol/L | 18.3523 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.782 | 118374.4634 | 267890.6075 | 36.4 | 83.1
22206 | 2022-05-20 13:21 | 47.6743 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 288.9283 | μmol/L | 18.3584 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.776 | 118357.903 | 267879.333 | 36.4 | 83.1
22216 | 2022-05-20 13:21 | 48.0079 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.0407 | μmol/L | 18.3462 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.776 | 118334.5482 | 267887.6154 | 36.4 | 83.1
22226 | 2022-05-20 13:21 | 48.3406 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.1138 | μmol/L | 18.3462 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.773 | 118313.7386 | 267861.0698 | 36.4 | 83.1
22236 | 2022-05-20 13:22 | 48.6744 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.2356 | μmol/L | 18.3462 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.768 | 118285.5668 | 267871.7952 | 36.4 | 83.1
22246 | 2022-05-20 13:22 | 49.008 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.3575 | μmol/L | 18.3462 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.763 | 118255.5951 | 267862.9322 | 36.4 | 83.1
22256 | 2022-05-20 13:22 | 49.3406 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.4701 | μmol/L | 18.3339 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.763 | 118236.2242 | 267854.3244 | 36.4 | 83.1
22266 | 2022-05-20 13:23 | 49.6744 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.4307 | μmol/L | 18.3462 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.76 | 118216.7529 | 267846.8055 | 36.4 | 83.1
22276 | 2022-05-20 13:23 | 50.0079 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.5283 | μmol/L | 18.3462 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.756 | 118193.2462 | 267841.3112 | 36.4 | 83.1
22286 | 2022-05-20 13:23 | 50.3408 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.5602 | μmol/L | 18.3401 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.757 | 118168.6731 | 267828.2474 | 36.4 | 83.1
22296 | 2022-05-20 13:24 | 50.6746 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.6579 | μmol/L | 18.3401 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.753 | 118156.0664 | 267826.759 | 36.4 | 83.1
22306 | 2022-05-20 13:24 | 51.0075 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.8364 | μmol/L | 18.3339 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.748 | 118142.9671 | 267822.9296 | 36.4 | 83.1
22316 | 2022-05-20 13:24 | 51.341 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.7556 | μmol/L | 18.3401 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.749 | 118124.6505 | 267805.9455 | 36.4 | 83.1
22326 | 2022-05-20 13:25 | 51.6746 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.78 | μmol/L | 18.3401 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.748 | 118125.0429 | 267804.2311 | 36.4 | 83.1
22336 | 2022-05-20 13:25 | 52.0075 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.7875 | μmol/L | 18.3339 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.75 | 118116.5149 | 267789.2536 | 36.4 | 83.1
22346 | 2022-05-20 13:25 | 52.341 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.7142 | μmol/L | 18.3339 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.753 | 118123.788 | 267799.7159 | 36.4 | 83.1
22356 | 2022-05-20 13:26 | 52.6739 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.6898 | μmol/L | 18.3339 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.754 | 118129.6071 | 267791.779 | 36.4 | 83.1
22366 | 2022-05-20 13:26 | 53.0075 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.6409 | μmol/L | 18.3339 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.756 | 118133.0217 | 267775.7041 | 36.4 | 83.1
22376 | 2022-05-20 13:26 | 53.3411 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.6409 | μmol/L | 18.3339 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.756 | 118137.2834 | 267765.4493 | 36.4 | 83.1
22386 | 2022-05-20 13:27 | 53.6739 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.6165 | μmol/L | 18.3339 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.757 | 118139.573 | 267747.1894 | 36.4 | 83.1
22396 | 2022-05-20 13:27 | 54.0077 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.5433 | μmol/L | 18.3339 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.76 | 118142.111 | 267748.368 | 36.4 | 83.1
22406 | 2022-05-20 13:27 | 54.3406 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.5677 | μmol/L | 18.3339 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.759 | 118161.0725 | 267742.886 | 36.4 | 83.1
22416 | 2022-05-20 13:28 | 54.6743 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.4776 | μmol/L | 18.3278 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.765 | 118158.5531 | 267745.6993 | 36.4 | 83.1
22426 | 2022-05-20 13:28 | 55.0078 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.5508 | μmol/L | 18.3278 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.762 | 118165.4619 | 267745.1762 | 36.4 | 83.1
22436 | 2022-05-20 13:28 | 55.3406 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.3481 | μmol/L | 18.3339 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.768 | 118170.2933 | 267732.4661 | 36.4 | 83.1
22446 | 2022-05-20 13:29 | 55.6742 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.3237 | μmol/L | 18.3339 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.769 | 118166.6918 | 267731.5741 | 36.4 | 83.1
22456 | 2022-05-20 13:29 | 56.0076 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.2994 | μmol/L | 18.3339 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.77 | 118169.1681 | 267727.9444 | 36.4 | 83.1
22466 | 2022-05-20 13:29 | 56.341 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.3312 | μmol/L | 18.3278 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.771 | 118170.6921 | 267720.8426 | 36.4 | 83.1
22476 | 2022-05-20 13:30 | 56.6739 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.3631 | μmol/L | 18.3217 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.772 | 118157.6078 | 267727.3842 | 36.4 | 83.1
22486 | 2022-05-20 13:30 | 57.0073 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.2019 | μmol/L | 18.3339 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.774 | 118156.0588 | 267718.2217 | 36.4 | 83.1
22496 | 2022-05-20 13:30 | 57.3411 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.4044 | μmol/L | 18.3278 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.768 | 118154.7657 | 267720.3532 | 36.4 | 83.1
22506 | 2022-05-20 13:31 | 57.6744 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.4044 | μmol/L | 18.3278 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.768 | 118148.501 | 267714.1748 | 36.4 | 83.1
22516 | 2022-05-20 13:31 | 58.0079 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.5339 | μmol/L | 18.3217 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.765 | 118141.8819 | 267703.4149 | 36.4 | 83.1
22526 | 2022-05-20 13:31 | 58.3405 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.5095 | μmol/L | 18.3217 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.766 | 118118.7786 | 267695.4235 | 36.4 | 83.1
22536 | 2022-05-20 13:32 | 58.6744 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.4288 | μmol/L | 18.3278 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.767 | 118109.0226 | 267688.3628 | 36.4 | 83.1
22546 | 2022-05-20 13:32 | 59.0071 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.5752 | μmol/L | 18.3278 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.761 | 118080.3538 | 267684.8906 | 36.4 | 83.1
22556 | 2022-05-20 13:32 | 59.3406 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.5996 | μmol/L | 18.3278 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.76 | 118064.35 | 267685.7644 | 36.4 | 83.1
22566 | 2022-05-20 13:33 | 59.6742 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.8269 | μmol/L | 18.3217 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.753 | 118051.1958 | 267683.4417 | 36.4 | 83.1
22576 | 2022-05-20 13:33 | 60.0077 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.9247 | μmol/L | 18.3217 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.749 | 118023.1046 | 267672.2926 | 36.4 | 83.1
22586 | 2022-05-20 13:33 | 60.3411 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.8927 | μmol/L | 18.3278 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.748 | 117997.9747 | 267678.8801 | 36.4 | 83.1
22596 | 2022-05-20 13:34 | 60.674 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 289.998 | μmol/L | 18.3217 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.746 | 117972.9362 | 267669.8738 | 36.4 | 83.1
22606 | 2022-05-20 13:34 | 61.0075 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.0883 | μmol/L | 18.3278 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.74 | 117951.6907 | 267665.9596 | 36.4 | 83.1
22616 | 2022-05-20 13:34 | 61.3406 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.2502 | μmol/L | 18.3156 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.738 | 117921.5134 | 267666.9463 | 36.4 | 83.1
22626 | 2022-05-20 13:35 | 61.6741 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.3481 | μmol/L | 18.3156 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.734 | 117892.5093 | 267644.6804 | 36.4 | 83.1
22636 | 2022-05-20 13:35 | 62.0076 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.3971 | μmol/L | 18.3156 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.732 | 117871.7794 | 267647.9474 | 36.4 | 83.1
22646 | 2022-05-20 13:35 | 62.3412 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.4461 | μmol/L | 18.3156 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.73 | 117860.2281 | 267657.8944 | 36.4 | 83.1
22656 | 2022-05-20 13:36 | 62.6746 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.6421 | μmol/L | 18.3156 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.722 | 117825.3459 | 267625.6592 | 36.4 | 83.1
22666 | 2022-05-20 13:36 | 63.0076 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.7157 | μmol/L | 18.3156 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.719 | 117799.4273 | 267626.9449 | 36.4 | 83.1
22676 | 2022-05-20 13:36 | 63.3412 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.7893 | μmol/L | 18.3156 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.716 | 117776.7133 | 267619.6829 | 36.4 | 83.1
22686 | 2022-05-20 13:37 | 63.674 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 290.8874 | μmol/L | 18.3156 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.712 | 117746.3156 | 267607.7398 | 36.4 | 83.1
22696 | 2022-05-20 13:37 | 64.0076 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.1234 | μmol/L | 18.3033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.707 | 117725.3626 | 267602.7157 | 36.4 | 83.1
22706 | 2022-05-20 13:37 | 64.3412 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.0422 | μmol/L | 18.3094 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.708 | 117700.2423 | 267591.549 | 36.4 | 83.1
22716 | 2022-05-20 13:38 | 64.6743 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.1971 | μmol/L | 18.3033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.704 | 117680.2344 | 267587.5213 | 36.4 | 83.1
22726 | 2022-05-20 13:38 | 65.0078 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.1576 | μmol/L | 18.3156 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.701 | 117662.15 | 267597.3959 | 36.4 | 83.1
22736 | 2022-05-20 13:38 | 65.3406 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.305 | μmol/L | 18.3156 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.695 | 117641.2327 | 267581.1939 | 36.4 | 83.1
22746 | 2022-05-20 13:39 | 65.6743 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.2804 | μmol/L | 18.3156 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.696 | 117616.404 | 267579.1942 | 36.4 | 83.1
22756 | 2022-05-20 13:39 | 66.0079 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.4772 | μmol/L | 18.3156 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.688 | 117603.3311 | 267573.7707 | 36.4 | 83.1
22766 | 2022-05-20 13:39 | 66.3407 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.6153 | μmol/L | 18.3033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.687 | 117582.0471 | 267566.4266 | 36.4 | 83.1
22776 | 2022-05-20 13:40 | 66.6744 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.6645 | μmol/L | 18.3033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.685 | 117551.3764 | 267571.8206 | 36.4 | 83.1
22786 | 2022-05-20 13:40 | 67.0078 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.657 | μmol/L | 18.3094 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.683 | 117527.326 | 267552.2528 | 36.4 | 83.1
22796 | 2022-05-20 13:40 | 67.3405 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.8048 | μmol/L | 18.3094 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.677 | 117506.134 | 267549.753 | 36.4 | 83.1
22806 | 2022-05-20 13:41 | 67.6739 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 291.9033 | μmol/L | 18.3094 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.673 | 117481.6954 | 267548.9412 | 36.4 | 83.1
22816 | 2022-05-20 13:41 | 68.0079 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.002 | μmol/L | 18.3094 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.669 | 117448.705 | 267543.2656 | 36.4 | 83.1
22826 | 2022-05-20 13:41 | 68.3407 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.002 | μmol/L | 18.3094 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.669 | 117422.4634 | 267535.4039 | 36.4 | 83.1
22836 | 2022-05-20 13:42 | 68.6743 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.1575 | μmol/L | 18.3033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.665 | 117402.9772 | 267522.9767 | 36.4 | 83.1
22846 | 2022-05-20 13:42 | 69.0071 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.3055 | μmol/L | 18.3033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.659 | 117371.8678 | 267511.5886 | 36.4 | 83.1
22856 | 2022-05-20 13:42 | 69.3407 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.2981 | μmol/L | 18.3094 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.657 | 117353.635 | 267514.2865 | 36.4 | 83.1
22866 | 2022-05-20 13:43 | 69.6743 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.4537 | μmol/L | 18.3033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.653 | 117326.9179 | 267496.639 | 36.4 | 83.1
22876 | 2022-05-20 13:43 | 70.0078 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.602 | μmol/L | 18.3033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.647 | 117296.4271 | 267497.4873 | 36.4 | 83.1
22886 | 2022-05-20 13:43 | 70.3405 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.6267 | μmol/L | 18.3033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.646 | 117274.9884 | 267495.38 | 36.4 | 83.1
22896 | 2022-05-20 13:44 | 70.6743 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.7998 | μmol/L | 18.3033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.639 | 117241.1621 | 267478.4869 | 36.4 | 83.1
22906 | 2022-05-20 13:44 | 71.0079 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.8073 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.641 | 117224.0993 | 267473.1622 | 36.4 | 83.1
22916 | 2022-05-20 13:44 | 71.3411 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.8171 | μmol/L | 18.3094 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.636 | 117199.1483 | 267469.5043 | 36.4 | 83.1
22926 | 2022-05-20 13:45 | 71.6738 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.8988 | μmol/L | 18.3033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.635 | 117168.5904 | 267452.1509 | 36.4 | 83.1
22936 | 2022-05-20 13:45 | 72.0076 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.0722 | μmol/L | 18.3033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.628 | 117146.0009 | 267444.8975 | 36.4 | 83.1
22946 | 2022-05-20 13:45 | 72.3413 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.0226 | μmol/L | 18.3033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.63 | 117128.1976 | 267437.258 | 36.4 | 83.1
22956 | 2022-05-20 13:46 | 72.6742 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.1713 | μmol/L | 18.3033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.624 | 117108.6917 | 267437.8048 | 36.4 | 83.1
22966 | 2022-05-20 13:46 | 73.0073 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.3027 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.621 | 117075.9564 | 267432.1676 | 36.4 | 83.1
22976 | 2022-05-20 13:46 | 73.3408 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.32 | μmol/L | 18.3033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.618 | 117064.1 | 267421.5536 | 36.4 | 83.1
22986 | 2022-05-20 13:47 | 73.6744 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.3125 | μmol/L | 18.3094 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.616 | 117044.1375 | 267425.3135 | 36.4 | 83.1
22996 | 2022-05-20 13:47 | 74.0073 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.5184 | μmol/L | 18.3033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.61 | 117008.6376 | 267404.0977 | 36.4 | 83.1
23006 | 2022-05-20 13:47 | 74.3408 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.6004 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.609 | 116994.7075 | 267391.3319 | 36.4 | 83.1
23016 | 2022-05-20 13:48 | 74.6746 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.6177 | μmol/L | 18.3033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.606 | 116964.2433 | 267385.9325 | 36.4 | 83.1
23026 | 2022-05-20 13:48 | 75.0073 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.7742 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.602 | 116939.8426 | 267385.3083 | 36.4 | 83.1
23036 | 2022-05-20 13:48 | 75.3411 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.8239 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.6 | 116912.3587 | 267382.8457 | 36.4 | 83.1
23046 | 2022-05-20 13:49 | 75.6744 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.891 | μmol/L | 18.3033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.595 | 116896.4851 | 267385.5404 | 36.4 | 83.1
23056 | 2022-05-20 13:49 | 76.0072 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.9979 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.593 | 116862.1832 | 267381.9403 | 36.4 | 83.1
23066 | 2022-05-20 13:49 | 76.3407 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.0153 | μmol/L | 18.3033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.59 | 116844.5224 | 267356.8851 | 36.4 | 83.1
23076 | 2022-05-20 13:50 | 76.6743 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.9979 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.593 | 116831.6065 | 267362.266 | 36.4 | 83.1
23086 | 2022-05-20 13:50 | 77.0075 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.2044 | μmol/L | 18.2911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.587 | 116798.898 | 267356.5605 | 36.4 | 83.1
23096 | 2022-05-20 13:50 | 77.3405 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.2716 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.582 | 116783.2095 | 267359.1484 | 36.4 | 83.1
23106 | 2022-05-20 13:51 | 77.6741 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.3463 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.579 | 116761.8721 | 267338.0107 | 36.4 | 83.1
23116 | 2022-05-20 13:51 | 78.0076 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.3961 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.577 | 116725.9024 | 267329.7817 | 36.4 | 83.1
23126 | 2022-05-20 13:51 | 78.3407 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.3637 | μmol/L | 18.3033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.576 | 116713.0968 | 267321.6408 | 36.4 | 83.1
23136 | 2022-05-20 13:52 | 78.6745 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.5381 | μmol/L | 18.3033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.569 | 116695.3859 | 267337.6014 | 36.4 | 83.1
23146 | 2022-05-20 13:52 | 79.0072 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.5705 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.57 | 116675.8594 | 267321.1618 | 36.4 | 83.1
23156 | 2022-05-20 13:52 | 79.3408 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.6702 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.566 | 116655.654 | 267308.0553 | 36.4 | 83.1
23166 | 2022-05-20 13:53 | 79.6743 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.6702 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.566 | 116641.5261 | 267319.7428 | 36.4 | 83.1
23176 | 2022-05-20 13:53 | 80.0074 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.7127 | μmol/L | 18.3033 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.562 | 116622.1631 | 267312.5216 | 36.4 | 83.1
23186 | 2022-05-20 13:53 | 80.3409 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.8449 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.559 | 116612.5732 | 267293.6508 | 36.4 | 83.1
23196 | 2022-05-20 13:54 | 80.6745 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.8449 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.559 | 116581.5961 | 267288.4017 | 36.4 | 83.1
23206 | 2022-05-20 13:54 | 81.0072 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.9447 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.555 | 116562.5599 | 267286.2247 | 36.4 | 83.1
23216 | 2022-05-20 13:54 | 81.3409 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.9946 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.553 | 116539.2525 | 267278.6327 | 36.4 | 83.1
23226 | 2022-05-20 13:55 | 81.6745 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.0196 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.552 | 116526.8416 | 267262.2517 | 36.4 | 83.1
23236 | 2022-05-20 13:55 | 82.0072 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.9697 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.554 | 116516.7105 | 267269.1375 | 36.4 | 83.1
23246 | 2022-05-20 13:55 | 82.3407 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.9946 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.553 | 116505.5682 | 267272.1664 | 36.4 | 83.1
23256 | 2022-05-20 13:56 | 82.6744 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.1195 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.548 | 116492.2984 | 267248.3314 | 36.4 | 83.1
23266 | 2022-05-20 13:56 | 83.0072 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.0945 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.549 | 116482.7971 | 267251.9974 | 36.4 | 83.1
23276 | 2022-05-20 13:56 | 83.3407 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.0696 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.55 | 116472.1893 | 267256.2585 | 36.4 | 83.1
23286 | 2022-05-20 13:57 | 83.6744 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.1945 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.545 | 116455.0826 | 267251.7345 | 36.4 | 83.1
23296 | 2022-05-20 13:57 | 84.0073 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.1695 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.546 | 116444.9582 | 267229.3866 | 36.4 | 83.1
23306 | 2022-05-20 13:57 | 84.341 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.2445 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.543 | 116437.0787 | 267241.4782 | 36.4 | 83.1
23316 | 2022-05-20 13:58 | 84.6746 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.2445 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.543 | 116439.6786 | 267227.1471 | 36.4 | 83.1
23326 | 2022-05-20 13:58 | 85.0073 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.2769 | μmol/L | 18.2911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.544 | 116430.5689 | 267225.0691 | 36.4 | 83.1
23336 | 2022-05-20 13:58 | 85.3411 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.2769 | μmol/L | 18.2911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.544 | 116431.8591 | 267222.5766 | 36.4 | 83.1
23346 | 2022-05-20 13:59 | 85.6741 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.2769 | μmol/L | 18.2911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.544 | 116431.9498 | 267223.2547 | 36.4 | 83.1
23356 | 2022-05-20 13:59 | 86.0077 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.4344 | μmol/L | 18.2849 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.54 | 116421.1405 | 267205.7332 | 36.4 | 83.1
23366 | 2022-05-20 13:59 | 86.3408 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.2769 | μmol/L | 18.2911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.544 | 116418.8522 | 267196.3217 | 36.4 | 83.1
23376 | 2022-05-20 14:00 | 86.6745 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.1445 | μmol/L | 18.2972 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.547 | 116410.2485 | 267203.1835 | 36.4 | 83.1
23386 | 2022-05-20 14:00 | 87.0073 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.2269 | μmol/L | 18.2911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.546 | 116416.3555 | 267189.6383 | 36.4 | 83.1
23396 | 2022-05-20 14:00 | 87.3407 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.3019 | μmol/L | 18.2911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.543 | 116421.5963 | 267198.9591 | 36.4 | 83.1
23406 | 2022-05-20 14:01 | 87.6745 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.3344 | μmol/L | 18.2849 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.544 | 116425.7944 | 267176.3624 | 36.4 | 83.1
23416 | 2022-05-20 14:01 | 88.0073 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.2594 | μmol/L | 18.2849 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.547 | 116427.1869 | 267164.9685 | 36.4 | 83.1
23426 | 2022-05-20 14:01 | 88.3409 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.1769 | μmol/L | 18.2911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.548 | 116428.0276 | 267176.7411 | 36.4 | 83.1
23436 | 2022-05-20 14:02 | 88.6745 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.102 | μmol/L | 18.2911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.551 | 116425.4418 | 267179.6254 | 36.4 | 83.1
23446 | 2022-05-20 14:02 | 89.0079 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.2094 | μmol/L | 18.2849 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.549 | 116421.6851 | 267177.6313 | 36.4 | 83.1
23456 | 2022-05-20 14:02 | 89.3405 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.1769 | μmol/L | 18.2911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.548 | 116424.7272 | 267168.9774 | 36.4 | 83.1
23466 | 2022-05-20 14:03 | 89.6743 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.2094 | μmol/L | 18.2849 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.549 | 116426.6699 | 267171.4714 | 36.4 | 83.1
23476 | 2022-05-20 14:03 | 90.0079 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.2269 | μmol/L | 18.2911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.546 | 116424.4601 | 267158.6245 | 36.4 | 83.1
23486 | 2022-05-20 14:03 | 90.3408 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.052 | μmol/L | 18.2911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.553 | 116434.7396 | 267168.1327 | 36.4 | 83.1
23496 | 2022-05-20 14:04 | 90.6744 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.152 | μmol/L | 18.2911 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.549 | 116436.4907 | 267161.0814 | 36.4 | 83.1
23506 | 2022-05-20 14:04 | 91.0073 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.1344 | μmol/L | 18.2849 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.552 | 116442.7917 | 267156.1544 | 36.4 | 83.1