## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_3 | O2 | 412637359 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:50

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 15:44

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
23518 | 2022-05-20 14:22 | 0 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.3773 | μmol/L | 18.0865 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.41 | 89696.9905 | 210722.7845 | 27.3 | 43.4
23528 | 2022-05-20 14:23 | 0.32852 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.2022 | μmol/L | 18.0926 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.414 | 89666.1171 | 210721.9302 | 27.3 | 43.4
23538 | 2022-05-20 14:23 | 0.6622 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.1676 | μmol/L | 18.0987 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.413 | 89641.6702 | 210711.4601 | 27.3 | 43.4
23548 | 2022-05-20 14:23 | 0.99509 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.3773 | μmol/L | 18.0865 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.41 | 89619.3767 | 210718.7271 | 27.3 | 43.4
23558 | 2022-05-20 14:24 | 1.3289 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.293 | μmol/L | 18.0865 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.413 | 89598.5812 | 210706.3823 | 27.3 | 43.4
23568 | 2022-05-20 14:24 | 1.6623 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.3211 | μmol/L | 18.0865 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.412 | 89578.0424 | 210696.8644 | 27.3 | 43.4
23578 | 2022-05-20 14:24 | 1.9959 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.1807 | μmol/L | 18.0865 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.417 | 89556.3747 | 210699.0996 | 27.3 | 43.4
23588 | 2022-05-20 14:25 | 2.3285 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.3773 | μmol/L | 18.0865 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.41 | 89540.1097 | 210690.9712 | 27.3 | 43.4
23598 | 2022-05-20 14:25 | 2.6623 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.3773 | μmol/L | 18.0865 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.41 | 89515.2833 | 210684.7847 | 27.3 | 43.4
23608 | 2022-05-20 14:25 | 2.9957 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.3707 | μmol/L | 18.0926 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.408 | 89500.6774 | 210685.832 | 27.3 | 43.4
23618 | 2022-05-20 14:26 | 3.3285 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.4119 | μmol/L | 18.0804 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.411 | 89489.9582 | 210679.0859 | 27.3 | 43.4
23628 | 2022-05-20 14:26 | 3.662 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.3707 | μmol/L | 18.0926 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.408 | 89472.9769 | 210688.0614 | 27.3 | 43.4
23638 | 2022-05-20 14:26 | 3.9954 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.455 | μmol/L | 18.0926 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.405 | 89448.9923 | 210673.5391 | 27.3 | 43.4
23648 | 2022-05-20 14:27 | 4.3292 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.5178 | μmol/L | 18.0865 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.405 | 89434.2978 | 210664.3687 | 27.3 | 43.4
23658 | 2022-05-20 14:27 | 4.6619 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.5178 | μmol/L | 18.0865 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.405 | 89422.5908 | 210659.7253 | 27.3 | 43.4
23668 | 2022-05-20 14:27 | 4.9956 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.5393 | μmol/L | 18.0926 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.402 | 89404.4206 | 210658.9705 | 27.3 | 43.4
23678 | 2022-05-20 14:28 | 5.3291 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.5178 | μmol/L | 18.0865 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.405 | 89386.742 | 210649.4501 | 27.3 | 43.4
23688 | 2022-05-20 14:28 | 5.6619 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.455 | μmol/L | 18.0926 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.405 | 89384.346 | 210657.8955 | 27.3 | 43.4
23698 | 2022-05-20 14:28 | 5.9956 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.3427 | μmol/L | 18.0926 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.409 | 89362.8863 | 210642.4576 | 27.3 | 43.4
23708 | 2022-05-20 14:29 | 6.3291 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.2238 | μmol/L | 18.0987 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.411 | 89355.8351 | 210639.8505 | 27.3 | 43.4
23718 | 2022-05-20 14:29 | 6.6625 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.455 | μmol/L | 18.0926 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.405 | 89346.4911 | 210643.7743 | 27.3 | 43.4
23728 | 2022-05-20 14:29 | 6.9954 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.4485 | μmol/L | 18.0987 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.403 | 89332.159 | 210636.8174 | 27.3 | 43.4
23738 | 2022-05-20 14:30 | 7.3287 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.4204 | μmol/L | 18.0987 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.404 | 89324.8865 | 210620.2207 | 27.3 | 43.4
23748 | 2022-05-20 14:30 | 7.6621 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.6021 | μmol/L | 18.0865 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.402 | 89310.8327 | 210642.5466 | 27.3 | 43.4
23758 | 2022-05-20 14:30 | 7.9958 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.3923 | μmol/L | 18.0987 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.405 | 89294.7367 | 210634.1736 | 27.3 | 43.4
23768 | 2022-05-20 14:31 | 8.3287 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.4701 | μmol/L | 18.1048 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.4 | 89290.2139 | 210627.5586 | 27.3 | 43.4
23778 | 2022-05-20 14:31 | 8.6623 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.3923 | μmol/L | 18.0987 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.405 | 89265.9471 | 210622.5836 | 27.3 | 43.4
23788 | 2022-05-20 14:31 | 8.9952 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.7015 | μmol/L | 18.0987 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.394 | 89267.8618 | 210614.5018 | 27.3 | 43.4
23798 | 2022-05-20 14:32 | 9.329 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.6453 | μmol/L | 18.0987 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.396 | 89241.3984 | 210608.05 | 27.3 | 43.4
23808 | 2022-05-20 14:32 | 9.6624 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.5112 | μmol/L | 18.0926 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.403 | 89252.4537 | 210609.4084 | 27.3 | 43.4
23818 | 2022-05-20 14:32 | 9.9958 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 323.1957 | μmol/L | 18.0987 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.412 | 89296.9364 | 210603.9584 | 27.3 | 43.4
23828 | 2022-05-20 14:33 | 10.3285 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 322.6349 | μmol/L | 18.0987 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.432 | 89374.6979 | 210603.2739 | 27.3 | 43.4
23838 | 2022-05-20 14:33 | 10.662 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 322.0753 | μmol/L | 18.0987 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.452 | 89465.7848 | 210593.3132 | 27.3 | 43.4
23848 | 2022-05-20 14:33 | 10.9956 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 321.5448 | μmol/L | 18.0987 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.471 | 89552.1156 | 210586.8236 | 27.3 | 43.4
23858 | 2022-05-20 14:34 | 11.3292 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 320.9531 | μmol/L | 18.1048 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.49 | 89639.5096 | 210596.3241 | 27.3 | 43.4
23868 | 2022-05-20 14:34 | 11.662 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 320.6194 | μmol/L | 18.1048 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.502 | 89701.4125 | 210580.2245 | 27.3 | 43.4
23878 | 2022-05-20 14:34 | 11.9955 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 320.092 | μmol/L | 18.1048 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.521 | 89769.7301 | 210586.5708 | 27.3 | 43.4
23888 | 2022-05-20 14:35 | 12.3291 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 319.5933 | μmol/L | 18.1048 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.539 | 89847.4139 | 210587.0281 | 27.3 | 43.4
23898 | 2022-05-20 14:35 | 12.6625 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.9575 | μmol/L | 18.1048 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.562 | 89934.2887 | 210584.1548 | 27.3 | 43.4
23908 | 2022-05-20 14:35 | 12.9951 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.5228 | μmol/L | 18.0987 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.58 | 90019.2488 | 210581.6728 | 27.3 | 43.4
23918 | 2022-05-20 14:36 | 13.3285 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 318.1031 | μmol/L | 18.1048 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.593 | 90080.5647 | 210574.643 | 27.3 | 43.4
23928 | 2022-05-20 14:36 | 13.6622 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.7457 | μmol/L | 18.1048 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.606 | 90147.0261 | 210576.4173 | 27.3 | 43.4
23938 | 2022-05-20 14:36 | 13.9958 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 317.0871 | μmol/L | 18.1048 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.63 | 90221.1329 | 210585.3306 | 27.3 | 43.4
23948 | 2022-05-20 14:37 | 14.3286 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 316.7038 | μmol/L | 18.1048 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.644 | 90301.2487 | 210578.0303 | 27.3 | 43.4
23958 | 2022-05-20 14:37 | 14.6621 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 316.0346 | μmol/L | 18.1171 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.664 | 90375.1249 | 210571.438 | 27.3 | 43.4
23968 | 2022-05-20 14:37 | 14.9957 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.6662 | μmol/L | 18.1048 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.682 | 90445.8721 | 210570.2901 | 27.3 | 43.4
23978 | 2022-05-20 14:38 | 15.3291 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 315.1967 | μmol/L | 18.111 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.697 | 90514.7096 | 210562.3565 | 27.3 | 43.4
23988 | 2022-05-20 14:38 | 15.6619 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.9793 | μmol/L | 18.111 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.705 | 90566.3248 | 210561.259 | 27.3 | 43.4
23998 | 2022-05-20 14:38 | 15.9954 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.572 | μmol/L | 18.111 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.72 | 90619.8487 | 210568.856 | 27.3 | 43.4
24008 | 2022-05-20 14:39 | 16.3288 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.3754 | μmol/L | 18.1171 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.725 | 90650.7227 | 210558.388 | 27.3 | 43.4
24018 | 2022-05-20 14:39 | 16.6624 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.9962 | μmol/L | 18.1171 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.739 | 90690.1644 | 210551.953 | 27.3 | 43.4
24028 | 2022-05-20 14:39 | 16.9951 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.8406 | μmol/L | 18.111 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.747 | 90711.5554 | 210557.8815 | 27.3 | 43.4
24038 | 2022-05-20 14:40 | 17.3286 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.8203 | μmol/L | 18.1048 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.75 | 90737.6147 | 210552.8231 | 27.3 | 43.4
24048 | 2022-05-20 14:40 | 17.6622 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.5973 | μmol/L | 18.111 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.756 | 90748.5716 | 210556.7386 | 27.3 | 43.4
24058 | 2022-05-20 14:40 | 17.9958 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.4014 | μmol/L | 18.1171 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.761 | 90762.5479 | 210546.2446 | 27.3 | 43.4
24068 | 2022-05-20 14:41 | 18.3286 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.4622 | μmol/L | 18.111 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.761 | 90759.6236 | 210547.6753 | 27.3 | 43.4
24078 | 2022-05-20 14:41 | 18.662 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.3474 | μmol/L | 18.1171 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.763 | 90733.4373 | 210542.7702 | 27.3 | 43.4
24088 | 2022-05-20 14:41 | 18.9957 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.6175 | μmol/L | 18.1171 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.753 | 90702.0618 | 210549.5431 | 27.3 | 43.4
24098 | 2022-05-20 14:42 | 19.3285 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.8207 | μmol/L | 18.1232 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.743 | 90643.3264 | 210542.2158 | 27.3 | 43.4
24108 | 2022-05-20 14:42 | 19.6622 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.3008 | μmol/L | 18.111 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.73 | 90596.9316 | 210536.4855 | 27.3 | 43.4
24118 | 2022-05-20 14:42 | 19.9951 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.2332 | μmol/L | 18.1232 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.728 | 90560.768 | 210543.3681 | 27.3 | 43.4
24128 | 2022-05-20 14:43 | 20.3287 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 314.0707 | μmol/L | 18.1232 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.734 | 90593.3847 | 210528.7385 | 27.3 | 43.4
24138 | 2022-05-20 14:43 | 20.6623 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.773 | μmol/L | 18.1232 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.745 | 90654.8027 | 210524.5597 | 27.3 | 43.4
24148 | 2022-05-20 14:43 | 20.9958 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.3406 | μmol/L | 18.1232 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.761 | 90710.4413 | 210530.4597 | 27.3 | 43.4
24158 | 2022-05-20 14:44 | 21.3286 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 313.0371 | μmol/L | 18.1293 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.77 | 90746.3661 | 210525.1857 | 27.3 | 43.4
24168 | 2022-05-20 14:44 | 21.6621 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.8758 | μmol/L | 18.1232 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.778 | 90767.5214 | 210522.2801 | 27.3 | 43.4
24178 | 2022-05-20 14:44 | 21.9955 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.7205 | μmol/L | 18.1232 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.784 | 90783.1265 | 210512.519 | 27.3 | 43.4
24188 | 2022-05-20 14:45 | 22.3291 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.4244 | μmol/L | 18.1232 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.795 | 90818.6724 | 210520.1915 | 27.3 | 43.4
24198 | 2022-05-20 14:45 | 22.6618 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.075 | μmol/L | 18.1232 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.808 | 90874.2627 | 210515.6433 | 27.3 | 43.4
24208 | 2022-05-20 14:45 | 22.9952 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.4848 | μmol/L | 18.1232 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.83 | 90989.311 | 210503.2591 | 27.3 | 43.4
24218 | 2022-05-20 14:46 | 23.329 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.6822 | μmol/L | 18.1232 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.86 | 91115.1759 | 210508.3761 | 27.3 | 43.4
24228 | 2022-05-20 14:46 | 23.662 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.2291 | μmol/L | 18.1171 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.879 | 91223.3091 | 210502.0119 | 27.3 | 43.4
24238 | 2022-05-20 14:46 | 23.9957 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.6625 | μmol/L | 18.1293 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.896 | 91298.5472 | 210507.8396 | 27.3 | 43.4
24248 | 2022-05-20 14:47 | 24.3285 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.3707 | μmol/L | 18.1232 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.909 | 91353.0625 | 210500.8898 | 27.3 | 43.4
24258 | 2022-05-20 14:47 | 24.662 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.1917 | μmol/L | 18.1171 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.918 | 91372.6104 | 210494.2457 | 27.3 | 43.4
24268 | 2022-05-20 14:47 | 24.9956 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.2442 | μmol/L | 18.1232 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.914 | 91372.881 | 210501.7928 | 27.3 | 43.4
24278 | 2022-05-20 14:48 | 25.3284 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.1848 | μmol/L | 18.1232 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.916 | 91372.3792 | 210483.4291 | 27.3 | 43.4
24288 | 2022-05-20 14:48 | 25.662 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.0718 | μmol/L | 18.1293 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.918 | 91356.9575 | 210480.5487 | 27.3 | 43.4
24298 | 2022-05-20 14:48 | 25.9955 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.2973 | μmol/L | 18.1232 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.912 | 91339.0674 | 210484.2641 | 27.3 | 43.4
24308 | 2022-05-20 14:49 | 26.3291 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.377 | μmol/L | 18.1232 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.909 | 91317.3443 | 210486.8704 | 27.3 | 43.4
24318 | 2022-05-20 14:49 | 26.6618 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.4238 | μmol/L | 18.1232 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.907 | 91299.3659 | 210476.5629 | 27.3 | 43.4
24328 | 2022-05-20 14:49 | 26.9956 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.4498 | μmol/L | 18.1293 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.904 | 91287.2964 | 210474.5255 | 27.3 | 43.4
24338 | 2022-05-20 14:50 | 27.3284 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.4367 | μmol/L | 18.1354 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.902 | 91250.4434 | 210469.6041 | 27.3 | 43.4
24348 | 2022-05-20 14:50 | 27.662 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.6897 | μmol/L | 18.1232 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.897 | 91235.5598 | 210467.8465 | 27.3 | 43.4
24358 | 2022-05-20 14:50 | 27.9957 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.7893 | μmol/L | 18.1293 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.891 | 91217.1316 | 210463.9605 | 27.3 | 43.4
24368 | 2022-05-20 14:51 | 28.3286 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.9224 | μmol/L | 18.1293 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.886 | 91196.0124 | 210456.0992 | 27.3 | 43.4
24378 | 2022-05-20 14:51 | 28.6619 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.949 | μmol/L | 18.1293 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.885 | 91176.2273 | 210459.79 | 27.3 | 43.4
24388 | 2022-05-20 14:51 | 28.9955 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.1355 | μmol/L | 18.1293 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.878 | 91164.9002 | 210453.0367 | 27.3 | 43.4
24398 | 2022-05-20 14:52 | 29.3291 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.102 | μmol/L | 18.1354 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.877 | 91156.1151 | 210451.0314 | 27.3 | 43.4
24408 | 2022-05-20 14:52 | 29.6618 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.1089 | μmol/L | 18.1293 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.879 | 91134.855 | 210457.1749 | 27.3 | 43.4
24418 | 2022-05-20 14:52 | 29.9957 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.0817 | μmol/L | 18.1354 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.878 | 91111.9651 | 210446.7391 | 27.3 | 43.4
24428 | 2022-05-20 14:53 | 30.3285 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.2353 | μmol/L | 18.1354 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.872 | 91093.7951 | 210451.2698 | 27.3 | 43.4
24438 | 2022-05-20 14:53 | 30.6622 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.342 | μmol/L | 18.1354 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.868 | 91075.966 | 210443.7194 | 27.3 | 43.4
24448 | 2022-05-20 14:53 | 30.9958 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.5356 | μmol/L | 18.1293 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.863 | 91053.174 | 210443.1005 | 27.3 | 43.4
24458 | 2022-05-20 14:54 | 31.3284 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.5288 | μmol/L | 18.1354 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.861 | 91028.2323 | 210438.6592 | 27.3 | 43.4
24468 | 2022-05-20 14:54 | 31.6621 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.6623 | μmol/L | 18.1354 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.856 | 91017.7657 | 210439.4604 | 27.3 | 43.4
24478 | 2022-05-20 14:54 | 31.9956 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.7424 | μmol/L | 18.1354 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.853 | 90982.902 | 210449.5552 | 27.3 | 43.4
24488 | 2022-05-20 14:55 | 32.3285 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.983 | μmol/L | 18.1354 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.844 | 90966.9663 | 210437.8883 | 27.3 | 43.4
24498 | 2022-05-20 14:55 | 32.6621 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.0365 | μmol/L | 18.1354 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.842 | 90923.8405 | 210437.5584 | 27.3 | 43.4
24508 | 2022-05-20 14:55 | 32.9957 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.2506 | μmol/L | 18.1354 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.834 | 90909.9687 | 210438.1518 | 27.3 | 43.4
24518 | 2022-05-20 14:56 | 33.3284 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.3042 | μmol/L | 18.1354 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.832 | 90891.2817 | 210437.6354 | 27.3 | 43.4
24528 | 2022-05-20 14:56 | 33.6619 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.4381 | μmol/L | 18.1354 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.827 | 90869.7962 | 210424.3626 | 27.3 | 43.4
24538 | 2022-05-20 14:56 | 33.9958 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.4045 | μmol/L | 18.1415 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.826 | 90853.4111 | 210439.3047 | 27.3 | 43.4
24548 | 2022-05-20 14:57 | 34.3286 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.4849 | μmol/L | 18.1415 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.823 | 90830.0447 | 210430.8317 | 27.3 | 43.4
24558 | 2022-05-20 14:57 | 34.6621 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.6525 | μmol/L | 18.1354 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.819 | 90810.7408 | 210433.5928 | 27.3 | 43.4
24568 | 2022-05-20 14:57 | 34.9956 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.7598 | μmol/L | 18.1354 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.815 | 90789.6689 | 210426.8245 | 27.3 | 43.4
24578 | 2022-05-20 14:58 | 35.3285 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.9276 | μmol/L | 18.1293 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.811 | 90776.2218 | 210419.4283 | 27.3 | 43.4
24588 | 2022-05-20 14:58 | 35.662 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.753 | μmol/L | 18.1415 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.813 | 90774.409 | 210412.799 | 27.3 | 43.4
24598 | 2022-05-20 14:58 | 35.9959 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.9008 | μmol/L | 18.1293 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.812 | 90755.0058 | 210416.966 | 27.3 | 43.4
24608 | 2022-05-20 14:59 | 36.3285 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.0283 | μmol/L | 18.1354 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.805 | 90748.0958 | 210424.8589 | 27.3 | 43.4
24618 | 2022-05-20 14:59 | 36.662 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.9409 | μmol/L | 18.1415 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.806 | 90737.8736 | 210415.9988 | 27.3 | 43.4
24628 | 2022-05-20 14:59 | 36.9957 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.0014 | μmol/L | 18.1354 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.806 | 90732.7098 | 210423.0278 | 27.3 | 43.4
24638 | 2022-05-20 15:00 | 37.3292 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.9946 | μmol/L | 18.1415 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.804 | 90732.219 | 210422.8577 | 27.3 | 43.4
24648 | 2022-05-20 15:00 | 37.662 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.9946 | μmol/L | 18.1415 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.804 | 90720.4847 | 210414.3808 | 27.3 | 43.4
24658 | 2022-05-20 15:00 | 37.9957 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.0215 | μmol/L | 18.1415 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.803 | 90708.2509 | 210400.7586 | 27.3 | 43.4
24668 | 2022-05-20 15:01 | 38.3285 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.9409 | μmol/L | 18.1415 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.806 | 90712.6675 | 210407.9217 | 27.3 | 43.4
24678 | 2022-05-20 15:01 | 38.6621 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 312.0014 | μmol/L | 18.1354 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.806 | 90713.0071 | 210414.2805 | 27.3 | 43.4
24688 | 2022-05-20 15:01 | 38.9956 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.9409 | μmol/L | 18.1415 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.806 | 90704.5683 | 210407.0029 | 27.3 | 43.4
24698 | 2022-05-20 15:02 | 39.3292 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.9141 | μmol/L | 18.1415 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.807 | 90705.1377 | 210411.3869 | 27.3 | 43.4
24708 | 2022-05-20 15:02 | 39.6618 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.8335 | μmol/L | 18.1415 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.81 | 90702.6958 | 210405.3628 | 27.3 | 43.4
24718 | 2022-05-20 15:02 | 39.9957 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.8872 | μmol/L | 18.1415 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.808 | 90709.8897 | 210400.4327 | 27.3 | 43.4
24728 | 2022-05-20 15:03 | 40.3291 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.8872 | μmol/L | 18.1415 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.808 | 90719.368 | 210415.2563 | 27.3 | 43.4
24738 | 2022-05-20 15:03 | 40.6626 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.8604 | μmol/L | 18.1415 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.809 | 90713.0034 | 210396.4689 | 27.3 | 43.4
24748 | 2022-05-20 15:03 | 40.9953 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.6658 | μmol/L | 18.1476 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.814 | 90711.6585 | 210405.4625 | 27.3 | 43.4
24758 | 2022-05-20 15:04 | 41.3288 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.6658 | μmol/L | 18.1476 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.814 | 90716.2336 | 210397.0674 | 27.3 | 43.4
24768 | 2022-05-20 15:04 | 41.6623 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.5653 | μmol/L | 18.1415 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.82 | 90724.6984 | 210397.9113 | 27.3 | 43.4
24778 | 2022-05-20 15:04 | 41.9951 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.5585 | μmol/L | 18.1476 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.818 | 90733.7437 | 210385.2594 | 27.3 | 43.4
24788 | 2022-05-20 15:05 | 42.3287 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.4849 | μmol/L | 18.1415 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.823 | 90753.0893 | 210392.1834 | 27.3 | 43.4
24798 | 2022-05-20 15:05 | 42.6623 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.2303 | μmol/L | 18.1537 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.828 | 90764.4604 | 210385.4731 | 27.3 | 43.4
24808 | 2022-05-20 15:05 | 42.9951 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.4045 | μmol/L | 18.1415 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.826 | 90777.6316 | 210383.9119 | 27.3 | 43.4
24818 | 2022-05-20 15:06 | 43.3285 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.217 | μmol/L | 18.1415 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.833 | 90788.7326 | 210378.6466 | 27.3 | 43.4
24828 | 2022-05-20 15:06 | 43.662 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.2506 | μmol/L | 18.1354 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.834 | 90801.5436 | 210370.1165 | 27.3 | 43.4
24838 | 2022-05-20 15:06 | 43.9951 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 311.11 | μmol/L | 18.1415 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.837 | 90809.576 | 210366.9207 | 27.3 | 43.4
24848 | 2022-05-20 15:07 | 44.3286 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.8357 | μmol/L | 18.1476 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.845 | 90819.8761 | 210369.8218 | 27.3 | 43.4
24858 | 2022-05-20 15:07 | 44.6619 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.8892 | μmol/L | 18.1476 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.843 | 90840.3292 | 210375.8 | 27.3 | 43.4
24868 | 2022-05-20 15:07 | 44.9955 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.7021 | μmol/L | 18.1476 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.85 | 90844.5716 | 210374.49 | 27.3 | 43.4
24878 | 2022-05-20 15:08 | 45.3292 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.6419 | μmol/L | 18.1537 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.85 | 90858.1532 | 210370.8598 | 27.3 | 43.4
24888 | 2022-05-20 15:08 | 45.6619 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.6152 | μmol/L | 18.1537 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.851 | 90855.948 | 210369.1377 | 27.3 | 43.4
24898 | 2022-05-20 15:08 | 45.9959 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.722 | μmol/L | 18.1537 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.847 | 90867.8739 | 210362.0218 | 27.3 | 43.4
24908 | 2022-05-20 15:09 | 46.3285 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.622 | μmol/L | 18.1476 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.853 | 90863.688 | 210364.1204 | 27.3 | 43.4
24918 | 2022-05-20 15:09 | 46.6618 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.3681 | μmol/L | 18.1598 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.858 | 90869.4923 | 210372.7912 | 27.3 | 43.4
24928 | 2022-05-20 15:09 | 46.9954 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.4016 | μmol/L | 18.1537 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.859 | 90863.6057 | 210360.416 | 27.3 | 43.4
24938 | 2022-05-20 15:10 | 47.3291 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.2682 | μmol/L | 18.1537 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.864 | 90875.8928 | 210362.5319 | 27.3 | 43.4
24948 | 2022-05-20 15:10 | 47.662 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.3482 | μmol/L | 18.1537 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.861 | 90875.2592 | 210358.1996 | 27.3 | 43.4
24958 | 2022-05-20 15:10 | 47.9954 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.5351 | μmol/L | 18.1537 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.854 | 90857.2647 | 210343.7355 | 27.3 | 43.4
24968 | 2022-05-20 15:11 | 48.3288 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.3415 | μmol/L | 18.1598 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.859 | 90841.6452 | 210352.4406 | 27.3 | 43.4
24978 | 2022-05-20 15:11 | 48.6624 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.4817 | μmol/L | 18.1537 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.856 | 90840.1057 | 210352.2445 | 27.3 | 43.4
24988 | 2022-05-20 15:11 | 48.9951 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.5618 | μmol/L | 18.1537 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.853 | 90816.9951 | 210354.565 | 27.3 | 43.4
24998 | 2022-05-20 15:12 | 49.3291 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.7755 | μmol/L | 18.1537 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.845 | 90798.2473 | 210347.4141 | 27.3 | 43.4
25008 | 2022-05-20 15:12 | 49.6621 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.8222 | μmol/L | 18.1598 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.841 | 90772.8737 | 210339.7161 | 27.3 | 43.4
25018 | 2022-05-20 15:12 | 49.9957 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.8756 | μmol/L | 18.1598 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.839 | 90742.6019 | 210340.8764 | 27.3 | 43.4
25028 | 2022-05-20 15:13 | 50.3291 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.8756 | μmol/L | 18.1598 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.839 | 90732.728 | 210328.0923 | 27.3 | 43.4
25038 | 2022-05-20 15:13 | 50.6618 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.9291 | μmol/L | 18.1598 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.837 | 90741.7195 | 210336.1756 | 27.3 | 43.4
25048 | 2022-05-20 15:13 | 50.9953 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.5482 | μmol/L | 18.1659 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.849 | 90796.6372 | 210338.4842 | 27.3 | 43.4
25058 | 2022-05-20 15:14 | 51.3291 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.5817 | μmol/L | 18.1598 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.85 | 90809.858 | 210330.2236 | 27.3 | 43.4
25068 | 2022-05-20 15:14 | 51.6618 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.4283 | μmol/L | 18.1537 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.858 | 90819.1685 | 210327.932 | 27.3 | 43.4
25078 | 2022-05-20 15:14 | 51.9957 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 310.1814 | μmol/L | 18.1598 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.865 | 90866.6966 | 210319.8082 | 27.3 | 43.4
25088 | 2022-05-20 15:15 | 52.3287 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 309.2963 | μmol/L | 18.1659 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.896 | 90993.9477 | 210316.2397 | 27.3 | 43.4
25098 | 2022-05-20 15:15 | 52.6623 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 308.183 | μmol/L | 18.1659 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.938 | 91165.5068 | 210319.7788 | 27.3 | 43.4
25108 | 2022-05-20 15:15 | 52.9959 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 307.5754 | μmol/L | 18.1659 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.961 | 91302.5921 | 210318.897 | 27.3 | 43.4
25118 | 2022-05-20 15:16 | 53.3292 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 306.8642 | μmol/L | 18.1659 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.988 | 91401.025 | 210306.037 | 27.3 | 43.4
25128 | 2022-05-20 15:16 | 53.6618 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 306.293 | μmol/L | 18.1598 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.012 | 91499.7728 | 210304.3496 | 27.3 | 43.4
25138 | 2022-05-20 15:16 | 53.9955 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 305.9452 | μmol/L | 18.1659 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.023 | 91565.9531 | 210300.1676 | 27.3 | 43.4
25148 | 2022-05-20 15:17 | 54.329 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 305.5786 | μmol/L | 18.1659 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.037 | 91620.0058 | 210298.3409 | 27.3 | 43.4
25158 | 2022-05-20 15:17 | 54.6624 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 305.2125 | μmol/L | 18.1659 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.051 | 91688.6067 | 210305.4357 | 27.3 | 43.4
25168 | 2022-05-20 15:17 | 54.9952 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.847 | μmol/L | 18.1659 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.065 | 91751.0611 | 210308.733 | 27.3 | 43.4
25178 | 2022-05-20 15:18 | 55.3287 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 304.3381 | μmol/L | 18.1781 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.08 | 91818.8654 | 210288.5245 | 27.3 | 43.4
25188 | 2022-05-20 15:18 | 55.6624 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.8508 | μmol/L | 18.172 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.101 | 91899.8334 | 210301.3033 | 27.3 | 43.4
25198 | 2022-05-20 15:18 | 55.9954 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 303.2539 | μmol/L | 18.172 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.124 | 91995.163 | 210286.3644 | 27.3 | 43.4
25208 | 2022-05-20 15:19 | 56.3289 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 302.5552 | μmol/L | 18.172 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.151 | 92129.8218 | 210281.7811 | 27.3 | 43.4
25218 | 2022-05-20 15:19 | 56.6624 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.8208 | μmol/L | 18.1598 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.184 | 92277.6366 | 210275.7888 | 27.3 | 43.4
25228 | 2022-05-20 15:19 | 56.9952 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 301.0095 | μmol/L | 18.172 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.211 | 92388.7821 | 210279.5113 | 27.3 | 43.4
25238 | 2022-05-20 15:20 | 57.3288 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.8299 | μmol/L | 18.172 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.218 | 92435.1775 | 210288.1855 | 27.3 | 43.4
25248 | 2022-05-20 15:20 | 57.6623 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.6247 | μmol/L | 18.172 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.226 | 92480.9885 | 210275.2677 | 27.3 | 43.4
25258 | 2022-05-20 15:20 | 57.9951 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 300.0799 | μmol/L | 18.1781 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.245 | 92536.4392 | 210280.3357 | 27.3 | 43.4
25268 | 2022-05-20 15:21 | 58.3288 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.7801 | μmol/L | 18.172 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.259 | 92626.4362 | 210281.1898 | 27.3 | 43.4
25278 | 2022-05-20 15:21 | 58.6623 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 299.2188 | μmol/L | 18.172 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.281 | 92695.223 | 210276.2911 | 27.3 | 43.4
25288 | 2022-05-20 15:21 | 58.9958 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.9131 | μmol/L | 18.172 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.293 | 92756.8466 | 210282.6 | 27.3 | 43.4
25298 | 2022-05-20 15:22 | 59.3286 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.735 | μmol/L | 18.172 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.3 | 92804.7396 | 210273.807 | 27.3 | 43.4
25308 | 2022-05-20 15:22 | 59.6622 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.6333 | μmol/L | 18.172 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.304 | 92814.6107 | 210272.8333 | 27.3 | 43.4
25318 | 2022-05-20 15:22 | 59.9958 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.43 | μmol/L | 18.172 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.312 | 92829.7214 | 210264.5394 | 27.3 | 43.4
25328 | 2022-05-20 15:23 | 60.3287 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.5133 | μmol/L | 18.1659 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.311 | 92859.3068 | 210267.7273 | 27.3 | 43.4
25338 | 2022-05-20 15:23 | 60.6622 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 298.1761 | μmol/L | 18.172 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.322 | 92877.9336 | 210269.6688 | 27.3 | 43.4
25348 | 2022-05-20 15:23 | 60.9958 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.9408 | μmol/L | 18.1781 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.329 | 92901.5447 | 210265.9186 | 27.3 | 43.4
25358 | 2022-05-20 15:24 | 61.3287 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.8394 | μmol/L | 18.1781 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.333 | 92920.3049 | 210267.7733 | 27.3 | 43.4
25368 | 2022-05-20 15:24 | 61.6623 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.6621 | μmol/L | 18.1781 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.34 | 92945.8481 | 210253.9828 | 27.3 | 43.4
25378 | 2022-05-20 15:24 | 61.9952 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 297.3331 | μmol/L | 18.1781 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.353 | 93010.8565 | 210246.4232 | 27.3 | 43.4
25388 | 2022-05-20 15:25 | 62.3286 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 296.3923 | μmol/L | 18.1843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.388 | 93163.24 | 210262.5391 | 27.3 | 43.4
25398 | 2022-05-20 15:25 | 62.6623 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 295.67 | μmol/L | 18.1781 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.419 | 93284.9736 | 210260.6702 | 27.3 | 43.4
25408 | 2022-05-20 15:25 | 62.9952 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 295.3187 | μmol/L | 18.1781 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.433 | 93367.3424 | 210265.9569 | 27.3 | 43.4
25418 | 2022-05-20 15:26 | 63.3289 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 294.8678 | μmol/L | 18.1781 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.451 | 93447.458 | 210264.9339 | 27.3 | 43.4
25428 | 2022-05-20 15:26 | 63.6617 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 294.1004 | μmol/L | 18.172 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.484 | 93606.9838 | 210258.8557 | 27.3 | 43.4
25438 | 2022-05-20 15:26 | 63.9952 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.4136 | μmol/L | 18.1843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.507 | 93703.1076 | 210251.657 | 27.3 | 43.4
25448 | 2022-05-20 15:27 | 64.3286 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 293.016 | μmol/L | 18.1843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.523 | 93777.477 | 210250.22 | 27.3 | 43.4
25458 | 2022-05-20 15:27 | 64.6619 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 292.7005 | μmol/L | 18.1781 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.538 | 93855.0075 | 210267.7018 | 27.3 | 43.4
25468 | 2022-05-20 15:27 | 64.9957 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 292.3536 | μmol/L | 18.1781 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.552 | 93917.6982 | 210240.1343 | 27.3 | 43.4
25478 | 2022-05-20 15:28 | 65.3292 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 291.9259 | μmol/L | 18.1843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.567 | 93987.4063 | 210245.3605 | 27.3 | 43.4
25488 | 2022-05-20 15:28 | 65.662 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 291.6295 | μmol/L | 18.1843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.579 | 94037.0791 | 210249.7765 | 27.3 | 43.4
25498 | 2022-05-20 15:28 | 65.9952 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 291.316 | μmol/L | 18.1781 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.594 | 94098.537 | 210251.1555 | 27.3 | 43.4
25508 | 2022-05-20 15:29 | 66.3288 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 290.7917 | μmol/L | 18.1843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.613 | 94164.6483 | 210255.1053 | 27.3 | 43.4
25518 | 2022-05-20 15:29 | 66.6624 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 290.7005 | μmol/L | 18.1781 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.619 | 94211.9643 | 210242.6504 | 27.3 | 43.4
25528 | 2022-05-20 15:29 | 66.9952 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 290.2512 | μmol/L | 18.1843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.635 | 94270.0301 | 210243.522 | 27.3 | 43.4
25538 | 2022-05-20 15:30 | 67.3287 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 289.614 | μmol/L | 18.1843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.661 | 94380.5336 | 210241.6203 | 27.3 | 43.4
25548 | 2022-05-20 15:30 | 67.6622 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 288.4909 | μmol/L | 18.1843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.707 | 94583.0064 | 210244.6424 | 27.3 | 43.4
25558 | 2022-05-20 15:30 | 67.9957 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.6158 | μmol/L | 18.1843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.743 | 94771.3961 | 210233.7959 | 27.3 | 43.4
25568 | 2022-05-20 15:31 | 68.3286 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.3733 | μmol/L | 18.1843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.753 | 94816.5618 | 210238.41 | 27.3 | 43.4
25578 | 2022-05-20 15:31 | 68.6622 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.349 | μmol/L | 18.1843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.754 | 94812.5292 | 210249.9227 | 27.3 | 43.4
25588 | 2022-05-20 15:31 | 68.9952 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.01 | μmol/L | 18.1843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.768 | 94864.8056 | 210246.6582 | 27.3 | 43.4
25598 | 2022-05-20 15:32 | 69.329 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 286.8164 | μmol/L | 18.1843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.776 | 94908.8061 | 210244.3963 | 27.3 | 43.4
25608 | 2022-05-20 15:32 | 69.6621 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 286.4709 | μmol/L | 18.1904 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.788 | 94934.1494 | 210241.7229 | 27.3 | 43.4
25618 | 2022-05-20 15:32 | 69.9956 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 286.5917 | μmol/L | 18.1904 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.783 | 94959.2304 | 210239.5457 | 27.3 | 43.4
25628 | 2022-05-20 15:33 | 70.3291 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 286.4226 | μmol/L | 18.1904 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.79 | 94960.7046 | 210232.998 | 27.3 | 43.4
25638 | 2022-05-20 15:33 | 70.6619 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 286.454 | μmol/L | 18.1843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.791 | 94980.6244 | 210245.1224 | 27.3 | 43.4
25648 | 2022-05-20 15:33 | 70.9952 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 286.4057 | μmol/L | 18.1843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.793 | 94977.7639 | 210229.2504 | 27.3 | 43.4
25658 | 2022-05-20 15:34 | 71.3287 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 286.5434 | μmol/L | 18.1904 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.785 | 94947.7604 | 210243.7139 | 27.3 | 43.4
25668 | 2022-05-20 15:34 | 71.6624 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 286.6714 | μmol/L | 18.1843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.782 | 94913.799 | 210234.8843 | 27.3 | 43.4
25678 | 2022-05-20 15:34 | 71.9953 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 286.8818 | μmol/L | 18.1904 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.771 | 94876.3137 | 210222.4305 | 27.3 | 43.4
25688 | 2022-05-20 15:35 | 72.329 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.0584 | μmol/L | 18.1843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.766 | 94839.1037 | 210231.7176 | 27.3 | 43.4
25698 | 2022-05-20 15:35 | 72.6618 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.366 | μmol/L | 18.1904 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.751 | 94781.296 | 210231.9993 | 27.3 | 43.4
25708 | 2022-05-20 15:35 | 72.9953 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.4243 | μmol/L | 18.2026 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.744 | 94745.3004 | 210230.8732 | 27.3 | 43.4
25718 | 2022-05-20 15:36 | 73.3292 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.6013 | μmol/L | 18.1965 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.739 | 94736.42 | 210233.4168 | 27.3 | 43.4
25728 | 2022-05-20 15:36 | 73.6619 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.3759 | μmol/L | 18.2026 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.746 | 94727.7385 | 210222.1879 | 27.3 | 43.4
25738 | 2022-05-20 15:36 | 73.9957 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.5528 | μmol/L | 18.1965 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.741 | 94725.7188 | 210227.9658 | 27.3 | 43.4
25748 | 2022-05-20 15:37 | 74.3292 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.3103 | μmol/L | 18.1965 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.751 | 94761.2053 | 210243.7707 | 27.3 | 43.4
25758 | 2022-05-20 15:37 | 74.662 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.3103 | μmol/L | 18.1965 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.751 | 94769.9692 | 210227.5444 | 27.3 | 43.4
25768 | 2022-05-20 15:37 | 74.9955 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.2691 | μmol/L | 18.1904 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.755 | 94782.2064 | 210238.077 | 27.3 | 43.4
25778 | 2022-05-20 15:38 | 75.3292 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.2861 | μmol/L | 18.1965 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.752 | 94776.9952 | 210241.5562 | 27.3 | 43.4
25788 | 2022-05-20 15:38 | 75.6619 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.4073 | μmol/L | 18.1965 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.747 | 94756.7261 | 210240.1398 | 27.3 | 43.4
25798 | 2022-05-20 15:38 | 75.9955 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.4873 | μmol/L | 18.1904 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.746 | 94730.5348 | 210224.1319 | 27.3 | 43.4
25808 | 2022-05-20 15:39 | 76.3292 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.5673 | μmol/L | 18.1843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.745 | 94724.7828 | 210239.1515 | 27.3 | 43.4
25818 | 2022-05-20 15:39 | 76.6618 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.4558 | μmol/L | 18.1965 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.745 | 94714.1311 | 210232.6313 | 27.3 | 43.4
25828 | 2022-05-20 15:39 | 76.9955 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.56 | μmol/L | 18.1904 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.743 | 94721.4091 | 210231.3575 | 27.3 | 43.4
25838 | 2022-05-20 15:40 | 77.3291 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.6571 | μmol/L | 18.1904 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.739 | 94712.8171 | 210238.1758 | 27.3 | 43.4
25848 | 2022-05-20 15:40 | 77.6624 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.463 | μmol/L | 18.1904 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.747 | 94729.2256 | 210242.9198 | 27.3 | 43.4
25858 | 2022-05-20 15:40 | 77.9951 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.3903 | μmol/L | 18.1904 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.75 | 94725.9713 | 210233.1008 | 27.3 | 43.4
25868 | 2022-05-20 15:41 | 78.3288 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 287.0923 | μmol/L | 18.1965 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.76 | 94787.0063 | 210230.091 | 27.3 | 43.4
25878 | 2022-05-20 15:41 | 78.6623 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 286.7608 | μmol/L | 18.1904 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.776 | 94872.5727 | 210237.7037 | 27.3 | 43.4
25888 | 2022-05-20 15:41 | 78.9958 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 286.302 | μmol/L | 18.1904 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.795 | 94948.8365 | 210230.2219 | 27.3 | 43.4
25898 | 2022-05-20 15:42 | 79.3285 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 285.8126 | μmol/L | 18.1965 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.813 | 95017.5505 | 210233.0388 | 27.3 | 43.4
25908 | 2022-05-20 15:42 | 79.6618 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 285.5384 | μmol/L | 18.1843 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.829 | 95100.7718 | 210233.5118 | 27.3 | 43.4
25918 | 2022-05-20 15:42 | 79.9954 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 285.2115 | μmol/L | 18.1965 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.838 | 95145.283 | 210229.4355 | 27.3 | 43.4
25928 | 2022-05-20 15:43 | 80.3289 | oxy_ch_3 (PSt7-10) | 2022-05-17 09:50 | default | 285.0507 | μmol/L | 18.1904 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.847 | 95196.4314 | 210240.1473 | 27.3 | 43.4