## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_6 | O2 | 630958479 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:55

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 15:44

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
23515 | 2022-05-20 14:22 | 0 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.4675 | μmol/L | 18.0948 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.505 | 87407.6648 | 295373.9553 | 30.45 | 114.2
23525 | 2022-05-20 14:23 | 0.3374 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.612 | μmol/L | 18.0948 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.499 | 87392.4885 | 295375.9219 | 30.45 | 114.2
23535 | 2022-05-20 14:23 | 0.67054 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.6602 | μmol/L | 18.0948 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.497 | 87367.6035 | 295370.0561 | 30.45 | 114.2
23545 | 2022-05-20 14:23 | 1.004 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.7806 | μmol/L | 18.0948 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.492 | 87355.7939 | 295376.9035 | 30.45 | 114.2
23555 | 2022-05-20 14:24 | 1.3375 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.7324 | μmol/L | 18.0948 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.494 | 87345.162 | 295355.086 | 30.45 | 114.2
23565 | 2022-05-20 14:24 | 1.6708 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.8477 | μmol/L | 18.101 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.487 | 87332.2356 | 295345.4921 | 30.45 | 114.2
23575 | 2022-05-20 14:24 | 2.0037 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.7994 | μmol/L | 18.101 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.489 | 87311.5452 | 295344.1883 | 30.45 | 114.2
23585 | 2022-05-20 14:25 | 2.337 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.9305 | μmol/L | 18.0887 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.488 | 87296.9387 | 295328.9761 | 30.45 | 114.2
23595 | 2022-05-20 14:25 | 2.6705 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.9012 | μmol/L | 18.0948 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.487 | 87286.2498 | 295315.3474 | 30.45 | 114.2
23605 | 2022-05-20 14:25 | 3.0038 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.8235 | μmol/L | 18.101 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.488 | 87268.4716 | 295313.719 | 30.45 | 114.2
23615 | 2022-05-20 14:26 | 3.3373 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.0753 | μmol/L | 18.0887 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.482 | 87261.0754 | 295315.3331 | 30.45 | 114.2
23625 | 2022-05-20 14:26 | 3.6707 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.07 | μmol/L | 18.0948 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.48 | 87248.2593 | 295305.7134 | 30.45 | 114.2
23635 | 2022-05-20 14:26 | 4.0034 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.113 | μmol/L | 18.101 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.476 | 87238.1195 | 295279.7625 | 30.45 | 114.2
23645 | 2022-05-20 14:27 | 4.3368 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.9923 | μmol/L | 18.101 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.481 | 87229.2138 | 295277.6012 | 30.45 | 114.2
23655 | 2022-05-20 14:27 | 4.6703 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.9388 | μmol/L | 18.1071 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.481 | 87209.1897 | 295255.8815 | 30.45 | 114.2
23665 | 2022-05-20 14:27 | 5.0037 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.0112 | μmol/L | 18.1071 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.478 | 87204.2456 | 295260.8487 | 30.45 | 114.2
23675 | 2022-05-20 14:28 | 5.3372 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.0112 | μmol/L | 18.1071 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.478 | 87193.2915 | 295254.7836 | 30.45 | 114.2
23685 | 2022-05-20 14:28 | 5.6709 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.0353 | μmol/L | 18.1071 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.477 | 87188.0689 | 295240.7488 | 30.45 | 114.2
23695 | 2022-05-20 14:28 | 6.0038 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.9147 | μmol/L | 18.1071 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.482 | 87177.7416 | 295243.8077 | 30.45 | 114.2
23705 | 2022-05-20 14:29 | 6.3373 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.963 | μmol/L | 18.1071 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.48 | 87169.3058 | 295240.7428 | 30.45 | 114.2
23715 | 2022-05-20 14:29 | 6.6708 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.1266 | μmol/L | 18.1133 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.471 | 87163.3848 | 295216.3246 | 30.45 | 114.2
23725 | 2022-05-20 14:29 | 7.0038 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.9095 | μmol/L | 18.1133 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.48 | 87157.7464 | 295215.9894 | 30.45 | 114.2
23735 | 2022-05-20 14:30 | 7.3371 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.0836 | μmol/L | 18.1071 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.475 | 87153.07 | 295220.8615 | 30.45 | 114.2
23745 | 2022-05-20 14:30 | 7.6705 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.9388 | μmol/L | 18.1071 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.481 | 87142.5368 | 295202.3228 | 30.45 | 114.2
23755 | 2022-05-20 14:30 | 8.004 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.0836 | μmol/L | 18.1071 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.475 | 87140.0872 | 295187.0634 | 30.45 | 114.2
23765 | 2022-05-20 14:31 | 8.3369 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.0059 | μmol/L | 18.1133 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.476 | 87126.7292 | 295186.4485 | 30.45 | 114.2
23775 | 2022-05-20 14:31 | 8.6704 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.0731 | μmol/L | 18.1194 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.471 | 87124.2269 | 295173.6385 | 30.45 | 114.2
23785 | 2022-05-20 14:31 | 9.004 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.0731 | μmol/L | 18.1194 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.471 | 87119.0064 | 295182.3867 | 30.45 | 114.2
23795 | 2022-05-20 14:32 | 9.337 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.0542 | μmol/L | 18.1133 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.474 | 87116.8613 | 295174.6632 | 30.45 | 114.2
23805 | 2022-05-20 14:32 | 9.6706 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.0783 | μmol/L | 18.1133 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.473 | 87111.332 | 295167.0376 | 30.45 | 114.2
23815 | 2022-05-20 14:32 | 10.0034 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.0301 | μmol/L | 18.1133 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.475 | 87100.9378 | 295156.2697 | 30.45 | 114.2
23825 | 2022-05-20 14:33 | 10.3368 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.0783 | μmol/L | 18.1133 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.473 | 87094.9474 | 295159.0985 | 30.45 | 114.2
23835 | 2022-05-20 14:33 | 10.6704 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.2232 | μmol/L | 18.1133 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.467 | 87087.2693 | 295146.4477 | 30.45 | 114.2
23845 | 2022-05-20 14:33 | 11.0039 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.1266 | μmol/L | 18.1133 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.471 | 87085.3049 | 295146.4391 | 30.45 | 114.2
23855 | 2022-05-20 14:34 | 11.3368 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.0196 | μmol/L | 18.1256 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.471 | 87078.6982 | 295136.1511 | 30.45 | 114.2
23865 | 2022-05-20 14:34 | 11.6701 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.0867 | μmol/L | 18.1317 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.466 | 87071.5575 | 295124.9499 | 30.45 | 114.2
23875 | 2022-05-20 14:34 | 12.0036 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.1214 | μmol/L | 18.1194 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.469 | 87060.7197 | 295116.6674 | 30.45 | 114.2
23885 | 2022-05-20 14:35 | 12.337 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.092 | μmol/L | 18.1256 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.468 | 87061.9675 | 295120.0176 | 30.45 | 114.2
23895 | 2022-05-20 14:35 | 12.6706 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.0385 | μmol/L | 18.1317 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.468 | 87057.8795 | 295108.4957 | 30.45 | 114.2
23905 | 2022-05-20 14:35 | 13.004 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.0196 | μmol/L | 18.1256 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.471 | 87055.8116 | 295110.0157 | 30.45 | 114.2
23915 | 2022-05-20 14:36 | 13.3374 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.1161 | μmol/L | 18.1256 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.467 | 87048.7775 | 295089.3368 | 30.45 | 114.2
23925 | 2022-05-20 14:36 | 13.6708 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.9178 | μmol/L | 18.1317 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.473 | 87052.0772 | 295093.007 | 30.45 | 114.2
23935 | 2022-05-20 14:36 | 14.0037 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.1214 | μmol/L | 18.1194 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.469 | 87053.3819 | 295090.3474 | 30.45 | 114.2
23945 | 2022-05-20 14:37 | 14.3371 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.0196 | μmol/L | 18.1256 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.471 | 87053.1514 | 295083.3767 | 30.45 | 114.2
23955 | 2022-05-20 14:37 | 14.6707 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 280.0437 | μmol/L | 18.1256 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.47 | 87058.624 | 295076.3783 | 30.45 | 114.2
23965 | 2022-05-20 14:37 | 15.0042 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.9713 | μmol/L | 18.1256 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.473 | 87056.4504 | 295078.2053 | 30.45 | 114.2
23975 | 2022-05-20 14:38 | 15.337 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.9231 | μmol/L | 18.1256 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.475 | 87056.7481 | 295070.1378 | 30.45 | 114.2
23985 | 2022-05-20 14:38 | 15.6704 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.8455 | μmol/L | 18.1317 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.476 | 87057.707 | 295057.5742 | 30.45 | 114.2
23995 | 2022-05-20 14:38 | 16.004 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.9472 | μmol/L | 18.1256 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.474 | 87058.3569 | 295048.0061 | 30.45 | 114.2
24005 | 2022-05-20 14:39 | 16.3374 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.9178 | μmol/L | 18.1317 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.473 | 87064.5934 | 295044.0949 | 30.45 | 114.2
24015 | 2022-05-20 14:39 | 16.6701 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.8214 | μmol/L | 18.1317 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.477 | 87066.4681 | 295040.4118 | 30.45 | 114.2
24025 | 2022-05-20 14:39 | 17.0037 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.7491 | μmol/L | 18.1317 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.48 | 87060.6742 | 295037.8857 | 30.45 | 114.2
24035 | 2022-05-20 14:40 | 17.337 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.7197 | μmol/L | 18.1378 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.479 | 87076.301 | 295031.8689 | 30.45 | 114.2
24045 | 2022-05-20 14:40 | 17.6705 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.6527 | μmol/L | 18.1317 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.484 | 87066.9167 | 295019.8874 | 30.45 | 114.2
24055 | 2022-05-20 14:40 | 18.004 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.7732 | μmol/L | 18.1317 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.479 | 87072.4729 | 295003.2214 | 30.45 | 114.2
24065 | 2022-05-20 14:41 | 18.3368 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.7732 | μmol/L | 18.1317 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.479 | 87073.6221 | 294996.7944 | 30.45 | 114.2
24075 | 2022-05-20 14:41 | 18.6701 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.6045 | μmol/L | 18.1317 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.486 | 87072.9105 | 295007.1343 | 30.45 | 114.2
24085 | 2022-05-20 14:41 | 19.0038 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.5752 | μmol/L | 18.1378 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.485 | 87068.2987 | 294989.2371 | 30.45 | 114.2
24095 | 2022-05-20 14:42 | 19.3375 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.5511 | μmol/L | 18.1378 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.486 | 87074.8575 | 294988.9529 | 30.45 | 114.2
24105 | 2022-05-20 14:42 | 19.6703 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.4255 | μmol/L | 18.144 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.489 | 87078.6557 | 294972.6753 | 30.45 | 114.2
24115 | 2022-05-20 14:42 | 20.0038 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.5752 | μmol/L | 18.1378 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.485 | 87080.2361 | 294974.8875 | 30.45 | 114.2
24125 | 2022-05-20 14:43 | 20.3375 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.3826 | μmol/L | 18.1378 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.493 | 87086.7515 | 294966.7215 | 30.45 | 114.2
24135 | 2022-05-20 14:43 | 20.6703 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.2863 | μmol/L | 18.1378 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.497 | 87095.5641 | 294969.6188 | 30.45 | 114.2
24145 | 2022-05-20 14:43 | 21.0037 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.3532 | μmol/L | 18.144 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.492 | 87091.7286 | 294970.2408 | 30.45 | 114.2
24155 | 2022-05-20 14:44 | 21.3375 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.2518 | μmol/L | 18.1501 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.494 | 87101.9461 | 294948.4496 | 30.45 | 114.2
24165 | 2022-05-20 14:44 | 21.6709 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.257 | μmol/L | 18.144 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.496 | 87105.1781 | 294953.1432 | 30.45 | 114.2
24175 | 2022-05-20 14:44 | 22.0036 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.2623 | μmol/L | 18.1378 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.498 | 87108.3749 | 294947.6434 | 30.45 | 114.2
24185 | 2022-05-20 14:45 | 22.3372 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.2142 | μmol/L | 18.1378 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.5 | 87110.8206 | 294943.7089 | 30.45 | 114.2
24195 | 2022-05-20 14:45 | 22.6707 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.2623 | μmol/L | 18.1378 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.498 | 87116.5638 | 294933.6991 | 30.45 | 114.2
24205 | 2022-05-20 14:45 | 23.004 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.0887 | μmol/L | 18.144 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.503 | 87107.2908 | 294940.5418 | 30.45 | 114.2
24215 | 2022-05-20 14:46 | 23.3367 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.1315 | μmol/L | 18.1501 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.499 | 87110.9757 | 294927.3462 | 30.45 | 114.2
24225 | 2022-05-20 14:46 | 23.6702 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.1127 | μmol/L | 18.144 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.502 | 87116.4826 | 294920.2436 | 30.45 | 114.2
24235 | 2022-05-20 14:46 | 24.0036 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.2382 | μmol/L | 18.1378 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.499 | 87110.9712 | 294910.0541 | 30.45 | 114.2
24245 | 2022-05-20 14:47 | 24.3371 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.9393 | μmol/L | 18.1501 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.507 | 87108.2147 | 294896.4588 | 30.45 | 114.2
24255 | 2022-05-20 14:47 | 24.6704 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 279.0406 | μmol/L | 18.144 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.505 | 87114.0902 | 294893.3342 | 30.45 | 114.2
24265 | 2022-05-20 14:47 | 25.0041 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.9153 | μmol/L | 18.1501 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.508 | 87129.874 | 294893.2323 | 30.45 | 114.2
24275 | 2022-05-20 14:48 | 25.3368 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.8192 | μmol/L | 18.1501 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.512 | 87138.746 | 294906.1844 | 30.45 | 114.2
24285 | 2022-05-20 14:48 | 25.6703 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.8485 | μmol/L | 18.144 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.513 | 87149.5936 | 294890.6226 | 30.45 | 114.2
24295 | 2022-05-20 14:48 | 26.0038 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.7952 | μmol/L | 18.1501 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.513 | 87152.0294 | 294891.2381 | 30.45 | 114.2
24305 | 2022-05-20 14:49 | 26.3371 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.6752 | μmol/L | 18.1501 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.518 | 87150.1266 | 294876.3473 | 30.45 | 114.2
24315 | 2022-05-20 14:49 | 26.6707 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.6512 | μmol/L | 18.1501 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.519 | 87159.0082 | 294882.4642 | 30.45 | 114.2
24325 | 2022-05-20 14:49 | 27.004 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.6992 | μmol/L | 18.1501 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.517 | 87161.5942 | 294872.5059 | 30.45 | 114.2
24335 | 2022-05-20 14:50 | 27.3375 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.5021 | μmol/L | 18.1563 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.523 | 87173.4607 | 294869.3692 | 30.45 | 114.2
24345 | 2022-05-20 14:50 | 27.6708 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.5021 | μmol/L | 18.1563 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.523 | 87177.9213 | 294842.2006 | 30.45 | 114.2
24355 | 2022-05-20 14:50 | 28.0038 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.4834 | μmol/L | 18.1501 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.526 | 87182.4488 | 294851.4606 | 30.45 | 114.2
24365 | 2022-05-20 14:51 | 28.3374 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.4115 | μmol/L | 18.1501 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.529 | 87199.6508 | 294849.5989 | 30.45 | 114.2
24375 | 2022-05-20 14:51 | 28.6707 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.3156 | μmol/L | 18.1501 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.533 | 87207.048 | 294835.8882 | 30.45 | 114.2
24385 | 2022-05-20 14:51 | 29.0035 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.1719 | μmol/L | 18.1501 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.539 | 87214.9827 | 294827.4802 | 30.45 | 114.2
24395 | 2022-05-20 14:52 | 29.3369 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.0709 | μmol/L | 18.1563 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.541 | 87225.7143 | 294821.1422 | 30.45 | 114.2
24405 | 2022-05-20 14:52 | 29.6704 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.0709 | μmol/L | 18.1563 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.541 | 87232.351 | 294811.9601 | 30.45 | 114.2
24415 | 2022-05-20 14:52 | 30.0034 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.9274 | μmol/L | 18.1563 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.547 | 87246.4943 | 294801.4937 | 30.45 | 114.2
24425 | 2022-05-20 14:53 | 30.3369 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.9088 | μmol/L | 18.1501 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.55 | 87256.8296 | 294805.8218 | 30.45 | 114.2
24435 | 2022-05-20 14:53 | 30.6706 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.7601 | μmol/L | 18.1563 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.554 | 87273.3627 | 294805.0941 | 30.45 | 114.2
24445 | 2022-05-20 14:53 | 31.0041 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.6884 | μmol/L | 18.1563 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.557 | 87284.7457 | 294788.7592 | 30.45 | 114.2
24455 | 2022-05-20 14:54 | 31.3368 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.6115 | μmol/L | 18.1624 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.558 | 87294.5143 | 294782.826 | 30.45 | 114.2
24465 | 2022-05-20 14:54 | 31.6703 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.5928 | μmol/L | 18.1563 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.561 | 87317.7094 | 294790.6957 | 30.45 | 114.2
24475 | 2022-05-20 14:54 | 32.0038 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.516 | μmol/L | 18.1624 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.562 | 87326.7373 | 294777.8043 | 30.45 | 114.2
24485 | 2022-05-20 14:55 | 32.3373 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.4257 | μmol/L | 18.1563 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.568 | 87341.7032 | 294765.4412 | 30.45 | 114.2
24495 | 2022-05-20 14:55 | 32.6702 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.3356 | μmol/L | 18.1501 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.574 | 87344.9642 | 294764.6344 | 30.45 | 114.2
24505 | 2022-05-20 14:55 | 33.0037 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.2349 | μmol/L | 18.1563 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.576 | 87356.1022 | 294764.3613 | 30.45 | 114.2
24515 | 2022-05-20 14:56 | 33.3374 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.2111 | μmol/L | 18.1563 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.577 | 87369.34 | 294756.4229 | 30.45 | 114.2
24525 | 2022-05-20 14:56 | 33.6701 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.1396 | μmol/L | 18.1563 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.58 | 87385.7965 | 294749.5021 | 30.45 | 114.2
24535 | 2022-05-20 14:56 | 34.0036 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.9966 | μmol/L | 18.1563 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.586 | 87410.2432 | 294761.2541 | 30.45 | 114.2
24545 | 2022-05-20 14:57 | 34.3372 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.9252 | μmol/L | 18.1563 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.589 | 87424.6414 | 294750.4724 | 30.45 | 114.2
24555 | 2022-05-20 14:57 | 34.6705 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.8062 | μmol/L | 18.1563 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.594 | 87433.8251 | 294742.068 | 30.45 | 114.2
24565 | 2022-05-20 14:57 | 35.004 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.7348 | μmol/L | 18.1563 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.597 | 87451.5837 | 294731.2188 | 30.45 | 114.2
24575 | 2022-05-20 14:58 | 35.3376 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.5683 | μmol/L | 18.1563 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.604 | 87458.5736 | 294732.1417 | 30.45 | 114.2
24585 | 2022-05-20 14:58 | 35.6702 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.6106 | μmol/L | 18.1624 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.6 | 87479.2584 | 294731.7124 | 30.45 | 114.2
24595 | 2022-05-20 14:58 | 36.0039 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.2964 | μmol/L | 18.1686 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.611 | 87497.2662 | 294732.1378 | 30.45 | 114.2
24605 | 2022-05-20 14:59 | 36.3374 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.2542 | μmol/L | 18.1624 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.615 | 87508.6137 | 294720.1972 | 30.45 | 114.2
24615 | 2022-05-20 14:59 | 36.6709 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.1355 | μmol/L | 18.1624 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.62 | 87538.3871 | 294724.6021 | 30.45 | 114.2
24625 | 2022-05-20 14:59 | 37.0037 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.9405 | μmol/L | 18.1686 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.626 | 87564.6778 | 294727.3908 | 30.45 | 114.2
24635 | 2022-05-20 15:00 | 37.3373 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.851 | μmol/L | 18.1624 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.632 | 87600.0942 | 294713.3604 | 30.45 | 114.2
24645 | 2022-05-20 15:00 | 37.6707 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.5142 | μmol/L | 18.1686 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.644 | 87638.604 | 294710.4335 | 30.45 | 114.2
24655 | 2022-05-20 15:00 | 38.0042 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.3302 | μmol/L | 18.1624 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.654 | 87675.0727 | 294706.6062 | 30.45 | 114.2
24665 | 2022-05-20 15:01 | 38.3374 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.065 | μmol/L | 18.1686 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.663 | 87727.3502 | 294719.2103 | 30.45 | 114.2
24675 | 2022-05-20 15:01 | 38.6701 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.8761 | μmol/L | 18.1686 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.671 | 87761.3022 | 294701.1856 | 30.45 | 114.2
24685 | 2022-05-20 15:01 | 39.0036 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.6692 | μmol/L | 18.1624 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.682 | 87817.4334 | 294704.9996 | 30.45 | 114.2
24695 | 2022-05-20 15:02 | 39.3371 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.2999 | μmol/L | 18.1808 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.691 | 87858.9541 | 294690.4877 | 30.45 | 114.2
24705 | 2022-05-20 15:02 | 39.6706 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.1223 | μmol/L | 18.1686 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.703 | 87896.812 | 294690.3961 | 30.45 | 114.2
24715 | 2022-05-20 15:02 | 40.0041 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.9577 | μmol/L | 18.1686 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.71 | 87947.0996 | 294671.4682 | 30.45 | 114.2
24725 | 2022-05-20 15:03 | 40.3375 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.6993 | μmol/L | 18.1686 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.721 | 87986.2577 | 294676.4448 | 30.45 | 114.2
24735 | 2022-05-20 15:03 | 40.6701 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4647 | μmol/L | 18.1686 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.731 | 88027.2255 | 294675.3127 | 30.45 | 114.2
24745 | 2022-05-20 15:03 | 41.0037 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.2538 | μmol/L | 18.1686 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.74 | 88067.0746 | 294674.0421 | 30.45 | 114.2
24755 | 2022-05-20 15:04 | 41.3374 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.0196 | μmol/L | 18.1686 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.75 | 88102.275 | 294651.4823 | 30.45 | 114.2
24765 | 2022-05-20 15:04 | 41.6707 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.8037 | μmol/L | 18.1747 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.757 | 88142.6567 | 294657.4576 | 30.45 | 114.2
24775 | 2022-05-20 15:04 | 42.0035 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.6922 | μmol/L | 18.1686 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.764 | 88168.7501 | 294659.822 | 30.45 | 114.2
24785 | 2022-05-20 15:05 | 42.3369 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.5053 | μmol/L | 18.1686 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.772 | 88200.1668 | 294664.5616 | 30.45 | 114.2
24795 | 2022-05-20 15:05 | 42.6705 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.5053 | μmol/L | 18.1686 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.772 | 88226.7229 | 294659.2028 | 30.45 | 114.2
24805 | 2022-05-20 15:05 | 43.004 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.2666 | μmol/L | 18.1747 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.78 | 88238.3564 | 294655.3342 | 30.45 | 114.2
24815 | 2022-05-20 15:06 | 43.3375 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.0854 | μmol/L | 18.1686 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.79 | 88248.7183 | 294628.1211 | 30.45 | 114.2
24825 | 2022-05-20 15:06 | 43.6708 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.0568 | μmol/L | 18.1747 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.789 | 88256.0826 | 294633.3983 | 30.45 | 114.2
24835 | 2022-05-20 15:06 | 44.0035 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 271.9869 | μmol/L | 18.1747 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.792 | 88260.6234 | 294634.6187 | 30.45 | 114.2
24845 | 2022-05-20 15:07 | 44.3372 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.1214 | μmol/L | 18.1808 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.784 | 88261.0545 | 294627.3126 | 30.45 | 114.2
24855 | 2022-05-20 15:07 | 44.6707 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.0801 | μmol/L | 18.1747 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.788 | 88250.1435 | 294615.3555 | 30.45 | 114.2
24865 | 2022-05-20 15:07 | 45.0034 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.0281 | μmol/L | 18.1808 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.788 | 88247.1369 | 294605.7487 | 30.45 | 114.2
24875 | 2022-05-20 15:08 | 45.337 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.1733 | μmol/L | 18.1747 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.784 | 88229.6097 | 294595.7184 | 30.45 | 114.2
24885 | 2022-05-20 15:08 | 45.6705 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.1733 | μmol/L | 18.1747 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.784 | 88239.0687 | 294596.1792 | 30.45 | 114.2
24895 | 2022-05-20 15:08 | 46.004 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.2666 | μmol/L | 18.1747 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.78 | 88226.4164 | 294595.0472 | 30.45 | 114.2
24905 | 2022-05-20 15:09 | 46.3375 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.3133 | μmol/L | 18.1747 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.778 | 88201.6247 | 294594.5543 | 30.45 | 114.2
24915 | 2022-05-20 15:09 | 46.6702 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.43 | μmol/L | 18.1747 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.773 | 88186.6874 | 294578.3936 | 30.45 | 114.2
24925 | 2022-05-20 15:09 | 47.0035 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.3779 | μmol/L | 18.1808 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.773 | 88170.4181 | 294577.408 | 30.45 | 114.2
24935 | 2022-05-20 15:10 | 47.3369 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.6168 | μmol/L | 18.1747 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.765 | 88146.4726 | 294578.7901 | 30.45 | 114.2
24945 | 2022-05-20 15:10 | 47.6703 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.5647 | μmol/L | 18.1808 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.765 | 88117.2706 | 294563.6008 | 30.45 | 114.2
24955 | 2022-05-20 15:10 | 48.0038 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.6114 | μmol/L | 18.1808 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.763 | 88105.8295 | 294579.8814 | 30.45 | 114.2
24965 | 2022-05-20 15:11 | 48.3368 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.7049 | μmol/L | 18.1808 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.759 | 88077.923 | 294552.7445 | 30.45 | 114.2
24975 | 2022-05-20 15:11 | 48.6704 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.8452 | μmol/L | 18.1808 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.753 | 88063.1731 | 294553.7934 | 30.45 | 114.2
24985 | 2022-05-20 15:11 | 49.0039 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.8866 | μmol/L | 18.187 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.749 | 88038.4576 | 294562.865 | 30.45 | 114.2
24995 | 2022-05-20 15:12 | 49.3374 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.9568 | μmol/L | 18.187 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.746 | 88016.9124 | 294543.4893 | 30.45 | 114.2
25005 | 2022-05-20 15:12 | 49.6701 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.1441 | μmol/L | 18.187 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.738 | 87995.3437 | 294527.3686 | 30.45 | 114.2
25015 | 2022-05-20 15:12 | 50.0035 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.2197 | μmol/L | 18.1808 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.737 | 87974.9676 | 294530.2872 | 30.45 | 114.2
25025 | 2022-05-20 15:13 | 50.337 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.355 | μmol/L | 18.187 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.729 | 87969.8258 | 294530.2219 | 30.45 | 114.2
25035 | 2022-05-20 15:13 | 50.6704 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4775 | μmol/L | 18.1808 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.726 | 87953.2637 | 294522.2015 | 30.45 | 114.2
25045 | 2022-05-20 15:13 | 51.004 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4306 | μmol/L | 18.1808 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.728 | 87933.7436 | 294528.9805 | 30.45 | 114.2
25055 | 2022-05-20 15:14 | 51.3375 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.5426 | μmol/L | 18.187 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.721 | 87916.639 | 294512.3198 | 30.45 | 114.2
25065 | 2022-05-20 15:14 | 51.6702 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.5191 | μmol/L | 18.187 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.722 | 87903.5881 | 294502.4423 | 30.45 | 114.2
25075 | 2022-05-20 15:14 | 52.0038 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.5661 | μmol/L | 18.187 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.72 | 87877.7371 | 294494.6559 | 30.45 | 114.2
25085 | 2022-05-20 15:15 | 52.3373 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.7826 | μmol/L | 18.1808 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.713 | 87851.9275 | 294492.7189 | 30.45 | 114.2
25095 | 2022-05-20 15:15 | 52.6701 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.7304 | μmol/L | 18.187 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.713 | 87833.9771 | 294494.8628 | 30.45 | 114.2
25105 | 2022-05-20 15:15 | 53.0035 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.8478 | μmol/L | 18.187 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.708 | 87810.3248 | 294475.795 | 30.45 | 114.2
25115 | 2022-05-20 15:16 | 53.3369 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0593 | μmol/L | 18.187 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.699 | 87778.8378 | 294470.7355 | 30.45 | 114.2
25125 | 2022-05-20 15:16 | 53.6708 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.224 | μmol/L | 18.187 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.692 | 87752.9671 | 294469.4039 | 30.45 | 114.2
25135 | 2022-05-20 15:16 | 54.0036 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.3417 | μmol/L | 18.187 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.687 | 87719.331 | 294468.064 | 30.45 | 114.2
25145 | 2022-05-20 15:17 | 54.337 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.483 | μmol/L | 18.187 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.681 | 87690.6608 | 294466.7269 | 30.45 | 114.2
25155 | 2022-05-20 15:17 | 54.6705 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.6297 | μmol/L | 18.1808 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.677 | 87662.8913 | 294458.3085 | 30.45 | 114.2
25165 | 2022-05-20 15:17 | 55.0038 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.7606 | μmol/L | 18.1931 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.667 | 87625.604 | 294454.1034 | 30.45 | 114.2
25175 | 2022-05-20 15:18 | 55.3373 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.8261 | μmol/L | 18.1993 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.662 | 87600.0972 | 294442.8563 | 30.45 | 114.2
25185 | 2022-05-20 15:18 | 55.6708 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.9966 | μmol/L | 18.1931 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.657 | 87568.7461 | 294440.1067 | 30.45 | 114.2
25195 | 2022-05-20 15:18 | 56.0034 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.2145 | μmol/L | 18.187 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.65 | 87539.2729 | 294431.9927 | 30.45 | 114.2
25205 | 2022-05-20 15:19 | 56.3369 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.451 | μmol/L | 18.187 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.64 | 87503.7127 | 294437.1368 | 30.45 | 114.2
25215 | 2022-05-20 15:19 | 56.6705 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.4273 | μmol/L | 18.187 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.641 | 87488.1528 | 294424.6316 | 30.45 | 114.2
25225 | 2022-05-20 15:19 | 57.0039 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.4168 | μmol/L | 18.1993 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.637 | 87464.8664 | 294433.3845 | 30.45 | 114.2
25235 | 2022-05-20 15:20 | 57.3368 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.5641 | μmol/L | 18.1931 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.633 | 87441.9424 | 294407.0422 | 30.45 | 114.2
25245 | 2022-05-20 15:20 | 57.6703 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.6588 | μmol/L | 18.1931 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.629 | 87424.1016 | 294407.6546 | 30.45 | 114.2
25255 | 2022-05-20 15:20 | 58.0039 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.901 | μmol/L | 18.187 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.621 | 87400.828 | 294407.418 | 30.45 | 114.2
25265 | 2022-05-20 15:21 | 58.3375 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.9379 | μmol/L | 18.1993 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.615 | 87380.895 | 294403.759 | 30.45 | 114.2
25275 | 2022-05-20 15:21 | 58.6702 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.1092 | μmol/L | 18.1931 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.61 | 87358.197 | 294406.4203 | 30.45 | 114.2
25285 | 2022-05-20 15:21 | 59.0036 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.1329 | μmol/L | 18.1931 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.609 | 87331.1364 | 294392.3592 | 30.45 | 114.2
25295 | 2022-05-20 15:22 | 59.3373 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.2701 | μmol/L | 18.1993 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.601 | 87310.8353 | 294386.4569 | 30.45 | 114.2
25305 | 2022-05-20 15:22 | 59.6707 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.3414 | μmol/L | 18.1993 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.598 | 87290.6651 | 294387.546 | 30.45 | 114.2
25315 | 2022-05-20 15:22 | 60.0034 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.4179 | μmol/L | 18.1931 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.597 | 87267.3756 | 294384.5073 | 30.45 | 114.2
25325 | 2022-05-20 15:23 | 60.337 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.4312 | μmol/L | 18.2054 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.592 | 87247.8029 | 294377.4159 | 30.45 | 114.2
25335 | 2022-05-20 15:23 | 60.6707 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.5501 | μmol/L | 18.2054 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.587 | 87223.2774 | 294373.6993 | 30.45 | 114.2
25345 | 2022-05-20 15:23 | 61.0041 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.8461 | μmol/L | 18.1931 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.579 | 87196.2492 | 294353.8744 | 30.45 | 114.2
25355 | 2022-05-20 15:24 | 61.3369 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.6876 | μmol/L | 18.2116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.579 | 87172.8902 | 294358.9791 | 30.45 | 114.2
25365 | 2022-05-20 15:24 | 61.6703 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.8832 | μmol/L | 18.2054 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.573 | 87151.7016 | 294347.0572 | 30.45 | 114.2
25375 | 2022-05-20 15:24 | 62.0039 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.8832 | μmol/L | 18.2054 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.573 | 87132.6527 | 294352.5915 | 30.45 | 114.2
25385 | 2022-05-20 15:25 | 62.3374 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.0738 | μmol/L | 18.2054 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.565 | 87107.6842 | 294350.6444 | 30.45 | 114.2
25395 | 2022-05-20 15:25 | 62.6704 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.0738 | μmol/L | 18.2054 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.565 | 87103.4403 | 294351.9277 | 30.45 | 114.2
25405 | 2022-05-20 15:25 | 63.0042 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.3652 | μmol/L | 18.1993 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.555 | 87081.8773 | 294342.0849 | 30.45 | 114.2
25415 | 2022-05-20 15:26 | 63.3369 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.3891 | μmol/L | 18.1993 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.554 | 87065.7704 | 294340.3634 | 30.45 | 114.2
25425 | 2022-05-20 15:26 | 63.6705 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.3071 | μmol/L | 18.2116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.553 | 87051.0402 | 294331.6794 | 30.45 | 114.2
25435 | 2022-05-20 15:26 | 64.0041 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.4264 | μmol/L | 18.2116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.548 | 87035.8307 | 294330.4471 | 30.45 | 114.2
25445 | 2022-05-20 15:27 | 64.3368 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.5032 | μmol/L | 18.2054 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.547 | 87022.5342 | 294331.3845 | 30.45 | 114.2
25455 | 2022-05-20 15:27 | 64.6702 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.551 | μmol/L | 18.2054 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.545 | 87005.3975 | 294323.67 | 30.45 | 114.2
25465 | 2022-05-20 15:27 | 65.0035 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.7712 | μmol/L | 18.1993 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.538 | 86992.4212 | 294333.4721 | 30.45 | 114.2
25475 | 2022-05-20 15:28 | 65.3373 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.6413 | μmol/L | 18.2116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.539 | 86969.9235 | 294310.7502 | 30.45 | 114.2
25485 | 2022-05-20 15:28 | 65.6708 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.8191 | μmol/L | 18.1993 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.536 | 86949.6504 | 294309.8118 | 30.45 | 114.2
25495 | 2022-05-20 15:28 | 66.0041 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.9147 | μmol/L | 18.1993 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.532 | 86944.1161 | 294307.688 | 30.45 | 114.2
25505 | 2022-05-20 15:29 | 66.3368 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.9095 | μmol/L | 18.2054 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.53 | 86929.2017 | 294317.117 | 30.45 | 114.2
25515 | 2022-05-20 15:29 | 66.6704 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.0344 | μmol/L | 18.1993 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.527 | 86922.014 | 294305.1898 | 30.45 | 114.2
25525 | 2022-05-20 15:29 | 67.0041 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.0958 | μmol/L | 18.2116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.52 | 86916.728 | 294292.176 | 30.45 | 114.2
25535 | 2022-05-20 15:30 | 67.3368 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.9283 | μmol/L | 18.2116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.527 | 86907.7335 | 294304.4068 | 30.45 | 114.2
25545 | 2022-05-20 15:30 | 67.6704 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.0479 | μmol/L | 18.2116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.522 | 86903.6148 | 294297.3771 | 30.45 | 114.2
25555 | 2022-05-20 15:30 | 68.0041 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.0479 | μmol/L | 18.2116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.522 | 86893.2962 | 294295.9845 | 30.45 | 114.2
25565 | 2022-05-20 15:31 | 68.3368 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.0479 | μmol/L | 18.2116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.522 | 86885.8303 | 294293.0334 | 30.45 | 114.2
25575 | 2022-05-20 15:31 | 68.6703 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.947 | μmol/L | 18.2177 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.524 | 86875.6261 | 294269.275 | 30.45 | 114.2
25585 | 2022-05-20 15:31 | 69.0037 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.0719 | μmol/L | 18.2116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.521 | 86884.2105 | 294275.7139 | 30.45 | 114.2
25595 | 2022-05-20 15:32 | 69.3374 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.2395 | μmol/L | 18.2116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.514 | 86876.7643 | 294266.7664 | 30.45 | 114.2
25605 | 2022-05-20 15:32 | 69.6701 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.0958 | μmol/L | 18.2116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.52 | 86879.3408 | 294281.7006 | 30.45 | 114.2
25615 | 2022-05-20 15:32 | 70.0034 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.077 | μmol/L | 18.2054 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.523 | 86886.7519 | 294264.1033 | 30.45 | 114.2
25625 | 2022-05-20 15:33 | 70.3371 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.1197 | μmol/L | 18.2116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.519 | 86894.3665 | 294274.3255 | 30.45 | 114.2
25635 | 2022-05-20 15:33 | 70.6706 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 278.077 | μmol/L | 18.2054 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.523 | 86893.7844 | 294280.6724 | 30.45 | 114.2
25645 | 2022-05-20 15:33 | 71.004 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.9522 | μmol/L | 18.2116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.526 | 86898.5356 | 294274.3783 | 30.45 | 114.2
25655 | 2022-05-20 15:34 | 71.3374 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.8752 | μmol/L | 18.2177 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.527 | 86903.2465 | 294283.3152 | 30.45 | 114.2
25665 | 2022-05-20 15:34 | 71.6707 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.7848 | μmol/L | 18.2116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.533 | 86901.3431 | 294266.4934 | 30.45 | 114.2
25675 | 2022-05-20 15:34 | 72.0042 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.8804 | μmol/L | 18.2116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.529 | 86907.6768 | 294272.9907 | 30.45 | 114.2
25685 | 2022-05-20 15:35 | 72.337 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.7848 | μmol/L | 18.2116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.533 | 86907.5182 | 294259.6361 | 30.45 | 114.2
25695 | 2022-05-20 15:35 | 72.6707 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.6839 | μmol/L | 18.2177 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.535 | 86924.2455 | 294254.403 | 30.45 | 114.2
25705 | 2022-05-20 15:35 | 73.0035 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.8139 | μmol/L | 18.2054 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.534 | 86929.3985 | 294264.7042 | 30.45 | 114.2
25715 | 2022-05-20 15:36 | 73.3371 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.6652 | μmol/L | 18.2116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.538 | 86931.5766 | 294252.755 | 30.45 | 114.2
25725 | 2022-05-20 15:36 | 73.6705 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.66 | μmol/L | 18.2177 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.536 | 86941.3486 | 294257.3639 | 30.45 | 114.2
25735 | 2022-05-20 15:36 | 74.0039 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.5936 | μmol/L | 18.2116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.541 | 86955.5334 | 294253.7107 | 30.45 | 114.2
25745 | 2022-05-20 15:37 | 74.3374 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.6465 | μmol/L | 18.2054 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.541 | 86960.0252 | 294255.1688 | 30.45 | 114.2
25755 | 2022-05-20 15:37 | 74.6703 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.4451 | μmol/L | 18.2177 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.545 | 86966.8618 | 294254.7513 | 30.45 | 114.2
25765 | 2022-05-20 15:37 | 75.004 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.4025 | μmol/L | 18.2116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.549 | 86986.4199 | 294256.7271 | 30.45 | 114.2
25775 | 2022-05-20 15:38 | 75.3368 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.3257 | μmol/L | 18.2177 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.55 | 86995.252 | 294260.3143 | 30.45 | 114.2
25785 | 2022-05-20 15:38 | 75.6706 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.2303 | μmol/L | 18.2177 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.554 | 87012.9014 | 294252.0388 | 30.45 | 114.2
25795 | 2022-05-20 15:38 | 76.0041 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 277.1401 | μmol/L | 18.2116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.56 | 87030.6312 | 294255.9521 | 30.45 | 114.2
25805 | 2022-05-20 15:39 | 76.3367 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.9204 | μmol/L | 18.2177 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.567 | 87056.7366 | 294242.9034 | 30.45 | 114.2
25815 | 2022-05-20 15:39 | 76.6702 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.8542 | μmol/L | 18.2116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.572 | 87091.4676 | 294243.8237 | 30.45 | 114.2
25825 | 2022-05-20 15:39 | 77.0037 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.6162 | μmol/L | 18.2116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.582 | 87117.6412 | 294245.9168 | 30.45 | 114.2
25835 | 2022-05-20 15:40 | 77.3374 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.4498 | μmol/L | 18.2116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.589 | 87152.5095 | 294239.4907 | 30.45 | 114.2
25845 | 2022-05-20 15:40 | 77.6702 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.302 | μmol/L | 18.2177 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.593 | 87184.5792 | 294230.4447 | 30.45 | 114.2
25855 | 2022-05-20 15:40 | 78.0036 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 276.2597 | μmol/L | 18.2116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.597 | 87221.1603 | 294246.1505 | 30.45 | 114.2
25865 | 2022-05-20 15:41 | 78.3372 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.9222 | μmol/L | 18.2177 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.609 | 87251.9621 | 294236.6306 | 30.45 | 114.2
25875 | 2022-05-20 15:41 | 78.6705 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.7563 | μmol/L | 18.2177 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.616 | 87264.885 | 294246.8309 | 30.45 | 114.2
25885 | 2022-05-20 15:41 | 79.0041 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.8326 | μmol/L | 18.2116 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.615 | 87277.8367 | 294234.5593 | 30.45 | 114.2
25895 | 2022-05-20 15:42 | 79.3368 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.6378 | μmol/L | 18.2177 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.621 | 87292.2119 | 294225.7562 | 30.45 | 114.2
25905 | 2022-05-20 15:42 | 79.6704 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.5379 | μmol/L | 18.2238 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.623 | 87313.1494 | 294219.903 | 30.45 | 114.2
25915 | 2022-05-20 15:42 | 80.0041 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.4901 | μmol/L | 18.2177 | °C | 1023 | hPa | Humid | 0 | 0 | 0 | 22.627 | 87320.2401 | 294223.344 | 30.45 | 114.2
25925 | 2022-05-20 15:43 | 80.3368 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 275.4957 | μmol/L | 18.2177 | °C | 1024 | hPa | Humid | 0 | 0 | 0 | 22.627 | 87334.5598 | 294226.0564 | 30.45 | 114.2