## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_4 | O2 | 32092713 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:51

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 12:35

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
19138 | 2022-05-20 11:17 | 0 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7571 | μmol/L | 18.956 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.104 | 49365.685 | 294698.74 | 28.7 | 67.6
19148 | 2022-05-20 11:18 | 0.33407 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.5651 | μmol/L | 18.9499 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.114 | 49366.1522 | 294708.8956 | 28.7 | 67.6
19158 | 2022-05-20 11:18 | 0.6672 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8419 | μmol/L | 18.9378 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.107 | 49353.8105 | 294683.8137 | 28.7 | 67.6
19168 | 2022-05-20 11:18 | 1.0006 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6744 | μmol/L | 18.9317 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.116 | 49362.7037 | 294691.228 | 28.7 | 67.6
19178 | 2022-05-20 11:19 | 1.3344 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8327 | μmol/L | 18.9134 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.116 | 49366.6043 | 294675.9637 | 28.7 | 67.6
19188 | 2022-05-20 11:19 | 1.6672 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6086 | μmol/L | 18.9195 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.123 | 49360.168 | 294671.2752 | 28.7 | 67.6
19198 | 2022-05-20 11:19 | 2.0012 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.5184 | μmol/L | 18.9074 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.131 | 49363.2148 | 294665.9688 | 28.7 | 67.6
19208 | 2022-05-20 11:20 | 2.3336 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.5918 | μmol/L | 18.9074 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.128 | 49359.8121 | 294646.9032 | 28.7 | 67.6
19218 | 2022-05-20 11:20 | 2.6672 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6484 | μmol/L | 18.8952 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.13 | 49359.6072 | 294652.7316 | 28.7 | 67.6
19228 | 2022-05-20 11:20 | 3.0008 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6767 | μmol/L | 18.8891 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.131 | 49358.2142 | 294640.4217 | 28.7 | 67.6
19238 | 2022-05-20 11:21 | 3.3338 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6561 | μmol/L | 18.883 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.134 | 49361.3442 | 294636.2731 | 28.7 | 67.6
19248 | 2022-05-20 11:21 | 3.6676 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.5866 | μmol/L | 18.877 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.139 | 49358.8712 | 294634.9545 | 28.7 | 67.6
19258 | 2022-05-20 11:21 | 4.0003 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.4682 | μmol/L | 18.8709 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.146 | 49359.7135 | 294607.0625 | 28.7 | 67.6
19268 | 2022-05-20 11:22 | 4.3339 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.5416 | μmol/L | 18.8709 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.143 | 49350.2348 | 294590.1878 | 28.7 | 67.6
19278 | 2022-05-20 11:22 | 4.6675 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6432 | μmol/L | 18.8648 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.141 | 49355.2585 | 294606.0191 | 28.7 | 67.6
19288 | 2022-05-20 11:22 | 5.0011 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.5288 | μmol/L | 18.8526 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.15 | 49352.0874 | 294587.2876 | 28.7 | 67.6
19298 | 2022-05-20 11:23 | 5.3338 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.4799 | μmol/L | 18.8526 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.152 | 49350.3859 | 294586.841 | 28.7 | 67.6
19308 | 2022-05-20 11:23 | 5.6673 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6305 | μmol/L | 18.8465 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.148 | 49359.7489 | 294575.842 | 28.7 | 67.6
19318 | 2022-05-20 11:23 | 6.0005 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6138 | μmol/L | 18.8344 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.153 | 49367.0705 | 294584.6488 | 28.7 | 67.6
19328 | 2022-05-20 11:24 | 6.3342 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.74 | μmol/L | 18.8283 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.15 | 49363.821 | 294564.4368 | 28.7 | 67.6
19338 | 2022-05-20 11:24 | 6.6673 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.5933 | μmol/L | 18.8283 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.156 | 49354.9329 | 294550.8166 | 28.7 | 67.6
19348 | 2022-05-20 11:24 | 7.0009 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.5279 | μmol/L | 18.8161 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.163 | 49357.4162 | 294548.552 | 28.7 | 67.6
19358 | 2022-05-20 11:25 | 7.3344 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6501 | μmol/L | 18.8161 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.158 | 49360.2889 | 294537.2475 | 28.7 | 67.6
19368 | 2022-05-20 11:25 | 7.667 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.5074 | μmol/L | 18.81 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.166 | 49364.0976 | 294538.0771 | 28.7 | 67.6
19378 | 2022-05-20 11:25 | 8.0006 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6374 | μmol/L | 18.7979 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.165 | 49367.1934 | 294536.7214 | 28.7 | 67.6
19388 | 2022-05-20 11:26 | 8.3342 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7147 | μmol/L | 18.7918 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.164 | 49357.266 | 294522.9827 | 28.7 | 67.6
19398 | 2022-05-20 11:26 | 8.667 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.5681 | μmol/L | 18.7918 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.17 | 49360.8413 | 294520.6532 | 28.7 | 67.6
19408 | 2022-05-20 11:26 | 9.0006 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.5232 | μmol/L | 18.7857 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.174 | 49361.4845 | 294515.0626 | 28.7 | 67.6
19418 | 2022-05-20 11:27 | 9.3343 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6005 | μmol/L | 18.7796 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.173 | 49371.6095 | 294524.2498 | 28.7 | 67.6
19428 | 2022-05-20 11:27 | 9.667 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6005 | μmol/L | 18.7796 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.173 | 49372.5212 | 294529.1556 | 28.7 | 67.6
19438 | 2022-05-20 11:27 | 10.001 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6084 | μmol/L | 18.7675 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.177 | 49377.2814 | 294501.0777 | 28.7 | 67.6
19448 | 2022-05-20 11:28 | 10.3337 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6084 | μmol/L | 18.7675 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.177 | 49368.0074 | 294492.8269 | 28.7 | 67.6
19458 | 2022-05-20 11:28 | 10.6672 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7102 | μmol/L | 18.7614 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.175 | 49371.6369 | 294496.0276 | 28.7 | 67.6
19468 | 2022-05-20 11:28 | 11.0009 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.4943 | μmol/L | 18.7553 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.186 | 49373.4359 | 294470.12 | 28.7 | 67.6
19478 | 2022-05-20 11:29 | 11.3338 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.5431 | μmol/L | 18.7553 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.184 | 49378.2341 | 294483.4502 | 28.7 | 67.6
19488 | 2022-05-20 11:29 | 11.6675 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7711 | μmol/L | 18.7431 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.179 | 49387.9932 | 294480.2462 | 28.7 | 67.6
19498 | 2022-05-20 11:29 | 12.001 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.5716 | μmol/L | 18.7492 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.185 | 49384.3572 | 294471.4756 | 28.7 | 67.6
19508 | 2022-05-20 11:30 | 12.3339 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7751 | μmol/L | 18.737 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.181 | 49376.2538 | 294468.9635 | 28.7 | 67.6
19518 | 2022-05-20 11:30 | 12.6675 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6773 | μmol/L | 18.737 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.185 | 49381.0852 | 294460.7091 | 28.7 | 67.6
19528 | 2022-05-20 11:30 | 13.0003 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7791 | μmol/L | 18.731 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.183 | 49386.0322 | 294450.4371 | 28.7 | 67.6
19538 | 2022-05-20 11:31 | 13.3342 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.661 | μmol/L | 18.7249 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.19 | 49385.3263 | 294453.0212 | 28.7 | 67.6
19548 | 2022-05-20 11:31 | 13.667 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6446 | μmol/L | 18.7127 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.195 | 49389.9565 | 294447.8304 | 28.7 | 67.6
19558 | 2022-05-20 11:31 | 14.0005 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.5998 | μmol/L | 18.7066 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.199 | 49388.3985 | 294448.2963 | 28.7 | 67.6
19568 | 2022-05-20 11:32 | 14.3341 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6487 | μmol/L | 18.7066 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.197 | 49383.437 | 294453.3858 | 28.7 | 67.6
19578 | 2022-05-20 11:32 | 14.6671 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7994 | μmol/L | 18.7006 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.193 | 49390.2106 | 294445.3623 | 28.7 | 67.6
19588 | 2022-05-20 11:32 | 15.0008 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6568 | μmol/L | 18.6945 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.201 | 49390.536 | 294438.3571 | 28.7 | 67.6
19598 | 2022-05-20 11:33 | 15.3344 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.5632 | μmol/L | 18.6884 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.207 | 49399.1145 | 294428.4277 | 28.7 | 67.6
19608 | 2022-05-20 11:33 | 15.6673 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6853 | μmol/L | 18.6884 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.202 | 49396.2212 | 294429.1481 | 28.7 | 67.6
19618 | 2022-05-20 11:33 | 16.0008 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.9379 | μmol/L | 18.6762 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.196 | 49399.1891 | 294417.6998 | 28.7 | 67.6
19628 | 2022-05-20 11:34 | 16.3336 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7668 | μmol/L | 18.6762 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.203 | 49396.1954 | 294413.8089 | 28.7 | 67.6
19638 | 2022-05-20 11:34 | 16.6673 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7912 | μmol/L | 18.6762 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.202 | 49403.3675 | 294420.1606 | 28.7 | 67.6
19648 | 2022-05-20 11:34 | 17.0008 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7464 | μmol/L | 18.6701 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.206 | 49398.1285 | 294397.7113 | 28.7 | 67.6
19658 | 2022-05-20 11:35 | 17.3344 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6732 | μmol/L | 18.6701 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.209 | 49401.1122 | 294400.6962 | 28.7 | 67.6
19668 | 2022-05-20 11:35 | 17.6675 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7546 | μmol/L | 18.658 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.21 | 49408.3015 | 294396.495 | 28.7 | 67.6
19678 | 2022-05-20 11:35 | 18.001 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8483 | μmol/L | 18.6641 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.204 | 49403.8931 | 294383.2744 | 28.7 | 67.6
19688 | 2022-05-20 11:36 | 18.3338 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7832 | μmol/L | 18.6519 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.211 | 49399.4155 | 294379.9277 | 28.7 | 67.6
19698 | 2022-05-20 11:36 | 18.6673 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8076 | μmol/L | 18.6519 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.21 | 49397.4858 | 294373.3356 | 28.7 | 67.6
19708 | 2022-05-20 11:36 | 19.0003 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8851 | μmol/L | 18.6458 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.209 | 49396.995 | 294370.5654 | 28.7 | 67.6
19718 | 2022-05-20 11:37 | 19.3339 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8159 | μmol/L | 18.6397 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.214 | 49396.8683 | 294363.2535 | 28.7 | 67.6
19728 | 2022-05-20 11:37 | 19.6675 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6896 | μmol/L | 18.6458 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.217 | 49405.9832 | 294366.6256 | 28.7 | 67.6
19738 | 2022-05-20 11:37 | 20.0009 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.82 | μmol/L | 18.6336 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.216 | 49409.1445 | 294360.5265 | 28.7 | 67.6
19748 | 2022-05-20 11:38 | 20.3344 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7711 | μmol/L | 18.6336 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.218 | 49395.8132 | 294355.8413 | 28.7 | 67.6
19758 | 2022-05-20 11:38 | 20.6676 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8771 | μmol/L | 18.6215 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.218 | 49401.2263 | 294343.8909 | 28.7 | 67.6
19768 | 2022-05-20 11:38 | 21.0011 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8283 | μmol/L | 18.6215 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.22 | 49401.1117 | 294341.6719 | 28.7 | 67.6
19778 | 2022-05-20 11:39 | 21.3339 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8283 | μmol/L | 18.6215 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.22 | 49398.1314 | 294320.4357 | 28.7 | 67.6
19788 | 2022-05-20 11:39 | 21.6674 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7347 | μmol/L | 18.6154 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.226 | 49405.6642 | 294327.2676 | 28.7 | 67.6
19798 | 2022-05-20 11:39 | 22.0008 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7877 | μmol/L | 18.6093 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.226 | 49409.8216 | 294324.1298 | 28.7 | 67.6
19808 | 2022-05-20 11:40 | 22.3343 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8163 | μmol/L | 18.6032 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.227 | 49406.4793 | 294301.4961 | 28.7 | 67.6
19818 | 2022-05-20 11:40 | 22.6677 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8366 | μmol/L | 18.6093 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.224 | 49402.7403 | 294297.7526 | 28.7 | 67.6
19828 | 2022-05-20 11:40 | 23.0004 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.9141 | μmol/L | 18.6032 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.223 | 49399.5695 | 294291.5599 | 28.7 | 67.6
19838 | 2022-05-20 11:41 | 23.334 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6698 | μmol/L | 18.6032 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.233 | 49401.3574 | 294281.7723 | 28.7 | 67.6
19848 | 2022-05-20 11:41 | 23.6674 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8003 | μmol/L | 18.5911 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.232 | 49403.9138 | 294279.1715 | 28.7 | 67.6
19858 | 2022-05-20 11:41 | 24.0008 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8652 | μmol/L | 18.6032 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.225 | 49411.8376 | 294265.8501 | 28.7 | 67.6
19868 | 2022-05-20 11:42 | 24.3342 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8044 | μmol/L | 18.585 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.234 | 49410.2396 | 294259.9623 | 28.7 | 67.6
19878 | 2022-05-20 11:42 | 24.6675 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.9266 | μmol/L | 18.585 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.229 | 49406.5142 | 294240.6884 | 28.7 | 67.6
19888 | 2022-05-20 11:42 | 25.0007 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.9063 | μmol/L | 18.5789 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.232 | 49408.4592 | 294228.3 | 28.7 | 67.6
19898 | 2022-05-20 11:43 | 25.3344 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8086 | μmol/L | 18.5789 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.236 | 49399.9795 | 294228.0131 | 28.7 | 67.6
19908 | 2022-05-20 11:43 | 25.6675 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.817 | μmol/L | 18.5667 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.24 | 49401.7921 | 294216.1614 | 28.7 | 67.6
19918 | 2022-05-20 11:43 | 26.0007 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8128 | μmol/L | 18.5728 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.238 | 49402.907 | 294212.5482 | 28.7 | 67.6
19928 | 2022-05-20 11:44 | 26.3339 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.764 | μmol/L | 18.5728 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.24 | 49404.417 | 294201.5263 | 28.7 | 67.6
19938 | 2022-05-20 11:44 | 26.6673 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7968 | μmol/L | 18.5607 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.243 | 49413.6762 | 294201.0102 | 28.7 | 67.6
19948 | 2022-05-20 11:44 | 27.0006 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6504 | μmol/L | 18.5607 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.249 | 49410.0736 | 294179.6112 | 28.7 | 67.6
19958 | 2022-05-20 11:45 | 27.3342 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8701 | μmol/L | 18.5607 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.24 | 49400.4642 | 294155.5312 | 28.7 | 67.6
19968 | 2022-05-20 11:45 | 27.667 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8011 | μmol/L | 18.5546 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.245 | 49401.3475 | 294158.5246 | 28.7 | 67.6
19978 | 2022-05-20 11:45 | 28.0007 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.0007 | μmol/L | 18.5485 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.239 | 49403.1327 | 294156.4574 | 28.7 | 67.6
19988 | 2022-05-20 11:46 | 28.3337 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8255 | μmol/L | 18.5546 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.244 | 49399.2852 | 294143.0661 | 28.7 | 67.6
19998 | 2022-05-20 11:46 | 28.6675 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8541 | μmol/L | 18.5485 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.245 | 49402.8688 | 294131.7538 | 28.7 | 67.6
20008 | 2022-05-20 11:46 | 29.0005 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7565 | μmol/L | 18.5485 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.249 | 49401.8229 | 294132.2186 | 28.7 | 67.6
20018 | 2022-05-20 11:47 | 29.3342 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8828 | μmol/L | 18.5424 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.246 | 49395.8629 | 294108.6501 | 28.7 | 67.6
20028 | 2022-05-20 11:47 | 29.6673 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.9603 | μmol/L | 18.5363 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.245 | 49398.779 | 294120.2493 | 28.7 | 67.6
20038 | 2022-05-20 11:47 | 30.0003 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8424 | μmol/L | 18.5302 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.252 | 49394.6597 | 294105.0205 | 28.7 | 67.6
20048 | 2022-05-20 11:48 | 30.334 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.9444 | μmol/L | 18.5242 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.25 | 49394.387 | 294097.6083 | 28.7 | 67.6
20058 | 2022-05-20 11:48 | 30.667 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.9157 | μmol/L | 18.5302 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.249 | 49393.1492 | 294095.5802 | 28.7 | 67.6
20068 | 2022-05-20 11:48 | 31.0003 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8467 | μmol/L | 18.5242 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.254 | 49397.6325 | 294067.599 | 28.7 | 67.6
20078 | 2022-05-20 11:49 | 31.3337 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7979 | μmol/L | 18.5242 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.256 | 49399.8261 | 294067.2267 | 28.7 | 67.6
20088 | 2022-05-20 11:49 | 31.6672 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8509 | μmol/L | 18.5181 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.256 | 49392.8208 | 294056.8871 | 28.7 | 67.6
20098 | 2022-05-20 11:49 | 32.0007 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7777 | μmol/L | 18.5181 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.259 | 49387.9178 | 294052.3021 | 28.7 | 67.6
20108 | 2022-05-20 11:50 | 32.3342 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8796 | μmol/L | 18.512 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.257 | 49387.1241 | 294045.8731 | 28.7 | 67.6
20118 | 2022-05-20 11:50 | 32.6675 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7533 | μmol/L | 18.5181 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.26 | 49381.7554 | 294032.2604 | 28.7 | 67.6
20128 | 2022-05-20 11:50 | 33.001 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.0304 | μmol/L | 18.5059 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.253 | 49387.3852 | 294010.6092 | 28.7 | 67.6
20138 | 2022-05-20 11:51 | 33.3343 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.9572 | μmol/L | 18.5059 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.256 | 49384.0141 | 294010.4943 | 28.7 | 67.6
20148 | 2022-05-20 11:51 | 33.667 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7618 | μmol/L | 18.5059 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.264 | 49382.9379 | 294016.9473 | 28.7 | 67.6
20158 | 2022-05-20 11:51 | 34.0005 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.0879 | μmol/L | 18.4937 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.255 | 49387.2165 | 294003.9736 | 28.7 | 67.6
20168 | 2022-05-20 11:52 | 34.334 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8882 | μmol/L | 18.4998 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.261 | 49387.334 | 293999.8957 | 28.7 | 67.6
20178 | 2022-05-20 11:52 | 34.6674 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.9657 | μmol/L | 18.4937 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.26 | 49383.7063 | 293985.274 | 28.7 | 67.6
20188 | 2022-05-20 11:52 | 35.001 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8436 | μmol/L | 18.4937 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.265 | 49384.1256 | 293998.7224 | 28.7 | 67.6
20198 | 2022-05-20 11:53 | 35.3337 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.9413 | μmol/L | 18.4937 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.261 | 49392.2234 | 293986.8543 | 28.7 | 67.6
20208 | 2022-05-20 11:53 | 35.6671 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7704 | μmol/L | 18.4937 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.268 | 49384.8509 | 293983.9022 | 28.7 | 67.6
20218 | 2022-05-20 11:53 | 36.0008 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.0232 | μmol/L | 18.4816 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.262 | 49385.1924 | 293972.8221 | 28.7 | 67.6
20228 | 2022-05-20 11:54 | 36.3344 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8766 | μmol/L | 18.4816 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.268 | 49388.2439 | 293969.1949 | 28.7 | 67.6
20238 | 2022-05-20 11:54 | 36.6677 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.0232 | μmol/L | 18.4816 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.262 | 49387.7355 | 293959.6215 | 28.7 | 67.6
20248 | 2022-05-20 11:54 | 37.0004 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.0763 | μmol/L | 18.4755 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.262 | 49386.2001 | 293950.724 | 28.7 | 67.6
20258 | 2022-05-20 11:55 | 37.3338 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.9829 | μmol/L | 18.4694 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.268 | 49382.2633 | 293958.1567 | 28.7 | 67.6
20268 | 2022-05-20 11:55 | 37.6676 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.1784 | μmol/L | 18.4694 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.26 | 49381.2696 | 293930.8396 | 28.7 | 67.6
20278 | 2022-05-20 11:55 | 38.0003 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.0562 | μmol/L | 18.4694 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.265 | 49386.2037 | 293944.1187 | 28.7 | 67.6
20288 | 2022-05-20 11:56 | 38.3336 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8652 | μmol/L | 18.4633 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.275 | 49382.2088 | 293928.5584 | 28.7 | 67.6
20298 | 2022-05-20 11:56 | 38.6672 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.9916 | μmol/L | 18.4573 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.272 | 49386.1015 | 293923.8001 | 28.7 | 67.6
20308 | 2022-05-20 11:56 | 39.0005 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8652 | μmol/L | 18.4633 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.275 | 49387.4901 | 293920.1438 | 28.7 | 67.6
20318 | 2022-05-20 11:57 | 39.3342 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8652 | μmol/L | 18.4633 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.275 | 49385.4265 | 293905.3655 | 28.7 | 67.6
20328 | 2022-05-20 11:57 | 39.6676 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.0117 | μmol/L | 18.4633 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.269 | 49375.9792 | 293904.8975 | 28.7 | 67.6
20338 | 2022-05-20 11:57 | 40.001 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.9427 | μmol/L | 18.4573 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.274 | 49380.1544 | 293898.685 | 28.7 | 67.6
20348 | 2022-05-20 11:58 | 40.3338 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.9715 | μmol/L | 18.4512 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.275 | 49376.5286 | 293889.9074 | 28.7 | 67.6
20358 | 2022-05-20 11:58 | 40.6674 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.9471 | μmol/L | 18.4512 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.276 | 49380.2635 | 293889.5965 | 28.7 | 67.6
20368 | 2022-05-20 11:58 | 41.0008 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.9227 | μmol/L | 18.4512 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.277 | 49378.3509 | 293898.9018 | 28.7 | 67.6
20378 | 2022-05-20 11:59 | 41.3342 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8782 | μmol/L | 18.4451 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.281 | 49385.848 | 293891.4344 | 28.7 | 67.6
20388 | 2022-05-20 11:59 | 41.6671 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8825 | μmol/L | 18.439 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.283 | 49389.612 | 293888.672 | 28.7 | 67.6
20398 | 2022-05-20 11:59 | 42.0008 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.1511 | μmol/L | 18.439 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.272 | 49377.87 | 293877.8914 | 28.7 | 67.6
20408 | 2022-05-20 12:00 | 42.334 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.029 | μmol/L | 18.439 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.277 | 49384.6865 | 293872.49 | 28.7 | 67.6
20418 | 2022-05-20 12:00 | 42.6671 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8581 | μmol/L | 18.439 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.284 | 49383.1569 | 293871.4177 | 28.7 | 67.6
20428 | 2022-05-20 12:00 | 43.0009 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.9601 | μmol/L | 18.4329 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.282 | 49378.1793 | 293857.5651 | 28.7 | 67.6
20438 | 2022-05-20 12:01 | 43.3339 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8913 | μmol/L | 18.4268 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.287 | 49391.2641 | 293862.2614 | 28.7 | 67.6
20448 | 2022-05-20 12:01 | 43.6669 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.9401 | μmol/L | 18.4268 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.285 | 49392.2019 | 293853.6196 | 28.7 | 67.6
20458 | 2022-05-20 12:01 | 44.0007 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.9157 | μmol/L | 18.4268 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.286 | 49379.7567 | 293856.5257 | 28.7 | 67.6
20468 | 2022-05-20 12:02 | 44.3337 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8181 | μmol/L | 18.4268 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.29 | 49383.9055 | 293837.8766 | 28.7 | 67.6
20478 | 2022-05-20 12:02 | 44.6673 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7693 | μmol/L | 18.4268 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.292 | 49390.3732 | 293852.2719 | 28.7 | 67.6
20488 | 2022-05-20 12:02 | 45.001 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7205 | μmol/L | 18.4268 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.294 | 49401.6694 | 293850.3981 | 28.7 | 67.6
20498 | 2022-05-20 12:03 | 45.3337 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6517 | μmol/L | 18.4208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.299 | 49392.2569 | 293842.5222 | 28.7 | 67.6
20508 | 2022-05-20 12:03 | 45.6674 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8268 | μmol/L | 18.4147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.294 | 49385.9357 | 293830.5415 | 28.7 | 67.6
20518 | 2022-05-20 12:03 | 46.0009 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7736 | μmol/L | 18.4208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.294 | 49392.6131 | 293831.7348 | 28.7 | 67.6
20528 | 2022-05-20 12:04 | 46.3344 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7736 | μmol/L | 18.4208 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.294 | 49397.3487 | 293823.3 | 28.7 | 67.6
20538 | 2022-05-20 12:04 | 46.667 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8512 | μmol/L | 18.4147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.293 | 49386.8207 | 293816.5445 | 28.7 | 67.6
20548 | 2022-05-20 12:04 | 47.0005 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8024 | μmol/L | 18.4147 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.295 | 49390.2986 | 293804.3574 | 28.7 | 67.6
20558 | 2022-05-20 12:05 | 47.334 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.002 | μmol/L | 18.4086 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.289 | 49396.7646 | 293821.084 | 28.7 | 67.6
20568 | 2022-05-20 12:05 | 47.6676 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 282.0552 | μmol/L | 18.4025 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.289 | 49396.0867 | 293814.5992 | 28.7 | 67.6
20578 | 2022-05-20 12:05 | 48.0011 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7824 | μmol/L | 18.4086 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.298 | 49399.7573 | 293806.0033 | 28.7 | 67.6
20588 | 2022-05-20 12:06 | 48.3338 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.8068 | μmol/L | 18.4086 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.297 | 49389.4977 | 293801.9446 | 28.7 | 67.6
20598 | 2022-05-20 12:06 | 48.6672 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7624 | μmol/L | 18.4025 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.301 | 49392.7897 | 293807.3827 | 28.7 | 67.6
20608 | 2022-05-20 12:06 | 49.0005 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.738 | μmol/L | 18.4025 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.302 | 49401.3634 | 293808.7434 | 28.7 | 67.6
20618 | 2022-05-20 12:07 | 49.3339 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.84 | μmol/L | 18.3964 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.3 | 49394.7419 | 293798.7313 | 28.7 | 67.6
20628 | 2022-05-20 12:07 | 49.6675 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.84 | μmol/L | 18.3964 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.3 | 49399.7641 | 293795.5115 | 28.7 | 67.6
20638 | 2022-05-20 12:07 | 50.0009 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6161 | μmol/L | 18.4025 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.307 | 49400.8867 | 293806.2198 | 28.7 | 67.6
20648 | 2022-05-20 12:08 | 50.3336 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.5962 | μmol/L | 18.3964 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.31 | 49391.7014 | 293798.4621 | 28.7 | 67.6
20658 | 2022-05-20 12:08 | 50.6672 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6693 | μmol/L | 18.3964 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.307 | 49400.2416 | 293796.8407 | 28.7 | 67.6
20668 | 2022-05-20 12:08 | 51.0007 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7225 | μmol/L | 18.3904 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.307 | 49403.667 | 293801.8902 | 28.7 | 67.6
20678 | 2022-05-20 12:09 | 51.3341 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7956 | μmol/L | 18.3904 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.304 | 49407.9836 | 293807.5484 | 28.7 | 67.6
20688 | 2022-05-20 12:09 | 51.6669 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7756 | μmol/L | 18.3843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.307 | 49411.3744 | 293800.4465 | 28.7 | 67.6
20698 | 2022-05-20 12:09 | 52.0006 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6981 | μmol/L | 18.3904 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.308 | 49409.2137 | 293779.5308 | 28.7 | 67.6
20708 | 2022-05-20 12:10 | 52.3343 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.78 | μmol/L | 18.3782 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.309 | 49413.3344 | 293788.7849 | 28.7 | 67.6
20718 | 2022-05-20 12:10 | 52.6677 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7557 | μmol/L | 18.3782 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.31 | 49401.922 | 293780.7484 | 28.7 | 67.6
20728 | 2022-05-20 12:10 | 53.001 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6537 | μmol/L | 18.3843 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.312 | 49409.6599 | 293782.5406 | 28.7 | 67.6
20738 | 2022-05-20 12:11 | 53.3337 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.7313 | μmol/L | 18.3782 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.311 | 49407.1315 | 293787.0824 | 28.7 | 67.6
20748 | 2022-05-20 12:11 | 53.6674 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.6582 | μmol/L | 18.3782 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.314 | 49405.8845 | 293782.1972 | 28.7 | 67.6
20758 | 2022-05-20 12:11 | 54.0009 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.5895 | μmol/L | 18.3721 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.319 | 49404.1892 | 293779.8321 | 28.7 | 67.6
20768 | 2022-05-20 12:12 | 54.3343 | oxy_ch_4 (PSt7-10) | 2022-05-17 09:51 | default | 281.687 | μmol/L | 18.3721 | °C | 1027 | hPa | Humid | 0 | 0 | 0 | 22.315 | 49407.3231 | 293769.498 | 28.7 | 67.6