## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_5 | O2 | 386281131 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:52

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 15:44

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
23516 | 2022-05-20 14:22 | 0 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.3743 | μmol/L | 18.1196 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.873 | 110954.6694 | 267035.826 | 36.4 | 83.1
23526 | 2022-05-20 14:23 | 0.33864 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.0432 | μmol/L | 18.1257 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.883 | 111004.7979 | 267036.6181 | 36.4 | 83.1
23536 | 2022-05-20 14:23 | 0.67192 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.8815 | μmol/L | 18.1257 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.889 | 111022.4809 | 267026.5173 | 36.4 | 83.1
23546 | 2022-05-20 14:23 | 1.0047 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.8618 | μmol/L | 18.1196 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.892 | 111036.4948 | 267019.538 | 36.4 | 83.1
23556 | 2022-05-20 14:24 | 1.3385 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.6929 | μmol/L | 18.1257 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.896 | 111035.0683 | 267000.0457 | 36.4 | 83.1
23566 | 2022-05-20 14:24 | 1.6714 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.639 | μmol/L | 18.1257 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.898 | 111033.7026 | 266996.77 | 36.4 | 83.1
23576 | 2022-05-20 14:24 | 2.0053 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.4702 | μmol/L | 18.1319 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.902 | 111047.2812 | 266999.0209 | 36.4 | 83.1
23586 | 2022-05-20 14:25 | 2.3381 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.5044 | μmol/L | 18.1257 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.903 | 111056.261 | 266986.2769 | 36.4 | 83.1
23596 | 2022-05-20 14:25 | 2.6717 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.2013 | μmol/L | 18.1319 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.912 | 111058.9159 | 266980.8369 | 36.4 | 83.1
23606 | 2022-05-20 14:25 | 3.0046 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.3234 | μmol/L | 18.1196 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.912 | 111077.5559 | 266968.9265 | 36.4 | 83.1
23616 | 2022-05-20 14:26 | 3.3381 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.0669 | μmol/L | 18.1319 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.917 | 111090.1328 | 266967.2807 | 36.4 | 83.1
23626 | 2022-05-20 14:26 | 3.6717 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.9863 | μmol/L | 18.1319 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.92 | 111100.1327 | 266957.5031 | 36.4 | 83.1
23636 | 2022-05-20 14:26 | 4.0052 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.9131 | μmol/L | 18.1257 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.925 | 111116.9488 | 266954.1884 | 36.4 | 83.1
23646 | 2022-05-20 14:27 | 4.3379 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.6033 | μmol/L | 18.138 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.932 | 111109.9153 | 266934.7381 | 36.4 | 83.1
23656 | 2022-05-20 14:27 | 4.6714 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.6642 | μmol/L | 18.1319 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.932 | 111113.9956 | 266942.6717 | 36.4 | 83.1
23666 | 2022-05-20 14:27 | 5.005 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.6911 | μmol/L | 18.1319 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.931 | 111115.8098 | 266937.0843 | 36.4 | 83.1
23676 | 2022-05-20 14:28 | 5.3387 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.7179 | μmol/L | 18.1319 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.93 | 111099.6987 | 266923.8537 | 36.4 | 83.1
23686 | 2022-05-20 14:28 | 5.6721 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.5497 | μmol/L | 18.138 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.934 | 111104.6295 | 266922.9363 | 36.4 | 83.1
23696 | 2022-05-20 14:28 | 6.0047 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.5229 | μmol/L | 18.138 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.935 | 111102.4237 | 266904.2079 | 36.4 | 83.1
23706 | 2022-05-20 14:29 | 6.3386 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.5424 | μmol/L | 18.1441 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.932 | 111104.9536 | 266905.7647 | 36.4 | 83.1
23716 | 2022-05-20 14:29 | 6.6713 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.557 | μmol/L | 18.1319 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.936 | 111109.2247 | 266902.6782 | 36.4 | 83.1
23726 | 2022-05-20 14:29 | 7.0051 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.4887 | μmol/L | 18.1441 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.934 | 111110.7873 | 266895.951 | 36.4 | 83.1
23736 | 2022-05-20 14:30 | 7.3386 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.5229 | μmol/L | 18.138 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.935 | 111109.6796 | 266892.109 | 36.4 | 83.1
23746 | 2022-05-20 14:30 | 7.672 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.3475 | μmol/L | 18.1502 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.937 | 111108.3517 | 266888.6423 | 36.4 | 83.1
23756 | 2022-05-20 14:30 | 8.0048 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.4692 | μmol/L | 18.138 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.937 | 111101.0839 | 266886.078 | 36.4 | 83.1
23766 | 2022-05-20 14:31 | 8.3385 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.4619 | μmol/L | 18.1441 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.935 | 111094.0013 | 266883.6839 | 36.4 | 83.1
23776 | 2022-05-20 14:31 | 8.672 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.4083 | μmol/L | 18.1441 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.937 | 111073.91 | 266871.6848 | 36.4 | 83.1
23786 | 2022-05-20 14:31 | 9.0049 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.4887 | μmol/L | 18.1441 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.934 | 111073.2383 | 266875.5867 | 36.4 | 83.1
23796 | 2022-05-20 14:32 | 9.3386 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.5692 | μmol/L | 18.1441 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.931 | 111049.722 | 266859.8468 | 36.4 | 83.1
23806 | 2022-05-20 14:32 | 9.6719 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.6228 | μmol/L | 18.1441 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.929 | 111041.1157 | 266855.8303 | 36.4 | 83.1
23816 | 2022-05-20 14:32 | 10.0046 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.6155 | μmol/L | 18.1502 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.927 | 111024.2411 | 266849.0913 | 36.4 | 83.1
23826 | 2022-05-20 14:33 | 10.3383 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.7847 | μmol/L | 18.138 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.925 | 110998.0308 | 266843.0452 | 36.4 | 83.1
23836 | 2022-05-20 14:33 | 10.6713 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.7228 | μmol/L | 18.1502 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.923 | 110975.3783 | 266829.5975 | 36.4 | 83.1
23846 | 2022-05-20 14:33 | 11.0049 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.8375 | μmol/L | 18.1441 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.921 | 110962.1836 | 266834.249 | 36.4 | 83.1
23856 | 2022-05-20 14:34 | 11.3384 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.8839 | μmol/L | 18.1502 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.917 | 110943.5376 | 266809.6798 | 36.4 | 83.1
23866 | 2022-05-20 14:34 | 11.6719 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.8033 | μmol/L | 18.1502 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.92 | 110926.2398 | 266812.5334 | 36.4 | 83.1
23876 | 2022-05-20 14:34 | 12.0048 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.9572 | μmol/L | 18.1563 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.912 | 110915.9895 | 266807.2925 | 36.4 | 83.1
23886 | 2022-05-20 14:35 | 12.3387 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.9034 | μmol/L | 18.1563 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.914 | 110902.3613 | 266799.5601 | 36.4 | 83.1
23896 | 2022-05-20 14:35 | 12.6715 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.9913 | μmol/L | 18.1502 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.913 | 110900.248 | 266796.0944 | 36.4 | 83.1
23906 | 2022-05-20 14:35 | 13.0051 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.9107 | μmol/L | 18.1502 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.916 | 110889.4094 | 266798.0144 | 36.4 | 83.1
23916 | 2022-05-20 14:36 | 13.3386 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.045 | μmol/L | 18.1502 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.911 | 110879.7344 | 266791.2237 | 36.4 | 83.1
23926 | 2022-05-20 14:36 | 13.6714 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.9508 | μmol/L | 18.1563 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.912 | 110869.1847 | 266787.9723 | 36.4 | 83.1
23936 | 2022-05-20 14:36 | 14.0048 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.8839 | μmol/L | 18.1502 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.917 | 110865.9462 | 266770.3908 | 36.4 | 83.1
23946 | 2022-05-20 14:37 | 14.3385 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.9034 | μmol/L | 18.1563 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.914 | 110874.0991 | 266772.0507 | 36.4 | 83.1
23956 | 2022-05-20 14:37 | 14.672 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.8766 | μmol/L | 18.1563 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.915 | 110869.2198 | 266769.8116 | 36.4 | 83.1
23966 | 2022-05-20 14:37 | 15.0047 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.8497 | μmol/L | 18.1563 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.916 | 110867.7072 | 266751.1842 | 36.4 | 83.1
23976 | 2022-05-20 14:38 | 15.3383 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.8156 | μmol/L | 18.1625 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.915 | 110860.7341 | 266735.0057 | 36.4 | 83.1
23986 | 2022-05-20 14:38 | 15.6716 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.8766 | μmol/L | 18.1563 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.915 | 110863.8015 | 266738.5268 | 36.4 | 83.1
23996 | 2022-05-20 14:38 | 16.0052 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.7824 | μmol/L | 18.1625 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.916 | 110860.5736 | 266748.0331 | 36.4 | 83.1
24006 | 2022-05-20 14:39 | 16.3386 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.7888 | μmol/L | 18.1625 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.916 | 110849.0565 | 266755.0506 | 36.4 | 83.1
24016 | 2022-05-20 14:39 | 16.6712 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.8156 | μmol/L | 18.1625 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.915 | 110837.7701 | 266744.3341 | 36.4 | 83.1
24026 | 2022-05-20 14:39 | 17.0049 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.8826 | μmol/L | 18.1686 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.91 | 110817.1323 | 266730.2178 | 36.4 | 83.1
24036 | 2022-05-20 14:40 | 17.3383 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.9167 | μmol/L | 18.1625 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.911 | 110807.599 | 266730.3392 | 36.4 | 83.1
24046 | 2022-05-20 14:40 | 17.6717 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.9499 | μmol/L | 18.1625 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.91 | 110779.5947 | 266747.3864 | 36.4 | 83.1
24056 | 2022-05-20 14:40 | 18.0053 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.1244 | μmol/L | 18.1686 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.901 | 110739.9672 | 266724.7626 | 36.4 | 83.1
24066 | 2022-05-20 14:41 | 18.3387 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.1781 | μmol/L | 18.1686 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.899 | 110717.0446 | 266725.3655 | 36.4 | 83.1
24076 | 2022-05-20 14:41 | 18.6717 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.2785 | μmol/L | 18.1747 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.893 | 110695.6278 | 266726.8913 | 36.4 | 83.1
24086 | 2022-05-20 14:41 | 19.0046 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.3592 | μmol/L | 18.1747 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.89 | 110673.6871 | 266722.7318 | 36.4 | 83.1
24096 | 2022-05-20 14:42 | 19.3382 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.3323 | μmol/L | 18.1747 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.891 | 110656.1467 | 266701.3849 | 36.4 | 83.1
24106 | 2022-05-20 14:42 | 19.6719 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.4937 | μmol/L | 18.1747 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.885 | 110639.8493 | 266694.9644 | 36.4 | 83.1
24116 | 2022-05-20 14:42 | 20.0047 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.7092 | μmol/L | 18.1747 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.877 | 110588.9085 | 266691.4418 | 36.4 | 83.1
24126 | 2022-05-20 14:43 | 20.3383 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.8637 | μmol/L | 18.1808 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.869 | 110524.701 | 266692.1203 | 36.4 | 83.1
24136 | 2022-05-20 14:43 | 20.6716 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.3775 | μmol/L | 18.1625 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 21.857 | 110463.9479 | 266691.367 | 36.4 | 83.1
24146 | 2022-05-20 14:43 | 21.0051 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 314.3982 | μmol/L | 18.1625 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.856 | 110455.7123 | 266685.7715 | 36.4 | 83.1
24156 | 2022-05-20 14:44 | 21.3385 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.8854 | μmol/L | 18.1625 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.875 | 110566.6037 | 266681.7985 | 36.4 | 83.1
24166 | 2022-05-20 14:44 | 21.6719 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 313.1585 | μmol/L | 18.1625 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.902 | 110704.8151 | 266681.4806 | 36.4 | 83.1
24176 | 2022-05-20 14:44 | 22.0053 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 312.3801 | μmol/L | 18.1625 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.931 | 110857.0139 | 266673.3671 | 36.4 | 83.1
24186 | 2022-05-20 14:45 | 22.3383 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.7573 | μmol/L | 18.1686 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.952 | 110968.1926 | 266661.2499 | 36.4 | 83.1
24196 | 2022-05-20 14:45 | 22.6719 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.4901 | μmol/L | 18.1686 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.962 | 111031.3545 | 266654.2057 | 36.4 | 83.1
24206 | 2022-05-20 14:45 | 23.0053 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 311.0632 | μmol/L | 18.1686 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.978 | 111109.7847 | 266658.0929 | 36.4 | 83.1
24216 | 2022-05-20 14:46 | 23.3387 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 310.4435 | μmol/L | 18.1747 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 21.999 | 111226.8815 | 266649.8672 | 36.4 | 83.1
24226 | 2022-05-20 14:46 | 23.6716 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 309.5146 | μmol/L | 18.1747 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.034 | 111424.4637 | 266639.2926 | 36.4 | 83.1
24236 | 2022-05-20 14:46 | 24.0047 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 308.3707 | μmol/L | 18.1808 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.075 | 111653.8919 | 266639.0334 | 36.4 | 83.1
24246 | 2022-05-20 14:47 | 24.3382 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 307.502 | μmol/L | 18.1808 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.108 | 111814.917 | 266649.6632 | 36.4 | 83.1
24256 | 2022-05-20 14:47 | 24.6718 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 307.2919 | μmol/L | 18.1808 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.116 | 111884.9901 | 266634.8109 | 36.4 | 83.1
24266 | 2022-05-20 14:47 | 25.0054 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 307.2657 | μmol/L | 18.1808 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.117 | 111868.2077 | 266634.8875 | 36.4 | 83.1
24276 | 2022-05-20 14:48 | 25.3381 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 307.5546 | μmol/L | 18.1808 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.106 | 111815.4243 | 266625.019 | 36.4 | 83.1
24286 | 2022-05-20 14:48 | 25.6716 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 307.645 | μmol/L | 18.1931 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.098 | 111756.7889 | 266619.9538 | 36.4 | 83.1
24296 | 2022-05-20 14:48 | 26.0052 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 307.9944 | μmol/L | 18.187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.087 | 111691.7003 | 266608.9499 | 36.4 | 83.1
24306 | 2022-05-20 14:49 | 26.338 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 308.1188 | μmol/L | 18.1931 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.08 | 111646.9165 | 266590.6407 | 36.4 | 83.1
24316 | 2022-05-20 14:49 | 26.6716 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 308.1261 | μmol/L | 18.187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.082 | 111646.2522 | 266592.758 | 36.4 | 83.1
24326 | 2022-05-20 14:49 | 27.0051 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 307.9681 | μmol/L | 18.187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.088 | 111673.9146 | 266581.7668 | 36.4 | 83.1
24336 | 2022-05-20 14:50 | 27.3379 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 307.7649 | μmol/L | 18.1808 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.098 | 111725.5909 | 266587.5588 | 36.4 | 83.1
24346 | 2022-05-20 14:50 | 27.6716 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 307.3969 | μmol/L | 18.1808 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.112 | 111820.2261 | 266587.4872 | 36.4 | 83.1
24356 | 2022-05-20 14:50 | 28.0046 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.9959 | μmol/L | 18.187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.125 | 111891.8858 | 266571.8028 | 36.4 | 83.1
24366 | 2022-05-20 14:51 | 28.3382 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 307.0557 | μmol/L | 18.1808 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.125 | 111897.7266 | 266568.9977 | 36.4 | 83.1
24376 | 2022-05-20 14:51 | 28.6717 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 307.1344 | μmol/L | 18.1808 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.122 | 111870.694 | 266559.7723 | 36.4 | 83.1
24386 | 2022-05-20 14:51 | 29.0046 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.9508 | μmol/L | 18.1808 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.129 | 111893.6916 | 266563.6765 | 36.4 | 83.1
24396 | 2022-05-20 14:52 | 29.3382 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.5914 | μmol/L | 18.1747 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.145 | 111981.9196 | 266557.9774 | 36.4 | 83.1
24406 | 2022-05-20 14:52 | 29.6715 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.5767 | μmol/L | 18.187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.141 | 111950.7051 | 266560.6101 | 36.4 | 83.1
24416 | 2022-05-20 14:52 | 30.0053 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 307.3182 | μmol/L | 18.1808 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.115 | 111796.8625 | 266547.8881 | 36.4 | 83.1
24426 | 2022-05-20 14:53 | 30.3381 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 307.232 | μmol/L | 18.187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.116 | 111817.5493 | 266543.651 | 36.4 | 83.1
24436 | 2022-05-20 14:53 | 30.6714 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.9959 | μmol/L | 18.187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.125 | 111860.2671 | 266542.7732 | 36.4 | 83.1
24446 | 2022-05-20 14:53 | 31.005 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.6217 | μmol/L | 18.1931 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.137 | 111918.0122 | 266550.1315 | 36.4 | 83.1
24456 | 2022-05-20 14:54 | 31.3385 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.4646 | μmol/L | 18.1931 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.143 | 111970.6782 | 266526.6187 | 36.4 | 83.1
24466 | 2022-05-20 14:54 | 31.6712 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.2815 | μmol/L | 18.1931 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.15 | 111999.35 | 266531.3938 | 36.4 | 83.1
24476 | 2022-05-20 14:54 | 32.005 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.1247 | μmol/L | 18.1931 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.156 | 112036.8979 | 266519.7974 | 36.4 | 83.1
24486 | 2022-05-20 14:55 | 32.3386 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.9606 | μmol/L | 18.1992 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.16 | 112035.4564 | 266516.2895 | 36.4 | 83.1
24496 | 2022-05-20 14:55 | 32.672 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.1957 | μmol/L | 18.1992 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.151 | 111982.8966 | 266506.0354 | 36.4 | 83.1
24506 | 2022-05-20 14:55 | 33.0046 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.2815 | μmol/L | 18.1931 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.15 | 111995.2447 | 266502.7726 | 36.4 | 83.1
24516 | 2022-05-20 14:56 | 33.3382 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.9418 | μmol/L | 18.1931 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.163 | 112039.0685 | 266503.9749 | 36.4 | 83.1
24526 | 2022-05-20 14:56 | 33.6718 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.8113 | μmol/L | 18.1931 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.168 | 112062.4274 | 266504.5527 | 36.4 | 83.1
24536 | 2022-05-20 14:56 | 34.0046 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.8226 | μmol/L | 18.2053 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.163 | 112062.3227 | 266491.1726 | 36.4 | 83.1
24546 | 2022-05-20 14:57 | 34.3383 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.9753 | μmol/L | 18.187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.164 | 112066.6792 | 266507.5549 | 36.4 | 83.1
24556 | 2022-05-20 14:57 | 34.6718 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.733 | μmol/L | 18.1931 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.171 | 112074.5832 | 266482.7038 | 36.4 | 83.1
24566 | 2022-05-20 14:57 | 35.0052 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.8635 | μmol/L | 18.1931 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.166 | 112053.0545 | 266478.5948 | 36.4 | 83.1
24576 | 2022-05-20 14:58 | 35.3387 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.994 | μmol/L | 18.1931 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.161 | 112021.9715 | 266474.4255 | 36.4 | 83.1
24586 | 2022-05-20 14:58 | 35.6715 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.2031 | μmol/L | 18.1931 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.153 | 112003.3945 | 266475.8652 | 36.4 | 83.1
24596 | 2022-05-20 14:58 | 36.005 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.0838 | μmol/L | 18.2053 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.153 | 111980.8484 | 266482.3188 | 36.4 | 83.1
24606 | 2022-05-20 14:59 | 36.3385 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.4834 | μmol/L | 18.1992 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.14 | 111903.3525 | 266476.4185 | 36.4 | 83.1
24616 | 2022-05-20 14:59 | 36.6714 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.5284 | μmol/L | 18.2053 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.136 | 111875.3603 | 266474.3536 | 36.4 | 83.1
24626 | 2022-05-20 14:59 | 37.0048 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.3526 | μmol/L | 18.1992 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.145 | 111914.4761 | 266465.4027 | 36.4 | 83.1
24636 | 2022-05-20 15:00 | 37.3385 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.248 | μmol/L | 18.1992 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.149 | 111958.4943 | 266476.8289 | 36.4 | 83.1
24646 | 2022-05-20 15:00 | 37.6719 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 306.0202 | μmol/L | 18.1931 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.16 | 112008.0357 | 266468.5533 | 36.4 | 83.1
24656 | 2022-05-20 15:00 | 38.0046 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.7256 | μmol/L | 18.1992 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.169 | 112069.4471 | 266474.5264 | 36.4 | 83.1
24666 | 2022-05-20 15:01 | 38.338 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 305.4201 | μmol/L | 18.1931 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.183 | 112142.7018 | 266466.8636 | 36.4 | 83.1
24676 | 2022-05-20 15:01 | 38.6717 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.9182 | μmol/L | 18.1992 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.2 | 112211.1916 | 266458.151 | 36.4 | 83.1
24686 | 2022-05-20 15:01 | 39.0052 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.7362 | μmol/L | 18.1992 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.207 | 112279.8148 | 266449.9623 | 36.4 | 83.1
24696 | 2022-05-20 15:02 | 39.3387 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.3653 | μmol/L | 18.2053 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.219 | 112351.6863 | 266435.6111 | 36.4 | 83.1
24706 | 2022-05-20 15:02 | 39.6714 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.1911 | μmol/L | 18.1992 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.228 | 112376.7885 | 266441.2112 | 36.4 | 83.1
24716 | 2022-05-20 15:02 | 40.0049 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.1245 | μmol/L | 18.2115 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.226 | 112377.7187 | 266436.7251 | 36.4 | 83.1
24726 | 2022-05-20 15:03 | 40.3385 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 304.0134 | μmol/L | 18.2176 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.228 | 112385.2151 | 266441.4159 | 36.4 | 83.1
24736 | 2022-05-20 15:03 | 40.6714 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.5882 | μmol/L | 18.2053 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.249 | 112478.2233 | 266433.8806 | 36.4 | 83.1
24746 | 2022-05-20 15:03 | 41.005 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.0973 | μmol/L | 18.2053 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.268 | 112608.4648 | 266423.1727 | 36.4 | 83.1
24756 | 2022-05-20 15:04 | 41.3385 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.8725 | μmol/L | 18.1992 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.279 | 112670.4022 | 266419.2343 | 36.4 | 83.1
24766 | 2022-05-20 15:04 | 41.672 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.6663 | μmol/L | 18.1992 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.287 | 112676.7624 | 266413.1302 | 36.4 | 83.1
24776 | 2022-05-20 15:04 | 42.0047 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.8135 | μmol/L | 18.2053 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.279 | 112657.8642 | 266409.0654 | 36.4 | 83.1
24786 | 2022-05-20 15:05 | 42.3383 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.9167 | μmol/L | 18.2053 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.275 | 112628.2785 | 266409.0771 | 36.4 | 83.1
24796 | 2022-05-20 15:05 | 42.6721 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.2706 | μmol/L | 18.2115 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.259 | 112521.6177 | 266406.4009 | 36.4 | 83.1
24806 | 2022-05-20 15:05 | 43.0047 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.4773 | μmol/L | 18.2115 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.251 | 112484.5092 | 266402.0058 | 36.4 | 83.1
24816 | 2022-05-20 15:06 | 43.3382 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.5364 | μmol/L | 18.2053 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.251 | 112488.5993 | 266388.6618 | 36.4 | 83.1
24826 | 2022-05-20 15:06 | 43.6718 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.5882 | μmol/L | 18.2053 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.249 | 112470.0441 | 266380.3807 | 36.4 | 83.1
24836 | 2022-05-20 15:06 | 44.0046 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.6399 | μmol/L | 18.2053 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.247 | 112466.8094 | 266373.0291 | 36.4 | 83.1
24846 | 2022-05-20 15:07 | 44.3384 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.5882 | μmol/L | 18.2053 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.249 | 112481.9252 | 266369.2369 | 36.4 | 83.1
24856 | 2022-05-20 15:07 | 44.6718 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.5882 | μmol/L | 18.2053 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.249 | 112470.0255 | 266365.9701 | 36.4 | 83.1
24866 | 2022-05-20 15:07 | 45.0054 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.529 | μmol/L | 18.2115 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.249 | 112478.2484 | 266369.9859 | 36.4 | 83.1
24876 | 2022-05-20 15:08 | 45.3383 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 303.1157 | μmol/L | 18.2115 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.265 | 112527.0095 | 266362.2853 | 36.4 | 83.1
24886 | 2022-05-20 15:08 | 45.6717 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.876 | μmol/L | 18.2176 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.272 | 112586.2446 | 266361.0703 | 36.4 | 83.1
24896 | 2022-05-20 15:08 | 46.0047 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.5593 | μmol/L | 18.2237 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.282 | 112638.5294 | 266354.1115 | 36.4 | 83.1
24906 | 2022-05-20 15:09 | 46.3383 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 302.3608 | μmol/L | 18.2176 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.292 | 112693.489 | 266344.758 | 36.4 | 83.1
24916 | 2022-05-20 15:09 | 46.6719 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.9676 | μmol/L | 18.2237 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.305 | 112768.7369 | 266340.4229 | 36.4 | 83.1
24926 | 2022-05-20 15:09 | 47.0046 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.8797 | μmol/L | 18.2115 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.313 | 112813.3313 | 266334.6467 | 36.4 | 83.1
24936 | 2022-05-20 15:10 | 47.3383 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.6413 | μmol/L | 18.2176 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.32 | 112861.1888 | 266330.6139 | 36.4 | 83.1
24946 | 2022-05-20 15:10 | 47.6719 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.59 | μmol/L | 18.2176 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.322 | 112873.0977 | 266332.1834 | 36.4 | 83.1
24956 | 2022-05-20 15:10 | 48.0046 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.5312 | μmol/L | 18.2237 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.322 | 112859.4775 | 266326.8639 | 36.4 | 83.1
24966 | 2022-05-20 15:11 | 48.3384 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.37 | μmol/L | 18.2298 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.326 | 112883.6587 | 266325.9346 | 36.4 | 83.1
24976 | 2022-05-20 15:11 | 48.672 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.3592 | μmol/L | 18.2176 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.331 | 112891.3281 | 266326.8209 | 36.4 | 83.1
24986 | 2022-05-20 15:11 | 49.0047 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.1212 | μmol/L | 18.2237 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.338 | 112919.484 | 266317.7904 | 36.4 | 83.1
24996 | 2022-05-20 15:12 | 49.3384 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.1287 | μmol/L | 18.2176 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.34 | 112945.6252 | 266320.0666 | 36.4 | 83.1
25006 | 2022-05-20 15:12 | 49.6719 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 301.2055 | μmol/L | 18.2176 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.337 | 112939.0821 | 266313.542 | 36.4 | 83.1
25016 | 2022-05-20 15:12 | 50.0054 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.9495 | μmol/L | 18.2176 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.347 | 112981.8533 | 266317.3865 | 36.4 | 83.1
25026 | 2022-05-20 15:13 | 50.338 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.6863 | μmol/L | 18.2237 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.355 | 113045.7219 | 266298.5515 | 36.4 | 83.1
25036 | 2022-05-20 15:13 | 50.6715 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.5149 | μmol/L | 18.2176 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.364 | 113071.0356 | 266292.5439 | 36.4 | 83.1
25046 | 2022-05-20 15:13 | 51.005 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.5916 | μmol/L | 18.2176 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.361 | 113058.9916 | 266292.2246 | 36.4 | 83.1
25056 | 2022-05-20 15:14 | 51.3386 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.482 | μmol/L | 18.2237 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.363 | 113062.9025 | 266294.5735 | 36.4 | 83.1
25066 | 2022-05-20 15:14 | 51.6716 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.4309 | μmol/L | 18.2237 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.365 | 113072.863 | 266290.4078 | 36.4 | 83.1
25076 | 2022-05-20 15:14 | 52.0053 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.4054 | μmol/L | 18.2237 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.366 | 113072.4555 | 266288.7604 | 36.4 | 83.1
25086 | 2022-05-20 15:15 | 52.3381 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.5405 | μmol/L | 18.2176 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.363 | 113053.317 | 266279.9115 | 36.4 | 83.1
25096 | 2022-05-20 15:15 | 52.6718 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.5256 | μmol/L | 18.2298 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.359 | 113028.8385 | 266288.0597 | 36.4 | 83.1
25106 | 2022-05-20 15:15 | 53.0053 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.6427 | μmol/L | 18.2176 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.359 | 113009.6822 | 266273.7181 | 36.4 | 83.1
25116 | 2022-05-20 15:16 | 53.3379 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.5 | μmol/L | 18.2298 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.36 | 113023.8534 | 266266.7118 | 36.4 | 83.1
25126 | 2022-05-20 15:16 | 53.6717 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.3033 | μmol/L | 18.2237 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.37 | 113066.2127 | 266261.0438 | 36.4 | 83.1
25136 | 2022-05-20 15:16 | 54.0046 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.3213 | μmol/L | 18.2298 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.367 | 113055.5848 | 266256.7481 | 36.4 | 83.1
25146 | 2022-05-20 15:17 | 54.3382 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.3543 | μmol/L | 18.2237 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.368 | 113074.4632 | 266261.0973 | 36.4 | 83.1
25156 | 2022-05-20 15:17 | 54.6717 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.2267 | μmol/L | 18.2237 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.373 | 113086.5154 | 266260.3898 | 36.4 | 83.1
25166 | 2022-05-20 15:17 | 55.0054 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.2522 | μmol/L | 18.2237 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.372 | 113095.7411 | 266256.6191 | 36.4 | 83.1
25176 | 2022-05-20 15:18 | 55.3382 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.1938 | μmol/L | 18.2298 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.372 | 113096.5816 | 266253.2453 | 36.4 | 83.1
25186 | 2022-05-20 15:18 | 55.6712 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.0918 | μmol/L | 18.2298 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.376 | 113080.5045 | 266257.5732 | 36.4 | 83.1
25196 | 2022-05-20 15:18 | 56.005 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 300.2118 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.369 | 113074.0877 | 266254.3785 | 36.4 | 83.1
25206 | 2022-05-20 15:19 | 56.3387 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.9898 | μmol/L | 18.2298 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.38 | 113121.0885 | 266249.9265 | 36.4 | 83.1
25216 | 2022-05-20 15:19 | 56.6713 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.7171 | μmol/L | 18.2237 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.393 | 113172.862 | 266232.3386 | 36.4 | 83.1
25226 | 2022-05-20 15:19 | 57.0048 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.6153 | μmol/L | 18.2237 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.397 | 113214.6056 | 266235.3678 | 36.4 | 83.1
25236 | 2022-05-20 15:20 | 57.3385 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.3969 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.401 | 113235.2707 | 266225.8441 | 36.4 | 83.1
25246 | 2022-05-20 15:20 | 57.6718 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.2115 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.406 | 113260.0422 | 266218.5449 | 36.4 | 83.1
25256 | 2022-05-20 15:20 | 58.005 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.1428 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.411 | 113274.2654 | 266221.9184 | 36.4 | 83.1
25266 | 2022-05-20 15:21 | 58.3385 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 299.1577 | μmol/L | 18.2237 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.415 | 113305.7019 | 266213.7455 | 36.4 | 83.1
25276 | 2022-05-20 15:21 | 58.6712 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.7696 | μmol/L | 18.2298 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.428 | 113363.3548 | 266212.8149 | 36.4 | 83.1
25286 | 2022-05-20 15:21 | 59.0048 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.4908 | μmol/L | 18.2298 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.439 | 113430.1944 | 266223.4545 | 36.4 | 83.1
25296 | 2022-05-20 15:22 | 59.3386 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.0532 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.454 | 113503.5985 | 266208.3524 | 36.4 | 83.1
25306 | 2022-05-20 15:22 | 59.6721 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.0101 | μmol/L | 18.2298 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.458 | 113535.4527 | 266207.7056 | 36.4 | 83.1
25316 | 2022-05-20 15:22 | 60.0047 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.8763 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.461 | 113546.8989 | 266195.6486 | 36.4 | 83.1
25326 | 2022-05-20 15:23 | 60.3384 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.8183 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.461 | 113545.604 | 266200.792 | 36.4 | 83.1
25336 | 2022-05-20 15:23 | 60.6719 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.692 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.466 | 113540.225 | 266193.8233 | 36.4 | 83.1
25346 | 2022-05-20 15:23 | 61.0046 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.8585 | μmol/L | 18.2298 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.464 | 113542.1083 | 266192.3293 | 36.4 | 83.1
25356 | 2022-05-20 15:24 | 61.3381 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.9268 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.459 | 113539.9448 | 266190.457 | 36.4 | 83.1
25366 | 2022-05-20 15:24 | 61.6716 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.8005 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.464 | 113528.4932 | 266174.0376 | 36.4 | 83.1
25376 | 2022-05-20 15:24 | 62.0052 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.8763 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.461 | 113515.5477 | 266184.4027 | 36.4 | 83.1
25386 | 2022-05-20 15:25 | 62.3387 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 298.0026 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.456 | 113517.8743 | 266183.4236 | 36.4 | 83.1
25396 | 2022-05-20 15:25 | 62.6713 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.6743 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.469 | 113560.6311 | 266185.7336 | 36.4 | 83.1
25406 | 2022-05-20 15:25 | 63.005 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.6238 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.471 | 113582.8167 | 266180.2127 | 36.4 | 83.1
25416 | 2022-05-20 15:26 | 63.3385 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.5481 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.474 | 113616.2185 | 266171.5775 | 36.4 | 83.1
25426 | 2022-05-20 15:26 | 63.672 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.3137 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.481 | 113643.1148 | 266170.711 | 36.4 | 83.1
25436 | 2022-05-20 15:26 | 64.0048 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.2054 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.483 | 113652.9386 | 266173.5902 | 36.4 | 83.1
25446 | 2022-05-20 15:27 | 64.3384 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.2204 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.487 | 113684.4371 | 266173.1022 | 36.4 | 83.1
25456 | 2022-05-20 15:27 | 64.6713 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 297.0012 | μmol/L | 18.2298 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.498 | 113728.0319 | 266171.8439 | 36.4 | 83.1
25466 | 2022-05-20 15:27 | 65.0048 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.8176 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.503 | 113767.7082 | 266154.2469 | 36.4 | 83.1
25476 | 2022-05-20 15:28 | 65.3383 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.5764 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.508 | 113772.9912 | 266153.2941 | 36.4 | 83.1
25486 | 2022-05-20 15:28 | 65.6719 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.4759 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.512 | 113785.5916 | 266144.1037 | 36.4 | 83.1
25496 | 2022-05-20 15:28 | 66.0048 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.408 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.517 | 113813.5426 | 266166.6591 | 36.4 | 83.1
25506 | 2022-05-20 15:29 | 66.3385 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.1245 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.526 | 113873.9845 | 266147.5683 | 36.4 | 83.1
25516 | 2022-05-20 15:29 | 66.672 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 296.0066 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.533 | 113924.441 | 266144.0239 | 36.4 | 83.1
25526 | 2022-05-20 15:29 | 67.0049 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.7311 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.544 | 113971.4569 | 266143.7612 | 36.4 | 83.1
25536 | 2022-05-20 15:30 | 67.3386 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.4908 | μmol/L | 18.2543 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.549 | 114001.6131 | 266134.4945 | 36.4 | 83.1
25546 | 2022-05-20 15:30 | 67.6713 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.5809 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.55 | 114007.2563 | 266134.9698 | 36.4 | 83.1
25556 | 2022-05-20 15:30 | 68.0049 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.4733 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.552 | 114016.8896 | 266130.9998 | 36.4 | 83.1
25566 | 2022-05-20 15:31 | 68.3383 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.4558 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.555 | 114044.5657 | 266145.9293 | 36.4 | 83.1
25576 | 2022-05-20 15:31 | 68.672 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.1733 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.564 | 114080.6866 | 266145.0847 | 36.4 | 83.1
25586 | 2022-05-20 15:31 | 69.0048 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 295.056 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.571 | 114105.6393 | 266133.2937 | 36.4 | 83.1
25596 | 2022-05-20 15:32 | 69.3386 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.7241 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.582 | 114150.1367 | 266140.1049 | 36.4 | 83.1
25606 | 2022-05-20 15:32 | 69.6715 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.7989 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.579 | 114190.5844 | 266131.1374 | 36.4 | 83.1
25616 | 2022-05-20 15:32 | 70.0049 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.6569 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.587 | 114222.7861 | 266128.9004 | 36.4 | 83.1
25626 | 2022-05-20 15:33 | 70.3387 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.3331 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.6 | 114270.6614 | 266134.2889 | 36.4 | 83.1
25636 | 2022-05-20 15:33 | 70.6713 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.1838 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.606 | 114307.8084 | 266109.9934 | 36.4 | 83.1
25646 | 2022-05-20 15:33 | 71.0049 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.0843 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.61 | 114338.1563 | 266111.1927 | 36.4 | 83.1
25656 | 2022-05-20 15:34 | 71.3383 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 294.0173 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.615 | 114362.2938 | 266118.7802 | 36.4 | 83.1
25666 | 2022-05-20 15:34 | 71.6717 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.8358 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.62 | 114385.0631 | 266120.3128 | 36.4 | 83.1
25676 | 2022-05-20 15:34 | 72.0046 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.7365 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.624 | 114405.4419 | 266122.1678 | 36.4 | 83.1
25686 | 2022-05-20 15:35 | 72.3381 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.7613 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.623 | 114432.255 | 266121.6354 | 36.4 | 83.1
25696 | 2022-05-20 15:35 | 72.6716 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.6124 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.629 | 114441.8214 | 266125.623 | 36.4 | 83.1
25706 | 2022-05-20 15:35 | 73.0052 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.5455 | μmol/L | 18.236 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.634 | 114458.5979 | 266114.1746 | 36.4 | 83.1
25716 | 2022-05-20 15:36 | 73.3379 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.4387 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.636 | 114486.7376 | 266114.3798 | 36.4 | 83.1
25726 | 2022-05-20 15:36 | 73.6718 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.1909 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.646 | 114542.0844 | 266112.143 | 36.4 | 83.1
25736 | 2022-05-20 15:36 | 74.0052 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.9433 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.656 | 114584.99 | 266101.5963 | 36.4 | 83.1
25746 | 2022-05-20 15:37 | 74.3382 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.8196 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.661 | 114605.868 | 266103.3674 | 36.4 | 83.1
25756 | 2022-05-20 15:37 | 74.6719 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.6067 | μmol/L | 18.2543 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.665 | 114622.1459 | 266099.707 | 36.4 | 83.1
25766 | 2022-05-20 15:37 | 75.0046 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.6637 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.665 | 114622.1617 | 266090.8742 | 36.4 | 83.1
25776 | 2022-05-20 15:38 | 75.3382 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.7949 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.662 | 114619.786 | 266080.3311 | 36.4 | 83.1
25786 | 2022-05-20 15:38 | 75.6716 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.7056 | μmol/L | 18.2543 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.661 | 114607.0578 | 266095.6399 | 36.4 | 83.1
25796 | 2022-05-20 15:38 | 76.0052 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.6314 | μmol/L | 18.2543 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.664 | 114610.5277 | 266086.9643 | 36.4 | 83.1
25806 | 2022-05-20 15:39 | 76.338 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.8196 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.661 | 114606.8866 | 266099.562 | 36.4 | 83.1
25816 | 2022-05-20 15:39 | 76.6715 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.7379 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.662 | 114605.9295 | 266097.5121 | 36.4 | 83.1
25826 | 2022-05-20 15:39 | 77.0049 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.7056 | μmol/L | 18.2543 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.661 | 114605.2207 | 266101.8706 | 36.4 | 83.1
25836 | 2022-05-20 15:40 | 77.3385 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.8938 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.658 | 114600.0332 | 266083.1233 | 36.4 | 83.1
25846 | 2022-05-20 15:40 | 77.6719 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.9433 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.656 | 114583.0002 | 266085.3245 | 36.4 | 83.1
25856 | 2022-05-20 15:40 | 78.0053 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.9282 | μmol/L | 18.2543 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.652 | 114567.4384 | 266080.7678 | 36.4 | 83.1
25866 | 2022-05-20 15:41 | 78.3381 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 292.9605 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.653 | 114557.1198 | 266067.3191 | 36.4 | 83.1
25876 | 2022-05-20 15:41 | 78.6715 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.0843 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.648 | 114536.1711 | 266069.5199 | 36.4 | 83.1
25886 | 2022-05-20 15:41 | 79.0049 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.0595 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.649 | 114525.0951 | 266065.0137 | 36.4 | 83.1
25896 | 2022-05-20 15:42 | 79.3385 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.2652 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.643 | 114513.5849 | 266073.4636 | 36.4 | 83.1
25906 | 2022-05-20 15:42 | 79.6712 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.2329 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.642 | 114483.5943 | 266067.0132 | 36.4 | 83.1
25916 | 2022-05-20 15:42 | 80.0049 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.3395 | μmol/L | 18.2421 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.64 | 114464.3669 | 266063.5111 | 36.4 | 83.1
25926 | 2022-05-20 15:43 | 80.3386 | oxy_ch_5 (PSt7-10) | 2022-05-17 09:52 | default | 293.2824 | μmol/L | 18.2482 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.64 | 114461.2587 | 266069.9894 | 36.4 | 83.1