## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_6 | O2 | 630958479 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:55

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 12:35

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
19136 | 2022-05-20 11:17 | 0 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.9693 | μmol/L | 18.9364 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.434 | 87959.2117 | 298819.9562 | 30.45 | 114.2
19146 | 2022-05-20 11:18 | 0.32996 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.9207 | μmol/L | 18.9303 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.438 | 87976.2476 | 298834.6461 | 30.45 | 114.2
19156 | 2022-05-20 11:18 | 0.66373 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.7612 | μmol/L | 18.9303 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.445 | 87966.6886 | 298834.7666 | 30.45 | 114.2
19166 | 2022-05-20 11:18 | 0.9972 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.9783 | μmol/L | 18.9241 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.438 | 87969.9159 | 298814.9093 | 30.45 | 114.2
19176 | 2022-05-20 11:19 | 1.3304 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.8928 | μmol/L | 18.9118 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.446 | 87962.265 | 298799.6696 | 30.45 | 114.2
19186 | 2022-05-20 11:19 | 1.664 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.9446 | μmol/L | 18.9057 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.446 | 87956.685 | 298791.3988 | 30.45 | 114.2
19196 | 2022-05-20 11:19 | 1.9972 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0481 | μmol/L | 18.8934 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.446 | 87954.9167 | 298785.3678 | 30.45 | 114.2
19206 | 2022-05-20 11:20 | 2.3306 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0009 | μmol/L | 18.8934 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.448 | 87958.1195 | 298769.2227 | 30.45 | 114.2
19216 | 2022-05-20 11:20 | 2.6635 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.9818 | μmol/L | 18.8873 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.451 | 87950.9369 | 298757.9216 | 30.45 | 114.2
19226 | 2022-05-20 11:20 | 2.9971 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.9627 | μmol/L | 18.8811 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.454 | 87957.8962 | 298736.1027 | 30.45 | 114.2
19236 | 2022-05-20 11:21 | 3.3301 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0663 | μmol/L | 18.8688 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.454 | 87953.2736 | 298726.4574 | 30.45 | 114.2
19246 | 2022-05-20 11:21 | 3.6637 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.9896 | μmol/L | 18.8688 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.457 | 87953.7167 | 298713.8243 | 30.45 | 114.2
19256 | 2022-05-20 11:21 | 3.9972 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0754 | μmol/L | 18.8565 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.458 | 87949.7494 | 298704.5532 | 30.45 | 114.2
19266 | 2022-05-20 11:22 | 4.3301 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.145 | μmol/L | 18.8504 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.457 | 87945.1392 | 298691.8452 | 30.45 | 114.2
19276 | 2022-05-20 11:22 | 4.6636 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0269 | μmol/L | 18.8504 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.462 | 87940.7296 | 298677.3278 | 30.45 | 114.2
19286 | 2022-05-20 11:22 | 4.9973 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0315 | μmol/L | 18.8443 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.464 | 87953.4656 | 298689.7106 | 30.45 | 114.2
19296 | 2022-05-20 11:23 | 5.33 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.1115 | μmol/L | 18.832 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.465 | 87949.4348 | 298679.0046 | 30.45 | 114.2
19306 | 2022-05-20 11:23 | 5.6634 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0465 | μmol/L | 18.832 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.468 | 87952.3109 | 298670.3594 | 30.45 | 114.2
19316 | 2022-05-20 11:23 | 5.9969 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0925 | μmol/L | 18.8258 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.468 | 87959.1996 | 298646.9999 | 30.45 | 114.2
19326 | 2022-05-20 11:24 | 6.3304 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0499 | μmol/L | 18.8197 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.472 | 87959.8239 | 298650.9898 | 30.45 | 114.2
19336 | 2022-05-20 11:24 | 6.6634 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.96 | μmol/L | 18.8135 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.478 | 87961.2856 | 298638.0147 | 30.45 | 114.2
19346 | 2022-05-20 11:24 | 6.9972 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.1818 | μmol/L | 18.8013 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.473 | 87963.5916 | 298627.8766 | 30.45 | 114.2
19356 | 2022-05-20 11:25 | 7.3307 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.111 | μmol/L | 18.8013 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.476 | 87964.405 | 298627.8702 | 30.45 | 114.2
19366 | 2022-05-20 11:25 | 7.6635 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0033 | μmol/L | 18.7951 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.483 | 87968.6339 | 298614.3911 | 30.45 | 114.2
19376 | 2022-05-20 11:25 | 7.9972 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0021 | μmol/L | 18.789 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.485 | 87967.5601 | 298599.434 | 30.45 | 114.2
19386 | 2022-05-20 11:26 | 8.33 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0315 | μmol/L | 18.789 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.484 | 87960.547 | 298599.3461 | 30.45 | 114.2
19396 | 2022-05-20 11:26 | 8.6635 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.1059 | μmol/L | 18.7767 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.485 | 87962.5244 | 298579.1496 | 30.45 | 114.2
19406 | 2022-05-20 11:26 | 8.997 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.1342 | μmol/L | 18.7705 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.486 | 87969.1985 | 298583.3043 | 30.45 | 114.2
19416 | 2022-05-20 11:27 | 9.3307 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0208 | μmol/L | 18.7644 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.493 | 87976.8847 | 298563.3931 | 30.45 | 114.2
19426 | 2022-05-20 11:27 | 9.6636 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.1671 | μmol/L | 18.7583 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.489 | 87978.4979 | 298552.8238 | 30.45 | 114.2
19436 | 2022-05-20 11:27 | 9.9973 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.049 | μmol/L | 18.7583 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.494 | 87975.1027 | 298563.5178 | 30.45 | 114.2
19446 | 2022-05-20 11:28 | 10.3304 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0065 | μmol/L | 18.7521 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.498 | 87982.6539 | 298552.5166 | 30.45 | 114.2
19456 | 2022-05-20 11:28 | 10.664 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.9876 | μmol/L | 18.746 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.501 | 87983.9269 | 298539.6379 | 30.45 | 114.2
19466 | 2022-05-20 11:28 | 10.9967 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.1103 | μmol/L | 18.7398 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.498 | 87987.9588 | 298522.359 | 30.45 | 114.2
19476 | 2022-05-20 11:29 | 11.3299 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.1669 | μmol/L | 18.7275 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.5 | 87991.6362 | 298516.2913 | 30.45 | 114.2
19486 | 2022-05-20 11:29 | 11.6635 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0253 | μmol/L | 18.7275 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.506 | 87991.203 | 298509.668 | 30.45 | 114.2
19496 | 2022-05-20 11:29 | 11.9971 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0772 | μmol/L | 18.7214 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.506 | 87989.0777 | 298498.6106 | 30.45 | 114.2
19506 | 2022-05-20 11:30 | 12.33 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.2047 | μmol/L | 18.7091 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.505 | 87995.7056 | 298497.0853 | 30.45 | 114.2
19516 | 2022-05-20 11:30 | 12.6634 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.9639 | μmol/L | 18.7153 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.513 | 88005.1718 | 298486.9487 | 30.45 | 114.2
19526 | 2022-05-20 11:30 | 12.997 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0678 | μmol/L | 18.703 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.513 | 87996.8922 | 298475.9364 | 30.45 | 114.2
19536 | 2022-05-20 11:31 | 13.3305 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.115 | μmol/L | 18.703 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.511 | 88001.7257 | 298474.5228 | 30.45 | 114.2
19546 | 2022-05-20 11:31 | 13.6633 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.2189 | μmol/L | 18.6907 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.511 | 88007.7439 | 298475.5044 | 30.45 | 114.2
19556 | 2022-05-20 11:31 | 13.9968 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0961 | μmol/L | 18.6968 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.514 | 88015.7097 | 298468.4415 | 30.45 | 114.2
19566 | 2022-05-20 11:32 | 14.3305 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.1245 | μmol/L | 18.6907 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.515 | 88007.501 | 298460.2796 | 30.45 | 114.2
19576 | 2022-05-20 11:32 | 14.6634 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.134 | μmol/L | 18.6784 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.519 | 88015.4813 | 298456.4724 | 30.45 | 114.2
19586 | 2022-05-20 11:32 | 14.997 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.2096 | μmol/L | 18.6723 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.518 | 88026.2976 | 298445.3505 | 30.45 | 114.2
19596 | 2022-05-20 11:33 | 15.3306 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.1199 | μmol/L | 18.6661 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.524 | 88027.1953 | 298442.7899 | 30.45 | 114.2
19606 | 2022-05-20 11:33 | 15.6636 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.1483 | μmol/L | 18.66 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.525 | 88032.6217 | 298439.1969 | 30.45 | 114.2
19616 | 2022-05-20 11:33 | 15.997 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.1483 | μmol/L | 18.66 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.525 | 88022.5955 | 298427.7567 | 30.45 | 114.2
19626 | 2022-05-20 11:34 | 16.3307 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.8604 | μmol/L | 18.6661 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.535 | 88031.0832 | 298415.0525 | 30.45 | 114.2
19636 | 2022-05-20 11:34 | 16.6637 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.1815 | μmol/L | 18.6477 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.528 | 88038.7541 | 298409.5056 | 30.45 | 114.2
19646 | 2022-05-20 11:34 | 16.9971 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0587 | μmol/L | 18.6538 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.531 | 88041.1164 | 298400.1547 | 30.45 | 114.2
19656 | 2022-05-20 11:35 | 17.3299 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0351 | μmol/L | 18.6538 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.532 | 88047.3488 | 298377.6088 | 30.45 | 114.2
19666 | 2022-05-20 11:35 | 17.6637 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.9268 | μmol/L | 18.6415 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.541 | 88043.9479 | 298383.3433 | 30.45 | 114.2
19676 | 2022-05-20 11:35 | 17.9967 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.9032 | μmol/L | 18.6415 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.542 | 88047.908 | 298370.8688 | 30.45 | 114.2
19686 | 2022-05-20 11:36 | 18.3303 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.9551 | μmol/L | 18.6354 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.542 | 88045.6146 | 298360.4878 | 30.45 | 114.2
19696 | 2022-05-20 11:36 | 18.6632 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0071 | μmol/L | 18.6293 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.542 | 88051.8424 | 298361.8698 | 30.45 | 114.2
19706 | 2022-05-20 11:36 | 18.9971 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0119 | μmol/L | 18.6231 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.544 | 88056.3641 | 298337.4591 | 30.45 | 114.2
19716 | 2022-05-20 11:37 | 19.3307 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0827 | μmol/L | 18.6231 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.541 | 88055.8349 | 298343.8585 | 30.45 | 114.2
19726 | 2022-05-20 11:37 | 19.6636 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0923 | μmol/L | 18.6108 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.545 | 88060.1936 | 298340.7175 | 30.45 | 114.2
19736 | 2022-05-20 11:37 | 19.997 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0688 | μmol/L | 18.6108 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.546 | 88067.1177 | 298323.8454 | 30.45 | 114.2
19746 | 2022-05-20 11:38 | 20.3303 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.05 | μmol/L | 18.6047 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.549 | 88067.915 | 298321.8562 | 30.45 | 114.2
19756 | 2022-05-20 11:38 | 20.6637 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0784 | μmol/L | 18.5985 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.55 | 88070.3008 | 298320.9852 | 30.45 | 114.2
19766 | 2022-05-20 11:38 | 20.9972 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0784 | μmol/L | 18.5985 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.55 | 88077.197 | 298311.4007 | 30.45 | 114.2
19776 | 2022-05-20 11:39 | 21.3304 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.989 | μmol/L | 18.5924 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.556 | 88071.2466 | 298293.4202 | 30.45 | 114.2
19786 | 2022-05-20 11:39 | 21.6638 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.9467 | μmol/L | 18.5862 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.56 | 88079.7849 | 298285.4772 | 30.45 | 114.2
19796 | 2022-05-20 11:39 | 21.997 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0646 | μmol/L | 18.5862 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.555 | 88087.4525 | 298280.8321 | 30.45 | 114.2
19806 | 2022-05-20 11:40 | 22.3304 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.093 | μmol/L | 18.5801 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.556 | 88086.4363 | 298266.0201 | 30.45 | 114.2
19816 | 2022-05-20 11:40 | 22.6637 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0743 | μmol/L | 18.574 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.559 | 88088.7051 | 298263.4986 | 30.45 | 114.2
19826 | 2022-05-20 11:40 | 22.9969 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0036 | μmol/L | 18.574 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.562 | 88090.458 | 298257.5127 | 30.45 | 114.2
19836 | 2022-05-20 11:41 | 23.3304 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0036 | μmol/L | 18.574 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.562 | 88094.2871 | 298236.0941 | 30.45 | 114.2
19846 | 2022-05-20 11:41 | 23.6639 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 274.0084 | μmol/L | 18.5678 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.564 | 88095.5753 | 298228.9035 | 30.45 | 114.2
19856 | 2022-05-20 11:41 | 23.9971 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.9329 | μmol/L | 18.574 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.565 | 88101.4135 | 298216.8893 | 30.45 | 114.2
19866 | 2022-05-20 11:42 | 24.3305 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.9426 | μmol/L | 18.5617 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.569 | 88102.0589 | 298202.847 | 30.45 | 114.2
19876 | 2022-05-20 11:42 | 24.6639 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.924 | μmol/L | 18.5555 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.572 | 88102.6884 | 298193.6026 | 30.45 | 114.2
19886 | 2022-05-20 11:42 | 24.9974 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.9996 | μmol/L | 18.5494 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.571 | 88100.5282 | 298191.6249 | 30.45 | 114.2
19896 | 2022-05-20 11:43 | 25.3299 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.9053 | μmol/L | 18.5494 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.575 | 88108.9079 | 298179.7925 | 30.45 | 114.2
19906 | 2022-05-20 11:43 | 25.6641 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.9338 | μmol/L | 18.5432 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.576 | 88110.7307 | 298173.092 | 30.45 | 114.2
19916 | 2022-05-20 11:43 | 25.9966 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.8916 | μmol/L | 18.5371 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.58 | 88110.9738 | 298176.9555 | 30.45 | 114.2
19926 | 2022-05-20 11:44 | 26.3307 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.9858 | μmol/L | 18.5371 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.576 | 88119.4391 | 298151.6351 | 30.45 | 114.2
19936 | 2022-05-20 11:44 | 26.6633 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.7974 | μmol/L | 18.5371 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.584 | 88110.6345 | 298144.6193 | 30.45 | 114.2
19946 | 2022-05-20 11:44 | 26.9966 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.8965 | μmol/L | 18.531 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.582 | 88113.685 | 298134.6853 | 30.45 | 114.2
19956 | 2022-05-20 11:45 | 27.3306 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.8543 | μmol/L | 18.5248 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.586 | 88110.1938 | 298118.3589 | 30.45 | 114.2
19966 | 2022-05-20 11:45 | 27.6633 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.8494 | μmol/L | 18.531 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.584 | 88127.0428 | 298117.7703 | 30.45 | 114.2
19976 | 2022-05-20 11:45 | 27.9968 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.8072 | μmol/L | 18.5248 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.588 | 88120.1754 | 298100.7816 | 30.45 | 114.2
19986 | 2022-05-20 11:46 | 28.3307 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.8308 | μmol/L | 18.5248 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.587 | 88129.9139 | 298082.1874 | 30.45 | 114.2
19996 | 2022-05-20 11:46 | 28.6638 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.982 | μmol/L | 18.5125 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.585 | 88132.1483 | 298076.2955 | 30.45 | 114.2
20006 | 2022-05-20 11:46 | 28.9967 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.8121 | μmol/L | 18.5187 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.59 | 88126.4691 | 298075.3586 | 30.45 | 114.2
20016 | 2022-05-20 11:47 | 29.3305 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.8456 | μmol/L | 18.5064 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.593 | 88119.5478 | 298062.9691 | 30.45 | 114.2
20026 | 2022-05-20 11:47 | 29.6636 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.9447 | μmol/L | 18.5002 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.591 | 88124.0042 | 298046.9015 | 30.45 | 114.2
20036 | 2022-05-20 11:47 | 29.9967 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.9683 | μmol/L | 18.5002 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.59 | 88129.5713 | 298046.7463 | 30.45 | 114.2
20046 | 2022-05-20 11:48 | 30.3304 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.7279 | μmol/L | 18.5064 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.598 | 88128.8347 | 298024.2709 | 30.45 | 114.2
20056 | 2022-05-20 11:48 | 30.6634 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.9026 | μmol/L | 18.4941 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.595 | 88142.9382 | 298034.8633 | 30.45 | 114.2
20066 | 2022-05-20 11:48 | 30.9969 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.822 | μmol/L | 18.5064 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.594 | 88135.978 | 298005.6777 | 30.45 | 114.2
20076 | 2022-05-20 11:49 | 31.3304 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.6387 | μmol/L | 18.5002 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.604 | 88137.1095 | 297990.3268 | 30.45 | 114.2
20086 | 2022-05-20 11:49 | 31.6637 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.7663 | μmol/L | 18.488 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.603 | 88140.9274 | 297986.8364 | 30.45 | 114.2
20096 | 2022-05-20 11:49 | 31.997 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.6722 | μmol/L | 18.488 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.607 | 88140.0538 | 297981.0388 | 30.45 | 114.2
20106 | 2022-05-20 11:50 | 32.3305 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.7007 | μmol/L | 18.4818 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.608 | 88139.4576 | 297985.4007 | 30.45 | 114.2
20116 | 2022-05-20 11:50 | 32.6638 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.7948 | μmol/L | 18.4818 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.604 | 88147.6412 | 297963.5992 | 30.45 | 114.2
20126 | 2022-05-20 11:50 | 32.9973 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.7428 | μmol/L | 18.488 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.604 | 88147.5732 | 297950.4462 | 30.45 | 114.2
20136 | 2022-05-20 11:51 | 33.3307 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.7292 | μmol/L | 18.4757 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.609 | 88158.3538 | 297950.9025 | 30.45 | 114.2
20146 | 2022-05-20 11:51 | 33.6633 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.8048 | μmol/L | 18.4695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.608 | 88151.9507 | 297915.6559 | 30.45 | 114.2
20156 | 2022-05-20 11:51 | 33.9972 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.6166 | μmol/L | 18.4695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.616 | 88158.1532 | 297918.9569 | 30.45 | 114.2
20166 | 2022-05-20 11:52 | 34.3309 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.5931 | μmol/L | 18.4695 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.617 | 88160.9662 | 297926.6789 | 30.45 | 114.2
20176 | 2022-05-20 11:52 | 34.6632 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.6972 | μmol/L | 18.4573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.617 | 88155.4166 | 297894.6745 | 30.45 | 114.2
20186 | 2022-05-20 11:52 | 34.9968 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.6266 | μmol/L | 18.4573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.62 | 88161.9866 | 297887.2605 | 30.45 | 114.2
20196 | 2022-05-20 11:53 | 35.3306 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.6216 | μmol/L | 18.4634 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.618 | 88168.925 | 297888.4649 | 30.45 | 114.2
20206 | 2022-05-20 11:53 | 35.6632 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.6786 | μmol/L | 18.4511 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.62 | 88167.9635 | 297880.5497 | 30.45 | 114.2
20216 | 2022-05-20 11:53 | 35.9974 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.5326 | μmol/L | 18.4573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.624 | 88164.519 | 297868.4406 | 30.45 | 114.2
20226 | 2022-05-20 11:54 | 36.3303 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.5561 | μmol/L | 18.4573 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.623 | 88173.305 | 297868.3468 | 30.45 | 114.2
20236 | 2022-05-20 11:54 | 36.6638 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.5376 | μmol/L | 18.4511 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.626 | 88174.3047 | 297852.6631 | 30.45 | 114.2
20246 | 2022-05-20 11:54 | 36.9974 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4201 | μmol/L | 18.4511 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.631 | 88168.5035 | 297845.794 | 30.45 | 114.2
20256 | 2022-05-20 11:55 | 37.3299 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.5191 | μmol/L | 18.445 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.629 | 88173.0596 | 297833.4603 | 30.45 | 114.2
20266 | 2022-05-20 11:55 | 37.6634 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.5661 | μmol/L | 18.445 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.627 | 88176.8545 | 297833.2326 | 30.45 | 114.2
20276 | 2022-05-20 11:55 | 37.9969 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.5241 | μmol/L | 18.4388 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.631 | 88176.3779 | 297830.1041 | 30.45 | 114.2
20286 | 2022-05-20 11:56 | 38.3303 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.5057 | μmol/L | 18.4327 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.634 | 88182.8062 | 297824.5609 | 30.45 | 114.2
20296 | 2022-05-20 11:56 | 38.6641 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4872 | μmol/L | 18.4265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.637 | 88181.2387 | 297802.8469 | 30.45 | 114.2
20306 | 2022-05-20 11:56 | 38.9967 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4301 | μmol/L | 18.4388 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.635 | 88185.5787 | 297801.1138 | 30.45 | 114.2
20316 | 2022-05-20 11:57 | 39.3302 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.4587 | μmol/L | 18.4327 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.636 | 88186.3715 | 297795.4521 | 30.45 | 114.2
20326 | 2022-05-20 11:57 | 39.6637 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.3933 | μmol/L | 18.4265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.641 | 88189.7872 | 297796.6643 | 30.45 | 114.2
20336 | 2022-05-20 11:57 | 39.997 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.3463 | μmol/L | 18.4265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.643 | 88198.4257 | 297784.8809 | 30.45 | 114.2
20346 | 2022-05-20 11:58 | 40.3304 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.3463 | μmol/L | 18.4265 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.643 | 88197.501 | 297767.9694 | 30.45 | 114.2
20356 | 2022-05-20 11:58 | 40.6633 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.3513 | μmol/L | 18.4204 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.645 | 88194.4085 | 297764.6606 | 30.45 | 114.2
20366 | 2022-05-20 11:58 | 40.9967 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.2809 | μmol/L | 18.4204 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.648 | 88197.867 | 297746.0956 | 30.45 | 114.2
20376 | 2022-05-20 11:59 | 41.33 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.3513 | μmol/L | 18.4204 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.645 | 88204.8586 | 297755.1187 | 30.45 | 114.2
20386 | 2022-05-20 11:59 | 41.6637 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.3799 | μmol/L | 18.4143 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.646 | 88213.2238 | 297750.3653 | 30.45 | 114.2
20396 | 2022-05-20 11:59 | 41.9972 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.2625 | μmol/L | 18.4143 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.651 | 88221.085 | 297739.706 | 30.45 | 114.2
20406 | 2022-05-20 12:00 | 42.3299 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.3145 | μmol/L | 18.4081 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.651 | 88218.0826 | 297728.527 | 30.45 | 114.2
20416 | 2022-05-20 12:00 | 42.6638 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.3145 | μmol/L | 18.4081 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.651 | 88228.8441 | 297729.9815 | 30.45 | 114.2
20426 | 2022-05-20 12:00 | 42.9968 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.1972 | μmol/L | 18.4081 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.656 | 88230.0991 | 297712.1297 | 30.45 | 114.2
20436 | 2022-05-20 12:01 | 43.3306 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.2257 | μmol/L | 18.402 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.657 | 88238.0813 | 297712.4024 | 30.45 | 114.2
20446 | 2022-05-20 12:01 | 43.6637 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.0565 | μmol/L | 18.4081 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.662 | 88246.9372 | 297716.1639 | 30.45 | 114.2
20456 | 2022-05-20 12:01 | 43.9974 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.085 | μmol/L | 18.402 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.663 | 88255.6972 | 297710.2582 | 30.45 | 114.2
20466 | 2022-05-20 12:02 | 44.3304 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.1839 | μmol/L | 18.3958 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.661 | 88254.976 | 297698.5759 | 30.45 | 114.2
20476 | 2022-05-20 12:02 | 44.6639 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 273.1655 | μmol/L | 18.3897 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.664 | 88268.2501 | 297695.7588 | 30.45 | 114.2
20486 | 2022-05-20 12:02 | 44.9973 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.7854 | μmol/L | 18.3958 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.678 | 88271.968 | 297692.5537 | 30.45 | 114.2
20496 | 2022-05-20 12:03 | 45.33 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.926 | μmol/L | 18.3958 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.672 | 88269.0153 | 297690.7593 | 30.45 | 114.2
20506 | 2022-05-20 12:03 | 45.6635 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.9026 | μmol/L | 18.3958 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.673 | 88280.6415 | 297680.6919 | 30.45 | 114.2
20516 | 2022-05-20 12:03 | 45.9972 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.9596 | μmol/L | 18.3835 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.675 | 88296.4959 | 297679.7145 | 30.45 | 114.2
20526 | 2022-05-20 12:04 | 46.3307 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.8893 | μmol/L | 18.3835 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.678 | 88301.616 | 297661.6334 | 30.45 | 114.2
20536 | 2022-05-20 12:04 | 46.6633 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.8191 | μmol/L | 18.3835 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.681 | 88298.2193 | 297666.2101 | 30.45 | 114.2
20546 | 2022-05-20 12:04 | 46.9968 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.8191 | μmol/L | 18.3835 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.681 | 88306.8318 | 297659.4964 | 30.45 | 114.2
20556 | 2022-05-20 12:05 | 47.3303 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.7071 | μmol/L | 18.3774 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.688 | 88323.186 | 297658.1947 | 30.45 | 114.2
20566 | 2022-05-20 12:05 | 47.6638 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.7825 | μmol/L | 18.3713 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.687 | 88325.3436 | 297653.0787 | 30.45 | 114.2
20576 | 2022-05-20 12:05 | 47.9972 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.7305 | μmol/L | 18.3774 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.687 | 88333.9202 | 297641.9728 | 30.45 | 114.2
20586 | 2022-05-20 12:06 | 48.3301 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.7071 | μmol/L | 18.3774 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.688 | 88345.5031 | 297643.7327 | 30.45 | 114.2
20596 | 2022-05-20 12:06 | 48.6636 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.6186 | μmol/L | 18.3713 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.694 | 88348.6526 | 297640.77 | 30.45 | 114.2
20606 | 2022-05-20 12:06 | 48.997 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.5952 | μmol/L | 18.3713 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.695 | 88353.6575 | 297640.3986 | 30.45 | 114.2
20616 | 2022-05-20 12:07 | 49.3307 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.6706 | μmol/L | 18.3651 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.694 | 88363.0615 | 297635.3678 | 30.45 | 114.2
20626 | 2022-05-20 12:07 | 49.6637 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.5719 | μmol/L | 18.3713 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.696 | 88374.8773 | 297628.9899 | 30.45 | 114.2
20636 | 2022-05-20 12:07 | 49.9972 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.5536 | μmol/L | 18.3651 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.699 | 88384.729 | 297628.8064 | 30.45 | 114.2
20646 | 2022-05-20 12:08 | 50.33 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.5302 | μmol/L | 18.3651 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.7 | 88378.6793 | 297641.7287 | 30.45 | 114.2
20656 | 2022-05-20 12:08 | 50.6636 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.4652 | μmol/L | 18.359 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.705 | 88386.938 | 297629.4448 | 30.45 | 114.2
20666 | 2022-05-20 12:08 | 50.997 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.5639 | μmol/L | 18.3528 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.703 | 88392.4851 | 297617.9943 | 30.45 | 114.2
20676 | 2022-05-20 12:09 | 51.3306 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.4236 | μmol/L | 18.3528 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.709 | 88397.9571 | 297616.9821 | 30.45 | 114.2
20686 | 2022-05-20 12:09 | 51.6633 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.3016 | μmol/L | 18.359 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.712 | 88396.119 | 297594.3216 | 30.45 | 114.2
20696 | 2022-05-20 12:09 | 51.9968 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.4236 | μmol/L | 18.3528 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.709 | 88410.4434 | 297596.0824 | 30.45 | 114.2
20706 | 2022-05-20 12:10 | 52.3303 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.3068 | μmol/L | 18.3528 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.714 | 88431.4801 | 297583.9104 | 30.45 | 114.2
20716 | 2022-05-20 12:10 | 52.6639 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.3535 | μmol/L | 18.3528 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.712 | 88448.3428 | 297585.6513 | 30.45 | 114.2
20726 | 2022-05-20 12:10 | 52.9974 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.2834 | μmol/L | 18.3528 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.715 | 88448.1233 | 297592.3729 | 30.45 | 114.2
20736 | 2022-05-20 12:11 | 53.3301 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.2419 | μmol/L | 18.3467 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.719 | 88451.6538 | 297585.5166 | 30.45 | 114.2
20746 | 2022-05-20 12:11 | 53.6636 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.19 | μmol/L | 18.3528 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.719 | 88466.9215 | 297585.1495 | 30.45 | 114.2
20756 | 2022-05-20 12:11 | 53.9973 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.107 | μmol/L | 18.3405 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.727 | 88473.1606 | 297579.1528 | 30.45 | 114.2
20766 | 2022-05-20 12:12 | 54.33 | oxy_ch_6 (PSt7-10) | 2022-05-17 09:55 | default | 272.1303 | μmol/L | 18.3405 | °C | 1025 | hPa | Humid | 0 | 0 | 0 | 22.726 | 88478.3554 | 297586.6341 | 30.45 | 114.2