## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
oxy_ch_2 | O2 | 178552617 | PSt7-10 | 000000-000 | 0000-00 | 2022-05-17 09:48

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2022-05-20 12:35

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
19140 | 2022-05-20 11:17 | 0 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 278.1611 | μmol/L | 18.9633 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.209 | 87286.6113 | 295427.1992 | 30.45 | 38.1
19150 | 2022-05-20 11:18 | 0.34142 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.9963 | μmol/L | 18.9572 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.218 | 87306.4786 | 295406.8984 | 30.45 | 38.1
19160 | 2022-05-20 11:18 | 0.67509 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.9521 | μmol/L | 18.9511 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.222 | 87327.2356 | 295409.764 | 30.45 | 38.1
19170 | 2022-05-20 11:18 | 1.0089 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.8838 | μmol/L | 18.945 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.227 | 87344.935 | 295406.161 | 30.45 | 38.1
19180 | 2022-05-20 11:19 | 1.3415 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.8196 | μmol/L | 18.9328 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.234 | 87358.4738 | 295405.6213 | 30.45 | 38.1
19190 | 2022-05-20 11:19 | 1.6755 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.8196 | μmol/L | 18.9328 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.234 | 87355.6924 | 295376.5558 | 30.45 | 38.1
19200 | 2022-05-20 11:19 | 2.0085 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.6269 | μmol/L | 18.9328 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.242 | 87364.376 | 295380.765 | 30.45 | 38.1
19210 | 2022-05-20 11:20 | 2.3415 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.6632 | μmol/L | 18.9144 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.247 | 87384.3644 | 295378.7117 | 30.45 | 38.1
19220 | 2022-05-20 11:20 | 2.675 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.6472 | μmol/L | 18.9022 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.252 | 87399.7919 | 295367.0779 | 30.45 | 38.1
19230 | 2022-05-20 11:20 | 3.0087 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.4988 | μmol/L | 18.9083 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.256 | 87411.7321 | 295362.7133 | 30.45 | 38.1
19240 | 2022-05-20 11:21 | 3.3417 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.3065 | μmol/L | 18.9083 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.264 | 87429.5359 | 295347.9177 | 30.45 | 38.1
19250 | 2022-05-20 11:21 | 3.6752 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.1904 | μmol/L | 18.9022 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.271 | 87457.4374 | 295342.2913 | 30.45 | 38.1
19260 | 2022-05-20 11:21 | 4.0086 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 277.0306 | μmol/L | 18.89 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.282 | 87481.2005 | 295322.4386 | 30.45 | 38.1
19270 | 2022-05-20 11:22 | 4.3422 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.7948 | μmol/L | 18.8839 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.294 | 87535.1544 | 295319.6254 | 30.45 | 38.1
19280 | 2022-05-20 11:22 | 4.675 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.5395 | μmol/L | 18.8717 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.309 | 87593.5769 | 295313.0538 | 30.45 | 38.1
19290 | 2022-05-20 11:22 | 5.0084 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 276.1807 | μmol/L | 18.8717 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.324 | 87657.8852 | 295307.458 | 30.45 | 38.1
19300 | 2022-05-20 11:23 | 5.342 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.8701 | μmol/L | 18.8717 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.337 | 87723.14 | 295314.4829 | 30.45 | 38.1
19310 | 2022-05-20 11:23 | 5.6754 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.5206 | μmol/L | 18.8595 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.356 | 87783.0748 | 295318.19 | 30.45 | 38.1
19320 | 2022-05-20 11:23 | 6.0083 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 275.2586 | μmol/L | 18.8595 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.367 | 87832.2032 | 295307.3597 | 30.45 | 38.1
19330 | 2022-05-20 11:24 | 6.3421 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 274.906 | μmol/L | 18.8534 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.384 | 87884.9496 | 295284.9556 | 30.45 | 38.1
19340 | 2022-05-20 11:24 | 6.6752 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 274.6685 | μmol/L | 18.8534 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.394 | 87939.1436 | 295293.065 | 30.45 | 38.1
19350 | 2022-05-20 11:24 | 7.0088 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 274.3405 | μmol/L | 18.8473 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.41 | 87979.6662 | 295272.1214 | 30.45 | 38.1
19360 | 2022-05-20 11:25 | 7.3414 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 274.2305 | μmol/L | 18.8351 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.419 | 88028.1376 | 295270.2833 | 30.45 | 38.1
19370 | 2022-05-20 11:25 | 7.6751 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 274.1874 | μmol/L | 18.8289 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.423 | 88052.083 | 295253.9725 | 30.45 | 38.1
19380 | 2022-05-20 11:25 | 8.0086 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 273.9549 | μmol/L | 18.8228 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.435 | 88075.1422 | 295261.702 | 30.45 | 38.1
19390 | 2022-05-20 11:26 | 8.3421 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 274.0065 | μmol/L | 18.8167 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.435 | 88091.2482 | 295250.4728 | 30.45 | 38.1
19400 | 2022-05-20 11:26 | 8.6755 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 273.8645 | μmol/L | 18.8167 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.441 | 88111.3103 | 295251.3328 | 30.45 | 38.1
19410 | 2022-05-20 11:26 | 9.0084 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 273.7269 | μmol/L | 18.8106 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.449 | 88130.5329 | 295252.9863 | 30.45 | 38.1
19420 | 2022-05-20 11:27 | 9.3421 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 273.6324 | μmol/L | 18.8106 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.453 | 88146.3486 | 295257.1221 | 30.45 | 38.1
19430 | 2022-05-20 11:27 | 9.675 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 273.5894 | μmol/L | 18.8045 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.457 | 88160.1998 | 295244.6101 | 30.45 | 38.1
19440 | 2022-05-20 11:27 | 10.0087 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 273.5036 | μmol/L | 18.7923 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.465 | 88170.3579 | 295236.5398 | 30.45 | 38.1
19450 | 2022-05-20 11:28 | 10.3414 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 273.4092 | μmol/L | 18.7923 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.469 | 88183.8935 | 295237.6166 | 30.45 | 38.1
19460 | 2022-05-20 11:28 | 10.6752 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 273.2912 | μmol/L | 18.7923 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.474 | 88214.3226 | 295228.501 | 30.45 | 38.1
19470 | 2022-05-20 11:28 | 11.0081 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 273.1112 | μmol/L | 18.7801 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.486 | 88259.5792 | 295228.0374 | 30.45 | 38.1
19480 | 2022-05-20 11:29 | 11.3416 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.8286 | μmol/L | 18.7801 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.498 | 88301.7552 | 295223.7807 | 30.45 | 38.1
19490 | 2022-05-20 11:29 | 11.6752 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.6021 | μmol/L | 18.7679 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.512 | 88355.4965 | 295214.7066 | 30.45 | 38.1
19500 | 2022-05-20 11:29 | 12.0088 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.3714 | μmol/L | 18.7618 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.524 | 88403.3591 | 295204.1546 | 30.45 | 38.1
19510 | 2022-05-20 11:30 | 12.3418 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 272.1176 | μmol/L | 18.7557 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.537 | 88458.127 | 295195.1834 | 30.45 | 38.1
19520 | 2022-05-20 11:30 | 12.6753 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.7148 | μmol/L | 18.7618 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.552 | 88509.5439 | 295202.8222 | 30.45 | 38.1
19530 | 2022-05-20 11:30 | 13.0083 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.4618 | μmol/L | 18.7557 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.565 | 88559.7753 | 295197.5133 | 30.45 | 38.1
19540 | 2022-05-20 11:31 | 13.3422 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.3026 | μmol/L | 18.7496 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.574 | 88611.5807 | 295193.1298 | 30.45 | 38.1
19550 | 2022-05-20 11:31 | 13.6749 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 271.05 | μmol/L | 18.7435 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.587 | 88657.1676 | 295208.6186 | 30.45 | 38.1
19560 | 2022-05-20 11:31 | 14.0086 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.91 | μmol/L | 18.7435 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.593 | 88690.4649 | 295194.1135 | 30.45 | 38.1
19570 | 2022-05-20 11:32 | 14.3415 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.8167 | μmol/L | 18.7435 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.597 | 88709.2888 | 295202.555 | 30.45 | 38.1
19580 | 2022-05-20 11:32 | 14.6753 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.7601 | μmol/L | 18.7251 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.606 | 88714.0575 | 295193.36 | 30.45 | 38.1
19590 | 2022-05-20 11:32 | 15.0088 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.8578 | μmol/L | 18.719 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.604 | 88723.775 | 295175.2594 | 30.45 | 38.1
19600 | 2022-05-20 11:33 | 15.3421 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.7323 | μmol/L | 18.7312 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.605 | 88725.3935 | 295186.0422 | 30.45 | 38.1
19610 | 2022-05-20 11:33 | 15.6749 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.648 | μmol/L | 18.719 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.613 | 88740.1304 | 295185.1406 | 30.45 | 38.1
19620 | 2022-05-20 11:33 | 16.0087 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.6014 | μmol/L | 18.719 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.615 | 88748.4774 | 295183.8844 | 30.45 | 38.1
19630 | 2022-05-20 11:34 | 16.3415 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.6103 | μmol/L | 18.7068 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.619 | 88770.0472 | 295190.2645 | 30.45 | 38.1
19640 | 2022-05-20 11:34 | 16.6751 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.5494 | μmol/L | 18.6946 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.626 | 88798.2845 | 295172.0249 | 30.45 | 38.1
19650 | 2022-05-20 11:34 | 17.0087 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.3122 | μmol/L | 18.7007 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.634 | 88822.391 | 295164.6019 | 30.45 | 38.1
19660 | 2022-05-20 11:35 | 17.3416 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 270.1727 | μmol/L | 18.7007 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.64 | 88848.8918 | 295158.8991 | 30.45 | 38.1
19670 | 2022-05-20 11:35 | 17.6754 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.8011 | μmol/L | 18.7007 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.656 | 88887.1551 | 295163.2062 | 30.45 | 38.1
19680 | 2022-05-20 11:35 | 18.0083 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.7405 | μmol/L | 18.6885 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.663 | 88925.7774 | 295161.6075 | 30.45 | 38.1
19690 | 2022-05-20 11:36 | 18.342 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.5409 | μmol/L | 18.6763 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.676 | 88964.757 | 295147.3392 | 30.45 | 38.1
19700 | 2022-05-20 11:36 | 18.6748 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 269.2861 | μmol/L | 18.6763 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.687 | 89005.9155 | 295161.8074 | 30.45 | 38.1
19710 | 2022-05-20 11:36 | 19.0083 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.9854 | μmol/L | 18.6763 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.7 | 89065.8963 | 295147.3448 | 30.45 | 38.1
19720 | 2022-05-20 11:37 | 19.342 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.7775 | μmol/L | 18.6763 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.709 | 89129.7336 | 295140.5947 | 30.45 | 38.1
19730 | 2022-05-20 11:37 | 19.6753 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.3116 | μmol/L | 18.6824 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.727 | 89195.2018 | 295154.5289 | 30.45 | 38.1
19740 | 2022-05-20 11:37 | 20.0086 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.233 | μmol/L | 18.6641 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.737 | 89237.7215 | 295129.8179 | 30.45 | 38.1
19750 | 2022-05-20 11:38 | 20.3418 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.9154 | μmol/L | 18.658 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.753 | 89287.835 | 295140.5459 | 30.45 | 38.1
19760 | 2022-05-20 11:38 | 20.6749 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.612 | μmol/L | 18.6641 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.764 | 89343.0642 | 295130.2694 | 30.45 | 38.1
19770 | 2022-05-20 11:38 | 21.0083 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.4375 | μmol/L | 18.6519 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.776 | 89396.6774 | 295131.0732 | 30.45 | 38.1
19780 | 2022-05-20 11:39 | 21.3417 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.75 | μmol/L | 18.6519 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.806 | 89493.4836 | 295116.9267 | 30.45 | 38.1
19790 | 2022-05-20 11:39 | 21.6749 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.4757 | μmol/L | 18.6519 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.818 | 89566.6112 | 295122.3274 | 30.45 | 38.1
19800 | 2022-05-20 11:39 | 22.0084 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.4621 | μmol/L | 18.6396 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.823 | 89592.9734 | 295116.6223 | 30.45 | 38.1
19810 | 2022-05-20 11:40 | 22.3417 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.4164 | μmol/L | 18.6396 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.825 | 89582.271 | 295109.4669 | 30.45 | 38.1
19820 | 2022-05-20 11:40 | 22.6749 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.3479 | μmol/L | 18.6396 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.828 | 89594.5609 | 295107.9527 | 30.45 | 38.1
19830 | 2022-05-20 11:40 | 23.0083 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.284 | μmol/L | 18.6335 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.833 | 89598.8131 | 295098.1118 | 30.45 | 38.1
19840 | 2022-05-20 11:41 | 23.3417 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.2886 | μmol/L | 18.6274 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.835 | 89604.7892 | 295086.6936 | 30.45 | 38.1
19850 | 2022-05-20 11:41 | 23.6751 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.1792 | μmol/L | 18.6213 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.842 | 89609.0412 | 295078.3239 | 30.45 | 38.1
19860 | 2022-05-20 11:41 | 24.0086 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.3436 | μmol/L | 18.6152 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.837 | 89624.011 | 295068.5235 | 30.45 | 38.1
19870 | 2022-05-20 11:42 | 24.3421 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.1564 | μmol/L | 18.6213 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.843 | 89634.3519 | 295066.2546 | 30.45 | 38.1
19880 | 2022-05-20 11:42 | 24.6753 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.0879 | μmol/L | 18.6213 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.846 | 89653.2516 | 295066.5563 | 30.45 | 38.1
19890 | 2022-05-20 11:42 | 25.0088 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.8647 | μmol/L | 18.6152 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.858 | 89679.8478 | 295062.7136 | 30.45 | 38.1
19900 | 2022-05-20 11:43 | 25.3422 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.7099 | μmol/L | 18.6091 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.867 | 89716.0818 | 295055.9181 | 30.45 | 38.1
19910 | 2022-05-20 11:43 | 25.6748 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.6055 | μmol/L | 18.5969 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.876 | 89768.43 | 295043.0607 | 30.45 | 38.1
19920 | 2022-05-20 11:43 | 26.0088 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.3734 | μmol/L | 18.603 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.884 | 89793.4569 | 295036.9141 | 30.45 | 38.1
19930 | 2022-05-20 11:44 | 26.3414 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.7833 | μmol/L | 18.603 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.91 | 89876.3226 | 295032.139 | 30.45 | 38.1
19940 | 2022-05-20 11:44 | 26.6747 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.9694 | μmol/L | 18.5969 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.904 | 89851.0251 | 295024.4154 | 30.45 | 38.1
19950 | 2022-05-20 11:44 | 27.0082 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.806 | μmol/L | 18.603 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.909 | 89863.117 | 295007.0591 | 30.45 | 38.1
19960 | 2022-05-20 11:45 | 27.3415 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.1103 | μmol/L | 18.5908 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.9 | 89827.2452 | 295003.1745 | 30.45 | 38.1
19970 | 2022-05-20 11:45 | 27.6754 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.4283 | μmol/L | 18.5908 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.886 | 89760.9812 | 295008.832 | 30.45 | 38.1
19980 | 2022-05-20 11:45 | 28.0083 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.9108 | μmol/L | 18.5847 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.867 | 89658.0095 | 295004.2066 | 30.45 | 38.1
19990 | 2022-05-20 11:46 | 28.3422 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.6732 | μmol/L | 18.5725 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.838 | 89539.472 | 294989.6014 | 30.45 | 38.1
20000 | 2022-05-20 11:46 | 28.6751 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.0621 | μmol/L | 18.5725 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.821 | 89450.2846 | 294992.8351 | 30.45 | 38.1
20010 | 2022-05-20 11:46 | 29.0088 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.484 | μmol/L | 18.5603 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.807 | 89378.7404 | 294968.2826 | 30.45 | 38.1
20020 | 2022-05-20 11:47 | 29.3417 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.8284 | μmol/L | 18.5603 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.792 | 89308.7834 | 294978.6569 | 30.45 | 38.1
20030 | 2022-05-20 11:47 | 29.6748 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.9663 | μmol/L | 18.5603 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.786 | 89238.3835 | 294949.4513 | 30.45 | 38.1
20040 | 2022-05-20 11:47 | 30.0085 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.2654 | μmol/L | 18.5603 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.773 | 89180.1616 | 294963.4029 | 30.45 | 38.1
20050 | 2022-05-20 11:48 | 30.3415 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.4957 | μmol/L | 18.5603 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.763 | 89134.1151 | 294948.3158 | 30.45 | 38.1
20060 | 2022-05-20 11:48 | 30.6753 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.5465 | μmol/L | 18.5542 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.763 | 89129.7466 | 294937.4359 | 30.45 | 38.1
20070 | 2022-05-20 11:48 | 31.0081 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.5972 | μmol/L | 18.5481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.763 | 89128.02 | 294934.2833 | 30.45 | 38.1
20080 | 2022-05-20 11:49 | 31.3414 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.5972 | μmol/L | 18.5481 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.763 | 89130.625 | 294937.4957 | 30.45 | 38.1
20090 | 2022-05-20 11:49 | 31.6755 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.6711 | μmol/L | 18.5419 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.762 | 89115.6249 | 294927.1691 | 30.45 | 38.1
20100 | 2022-05-20 11:49 | 32.0081 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.625 | μmol/L | 18.5419 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.764 | 89106.352 | 294928.9395 | 30.45 | 38.1
20110 | 2022-05-20 11:50 | 32.3414 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.6711 | μmol/L | 18.5419 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.762 | 89099.0527 | 294917.1826 | 30.45 | 38.1
20120 | 2022-05-20 11:50 | 32.6747 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.625 | μmol/L | 18.5419 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.764 | 89089.1633 | 294900.5947 | 30.45 | 38.1
20130 | 2022-05-20 11:50 | 33.0081 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.7911 | μmol/L | 18.5358 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.759 | 89073.8133 | 294903.7431 | 30.45 | 38.1
20140 | 2022-05-20 11:51 | 33.3414 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.5835 | μmol/L | 18.5358 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.768 | 89086.7959 | 294883.9011 | 30.45 | 38.1
20150 | 2022-05-20 11:51 | 33.6756 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.4961 | μmol/L | 18.5297 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.774 | 89106.6937 | 294882.7967 | 30.45 | 38.1
20160 | 2022-05-20 11:51 | 34.0086 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.3809 | μmol/L | 18.5297 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.779 | 89146.3533 | 294873.0938 | 30.45 | 38.1
20170 | 2022-05-20 11:52 | 34.3416 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 268.2752 | μmol/L | 18.5175 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.788 | 89167.4807 | 294874.0348 | 30.45 | 38.1
20180 | 2022-05-20 11:52 | 34.6749 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.9944 | μmol/L | 18.5236 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.798 | 89210.209 | 294868.4407 | 30.45 | 38.1
20190 | 2022-05-20 11:52 | 35.0081 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.8383 | μmol/L | 18.5175 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.807 | 89253.0578 | 294866.2671 | 30.45 | 38.1
20200 | 2022-05-20 11:53 | 35.3417 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.6364 | μmol/L | 18.5114 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.818 | 89282.1415 | 294859.48 | 30.45 | 38.1
20210 | 2022-05-20 11:53 | 35.6752 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.4529 | μmol/L | 18.5114 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.826 | 89320.1828 | 294857.2856 | 30.45 | 38.1
20220 | 2022-05-20 11:53 | 36.0086 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.1227 | μmol/L | 18.5236 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.836 | 89339.5869 | 294844.7876 | 30.45 | 38.1
20230 | 2022-05-20 11:54 | 36.342 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.0358 | μmol/L | 18.5175 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.842 | 89366.3401 | 294822.2483 | 30.45 | 38.1
20240 | 2022-05-20 11:54 | 36.6756 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 267.0224 | μmol/L | 18.5053 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.847 | 89398.3243 | 294838.715 | 30.45 | 38.1
20250 | 2022-05-20 11:54 | 37.0088 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.8032 | μmol/L | 18.4931 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.861 | 89432.6443 | 294836.8958 | 30.45 | 38.1
20260 | 2022-05-20 11:55 | 37.3418 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.7756 | μmol/L | 18.4992 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.86 | 89463.2938 | 294825.6522 | 30.45 | 38.1
20270 | 2022-05-20 11:55 | 37.6752 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.5472 | μmol/L | 18.4992 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.87 | 89480.5802 | 294821.4534 | 30.45 | 38.1
20280 | 2022-05-20 11:55 | 38.0084 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.4606 | μmol/L | 18.4931 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.876 | 89508.7328 | 294810.6434 | 30.45 | 38.1
20290 | 2022-05-20 11:56 | 38.342 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 266.2829 | μmol/L | 18.487 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.886 | 89536.6113 | 294804.1921 | 30.45 | 38.1
20300 | 2022-05-20 11:56 | 38.6748 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.9543 | μmol/L | 18.4992 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.896 | 89564.4601 | 294796.6556 | 30.45 | 38.1
20310 | 2022-05-20 11:56 | 39.0083 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.8908 | μmol/L | 18.4931 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.901 | 89586.2246 | 294801.7528 | 30.45 | 38.1
20320 | 2022-05-20 11:57 | 39.342 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.8093 | μmol/L | 18.4809 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.909 | 89628.6224 | 294811.069 | 30.45 | 38.1
20330 | 2022-05-20 11:57 | 39.6748 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.4862 | μmol/L | 18.487 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.921 | 89667.3103 | 294802.0975 | 30.45 | 38.1
20340 | 2022-05-20 11:57 | 40.0081 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.2639 | μmol/L | 18.4809 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.933 | 89710.0932 | 294780.9747 | 30.45 | 38.1
20350 | 2022-05-20 11:58 | 40.3417 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.1505 | μmol/L | 18.4809 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.938 | 89739.2782 | 294777.5257 | 30.45 | 38.1
20360 | 2022-05-20 11:58 | 40.6752 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 265.0144 | μmol/L | 18.4809 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.944 | 89760.8579 | 294770.2317 | 30.45 | 38.1
20370 | 2022-05-20 11:58 | 41.0085 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.9285 | μmol/L | 18.4748 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.95 | 89773.4412 | 294772.7007 | 30.45 | 38.1
20380 | 2022-05-20 11:59 | 41.3421 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.8832 | μmol/L | 18.4748 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.952 | 89798.3816 | 294753.3786 | 30.45 | 38.1
20390 | 2022-05-20 11:59 | 41.675 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.7295 | μmol/L | 18.4687 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.961 | 89806.8745 | 294759.3908 | 30.45 | 38.1
20400 | 2022-05-20 11:59 | 42.0084 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.8023 | μmol/L | 18.4626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.96 | 89826.2724 | 294774.5275 | 30.45 | 38.1
20410 | 2022-05-20 12:00 | 42.3419 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.5533 | μmol/L | 18.4626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.971 | 89840.0515 | 294762.7581 | 30.45 | 38.1
20420 | 2022-05-20 12:00 | 42.6748 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.5307 | μmol/L | 18.4626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.972 | 89872.0645 | 294759.2957 | 30.45 | 38.1
20430 | 2022-05-20 12:00 | 43.0086 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.2594 | μmol/L | 18.4626 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.984 | 89896.705 | 294752.2349 | 30.45 | 38.1
20440 | 2022-05-20 12:01 | 43.3415 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 264.2643 | μmol/L | 18.4565 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 22.986 | 89922.0255 | 294751.1374 | 30.45 | 38.1
20450 | 2022-05-20 12:01 | 43.6752 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.9531 | μmol/L | 18.4504 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.002 | 89959.4921 | 294743.5504 | 30.45 | 38.1
20460 | 2022-05-20 12:01 | 44.0082 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.813 | μmol/L | 18.4565 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.006 | 89988.6507 | 294743.3871 | 30.45 | 38.1
20470 | 2022-05-20 12:02 | 44.3418 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.6552 | μmol/L | 18.4565 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.013 | 90021.206 | 294749.7879 | 30.45 | 38.1
20480 | 2022-05-20 12:02 | 44.6754 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.5524 | μmol/L | 18.4443 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.022 | 90040.5878 | 294764.7459 | 30.45 | 38.1
20490 | 2022-05-20 12:02 | 45.0087 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.48 | μmol/L | 18.4504 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.023 | 90060.4524 | 294739.1172 | 30.45 | 38.1
20500 | 2022-05-20 12:03 | 45.3421 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.4301 | μmol/L | 18.4565 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.023 | 90059.6737 | 294738.5011 | 30.45 | 38.1
20510 | 2022-05-20 12:03 | 45.6756 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.4575 | μmol/L | 18.4504 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.024 | 90066.5977 | 294726.347 | 30.45 | 38.1
20520 | 2022-05-20 12:03 | 46.0081 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.2824 | μmol/L | 18.4443 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.034 | 90088.2303 | 294733.8615 | 30.45 | 38.1
20530 | 2022-05-20 12:04 | 46.3415 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.1299 | μmol/L | 18.4381 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.043 | 90118.1275 | 294727.1999 | 30.45 | 38.1
20540 | 2022-05-20 12:04 | 46.6749 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 263.0498 | μmol/L | 18.4259 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.051 | 90140.4717 | 294740.3278 | 30.45 | 38.1
20550 | 2022-05-20 12:04 | 47.0084 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.8878 | μmol/L | 18.432 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.056 | 90170.9181 | 294722.1442 | 30.45 | 38.1
20560 | 2022-05-20 12:05 | 47.3419 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.6586 | μmol/L | 18.4381 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.064 | 90205.1424 | 294730.4698 | 30.45 | 38.1
20570 | 2022-05-20 12:05 | 47.6747 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.4394 | μmol/L | 18.432 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.076 | 90238.7769 | 294720.6882 | 30.45 | 38.1
20580 | 2022-05-20 12:05 | 48.0081 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.2379 | μmol/L | 18.432 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.085 | 90310.0282 | 294730.9649 | 30.45 | 38.1
20590 | 2022-05-20 12:06 | 48.3417 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 262.0241 | μmol/L | 18.4198 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.099 | 90380.7454 | 294732.8525 | 30.45 | 38.1
20600 | 2022-05-20 12:06 | 48.6751 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.5106 | μmol/L | 18.4198 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.122 | 90448.3381 | 294723.9081 | 30.45 | 38.1
20610 | 2022-05-20 12:06 | 49.0085 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.3768 | μmol/L | 18.4198 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.128 | 90482.0414 | 294718.6988 | 30.45 | 38.1
20620 | 2022-05-20 12:07 | 49.3419 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.2209 | μmol/L | 18.4198 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.135 | 90490.2736 | 294730.8354 | 30.45 | 38.1
20630 | 2022-05-20 12:07 | 49.6754 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.3372 | μmol/L | 18.4137 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.132 | 90490.7864 | 294725.7837 | 30.45 | 38.1
20640 | 2022-05-20 12:07 | 50.0088 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.3372 | μmol/L | 18.4137 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.132 | 90496.2501 | 294728.6017 | 30.45 | 38.1
20650 | 2022-05-20 12:08 | 50.3415 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.2926 | μmol/L | 18.4137 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.134 | 90496.8238 | 294732.3153 | 30.45 | 38.1
20660 | 2022-05-20 12:08 | 50.675 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.2258 | μmol/L | 18.4137 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.137 | 90515.4799 | 294744.0841 | 30.45 | 38.1
20670 | 2022-05-20 12:08 | 51.0085 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.1862 | μmol/L | 18.4076 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.141 | 90513.6403 | 294730.4563 | 30.45 | 38.1
20680 | 2022-05-20 12:09 | 51.3419 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.0477 | μmol/L | 18.4137 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.145 | 90544.9429 | 294742.4469 | 30.45 | 38.1
20690 | 2022-05-20 12:09 | 51.6755 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 261.0577 | μmol/L | 18.4015 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.149 | 90563.6444 | 294733.1772 | 30.45 | 38.1
20700 | 2022-05-20 12:09 | 52.0082 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 260.902 | μmol/L | 18.4015 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.156 | 90585.4842 | 294728.6872 | 30.45 | 38.1
20710 | 2022-05-20 12:10 | 52.3416 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 260.7464 | μmol/L | 18.4015 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.163 | 90613.6028 | 294717.5024 | 30.45 | 38.1
20720 | 2022-05-20 12:10 | 52.6749 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 260.6131 | μmol/L | 18.4015 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.169 | 90645.5673 | 294723.4129 | 30.45 | 38.1
20730 | 2022-05-20 12:10 | 53.0088 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 260.5293 | μmol/L | 18.3954 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.175 | 90672.3762 | 294729.3553 | 30.45 | 38.1
20740 | 2022-05-20 12:11 | 53.3417 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 260.3518 | μmol/L | 18.3954 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.183 | 90712.5255 | 294722.5357 | 30.45 | 38.1
20750 | 2022-05-20 12:11 | 53.6753 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 260.1744 | μmol/L | 18.3954 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.191 | 90725.3493 | 294710.2281 | 30.45 | 38.1
20760 | 2022-05-20 12:11 | 54.0081 | oxy_ch_2 (PSt7-10) | 2022-05-17 09:48 | default | 260.0637 | μmol/L | 18.3954 | °C | 1026 | hPa | Humid | 0 | 0 | 0 | 23.196 | 90750.2426 | 294728.1392 | 30.45 | 38.1